## Units
Notes
Portugal - monthly installed capacity of the RENEWABLE fleet, MW, from DGEG's 'Estatisticas Rapidas das Renovaveis'. PARTIAL: no gas, coal or oil.
Source
DGEG (Direcao-Geral de Energia e Geologia) monthly PDF 'Estatisticas Rapidas das Renovaveis', table 'Potencia instalada' (MW): https://www.dgeg.gov.pt/pt/estatistica/energia/publicacoes/estatisticas-rapidas-das-renovaveis/
Row dated 1 Mar = capacity at the end of February (same date convention as the ENTSO-E annual files). Monthly from January 2024 (the PDF's last column is the report month, e.g. 'agosto de 2026'); before that only 31 December of each year (rows dated 1 January), taken from the latest report read, so revised values replace the originals; the months in between are absent, not interpolated.
Limits
Renewables only. DGEG's Solar_MW includes self-consumption (UPAC), small-production (UPP) and micro/mini units, so it is about twice ENTSO-E's A68 figure (see Check_ENTSOE). Hydro_MW = DGEG hydro less the pumped-storage part ('da qual em bombagem', published from the 2022 reports; earlier years keep it inside Hydro_MW). Bioenergy_MW = biomass + municipal solid waste + biogas; Other_MW = geothermal (Azores). Total_MW is the DGEG renewable total, NOT a national total.
Gas_MW, Coal_MW, Oil_MW and Storage_MW are blank: REN and DGEG publish thermal capacity annually only (DGEG 'Potencia instalada nas centrais produtoras de eletricidade'), and no monthly raw source was found (probes in discovery_archive/europe/capacity/). Nuclear_MW = 0.

## Chart
Date | Hydro | Pumped storage | Wind | Solar | Bioenergy | Other (geothermal)
2021-01-01 | 4.362 | 2.767 | 5.502 | 1.109 | 0.864 | 0.034
2022-01-01 | 4.359 | 2.767 | 5.643 | 1.826 | 0.866 | 0.034
2023-01-01 | 4.479 | 3.649 | 5.731 | 2.69 | 0.862 | 0.034
2024-01-01 | 4.477 | 3.649 | 5.901 | 3.899 | 0.861 | 0.034
2024-02-01 | 4.56 | 3.659 | 5.809 | 4.098 | 0.861 | 0.034
2024-03-01 | 4.56 | 3.659 | 5.809 | 4.156 | 0.861 | 0.034
2024-04-01 | 4.56 | 3.659 | 5.888 | 4.277 | 0.861 | 0.034
2024-05-01 | 4.56 | 3.659 | 5.888 | 4.451 | 0.859 | 0.034
2024-06-01 | 4.56 | 3.659 | 5.901 | 4.592 | 0.858 | 0.034
2024-07-01 | 4.56 | 3.659 | 5.901 | 4.649 | 0.859 | 0.034
2024-08-01 | 4.56 | 3.659 | 5.901 | 4.881 | 0.859 | 0.034
2024-09-01 | 4.64 | 3.659 | 5.933 | 4.934 | 0.86 | 0.034
2024-10-01 | 4.64 | 3.659 | 5.933 | 5.005 | 0.86 | 0.034
2024-11-01 | 4.64 | 3.659 | 5.933 | 5.207 | 0.86 | 0.034
2025-01-01 | 4.605 | 3.649 | 5.96 | 5.678 | 0.867 | 0.034
2025-02-01 | 4.591 | 3.659 | 5.957 | 5.741 | 0.861 | 0.034
2025-03-01 | 4.591 | 3.659 | 5.957 | 5.873 | 0.861 | 0.034
2025-04-01 | 4.591 | 3.659 | 5.963 | 5.956 | 0.867 | 0.034
2025-05-01 | 4.59 | 3.649 | 5.963 | 5.987 | 0.867 | 0.034
2025-06-01 | 4.589 | 3.649 | 5.963 | 6.175 | 0.867 | 0.034
2025-07-01 | 4.589 | 3.649 | 5.962 | 6.199 | 0.867 | 0.034
2025-08-01 | 4.589 | 3.649 | 5.965 | 6.302 | 0.867 | 0.034
2025-09-01 | 4.589 | 3.649 | 5.965 | 6.32 | 0.867 | 0.034
2025-10-01 | 4.589 | 3.649 | 5.965 | 6.451 | 0.867 | 0.034
2025-11-01 | 4.589 | 3.649 | 5.965 | 6.502 | 0.867 | 0.034
2025-12-01 | 4.589 | 3.649 | 5.965 | 6.571 | 0.867 | 0.034
2026-01-01 | 4.606 | 3.649 | 5.964 | 6.835 | 0.847 | 0.034
2026-02-01 | 4.599 | 3.649 | 5.965 | 6.887 | 0.867 | 0.034
2026-03-01 | 4.599 | 3.649 | 5.965 | 6.931 | 0.867 | 0.034
2026-04-01 | 4.599 | 3.649 | 5.965 | 6.961 | 0.867 | 0.034
2026-05-01 | 4.606 | 3.649 | 6.16 | 7.123 | 0.861 | 0.034
2026-06-01 | 4.606 | 3.649 | 6.16 | 7.215 | 0.861 | 0.034
2026-07-01 | 4.606 | 3.649 | 6.16 | 7.243 | 0.861 | 0.034
2026-08-01 | 4.606 | 3.649 | 6.241 | 7.326 | 0.861 | 0.034
2026-09-01 | 4.606 | 3.649 | 6.24 | 7.363 | 0.847 | 0.034

## Chart - Net additions
Date | Solar | Wind
2024-02-01 | 199 | -92
2024-03-01 | 58 | 0
2024-04-01 | 121 | 79
2024-05-01 | 174 | 0
2024-06-01 | 141 | 13
2024-07-01 | 57 | 0
2024-08-01 | 232 | 0
2024-09-01 | 53 | 32
2024-10-01 | 71 | 0
2024-11-01 | 202 | 0
2025-01-01 | 471 | 27
2025-02-01 | 63 | -3
2025-03-01 | 132 | 0
2025-04-01 | 83 | 6
2025-05-01 | 31 | 0
2025-06-01 | 188 | 0
2025-07-01 | 24 | -1
2025-08-01 | 103 | 3
2025-09-01 | 18 | 0
2025-10-01 | 131 | 0
2025-11-01 | 51 | 0
2025-12-01 | 69 | 0
2026-01-01 | 264 | -1
2026-02-01 | 52 | 1
2026-03-01 | 44 | 0
2026-04-01 | 30 | 0
2026-05-01 | 162 | 195
2026-06-01 | 92 | 0
2026-07-01 | 28 | 0
2026-08-01 | 83 | 81
2026-09-01 | 37 | -1

## Monthly
date | Hydro_MW | Gas_MW | Wind_MW | Solar_MW | Coal_MW | Nuclear_MW | Oil_MW | Bioenergy_MW | Other_MW | Total_MW | PumpedStorage_MW | Storage_MW | Hydro_incl_pumped_MW | Biomass_MW | Waste_MW | Biogas_MW | Geothermal_MW | Renewables_total_MW | source
2021-01-01 | 4362 |  | 5502 | 1109 |  | 0 |  | 864 | 34 | 11872 | 2767 |  | 7129 | 682 | 89 | 93 | 34 | 14639 | DGEG report 2026-08 (31 Dec 2020)
2022-01-01 | 4359 |  | 5643 | 1826 |  | 0 |  | 866 | 34 | 12729 | 2767 |  | 7126 | 679 | 89 | 98 | 34 | 15496 | DGEG report 2026-08 (31 Dec 2021)
2023-01-01 | 4479 |  | 5731 | 2690 |  | 0 |  | 862 | 34 | 13796 | 3649 |  | 8128 | 679 | 89 | 94 | 34 | 17445 | DGEG report 2026-08 (31 Dec 2022)
2024-01-01 | 4477 |  | 5901 | 3899 |  | 0 |  | 861 | 34 | 15173 | 3649 |  | 8126 | 678 | 89 | 94 | 34 | 18822 | DGEG report 2026-08 (31 Dec 2023)
2024-02-01 | 4560 |  | 5809 | 4098 |  | 0 |  | 861 | 34 | 15363 | 3659 |  | 8219 | 679 | 89 | 93 | 34 | 19022 | DGEG report 2024-01
2024-03-01 | 4560 |  | 5809 | 4156 |  | 0 |  | 861 | 34 | 15420 | 3659 |  | 8219 | 679 | 89 | 93 | 34 | 19079 | DGEG report 2024-02
2024-04-01 | 4560 |  | 5888 | 4277 |  | 0 |  | 861 | 34 | 15621 | 3659 |  | 8219 | 679 | 89 | 93 | 34 | 19280 | DGEG report 2024-03
2024-05-01 | 4560 |  | 5888 | 4451 |  | 0 |  | 859 | 34 | 15793 | 3659 |  | 8219 | 678 | 89 | 92 | 34 | 19452 | DGEG report 2024-04
2024-06-01 | 4560 |  | 5901 | 4592 |  | 0 |  | 858 | 34 | 15946 | 3659 |  | 8219 | 678 | 89 | 91 | 34 | 19605 | DGEG report 2024-05
2024-07-01 | 4560 |  | 5901 | 4649 |  | 0 |  | 859 | 34 | 16004 | 3659 |  | 8219 | 678 | 89 | 92 | 34 | 19663 | DGEG report 2024-06
2024-08-01 | 4560 |  | 5901 | 4881 |  | 0 |  | 859 | 34 | 16236 | 3659 |  | 8219 | 678 | 89 | 92 | 34 | 19895 | DGEG report 2024-07
2024-09-01 | 4640 |  | 5933 | 4934 |  | 0 |  | 860 | 34 | 16402 | 3659 |  | 8299 | 678 | 89 | 93 | 34 | 20061 | DGEG report 2024-08
2024-10-01 | 4640 |  | 5933 | 5005 |  | 0 |  | 860 | 34 | 16472 | 3659 |  | 8299 | 678 | 89 | 93 | 34 | 20131 | DGEG report 2024-09
2024-11-01 | 4640 |  | 5933 | 5207 |  | 0 |  | 860 | 34 | 16674 | 3659 |  | 8299 | 678 | 89 | 93 | 34 | 20333 | DGEG report 2024-10
2025-01-01 | 4605 |  | 5960 | 5678 |  | 0 |  | 867 | 34 | 17145 | 3649 |  | 8254 | 684 | 89 | 94 | 34 | 20794 | DGEG report 2026-08 (31 Dec 2024)
2025-02-01 | 4591 |  | 5957 | 5741 |  | 0 |  | 861 | 34 | 17184 | 3659 |  | 8250 | 678 | 89 | 94 | 34 | 20843 | DGEG report 2025-01
2025-03-01 | 4591 |  | 5957 | 5873 |  | 0 |  | 861 | 34 | 17317 | 3659 |  | 8250 | 678 | 89 | 94 | 34 | 20976 | DGEG report 2025-02
2025-04-01 | 4591 |  | 5963 | 5956 |  | 0 |  | 867 | 34 | 17411 | 3659 |  | 8250 | 684 | 89 | 94 | 34 | 21070 | DGEG report 2025-03
2025-05-01 | 4590 |  | 5963 | 5987 |  | 0 |  | 867 | 34 | 17441 | 3649 |  | 8239 | 684 | 89 | 94 | 34 | 21090 | DGEG report 2025-04
2025-06-01 | 4589 |  | 5963 | 6175 |  | 0 |  | 867 | 34 | 17628 | 3649 |  | 8238 | 684 | 89 | 94 | 34 | 21277 | DGEG report 2025-05
2025-07-01 | 4589 |  | 5962 | 6199 |  | 0 |  | 867 | 34 | 17651 | 3649 |  | 8238 | 684 | 89 | 94 | 34 | 21300 | DGEG report 2025-06
2025-08-01 | 4589 |  | 5965 | 6302 |  | 0 |  | 867 | 34 | 17757 | 3649 |  | 8238 | 684 | 89 | 94 | 34 | 21406 | DGEG report 2025-07
2025-09-01 | 4589 |  | 5965 | 6320 |  | 0 |  | 867 | 34 | 17775 | 3649 |  | 8238 | 684 | 89 | 94 | 34 | 21424 | DGEG report 2025-08
2025-10-01 | 4589 |  | 5965 | 6451 |  | 0 |  | 867 | 34 | 17906 | 3649 |  | 8238 | 684 | 89 | 94 | 34 | 21555 | DGEG report 2025-09
2025-11-01 | 4589 |  | 5965 | 6502 |  | 0 |  | 867 | 34 | 17957 | 3649 |  | 8238 | 684 | 89 | 94 | 34 | 21606 | DGEG report 2025-10
2025-12-01 | 4589 |  | 5965 | 6571 |  | 0 |  | 867 | 34 | 18026 | 3649 |  | 8238 | 684 | 89 | 94 | 34 | 21675 | DGEG report 2025-11
2026-01-01 | 4606 |  | 5964 | 6835 |  | 0 |  | 847 | 34 | 18286 | 3649 |  | 8255 | 664 | 89 | 94 | 34 | 21935 | DGEG report 2026-08 (31 Dec 2025)
2026-02-01 | 4599 |  | 5965 | 6887 |  | 0 |  | 867 | 34 | 18352 | 3649 |  | 8248 | 684 | 89 | 94 | 34 | 22001 | DGEG report 2026-01
2026-03-01 | 4599 |  | 5965 | 6931 |  | 0 |  | 867 | 34 | 18396 | 3649 |  | 8248 | 684 | 89 | 94 | 34 | 22045 | DGEG report 2026-02
2026-04-01 | 4599 |  | 5965 | 6961 |  | 0 |  | 867 | 34 | 18425 | 3649 |  | 8248 | 684 | 89 | 94 | 34 | 22074 | DGEG report 2026-03
2026-05-01 | 4606 |  | 6160 | 7123 |  | 0 |  | 861 | 34 | 18785 | 3649 |  | 8255 | 678 | 89 | 94 | 34 | 22434 | DGEG report 2026-04
2026-06-01 | 4606 |  | 6160 | 7215 |  | 0 |  | 861 | 34 | 18877 | 3649 |  | 8255 | 678 | 89 | 94 | 34 | 22526 | DGEG report 2026-05
2026-07-01 | 4606 |  | 6160 | 7243 |  | 0 |  | 861 | 34 | 18905 | 3649 |  | 8255 | 678 | 89 | 94 | 34 | 22554 | DGEG report 2026-06
2026-08-01 | 4606 |  | 6241 | 7326 |  | 0 |  | 861 | 34 | 19069 | 3649 |  | 8255 | 678 | 89 | 94 | 34 | 22718 | DGEG report 2026-07
2026-09-01 | 4606 |  | 6240 | 7363 |  | 0 |  | 847 | 34 | 19090 | 3649 |  | 8255 | 664 | 89 | 94 | 34 | 22739 | DGEG report 2026-08

## Check_ENTSOE
date | series | this_file_MW | ENTSOE_A68_MW | difference_MW | difference_pct
2021-01-01 | Hydro_MW | 4362 | 4372 | -10 | -0.2
2021-01-01 | PumpedStorage_MW | 2767 | 2820 | -53 | -1.9
2021-01-01 | Wind_MW | 5502 | 5208 | 294 | 5.6
2021-01-01 | Solar_MW | 1109 | 569 | 540 | 94.9
2021-01-01 | Bioenergy_MW | 864 | 684 | 180 | 26.3
2022-01-01 | Hydro_MW | 4359 | 4372 | -13 | -0.3
2022-01-01 | PumpedStorage_MW | 2767 | 2827 | -60 | -2.1
2022-01-01 | Wind_MW | 5643 | 5353 | 290 | 5.4
2022-01-01 | Solar_MW | 1826 | 1032 | 794 | 76.9
2022-01-01 | Bioenergy_MW | 866 | 681 | 185 | 27.2
2023-01-01 | Hydro_MW | 4479 | 4490 | -11 | -0.2
2023-01-01 | PumpedStorage_MW | 3649 | 3707 | -58 | -1.6
2023-01-01 | Wind_MW | 5731 | 5353 | 378 | 7.1
2023-01-01 | Solar_MW | 2690 | 1332 | 1358 | 102
2023-01-01 | Bioenergy_MW | 862 | 647 | 215 | 33.2
2024-01-01 | Hydro_MW | 4477 | 4484 | -7 | -0.2
2024-01-01 | PumpedStorage_MW | 3649 | 3707 | -58 | -1.6
2024-01-01 | Wind_MW | 5901 | 5358 | 543 | 10.1
2024-01-01 | Solar_MW | 3899 | 1811 | 2088 | 115.3
2024-01-01 | Bioenergy_MW | 861 | 681 | 180 | 26.4
2025-01-01 | Hydro_MW | 4605 | 4644 | -39 | -0.8
2025-01-01 | PumpedStorage_MW | 3649 | 3707 | -58 | -1.6
2025-01-01 | Wind_MW | 5960 | 5391 | 569 | 10.6
2025-01-01 | Solar_MW | 5678 | 2589 | 3089 | 119.3
2025-01-01 | Bioenergy_MW | 867 | 687 | 180 | 26.2
2026-01-01 | Hydro_MW | 4606 | 4644 | -38 | -0.8
2026-01-01 | PumpedStorage_MW | 3649 | 3707 | -58 | -1.6
2026-01-01 | Wind_MW | 5964 | 5426 | 538 | 9.9
2026-01-01 | Solar_MW | 6835 | 3237 | 3598 | 111.2
2026-01-01 | Bioenergy_MW | 847 | 682 | 165 | 24.2

## Releases
source | checked_utc | detail | sha256
DGEG 2021-08 |  | https://www.dgeg.gov.pt/media/1s2i0vpx/dgeg-arr-2021-08.pdf
DGEG 2020-12 |  | https://www.dgeg.gov.pt/media/zazjmhkh/dgeg-arr-2020-12.pdf
DGEG 2021-12 |  | https://www.dgeg.gov.pt/media/5fjpfuk1/dgeg-arr-2021-12_v2.pdf
DGEG 2022-12 |  | https://www.dgeg.gov.pt/media/cjnfkck0/dgeg-arr-2022-12-v2.pdf
DGEG 2023-12 |  | https://www.dgeg.gov.pt/media/amioxiec/dgeg-arr-2023-12.pdf
DGEG 2024-01 |  | https://www.dgeg.gov.pt/media/tmfl1tla/renovaveis-202401.pdf
DGEG 2024-02 |  | https://www.dgeg.gov.pt/media/mdmivv3u/dgeg-arr-2024-02.pdf
DGEG 2024-03 |  | https://www.dgeg.gov.pt/media/5w2mx33b/dgeg-arr-2024-03.pdf
DGEG 2024-04 |  | https://www.dgeg.gov.pt/media/um5jqbue/dgeg-arr-2024-04.pdf
DGEG 2024-05 |  | https://www.dgeg.gov.pt/media/qelpruhg/dgeg-arr-2024-05.pdf
DGEG 2024-06 |  | https://www.dgeg.gov.pt/media/4pdljtkr/dgeg-arr-2024-06.pdf
DGEG 2024-07 |  | https://www.dgeg.gov.pt/media/ruapg153/dgeg-arr-2024-07.pdf
DGEG 2024-08 |  | https://www.dgeg.gov.pt/media/qdidnmxu/dgeg-arr-2024-08.pdf
DGEG 2024-09 |  | https://www.dgeg.gov.pt/media/e5vpyh3g/dgeg-arr-2024-09.pdf
DGEG 2024-10 |  | https://www.dgeg.gov.pt/media/krcns4st/dgeg-arr-2024-10.pdf
DGEG 2024-12 |  | https://www.dgeg.gov.pt/media/e14basma/dgeg-arr-2024-12-v1.pdf
DGEG 2025-01 |  | https://www.dgeg.gov.pt/media/lfmhngdq/dgeg-arr-2025-01.pdf
DGEG 2025-02 |  | https://www.dgeg.gov.pt/media/upclbs5j/dgeg-arr-2025-02.pdf
DGEG 2025-03 |  | https://www.dgeg.gov.pt/media/abmpkzsu/dgeg-arr-2025-03.pdf
DGEG 2025-04 |  | https://www.dgeg.gov.pt/media/kluh33x2/dgeg-arr-2025-04.pdf
DGEG 2025-05 |  | https://www.dgeg.gov.pt/media/uqtcinqo/dgeg-arr-2025-05.pdf
DGEG 2025-06 |  | https://www.dgeg.gov.pt/media/aqmpm3cf/dgeg-arr-2025-06.pdf
DGEG 2025-07 |  | https://www.dgeg.gov.pt/media/sjiphcim/dgeg-arr-2025-07.pdf
DGEG 2025-08 |  | https://www.dgeg.gov.pt/media/1dyj1wo1/dgeg-arr-2025-08.pdf
DGEG 2025-09 |  | https://www.dgeg.gov.pt/media/v0qnipij/dgeg-arr-2025-09.pdf
DGEG 2025-10 |  | https://www.dgeg.gov.pt/media/a5nne0vg/dgeg-arr-2025-10.pdf
DGEG 2025-11 |  | https://www.dgeg.gov.pt/media/zm3hyme1/dgeg-arr-2025-11.pdf
DGEG 2025-12 |  | https://www.dgeg.gov.pt/media/qybp4lbt/dgeg-arr-2025-12.pdf
DGEG 2026-01 |  | https://www.dgeg.gov.pt/media/eepfhxw1/dgeg-arr-2026-01.pdf
DGEG 2026-02 |  | https://www.dgeg.gov.pt/media/ge2hwoxe/dgeg-arr-2026-02.pdf
DGEG 2026-03 |  | https://www.dgeg.gov.pt/media/v2llqxp5/dgeg-arr-2026-03.pdf
DGEG 2026-04 |  | https://www.dgeg.gov.pt/media/vukgx0vs/dgeg-arr-2026-04.pdf
DGEG 2026-05 |  | https://www.dgeg.gov.pt/media/inqojgad/dgeg-arr-2026-05.pdf
DGEG 2026-06 |  | https://www.dgeg.gov.pt/media/wkklkfxm/dgeg-arr-2026-06.pdf
DGEG 2026-07 | 2026-10-28 01:13 UTC | https://www.dgeg.gov.pt/media/psfil4uv/dgeg-arr-2026-07.pdf | a8bc75eeab4d554804d8719f287cdfb377db2de2afd1e4c31e6ee322975ecc17
DGEG 2026-08 | 2026-10-28 01:13 UTC | https://www.dgeg.gov.pt/media/cnkfg5w5/dgeg-arr-2026-08.pdf | 7c1a4c5b2d02e56f2b72737e2c21f57b2f3f399ad5b418d32921c770df86d974