## Units
Notes
UNITS
MW installed at the END of each year (ILR 'puissance installee par source d'energie', kW / 1000); the row dated 1 January Y holds end-of-year Y capacity. ANNUAL ONLY, 2022 onward: no monthly source exists.
SOURCE
ILR, 'Donnees statistiques du secteur d'electricite', data.public.lu (donnees-statistiques-du-secteur-delectricite-ilr), sheet '2. Production'. Licence CC BY 4.0.
COVERAGE
Hydro, Photovoltaic -> Solar, Wind, Biogas + Biomass -> Bioenergy, natural-gas cogeneration -> Gas, waste incineration -> Other. The Vianden pumped-storage plant (about 1.3 GW) is NOT in ILR's production table; there is no Luxembourg-only ENTSO-E series (Luxembourg is in the DE-LU zone).
VALIDATION
'Check' compares the sum of the mapped sources with ILR's own total row; 'Cross-check Energy-Charts' lists Fraunhofer ISE's yearly Luxembourg figures (FALLBACK reference only).

## Chart
Date | Hydro | Gas | Wind | Solar | Bioenergy | Other
2022-01-01 | 0.034 | 0.081 | 0.166 | 0.317 | 0.047 | 0.021
2023-01-01 | 0.034 | 0.075 | 0.208 | 0.394 | 0.084 | 0.021
2024-01-01 | 0.033994 | 0.071223 | 0.21374 | 0.5498 | 0.084845 | 0.021328
2025-01-01 | 0.034042 | 0.059676 | 0.23072 | 0.74635 | 0.085205 | 0.021328

## Chart - Net additions
Date | Solar | Wind
2023-01-01 | 0.077 | 0.042
2024-01-01 | 0.1558 | 0.0057358
2025-01-01 | 0.19656 | 0.01698

## Monthly
date | Hydro_MW | Gas_MW | Wind_MW | Solar_MW | Coal_MW | Nuclear_MW | Oil_MW | Bioenergy_MW | Other_MW | Total_MW | PumpedStorage_MW | Storage_MW | Wind_Onshore_MW | Wind_Offshore_MW
2022-01-01 | 34 | 81 | 166 | 317 |  |  |  | 47 | 21 | 666
2023-01-01 | 34 | 75 | 208 | 394 |  |  |  | 84 | 21 | 816
2024-01-01 | 33.994 | 71.2228 | 213.7358 | 549.7969 |  |  |  | 84.845 | 21.328 | 974.9225
2025-01-01 | 34.042 | 59.676 | 230.7158 | 746.3538 |  |  |  | 85.205 | 21.328 | 1177.3206

## Check
| Sum of sources (MW) | ILR 'Total' row (MW)
2022-01-01 | 666 | 666
2023-01-01 | 816 | 816
2024-01-01 | 974.9 | 974.9
2025-01-01 | 1177.3 | 1177.3

## Cross-check Energy-Charts
| Year | Type | Energy-Charts (MW), FALLBACK reference
0 | 2021 | Hydro Run-of-River | 20
1 | 2021 | Biomass | 50
2 | 2021 | Fossil gas | 100
3 | 2021 | Hydro water reservoir | 10
4 | 2021 | Waste | 20
5 | 2021 | Wind onshore | 170
6 | 2021 | Solar AC | 260
7 | 2022 | Hydro Run-of-River | 20
8 | 2022 | Biomass | 50
9 | 2022 | Fossil gas | 70
10 | 2022 | Hydro water reservoir | 10
11 | 2022 | Waste | 20
12 | 2022 | Wind onshore | 150
13 | 2022 | Solar AC | 300
14 | 2023 | Hydro Run-of-River | 20
15 | 2023 | Biomass | 80
16 | 2023 | Fossil gas | 70
17 | 2023 | Hydro water reservoir | 10
18 | 2023 | Waste | 20
19 | 2023 | Wind onshore | 210
20 | 2023 | Solar AC | 420
21 | 2024 | Hydro Run-of-River | 20
22 | 2024 | Biomass | 80
23 | 2024 | Fossil gas | 70
24 | 2024 | Hydro water reservoir | 10
25 | 2024 | Waste | 20
26 | 2024 | Wind onshore | 210
27 | 2024 | Solar AC | 540
28 | 2025 | Hydro Run-of-River | 20
29 | 2025 | Biomass | 80
30 | 2025 | Fossil gas | 60
31 | 2025 | Hydro water reservoir | 10
32 | 2025 | Waste | 20
33 | 2025 | Wind onshore | 230
34 | 2025 | Solar AC | 770

## Releases
| File | Last modified (data.public.lu) | URL
0 | donnees-statistiques-du-secteur-delectricite.xlsx | 2026-09-01T13:53:33.687000+00:00 | https://download.data.public.lu/resources/donnees-statistiques-du-secteur-delectricite-ilr/20260901-135330/donnees-statistiques-du-secteur-delectricite.xlsx