## WorkSheet1
TSP | TSP Name | Eff Gas Day/Eff Time | CycleDesc | Loc Purp Desc | Meas Basis Desc | Post Date/Post Time | Loc/QTI Desc
828834445 | ELBA EXPRESS | 9/27/2026 10:00 PM CCT | INTRADAY 3 | Receipt Location | Million BTU's (displayed as Dth) | 09/27/2026 09:47 PM | Receipt points(s) quantity
Loc | Loc Name | Loc Zn | Loc (Segment) | Design Capacity | Operating Capacity | Total Scheduled Quantity | Operationally Available Capacity | IT | Flow Ind | All Qty Avail | Qty Reason
606380 | EEC/SNG WRENS SNG TO EEC JEFFERSON | 01 | 200 | 606,100 | 606,100 | 0 | 606,100 | N | R | Y
938000 | SLNG/EEC CHATHAM | 01 | 275 | 1,021,000 | 1,021,000 | 0 | 1,021,000 | N | BD | Y
938510 | TRNSCO/EEC Z4 HART | 01 | 200 | 1,199,675 | 1,199,675 | 171,822 | 1,027,853 | N | BD | Y
938610 | TRNSCO/EEC Z5 ANDERSON | 01 | 200 | 1,199,675 | 1,199,675 | 746,929 | 452,746 | Y | BD | Y
Row Count: 4
Comments and Notes
1) Design Capacity displays the quantity that can be accurately measured as determined by utilizing a reasonable set of engineering assumptions and parameters. However, the ability to physically receive or deliver volumes may be further limited by lateral or mainline capacity. Design Capacity may be updated when pressure assumptions and pipeline conditions change. 2) Operationally Available Capacity may be updated throughout the day to account for changes including, but not limited to: netting of bidirectional nominations, partial segment path nominations, facility outages, and imbalance management. 3) Operating Capacity may be different than Design Capacity based on the periodic, non-permanent anticipated or observed operational pipeline conditions including, but not limited to: higher or lower average thermal content of the gas, higher or lower pressure from interconnecting pipelines, on-going maintenance, etc. 4) Total Scheduled Quantity is the net of scheduled volumes in both flow directions and is displayed only in the resulting net flow direction. The opposite flow direction, if shown, will display a quantity of zero. 5) The net Total Scheduled Quantity may result in a quantity different than Operating Capacity due to the confirmation process after scheduling.