## WorkSheet1
TSP | TSP Name | Eff Gas Day/Eff Time | CycleDesc | Loc Purp Desc | Meas Basis Desc | Post Date/Post Time | Loc/QTI Desc
809611911 | KM LOUISIANA PIPELINE | 9/27/2026 10:00 PM CCT | INTRADAY 3 | Receipt Location | Million BTU's (displayed as Dth) | 09/27/2026 09:45 PM | Receipt points(s) quantity
Loc | Loc Name | Loc Zn | Loc (Segment) | Design Capacity | Operating Capacity | Total Scheduled Quantity | Operationally Available Capacity | IT | Flow Ind | All Qty Avail | Qty Reason
44337 | SABPL/KMLP CALCA | 01 | 120 | 443,017 | 443,017 | 0 | 443,017 | N | BD | Y
44392 | TEX GAS/KMLP ACA | 01 | 150 | 571,200 | 571,200 | 243,977 | 327,223 | Y | BD | Y
44395 | ANR/KMLP ACADIA | 01 | 150 | 684,420 | 684,420 | 252,183 | 432,237 | N | BD | Y
44396 | TET/KMLP EVANGEL | 01 | 160 | 502,860 | 502,860 | 65,673 | 437,187 | N | BD | Y
44398 | COL GULF/KMLP EV | 01 | 180 | 1,530,000 | 1,530,000 | 769,608 | 760,392 | N | BD | Y
44403 | EGAN HUB/KMLP AC | 01 | 140 | 779,533 | 779,533 | 0 | 779,533 | N | BD | Y
44404 | PINE PRA/KMLP AC | 01 | 150 | 530,400 | 550,000 | 0 | 550,000 | N | BD | Y
44405 | NGPL/KMLP | 02 | 210 | 1,697,567 | 1,697,567 | 64,108 | 1,633,459 | N | BD | Y
44544 | SPLNG/KMLP REC CAMERON | 01 | 100 | 200,000 | 200,000 | 0 | 200,000 | N | R | Y
Row Count: 9
Comments and Notes
1) Design Capacity displays the quantity that can be accurately measured as determined by utilizing a reasonable set of engineering assumptions and parameters. However, the ability to physically receive or deliver volumes may be further limited by lateral, mainline, and/or storage facility injection/withdrawal capacity. Design Capacity may be updated when pressure assumptions and pipeline conditions change. 2) Operationally Available Capacity may be updated throughout the day to account for changes including, but not limited to: netting of bidirectional nominations, partial segment path nominations, storage swing services, facility outages, and imbalance management. 3) Total Scheduled Quantity is the net of scheduled volumes in both flow directions and is displayed only in the resulting net flow direction. The opposite flow direction, if shown, will display a quantity of zero. 4) The net Total Scheduled Quantity may result in a quantity different than Operating Capacity due to the confirmation process after scheduling. 5) The Sabine Pass LNG location has two contractual points: Leg 1 (Pin 44385) and Leg 2 (Pin 44399) represented by one scheduling point (Pin 44544). Operating Capacity is displayed for the scheduling point where nominations are made and Design Capacity is displayed for the 2 contractual points (not nominable). For further explanation of operations at these locations, contact your Scheduling Representative. 6) Operating Capacity may be different than Design Capacity based on the periodic, non-permanent anticipated or observed operational pipeline conditions including, but not limited to: higher or lower average thermal content of the gas, higher or lower pressure from interconnecting pipelines, on-going maintenance, etc. 7) The IT Indicator shows whether gas has been scheduled under any interruptible service.