## WorkSheet1
TSP | TSP Name | Eff Gas Day/Eff Time | CycleDesc | Loc Purp Desc | Meas Basis Desc | Post Date/Post Time | Loc/QTI Desc
808150895 | MIDCONTINENT EXPRESS PIPELINE | 9/27/2026 10:00 PM CCT | INTRADAY 3 | Receipt Location | Million BTU's (displayed as Dth) | 09/27/2026 09:47 PM | Receipt points(s) quantity
Loc | Loc Name | Loc Zn | Loc (Segment) | Design Capacity | Operating Capacity | Total Scheduled Quantity | Operationally Available Capacity | IT | Flow Ind | All Qty Avail | Qty Reason
44438 | EMP-EOIT/MEP BENNINGTON BRYAN | 01 | 100 | 550,000 | 550,000 | 244,752 | 305,248 | N | R | Y
44439 | MEP/NGPL LAMAR | 01 | 120 | 350,000 | 350,000 | 115,474 | 234,526 | N | R | Y
44440 | HPL/MEP LAMAR | 01 | 120 | 1,278,000 | 1,278,000 | 379,302 | 898,698 | Y | R | Y
44598 | GULFRUN/MEP DELHI RICHLAND | 02 | 160 | 250,000 | 250,000 | 1 | 249,999 | N | BD | Y
44606 | MARKWEST/MEP BENNINGTON BRYAN | 01 | 100 | 500,000 | 500,000 | 127,064 | 372,936 | N | R | Y
45015 | LEAF/MEP JASPER | 02 | 210 | 400,000 | 400,000 | 0 | 400,000 | N | BD | Y
50502 | MIDSHIP/MEP BENNINGTON BRYAN | 01 | 100 | 837,000 | 837,000 | 454,074 | 382,926 | Y | R | Y
Row Count: 7
Comments and Notes
1) Design Capacity displays the quantity that can be accurately measured as determined by utilizing a reasonable set of engineering assumptions and parameters. However, the ability to physically receive or deliver volumes may be further limited by lateral, mainline, and/or storage facility injection/withdrawal capacity. Design Capacity may be updated when pressure assumptions and pipeline conditions change. 2) Operationally Available Capacity may be updated throughout the day to account for changes including, but not limited to: netting of bidirectional nominations, partial segment path nominations, storage swing services, facility outages, and imbalance management. 3) Total Scheduled Quantity is the net of scheduled volumes in both flow directions and is displayed only in the resulting net flow direction. The opposite flow direction, if shown, will display a quantity of zero. 4) The net Total Scheduled Quantity may result in a quantity different than Operating Capacity due to the confirmation process after scheduling. 5) LOC 49058 SABAL TR/TRANSCO LEASE is a paper point, not a physical point, used for shippers nominating to the SABAL leased capacity on TRANSCO. Design and Operating Capacity is calculated at physical interconnects only. Scheduled Quantity is included in the TRNSCO/CHOCTAW (LOC 44451) Total Scheduled Quantity where physical flow and scheduling occur. 6) Operating Capacity may be different than Design Capacity based on the periodic, non-permanent anticipated or observed operational pipeline conditions including, but not limited to: higher or lower average thermal content of the gas, higher or lower pressure from interconnecting pipelines, on-going maintenance, etc. 7) The IT Indicator shows whether gas has been scheduled under any interruptible service.