## Units
Notes
Spain - monthly installed generation capacity by technology, MW, national electricity system (peninsular + non-peninsular), from Red Electrica's REData API.
Source
Red Electrica de Espana (the TSO) REData API, widget generacion/potencia-instalada-generacion ('Estructura de potencia instalada'): https://apidatos.ree.es/es/datos/generacion/potencia-instalada-generacion?start_date=..&end_date=..&time_trunc=month (the earlier name generacion/potencia-instalada answers HTTP 500). Free, no key.
Row dated 1 Mar = capacity at the end of February (REData labels each value with its month; the sheet Check_REData_year shows that REData's yearly value equals the December monthly value, i.e. the monthly value is the stock at the end of the month).
Mapping and limits
Hydro_MW = 'Hidraulica' (pumped storage, 3.3 GW, is NOT in this widget: PumpedStorage_MW is blank; REE reports it annually). Gas_MW = combined cycle + gas turbines; Coal_MW = coal; Oil_MW = diesel engines + steam turbines + fuel/gas (the non-peninsular thermal units); Solar_MW = photovoltaic + solar thermal (REE's photovoltaic includes self-consumption, so it exceeds ENTSO-E's A68 solar); Bioenergy_MW = 'otras renovables' (biogas, biomass, marine, geothermal) + renewable waste; Other_MW = cogeneration (mostly gas, kept separate in Cogeneration_MW) + non-renewable waste + hydro-wind. Total_MW = REE's 'Potencia instalada total' (excludes pumped storage).
A call with a range of more than about 13 months is refused (HTTP 400 'datos no disponibles'): the pull asks one calendar year at a time; the last two years are re-read every run (values are revised), earlier months are kept.

## Chart
Date | Solar | Wind | Gas | Hydro | Nuclear | Other | Coal
2021-01-01 | 14.4764 | 27.6654 | 27.3988 | 17.0988 | 7.1173 | 2.516 | 5.7332
2021-02-01 | 14.6222 | 27.6741 | 27.3988 | 17.0988 | 7.1173 | 2.516 | 5.3855
2021-03-01 | 14.9559 | 27.7673 | 27.3988 | 17.0943 | 7.1173 | 2.5293 | 4.8837
2021-04-01 | 15.2914 | 27.7956 | 27.3988 | 17.0943 | 7.1173 | 2.5303 | 4.8837
2021-05-01 | 15.4805 | 27.8395 | 27.3988 | 17.0943 | 7.1173 | 2.5303 | 4.8837
2021-06-01 | 15.7877 | 27.99 | 27.3988 | 17.0943 | 7.1173 | 2.5323 | 4.8837
2021-07-01 | 16.1477 | 28.1197 | 27.3988 | 17.0943 | 7.1173 | 2.5323 | 4.8837
2021-08-01 | 16.4955 | 28.203 | 27.3988 | 17.0943 | 7.1173 | 2.5319 | 4.8837
2021-09-01 | 16.6638 | 28.203 | 27.3988 | 17.0943 | 7.1173 | 2.5319 | 4.8837
2021-10-01 | 16.8379 | 28.2076 | 27.3988 | 17.0944 | 7.1173 | 2.5319 | 4.8837
2021-11-01 | 17.115 | 28.4098 | 27.3988 | 17.0944 | 7.1173 | 2.5319 | 4.8837
2021-12-01 | 17.6672 | 28.4118 | 27.3988 | 17.0944 | 7.1173 | 2.5319 | 4.8837
2022-01-01 | 18.4258 | 28.6679 | 27.3988 | 17.0944 | 7.1173 | 2.5319 | 3.7641
2022-02-01 | 18.8955 | 28.6906 | 27.3988 | 17.0944 | 7.1173 | 2.5319 | 3.7641
2022-03-01 | 19.1715 | 28.8991 | 27.3988 | 17.0944 | 7.1173 | 2.5332 | 3.7641
2022-04-01 | 19.4862 | 29.0574 | 27.3988 | 17.0944 | 7.1173 | 2.5332 | 3.7641
2022-05-01 | 19.7015 | 29.1062 | 27.3988 | 17.0944 | 7.1173 | 2.5332 | 3.7641
2022-06-01 | 20.2846 | 29.5734 | 27.3988 | 17.0944 | 7.1173 | 2.5336 | 3.7641
2022-07-01 | 20.5669 | 29.6288 | 27.3988 | 17.0944 | 7.1173 | 2.5336 | 3.7641
2022-08-01 | 21.6217 | 29.6288 | 27.3988 | 17.0944 | 7.1173 | 2.5336 | 3.7641
2022-09-01 | 21.9621 | 29.6901 | 27.3988 | 17.0944 | 7.1173 | 2.5336 | 3.4644
2022-10-01 | 22.2925 | 29.7712 | 27.3988 | 17.0944 | 7.1173 | 2.5336 | 3.4644
2022-11-01 | 22.6321 | 29.8325 | 27.3988 | 17.0944 | 7.1173 | 2.5336 | 3.4644
2022-12-01 | 23.6424 | 30.0097 | 27.3988 | 17.0944 | 7.1173 | 2.5336 | 3.4644
2023-01-01 | 24.1001 | 30.1433 | 27.3988 | 17.0944 | 7.1173 | 2.5336 | 3.4644
2023-02-01 | 24.6563 | 30.1952 | 27.3988 | 17.0944 | 7.1173 | 2.5336 | 3.4644
2023-03-01 | 25.2168 | 30.2789 | 27.3988 | 17.0944 | 7.1173 | 2.5336 | 3.4644
2023-04-01 | 25.9231 | 30.3442 | 27.3988 | 17.0969 | 7.1173 | 2.5346 | 3.4644
2023-05-01 | 26.5414 | 30.3492 | 27.3988 | 17.0969 | 7.1173 | 2.5387 | 3.4644
2023-06-01 | 27.0123 | 30.3949 | 27.3988 | 17.0969 | 7.1173 | 2.5402 | 3.4644
2023-07-01 | 28.0986 | 30.4656 | 27.3988 | 17.0969 | 7.1173 | 2.5402 | 3.4644
2023-08-01 | 28.4481 | 30.4862 | 27.3988 | 17.0969 | 7.1173 | 2.5408 | 3.4644
2023-09-01 | 29.2808 | 30.5346 | 27.3988 | 17.0969 | 7.1173 | 2.5408 | 3.4644
2023-10-01 | 29.7935 | 30.5733 | 27.3988 | 17.0976 | 7.1173 | 2.5408 | 3.4644
2023-11-01 | 30.5619 | 30.6476 | 27.3988 | 17.0976 | 7.1173 | 2.5408 | 3.4644
2023-12-01 | 31.6277 | 30.8022 | 27.3988 | 17.0976 | 7.1173 | 2.5422 | 3.4644
2024-01-01 | 32.1766 | 30.8067 | 27.3988 | 17.0976 | 7.1173 | 2.5427 | 3.4644
2024-02-01 | 32.6746 | 30.826 | 27.3988 | 17.0976 | 7.1173 | 2.5432 | 2.0612
2024-03-01 | 33.1902 | 30.9661 | 27.3988 | 17.0976 | 7.1173 | 2.5432 | 2.0612
2024-04-01 | 33.7985 | 31.008 | 27.3988 | 17.0976 | 7.1173 | 2.5432 | 2.0612
2024-05-01 | 34.5374 | 31.199 | 27.3988 | 17.0976 | 7.1173 | 2.5442 | 2.0612
2024-06-01 | 34.954 | 31.3296 | 27.3988 | 17.0976 | 7.1173 | 2.5442 | 2.0612
2024-07-01 | 35.6665 | 31.4282 | 27.3988 | 17.0976 | 7.1173 | 2.5442 | 2.0612
2024-08-01 | 37.0156 | 31.519 | 27.3988 | 17.0976 | 7.1173 | 2.5442 | 2.0612
2024-09-01 | 37.6334 | 31.557 | 27.3988 | 17.0976 | 7.1173 | 2.5442 | 2.0612
2024-10-01 | 38.5331 | 31.6042 | 27.3988 | 17.0976 | 7.1173 | 2.5442 | 2.0612
2024-11-01 | 39.5691 | 31.6201 | 27.3988 | 17.097 | 7.1173 | 2.5442 | 2.0612
2024-12-01 | 40.3951 | 31.7482 | 27.3988 | 17.097 | 7.1173 | 2.544 | 2.0612
2025-01-01 | 41.4225 | 32.1173 | 27.3988 | 17.097 | 7.1173 | 2.544 | 2.0612
2025-02-01 | 42.0176 | 32.1882 | 27.3988 | 17.097 | 7.1173 | 2.544 | 2.0612
2025-03-01 | 42.7903 | 32.2268 | 27.3988 | 17.095 | 7.1173 | 2.5434 | 2.0612
2025-04-01 | 43.894 | 32.4665 | 27.3988 | 17.0916 | 7.1173 | 2.5387 | 2.0612
2025-05-01 | 44.4575 | 32.531 | 27.3988 | 17.0916 | 7.1173 | 2.5389 | 2.0612
2025-06-01 | 45.468 | 32.575 | 27.3988 | 17.0917 | 7.1173 | 2.5421 | 2.0612
2025-07-01 | 46.5936 | 32.7614 | 27.3988 | 17.0919 | 7.1173 | 2.592 | 2.0612
2025-08-01 | 48.2205 | 32.9211 | 27.3873 | 17.0774 | 7.1173 | 3.1419 | 1.4993
2025-09-01 | 48.8805 | 33.139 | 27.3873 | 17.0774 | 7.1173 | 3.1419 | 1.4993
2025-10-01 | 49.7185 | 33.1005 | 27.3873 | 17.0774 | 7.1173 | 3.1425 | 1.4993
2025-11-01 | 50.8328 | 33.1234 | 27.3873 | 17.0774 | 7.1173 | 3.1401 | 1.4993
2025-12-01 | 51.8911 | 33.1952 | 27.3873 | 17.0818 | 7.1173 | 3.1401 | 1.4993
2026-01-01 | 52.721 | 33.3192 | 27.3873 | 17.0818 | 7.1173 | 3.1401 | 1.4993
2026-02-01 | 53.8898 | 33.3516 | 27.3873 | 17.0834 | 7.1173 | 3.1361 | 1.4993
2026-03-01 | 54.8403 | 33.4233 | 27.3873 | 17.0824 | 7.1173 | 3.1353 | 1.4993
2026-04-01 | 56.1473 | 33.5881 | 27.3873 | 17.0824 | 7.1173 | 3.1353 | 1.4993
2026-05-01 | 56.5135 | 33.5881 | 27.3873 | 17.0824 | 7.1173 | 3.1353 | 1.4993
2026-06-01 | 57.7722 | 33.5492 | 27.3873 | 17.0824 | 7.1173 | 3.1353 | 1.4993
2026-07-01 | 58.3374 | 33.5509 | 27.3873 | 17.0812 | 7.1173 | 3.1353 | 1.4993
2026-08-01 | 58.446 | 33.5977 | 27.3873 | 17.0809 | 7.1173 | 3.1354 | 1.4993
2026-09-01 | 58.5579 | 33.5977 | 27.3873 | 17.0809 | 7.1173 | 3.1354 | 1.4993
2026-10-01 | 58.59 | 33.5943 | 27.3873 | 17.0807 | 7.1173 | 3.1354 | 1.4993
2026-11-01 | 58.8973 | 33.7049 | 27.3873 | 17.0807 | 7.1173 | 3.1382 | 1.4993

## Chart - Net additions
Date | Solar | Wind
2021-02-01 | 145.8 | 8.7
2021-03-01 | 333.7 | 93.2
2021-04-01 | 335.5 | 28.3
2021-05-01 | 189.1 | 43.9
2021-06-01 | 307.2 | 150.5
2021-07-01 | 360 | 129.7
2021-08-01 | 347.8 | 83.3
2021-09-01 | 168.3 | 0
2021-10-01 | 174.1 | 4.6
2021-11-01 | 277.1 | 202.2
2021-12-01 | 552.2 | 2
2022-01-01 | 758.6 | 256.1
2022-02-01 | 469.7 | 22.7
2022-03-01 | 276 | 208.5
2022-04-01 | 314.7 | 158.3
2022-05-01 | 215.3 | 48.8
2022-06-01 | 583.1 | 467.2
2022-07-01 | 282.3 | 55.4
2022-08-01 | 1054.8 | 0
2022-09-01 | 340.4 | 61.3
2022-10-01 | 330.4 | 81.1
2022-11-01 | 339.6 | 61.3
2022-12-01 | 1010.3 | 177.2
2023-01-01 | 457.7 | 133.6
2023-02-01 | 556.2 | 51.9
2023-03-01 | 560.5 | 83.7
2023-04-01 | 706.3 | 65.3
2023-05-01 | 618.3 | 5
2023-06-01 | 470.9 | 45.7
2023-07-01 | 1086.3 | 70.7
2023-08-01 | 349.5 | 20.6
2023-09-01 | 832.7 | 48.4
2023-10-01 | 512.7 | 38.7
2023-11-01 | 768.4 | 74.3
2023-12-01 | 1065.8 | 154.6
2024-01-01 | 548.9 | 4.5
2024-02-01 | 498 | 19.3
2024-03-01 | 515.6 | 140.1
2024-04-01 | 608.3 | 41.9
2024-05-01 | 738.9 | 191
2024-06-01 | 416.6 | 130.6
2024-07-01 | 712.5 | 98.6
2024-08-01 | 1349.1 | 90.8
2024-09-01 | 617.8 | 38
2024-10-01 | 899.7 | 47.2
2024-11-01 | 1036 | 15.9
2024-12-01 | 826 | 128.1
2025-01-01 | 1027.4 | 369.1
2025-02-01 | 595.1 | 70.9
2025-03-01 | 772.7 | 38.6
2025-04-01 | 1103.7 | 239.7
2025-05-01 | 563.5 | 64.5
2025-06-01 | 1010.5 | 44
2025-07-01 | 1125.6 | 186.4
2025-08-01 | 1626.9 | 159.7
2025-09-01 | 660 | 217.9
2025-10-01 | 838 | -38.5
2025-11-01 | 1114.3 | 22.9
2025-12-01 | 1058.3 | 71.8
2026-01-01 | 829.9 | 124
2026-02-01 | 1168.8 | 32.4
2026-03-01 | 950.5 | 71.7
2026-04-01 | 1307 | 164.8
2026-05-01 | 366.2 | 0
2026-06-01 | 1258.7 | -38.9
2026-07-01 | 565.2 | 1.7
2026-08-01 | 108.6 | 46.8
2026-09-01 | 111.9 | 0
2026-10-01 | 32.1 | -3.4
2026-11-01 | 307.3 | 110.6

## Monthly
date | Hydro_MW | Gas_MW | Wind_MW | Solar_MW | Coal_MW | Nuclear_MW | Oil_MW | Bioenergy_MW | Other_MW | Total_MW | PumpedStorage_MW | Storage_MW | Solar_PV_MW | Solar_thermal_MW | Combined_cycle_MW | Cogeneration_MW | Total_REE_MW
2021-01-01 | 17098.8 | 27398.8 | 27665.4 | 14476.4 | 5733.2 | 7117.3 | 1259.3 | 1256.7 | 6116.2 | 108122 |  |  | 12174.1 | 2302.2 | 26250.1 | 5690.1 | 108122
2021-02-01 | 17098.8 | 27398.8 | 27674.1 | 14622.2 | 5385.5 | 7117.3 | 1259.3 | 1256.7 | 6112.2 | 107924.8 |  |  | 12320 | 2302.2 | 26250.1 | 5686.1 | 107924.8
2021-03-01 | 17094.3 | 27398.8 | 27767.3 | 14955.9 | 4883.7 | 7117.3 | 1259.3 | 1270 | 6125 | 107871.5 |  |  | 12653.7 | 2302.2 | 26250.1 | 5686.1 | 107871.5
2021-04-01 | 17094.3 | 27398.8 | 27795.6 | 15291.4 | 4883.7 | 7117.3 | 1259.3 | 1271 | 6125 | 108236.4 |  |  | 12989.2 | 2302.2 | 26250.1 | 5686.1 | 108236.4
2021-05-01 | 17094.3 | 27398.8 | 27839.5 | 15480.5 | 4883.7 | 7117.3 | 1259.3 | 1271 | 6113.9 | 108458.2 |  |  | 13178.3 | 2302.2 | 26250.1 | 5675 | 108458.2
2021-06-01 | 17094.3 | 27398.8 | 27990 | 15787.7 | 4883.7 | 7117.3 | 1259.3 | 1273 | 6113.9 | 108918 |  |  | 13485.5 | 2302.2 | 26250.1 | 5675 | 108918
2021-07-01 | 17094.3 | 27398.8 | 28119.7 | 16147.7 | 4883.7 | 7117.3 | 1259.3 | 1273 | 6102.9 | 109396.6 |  |  | 13845.4 | 2302.2 | 26250.1 | 5664 | 109396.6
2021-08-01 | 17094.3 | 27398.8 | 28203 | 16495.5 | 4883.7 | 7117.3 | 1259.3 | 1272.6 | 6087.9 | 109812.3 |  |  | 14193.3 | 2302.2 | 26250.1 | 5649.1 | 109812.3
2021-09-01 | 17094.3 | 27398.8 | 28203 | 16663.8 | 4883.7 | 7117.3 | 1259.3 | 1272.6 | 6087.9 | 109980.6 |  |  | 14361.6 | 2302.2 | 26250.1 | 5649.1 | 109980.6
2021-10-01 | 17094.4 | 27398.8 | 28207.6 | 16837.9 | 4883.7 | 7117.3 | 1259.3 | 1272.6 | 6081.7 | 110153.4 |  |  | 14535.7 | 2302.2 | 26250.1 | 5642.8 | 110153.3
2021-11-01 | 17094.4 | 27398.8 | 28409.8 | 17115 | 4883.7 | 7117.3 | 1259.3 | 1272.6 | 6081.7 | 110632.6 |  |  | 14812.7 | 2302.2 | 26250.1 | 5642.8 | 110632.6
2021-12-01 | 17094.4 | 27398.8 | 28411.8 | 17667.2 | 4883.7 | 7117.3 | 1259.3 | 1272.6 | 6081.7 | 111186.8 |  |  | 15364.9 | 2302.2 | 26250.1 | 5642.9 | 111186.8
2022-01-01 | 17094.4 | 27398.8 | 28667.9 | 18425.8 | 3764.1 | 7117.3 | 1259.3 | 1272.6 | 6078.4 | 111078.6 |  |  | 16123.6 | 2302.2 | 26250.1 | 5639.5 | 111078.6
2022-02-01 | 17094.4 | 27398.8 | 28690.6 | 18895.5 | 3764.1 | 7117.3 | 1259.3 | 1272.6 | 6077.1 | 111569.7 |  |  | 16593.3 | 2302.2 | 26250.1 | 5638.2 | 111569.7
2022-03-01 | 17094.4 | 27398.8 | 28899.1 | 19171.5 | 3764.1 | 7117.3 | 1259.3 | 1273.9 | 6081.3 | 112059.6 |  |  | 16869.2 | 2302.2 | 26250.1 | 5642.4 | 112059.6
2022-04-01 | 17094.4 | 27398.8 | 29057.4 | 19486.2 | 3764.1 | 7117.3 | 1259.3 | 1273.9 | 6081.3 | 112532.6 |  |  | 17183.9 | 2302.3 | 26250.1 | 5642.4 | 112532.6
2022-05-01 | 17094.4 | 27398.8 | 29106.2 | 19701.5 | 3764.1 | 7117.3 | 1259.3 | 1273.9 | 6081.3 | 112796.9 |  |  | 17399.3 | 2302.3 | 26250.1 | 5642.5 | 112796.9
2022-06-01 | 17094.4 | 27398.8 | 29573.4 | 20284.6 | 3764.1 | 7117.3 | 1259.3 | 1274.3 | 6071.2 | 113837.4 |  |  | 17982.3 | 2302.3 | 26250.1 | 5632.4 | 113837.4
2022-07-01 | 17094.4 | 27398.8 | 29628.8 | 20566.9 | 3764.1 | 7117.3 | 1259.3 | 1274.3 | 6049.2 | 114153 |  |  | 18264.6 | 2302.3 | 26250.1 | 5629.7 | 114153
2022-08-01 | 17094.4 | 27398.8 | 29628.8 | 21621.7 | 3764.1 | 7117.3 | 1259.3 | 1274.3 | 6050.7 | 115209.4 |  |  | 19319.4 | 2302.3 | 26250.1 | 5631.3 | 115209.4
2022-09-01 | 17094.4 | 27398.8 | 29690.1 | 21962.1 | 3464.4 | 7117.3 | 1259.3 | 1274.3 | 6057.6 | 115318.3 |  |  | 19659.8 | 2302.3 | 26250.1 | 5638.2 | 115318.3
2022-10-01 | 17094.4 | 27398.8 | 29771.2 | 22292.5 | 3464.4 | 7117.3 | 1259.3 | 1274.3 | 6057.7 | 115729.8 |  |  | 19990.2 | 2302.3 | 26250.1 | 5638.3 | 115729.8
2022-11-01 | 17094.4 | 27398.8 | 29832.5 | 22632.1 | 3464.4 | 7117.3 | 1259.3 | 1274.3 | 6057.8 | 116130.9 |  |  | 20329.8 | 2302.3 | 26250.1 | 5638.4 | 116130.9
2022-12-01 | 17094.4 | 27398.8 | 30009.7 | 23642.4 | 3464.4 | 7117.3 | 1259.3 | 1274.3 | 6057.9 | 117318.4 |  |  | 21340.1 | 2302.3 | 26250.1 | 5638.4 | 117318.4
2023-01-01 | 17094.4 | 27398.8 | 30143.3 | 24100.1 | 3464.4 | 7117.3 | 1259.3 | 1274.3 | 6052.7 | 117904.6 |  |  | 21797.7 | 2302.3 | 26250.1 | 5633.3 | 117904.5
2023-02-01 | 17094.4 | 27398.8 | 30195.2 | 24656.3 | 3464.4 | 7117.3 | 1259.3 | 1274.3 | 6052.8 | 118512.7 |  |  | 22353.9 | 2302.4 | 26250.1 | 5633.3 | 118512.7
2023-03-01 | 17094.4 | 27398.8 | 30278.9 | 25216.8 | 3464.4 | 7117.3 | 1259.3 | 1274.3 | 6052.8 | 119156.9 |  |  | 22914.5 | 2302.4 | 26250.1 | 5633.4 | 119156.9
2023-04-01 | 17096.9 | 27398.8 | 30344.2 | 25923.1 | 3464.4 | 7117.3 | 1259.3 | 1275.3 | 6052.8 | 119932.1 |  |  | 23620.7 | 2302.4 | 26250.1 | 5633.4 | 119932.1
2023-05-01 | 17096.9 | 27398.8 | 30349.2 | 26541.4 | 3464.4 | 7117.3 | 1259.3 | 1279.4 | 6053 | 120559.6 |  |  | 24238.9 | 2302.5 | 26250.1 | 5633.5 | 120559.6
2023-06-01 | 17096.9 | 27398.8 | 30394.9 | 27012.3 | 3464.4 | 7117.3 | 1259.3 | 1280.9 | 6052.7 | 121077.4 |  |  | 24709.8 | 2302.6 | 26250.1 | 5633.3 | 121077.4
2023-07-01 | 17096.9 | 27398.8 | 30465.6 | 28098.6 | 3464.4 | 7117.3 | 1259.3 | 1280.9 | 6052.7 | 122234.4 |  |  | 25796 | 2302.6 | 26250.1 | 5633.3 | 122234.4
2023-08-01 | 17096.9 | 27398.8 | 30486.2 | 28448.1 | 3464.4 | 7117.3 | 1259.3 | 1281.5 | 6052.8 | 122605.2 |  |  | 26145.5 | 2302.6 | 26250.1 | 5633.3 | 122605.2
2023-09-01 | 17096.9 | 27398.8 | 30534.6 | 29280.8 | 3464.4 | 7117.3 | 1259.3 | 1281.5 | 6052.8 | 123486.3 |  |  | 26978.2 | 2302.6 | 26250.1 | 5633.4 | 123486.3
2023-10-01 | 17097.6 | 27398.8 | 30573.3 | 29793.5 | 3464.4 | 7117.3 | 1259.3 | 1281.5 | 6052.8 | 124038.4 |  |  | 27490.9 | 2302.7 | 26250.1 | 5633.4 | 124038.4
2023-11-01 | 17097.6 | 27398.8 | 30647.6 | 30561.9 | 3464.4 | 7117.3 | 1259.3 | 1281.5 | 6045.1 | 124873.3 |  |  | 28259.2 | 2302.7 | 26250.1 | 5625.7 | 124873.3
2023-12-01 | 17097.6 | 27398.8 | 30802.2 | 31627.7 | 3464.4 | 7117.3 | 1259.3 | 1282.9 | 6045.1 | 126095.2 |  |  | 29325 | 2302.7 | 26250.1 | 5625.7 | 126095.2
2024-01-01 | 17097.6 | 27398.8 | 30806.7 | 32176.6 | 3464.4 | 7117.3 | 1259.3 | 1283.4 | 6045.1 | 126649.2 |  |  | 29873.9 | 2302.7 | 26250.1 | 5625.7 | 126649.2
2024-02-01 | 17097.6 | 27398.8 | 30826 | 32674.6 | 2061.2 | 7117.3 | 1259.3 | 1283.9 | 6045.4 | 125764 |  |  | 30371.8 | 2302.8 | 26250.1 | 5626 | 125764
2024-03-01 | 17097.6 | 27398.8 | 30966.1 | 33190.2 | 2061.2 | 7117.3 | 1259.3 | 1283.9 | 6038.6 | 126412.9 |  |  | 30887.4 | 2302.8 | 26250.1 | 5619.2 | 126412.9
2024-04-01 | 17097.6 | 27398.8 | 31008 | 33798.5 | 2061.2 | 7117.3 | 1259.3 | 1283.9 | 6038.8 | 127063.2 |  |  | 31495.7 | 2302.8 | 26250.1 | 5619.2 | 127063.2
2024-05-01 | 17097.6 | 27398.8 | 31199 | 34537.4 | 2061.2 | 7117.3 | 1259.3 | 1284.9 | 6038.8 | 127994.1 |  |  | 32234.6 | 2302.8 | 26250.1 | 5619.3 | 127994.1
2024-06-01 | 17097.6 | 27398.8 | 31329.6 | 34954 | 2061.2 | 7117.3 | 1259.3 | 1284.9 | 6037.8 | 128540.3 |  |  | 32651.2 | 2302.8 | 26250.1 | 5618.3 | 128540.3
2024-07-01 | 17097.6 | 27398.8 | 31428.2 | 35666.5 | 2061.2 | 7117.3 | 1259.3 | 1284.9 | 6034.1 | 129347.7 |  |  | 33363.6 | 2302.8 | 26250.1 | 5614.5 | 129347.7
2024-08-01 | 17097.6 | 27398.8 | 31519 | 37015.6 | 2061.2 | 7117.3 | 1259.3 | 1284.9 | 6034.1 | 130787.6 |  |  | 34712.7 | 2302.9 | 26250.1 | 5614.5 | 130787.6
2024-09-01 | 17097.6 | 27398.8 | 31557 | 37633.4 | 2061.2 | 7117.3 | 1259.3 | 1284.9 | 6017.2 | 131426.5 |  |  | 35330.5 | 2302.9 | 26250.1 | 5597.6 | 131426.5
2024-10-01 | 17097.6 | 27398.8 | 31604.2 | 38533.1 | 2061.2 | 7117.3 | 1259.3 | 1284.9 | 6017.2 | 132373.4 |  |  | 36230.2 | 2302.9 | 26250.1 | 5597.6 | 132373.4
2024-11-01 | 17097 | 27398.8 | 31620.1 | 39569.1 | 2061.2 | 7117.3 | 1259.3 | 1284.9 | 6017.3 | 133424.8 |  |  | 37266.1 | 2302.9 | 26250.1 | 5597.7 | 133424.8
2024-12-01 | 17097 | 27398.8 | 31748.2 | 40395.1 | 2061.2 | 7117.3 | 1259.3 | 1284.7 | 6002.4 | 134364.1 |  |  | 38092.2 | 2302.9 | 26250.1 | 5582.9 | 134364.1
2025-01-01 | 17097 | 27398.8 | 32117.3 | 41422.5 | 2061.2 | 7117.3 | 1259.3 | 1284.7 | 6002.5 | 135760.5 |  |  | 39119.6 | 2303 | 26250.1 | 5582.9 | 135760.5
2025-02-01 | 17097 | 27398.8 | 32188.2 | 42017.6 | 2061.2 | 7117.3 | 1259.3 | 1284.7 | 5999.7 | 136423.7 |  |  | 39714.6 | 2303 | 26250.1 | 5580.2 | 136423.7
2025-03-01 | 17095 | 27398.8 | 32226.8 | 42790.3 | 2061.2 | 7117.3 | 1259.3 | 1284.1 | 5957.4 | 137190.2 |  |  | 40487.2 | 2303.1 | 26250.1 | 5537.9 | 137190.2
2025-04-01 | 17091.6 | 27398.8 | 32466.5 | 43894 | 2061.2 | 7117.3 | 1259.3 | 1279.4 | 5905.3 | 138473.4 |  |  | 41590.8 | 2303.2 | 26250.1 | 5485.8 | 138473.4
2025-05-01 | 17091.6 | 27398.8 | 32531 | 44457.5 | 2061.2 | 7117.3 | 1259.3 | 1279.6 | 5899.9 | 139096.1 |  |  | 42154.3 | 2303.3 | 26250.1 | 5480.3 | 139096.1
2025-06-01 | 17091.7 | 27398.8 | 32575 | 45468 | 2061.2 | 7117.3 | 1259.3 | 1282.8 | 5899.9 | 140153.9 |  |  | 43164.7 | 2303.3 | 26250.1 | 5480.3 | 140153.9
2025-07-01 | 17091.9 | 27398.8 | 32761.4 | 46593.6 | 2061.2 | 7117.3 | 1259.3 | 1332.7 | 5899.9 | 141516 |  |  | 44290.3 | 2303.3 | 26250.1 | 5480.4 | 141516
2025-08-01 | 17077.4 | 27387.3 | 32921.1 | 48220.5 | 1499.3 | 7117.3 | 1821.1 | 1320.8 | 5708.3 | 143073.1 |  |  | 45918.5 | 2302 | 26250.1 | 5297.7 | 143073.1
2025-09-01 | 17077.4 | 27387.3 | 33139 | 48880.5 | 1499.3 | 7117.3 | 1821.1 | 1320.8 | 5703.3 | 143946 |  |  | 46578.5 | 2302 | 26250.1 | 5292.7 | 143946.1
2025-10-01 | 17077.4 | 27387.3 | 33100.5 | 49718.5 | 1499.3 | 7117.3 | 1821.1 | 1321.4 | 5702.8 | 144745.7 |  |  | 47416.5 | 2302 | 26250.1 | 5292.2 | 144745.7
2025-11-01 | 17077.4 | 27387.3 | 33123.4 | 50832.8 | 1499.3 | 7117.3 | 1821.1 | 1319 | 5691.4 | 145869.2 |  |  | 48530.8 | 2302 | 26250.1 | 5280.8 | 145869.2
2025-12-01 | 17081.8 | 27387.3 | 33195.2 | 51891.1 | 1499.3 | 7117.3 | 1821.1 | 1319 | 5684.7 | 146996.9 |  |  | 49589 | 2302 | 26250.1 | 5274.1 | 146996.9
2026-01-01 | 17081.8 | 27387.3 | 33319.2 | 52721 | 1499.3 | 7117.3 | 1821.1 | 1319 | 5679.5 | 147945.7 |  |  | 50418.9 | 2302.1 | 26250.1 | 5268.9 | 147945.7
2026-02-01 | 17083.4 | 27387.3 | 33351.6 | 53889.8 | 1499.3 | 7117.3 | 1821.1 | 1315 | 5679.6 | 149144.5 |  |  | 51587.7 | 2302.1 | 26250.1 | 5269 | 149144.5
2026-03-01 | 17082.4 | 27387.3 | 33423.3 | 54840.3 | 1499.3 | 7117.3 | 1821.1 | 1314.2 | 5683 | 150168.3 |  |  | 52538.2 | 2302.1 | 26250.1 | 5272.4 | 150168.3
2026-04-01 | 17082.4 | 27387.3 | 33588.1 | 56147.3 | 1499.3 | 7117.3 | 1821.1 | 1314.2 | 5683 | 151640.1 |  |  | 53845.2 | 2302.1 | 26250.1 | 5272.4 | 151640.1
2026-05-01 | 17082.4 | 27387.3 | 33588.1 | 56513.5 | 1499.3 | 7117.3 | 1821.1 | 1314.2 | 5706 | 152029.3 |  |  | 54211.3 | 2302.1 | 26250.1 | 5295.4 | 152029.3
2026-06-01 | 17082.4 | 27387.3 | 33549.2 | 57772.2 | 1499.3 | 7117.3 | 1821.1 | 1314.2 | 5706.9 | 153250 |  |  | 55470.1 | 2302.1 | 26250.1 | 5296.3 | 153250
2026-07-01 | 17081.2 | 27387.3 | 33550.9 | 58337.4 | 1499.3 | 7117.3 | 1821.1 | 1314.2 | 5688.2 | 153797.1 |  |  | 56035.2 | 2302.2 | 26250.1 | 5277.6 | 153797.1
2026-08-01 | 17080.9 | 27387.3 | 33597.7 | 58446 | 1499.3 | 7117.3 | 1821.1 | 1314.3 | 5680.8 | 153944.7 |  |  | 56143.8 | 2302.2 | 26250.1 | 5270.2 | 153944.7
2026-09-01 | 17080.9 | 27387.3 | 33597.7 | 58557.9 | 1499.3 | 7117.3 | 1821.1 | 1314.3 | 5680.8 | 154056.6 |  |  | 56255.7 | 2302.2 | 26250.1 | 5270.2 | 154056.6
2026-10-01 | 17080.7 | 27387.3 | 33594.3 | 58590 | 1499.3 | 7117.3 | 1821.1 | 1314.3 | 5632.5 | 154036.8 |  |  | 56287.8 | 2302.2 | 26250.1 | 5221.9 | 154036.8
2026-11-01 | 17080.7 | 27387.3 | 33704.9 | 58897.3 | 1499.3 | 7117.3 | 1821.1 | 1317.1 | 5586.4 | 154411.5 |  |  | 56595.2 | 2302.1 | 26250.1 | 5175.8 | 154411.5

## Check_ENTSOE
date | series | this_file_MW | ENTSOE_A68_MW | difference_MW | difference_pct
2021-01-01 | Hydro_MW | 17098.8 | 20340 | -3241.2 | -15.9
2021-01-01 | Gas_MW | 27398.8 | 29970 | -2571.2 | -8.6
2021-01-01 | Wind_MW | 27665.4 | 26664 | 1001.4 | 3.8
2021-01-01 | Solar_MW | 14476.4 | 11390 | 3086.4 | 27.1
2021-01-01 | Coal_MW | 5733.2 | 5977 | -243.8 | -4.1
2021-01-01 | Nuclear_MW | 7117.3 | 7117 | 0.3 | 0
2021-01-01 | Oil_MW | 1259.3 | 678 | 581.3 | 85.7
2021-01-01 | Bioenergy_MW | 1256.7 | 704 | 552.7 | 78.5
2021-01-01 | Total_MW | 108122 | 103763 | 4359 | 4.2
2022-01-01 | Hydro_MW | 17094.4 | 20342 | -3247.6 | -16
2022-01-01 | Gas_MW | 27398.8 | 29927 | -2528.2 | -8.4
2022-01-01 | Wind_MW | 28667.9 | 27735 | 932.9 | 3.4
2022-01-01 | Solar_MW | 18425.8 | 14640 | 3785.8 | 25.9
2022-01-01 | Coal_MW | 3764.1 | 4642 | -877.9 | -18.9
2022-01-01 | Nuclear_MW | 7117.3 | 7117 | 0.3 | 0
2022-01-01 | Oil_MW | 1259.3 | 669 | 590.3 | 88.2
2022-01-01 | Bioenergy_MW | 1272.6 | 702 | 570.6 | 81.3
2022-01-01 | Total_MW | 111078.6 | 106729 | 4349.6 | 4.1
2023-01-01 | Hydro_MW | 17094.4 | 16928 | 166.4 | 1
2023-01-01 | Gas_MW | 27398.8 | 29903 | -2504.2 | -8.4
2023-01-01 | Wind_MW | 30143.3 | 29320 | 823.3 | 2.8
2023-01-01 | Solar_MW | 24100.1 | 18522 | 5578.1 | 30.1
2023-01-01 | Coal_MW | 3464.4 | 3223 | 241.4 | 7.5
2023-01-01 | Nuclear_MW | 7117.3 | 7117 | 0.3 | 0
2023-01-01 | Oil_MW | 1259.3 | 670 | 589.3 | 88
2023-01-01 | Bioenergy_MW | 1274.3 | 707 | 567.3 | 80.2
2023-01-01 | Total_MW | 117904.6 | 107339 | 10565.6 | 9.8
2024-01-01 | Hydro_MW | 17097.6 | 16926 | 171.6 | 1
2024-01-01 | Gas_MW | 27398.8 | 29873 | -2474.2 | -8.3
2024-01-01 | Wind_MW | 30806.7 | 30159 | 647.7 | 2.1
2024-01-01 | Solar_MW | 32176.6 | 23867 | 8309.6 | 34.8
2024-01-01 | Coal_MW | 3464.4 | 3223 | 241.4 | 7.5
2024-01-01 | Nuclear_MW | 7117.3 | 7117 | 0.3 | 0
2024-01-01 | Oil_MW | 1259.3 | 704 | 555.3 | 78.9
2024-01-01 | Bioenergy_MW | 1283.4 | 708 | 575.4 | 81.3
2024-01-01 | Total_MW | 126649.2 | 113532 | 13117.2 | 11.6
2025-01-01 | Hydro_MW | 17097 | 16919 | 178 | 1.1
2025-01-01 | Gas_MW | 27398.8 | 29943 | -2544.2 | -8.5
2025-01-01 | Wind_MW | 32117.3 | 30932 | 1185.3 | 3.8
2025-01-01 | Solar_MW | 41422.5 | 29047 | 12375.5 | 42.6
2025-01-01 | Coal_MW | 2061.2 | 1820 | 241.2 | 13.3
2025-01-01 | Nuclear_MW | 7117.3 | 7117 | 0.3 | 0
2025-01-01 | Oil_MW | 1259.3 | 672 | 587.3 | 87.4
2025-01-01 | Bioenergy_MW | 1284.7 | 709 | 575.7 | 81.2
2025-01-01 | Total_MW | 135760.5 | 118455 | 17305.5 | 14.6
2026-01-01 | Hydro_MW | 17081.8 | 16886 | 195.8 | 1.2
2026-01-01 | Gas_MW | 27387.3 | 29921 | -2533.7 | -8.5
2026-01-01 | Wind_MW | 33319.2 | 32451 | 868.2 | 2.7
2026-01-01 | Solar_MW | 52721 | 41433 | 11288 | 27.2
2026-01-01 | Coal_MW | 1499.3 | 1258 | 241.3 | 19.2
2026-01-01 | Nuclear_MW | 7117.3 | 7117 | 0.3 | 0
2026-01-01 | Oil_MW | 1821.1 | 726 | 1095.1 | 150.8
2026-01-01 | Bioenergy_MW | 1319 | 753 | 566 | 75.2
2026-01-01 | Total_MW | 147945.7 | 132023 | 15922.7 | 12.1

## Check_REData_year
date | series | REData_year_value_MW | REData_December_month_MW | difference_MW
2022-01-01 | Total_REE_MW | 111078.6 | 111078.6 | 0
2022-01-01 | Wind_MW | 28667.9 | 28667.9 | 0
2022-01-01 | Solar_PV_MW | 16123.6 | 16123.6 | 0
2022-01-01 | Hydro_MW | 17094.4 | 17094.4 | 0
2023-01-01 | Total_REE_MW | 117904.5 | 117904.5 | 0
2023-01-01 | Wind_MW | 30143.3 | 30143.3 | 0
2023-01-01 | Solar_PV_MW | 21797.7 | 21797.7 | 0
2023-01-01 | Hydro_MW | 17094.4 | 17094.4 | 0
2024-01-01 | Total_REE_MW | 126649.2 | 126649.2 | 0
2024-01-01 | Wind_MW | 30806.7 | 30806.7 | 0
2024-01-01 | Solar_PV_MW | 29873.9 | 29873.9 | 0
2024-01-01 | Hydro_MW | 17097.6 | 17097.6 | 0
2025-01-01 | Total_REE_MW | 135760.5 | 135760.5 | 0
2025-01-01 | Wind_MW | 32117.3 | 32117.3 | 0
2025-01-01 | Solar_PV_MW | 39119.6 | 39119.6 | 0
2025-01-01 | Hydro_MW | 17097 | 17097 | 0
2026-01-01 | Total_REE_MW | 147945.7 | 147945.7 | 0
2026-01-01 | Wind_MW | 33319.2 | 33319.2 | 0
2026-01-01 | Solar_PV_MW | 50418.9 | 50418.9 | 0
2026-01-01 | Hydro_MW | 17081.8 | 17081.8 | 0

## Releases
source | checked_utc | detail | sha256
REData potencia-instalada-generacion | 2026-10-12 04:47 UTC | last-update 2026-10-01T18:48:27.000+02:00