## Units
Notes
Poland - QUARTERLY installed renewable capacity by technology, MW, URE register (PARTIAL: not a national total).
Source
URE 'Instalacje odnawialnych zrodel energii - stan na <date>' xlsx releases (https://www.ure.gov.pl/pl/oze/potencjal-krajowy-oze): the plants in URE's concession / register scope with installed electrical power and technology code.
One row per release; the row dated 1 Jan holds the stock at 31 December, 1 Apr = 31 March, 1 Jul = 30 June, 1 Oct = 30 September (same convention as ENTSO-E). No month between releases is shown or interpolated.
Limits
Prosumer micro-installations are NOT in the register, so Solar_MW is about half of ENTSO-E's figure; wind, hydro and biogas are close to ENTSO-E. Cofiring_WS_MW (biomass co-firing in coal units) counts the same plant again and is NOT in Total_MW.
Codes: PV/PVA solar, WI/WIL wind, WO hydro, BG biogas, BM biomass, ITPO waste thermal treatment and H2 (Other), WS co-firing. Thermal plant has no monthly or quarterly source (PSE publishes none).
Releases before Dec 2019 are not read. Older layouts differ (columns); the parser finds the technology and power columns by header.
Method
Releases already stored are not downloaded again except the two newest (revisions); sheet Releases lists every file and its hash.

## Chart
Date | Hydro | Wind | Solar | Bioenergy | Other
2021-01-01 | 0.976 | 6.3471 | 0.8874 | 1.5988 | 0.1698
2021-07-01 | 0.98 | 6.6804 | 1.138 | 1.6006 | 0.1698
2022-01-01 | 0.9905 | 7.159 | 1.6932 | 1.5063 | 0.1698
2023-01-01 | 0.9809 | 8.2877 | 3.1374 | 1.5827 | 0.1715
2023-07-01 | 0.9814 | 8.9777 | 4.0698 | 1.6009 | 0.1715
2024-01-01 | 0.9821 | 9.5605 | 5.1798 | 1.5453 | 0.1715
2024-07-01 | 0.9836 | 9.8638 | 6.6207 | 1.5532 | 0.1725
2025-01-01 | 0.9846 | 10.5224 | 8.5564 | 1.5764 | 0.1862
2025-04-01 | 0.9847 | 10.6472 | 9.1807 | 1.5759 | 0.2041
2025-07-01 | 0.9846 | 10.8384 | 9.8156 | 1.5892 | 0.2041
2025-10-01 | 0.9848 | 10.8534 | 10.9336 | 1.6235 | 0.2342
2026-01-01 | 0.9855 | 10.9757 | 11.5724 | 1.5159 | 0.2342
2026-04-01 | 0.9852 | 11.3626 | 12.0891 | 1.5226 | 0.2342
2026-07-01 | 0.991 | 11.3948 | 12.7617 | 1.5321 | 0.2423

## Chart - Net additions
Date | Solar | Wind
2021-07-01 | 250.6 | 333.3
2022-01-01 | 555.2 | 478.6
2023-01-01 | 1444.2 | 1128.7
2023-07-01 | 932.4 | 690
2024-01-01 | 1110 | 582.8
2024-07-01 | 1440.9 | 303.3
2025-01-01 | 1935.7 | 658.6
2025-04-01 | 624.3 | 124.8
2025-07-01 | 634.9 | 191.2
2025-10-01 | 1118 | 15
2026-01-01 | 638.8 | 122.3
2026-04-01 | 516.7 | 386.9
2026-07-01 | 672.6 | 32.2

## Quarterly
date | Hydro_MW | Wind_MW | Solar_MW | Bioenergy_MW | Other_MW | Total_MW | Biogas_MW | Biomass_MW | Cofiring_WS_MW
2020-01-01 | 973.1 | 5917.2 | 477.7 | 1738.2 |  | 9106.2 | 245.4 | 1492.9 | 0
2021-01-01 | 976 | 6347.1 | 887.4 | 1598.8 | 169.8 | 9979.2 | 255.7 | 1343.1
2021-07-01 | 980 | 6680.4 | 1138 | 1600.6 | 169.8 | 10568.9 | 257.2 | 1343.5
2022-01-01 | 990.5 | 7159 | 1693.2 | 1506.3 | 169.8 | 11518.7 | 257.3 | 1248.9
2023-01-01 | 980.9 | 8287.7 | 3137.4 | 1582.7 | 171.5 | 14160.1 | 275.6 | 1307.1
2023-07-01 | 981.4 | 8977.7 | 4069.8 | 1600.9 | 171.5 | 15801.3 | 286.4 | 1314.5 | 13331.4
2024-01-01 | 982.1 | 9560.5 | 5179.8 | 1545.3 | 171.5 | 17439.2 | 295.3 | 1250.1 | 13534.9
2024-07-01 | 983.6 | 9863.8 | 6620.7 | 1553.2 | 172.5 | 19193.8 | 301.2 | 1252.1 | 13556.6
2025-01-01 | 984.6 | 10522.4 | 8556.4 | 1576.4 | 186.2 | 21826 | 313.3 | 1263 | 13559.2
2025-04-01 | 984.7 | 10647.2 | 9180.7 | 1575.9 | 204.1 | 22592.6 | 315.5 | 1260.4 | 13559.2
2025-07-01 | 984.6 | 10838.4 | 9815.6 | 1589.2 | 204.1 | 23432 | 326.8 | 1262.4 | 13366.6
2025-10-01 | 984.8 | 10853.4 | 10933.6 | 1623.5 | 234.2 | 24629.6 | 326.1 | 1297.4 | 13335.6
2026-01-01 | 985.5 | 10975.7 | 11572.4 | 1515.9 | 234.2 | 25283.7 | 328.4 | 1187.4 | 12875.8
2026-04-01 | 985.2 | 11362.6 | 12089.1 | 1522.6 | 234.2 | 26193.8 | 335.2 | 1187.4 | 12875.8
2026-07-01 | 991 | 11394.8 | 12761.7 | 1532.1 | 242.3 | 26921.9 | 337.4 | 1194.6 | 12875.8

## Check_Ember
date | series | this_file_MW | Ember_year_end_MW | difference_MW | difference_pct
2020-01-01 | Solar_MW | 477.7 | 1430 | -952.3 | -66.6
2020-01-01 | Wind_MW | 5917.2 | 5840 | 77.2 | 1.3
2020-01-01 | Hydro_MW | 973.1 | 970 | 3.1 | 0.3
2021-01-01 | Solar_MW | 887.4 | 3660 | -2772.6 | -75.8
2021-01-01 | Wind_MW | 6347.1 | 6300 | 47.1 | 0.7
2021-01-01 | Hydro_MW | 976 | 980 | -4 | -0.4
2022-01-01 | Solar_MW | 1693.2 | 7090 | -5396.8 | -76.1
2022-01-01 | Wind_MW | 7159 | 6970 | 189 | 2.7
2022-01-01 | Hydro_MW | 990.5 | 970 | 20.5 | 2.1
2023-01-01 | Solar_MW | 3137.4 | 11060 | -7922.6 | -71.6
2023-01-01 | Wind_MW | 8287.7 | 8150 | 137.7 | 1.7
2023-01-01 | Hydro_MW | 980.9 | 980 | 0.9 | 0.1
2024-01-01 | Solar_MW | 5179.8 | 15920 | -10740.2 | -67.5
2024-01-01 | Wind_MW | 9560.5 | 9340 | 220.5 | 2.4
2024-01-01 | Hydro_MW | 982.1 | 990 | -7.9 | -0.8
2025-01-01 | Solar_MW | 8556.4 | 21720 | -13163.6 | -60.6
2025-01-01 | Wind_MW | 10522.4 | 10150 | 372.4 | 3.7
2025-01-01 | Hydro_MW | 984.6 | 990 | -5.4 | -0.5
2026-01-01 | Solar_MW | 11572.4 | 25420 | -13847.6 | -54.5
2026-01-01 | Wind_MW | 10975.7 | 10600 | 375.7 | 3.5
2026-01-01 | Hydro_MW | 985.5 | 990 | -4.5 | -0.5

## Check_ENTSOE
date | series | this_file_MW | ENTSOE_A68_MW | difference_MW | difference_pct
2021-01-01 | Hydro_MW | 976 | 604 | 372 | 61.6
2021-01-01 | Wind_MW | 6347.1 | 6570 | -222.9 | -3.4
2021-01-01 | Solar_MW | 887.4 | 3473 | -2585.6 | -74.4
2021-01-01 | Bioenergy_MW | 1598.8 | 880 | 718.8 | 81.7
2022-01-01 | Hydro_MW | 990.5 | 785 | 205.5 | 26.2
2022-01-01 | Wind_MW | 7159 | 7950 | -791 | -9.9
2022-01-01 | Solar_MW | 1693.2 | 6664 | -4970.8 | -74.6
2022-01-01 | Bioenergy_MW | 1506.3 | 647 | 859.3 | 132.8
2023-01-01 | Hydro_MW | 980.9 | 792 | 188.9 | 23.9
2023-01-01 | Wind_MW | 8287.7 | 8978 | -690.3 | -7.7
2023-01-01 | Solar_MW | 3137.4 | 10643 | -7505.6 | -70.5
2023-01-01 | Bioenergy_MW | 1582.7 | 664 | 918.7 | 138.4
2024-01-01 | Hydro_MW | 982.1 | 788 | 194.1 | 24.6
2024-01-01 | Wind_MW | 9560.5 | 9583 | -22.5 | -0.2
2024-01-01 | Solar_MW | 5179.8 | 14609 | -9429.2 | -64.5
2024-01-01 | Bioenergy_MW | 1545.3 | 662 | 883.3 | 133.4
2025-01-01 | Hydro_MW | 984.6 | 790 | 194.6 | 24.6
2025-01-01 | Wind_MW | 10522.4 | 10299 | 223.4 | 2.2
2025-01-01 | Solar_MW | 8556.4 | 17816 | -9259.6 | -52
2025-01-01 | Bioenergy_MW | 1576.4 | 636 | 940.4 | 147.9
2026-01-01 | Hydro_MW | 985.5 | 791 | 194.5 | 24.6
2026-01-01 | Wind_MW | 10975.7 | 10700 | 275.7 | 2.6
2026-01-01 | Solar_MW | 11572.4 | 20734 | -9161.6 | -44.2
2026-01-01 | Bioenergy_MW | 1515.9 | 698 | 817.9 | 117.2

## Releases
source | checked_utc | detail | sha256
Instalacje OZE - stan na 30 czerwca 2026 r. | 2026-10-12 04:17 UTC | https://www.ure.gov.pl/download/9/16383/mapaozena30-06-2026.xlsx; size 587715 | 0a0c1e9798c880e23146b96e4843494bae02f9265a38ded2b91765d1b1fbaac1
Instalacje OZE - stan na 31 marca 2026 r. | 2026-10-12 04:17 UTC | https://www.ure.gov.pl/download/9/16263/mapaozena31-03-2026nastroneURE.xlsx; size 578167 | 2dd0e6168e2cd9a4f79021ef48e3bad03e02c70582f542001d7b84d87d6c94a5
Instalacje OZE - stan na 31 grudnia 2025 r. | 2026-10-12 04:17 UTC | https://www.ure.gov.pl/download/9/16120/mapaozena31-12-2025nastroneURE.xlsx; size 560189 | 2ea7e80a5dec4ea637d3fe7b5ec31f8f763df80614e0275ef73321cbba854007
Instalacje OZE - stan na 30 września 2025 r. | 2026-10-12 04:17 UTC | https://www.ure.gov.pl/download/9/15842/MapaOZEna30-09-2025nastrURE.xlsx; size 543959 | b40f78f79525647572537168ccb69cc114e5db5b58a50b309962c941f9acc6b8
Instalacje OZE - stan na 30 czerwca 2025 r. | 2026-10-12 04:17 UTC | https://www.ure.gov.pl/download/9/15727/Mapana30-06-2025nastroneURE.xlsx; size 523324 | 9630c42ef43f6e50495778247722532940107a09d753099e36c142aafcd3b2ba
Instalacje OZE - stan na 31 marca 2025 r. | 2026-10-12 04:17 UTC | https://www.ure.gov.pl/download/9/15413/Mapana31-03-2025nastroneUREuaktualnienie.xlsx; size 505634 | a364b28a99fe9afa8f3fbdd6ae0f640cac727845fc3e4b5f8807b9a4ca79604d
Instalacje OZE - stan na 31 grudnia 2024 r. | 2026-10-12 04:17 UTC | https://www.ure.gov.pl/download/9/15225/MapaOZEnastrURE.xlsx; size 482572 | b468064e75cf6e9af93fbc3d7a2f1b89655a8795d672eb21d21446e6ae8cac49
Instalacje OZE - stan na 30 czerwca 2024 r. | 2026-10-12 04:17 UTC | https://www.ure.gov.pl/download/9/14986/Mapaozenastrinternetowa.xlsx; size 433936 | c7d4ad4cc8894374c68d69a00fccc5742dda804ed54807be04434127aad41bbe
Instalacje OZE - stan na 31 grudnia 2023 r. | 2026-10-12 04:17 UTC | https://www.ure.gov.pl/download/9/14587/2023-12-31mapanastroneURE.xlsx; size 399649 | 9c655be0dd3cf98d8ffa2d1d0059ff0e56e4c2e54ab8cc9b667c5d1adc2364ce
Instalacje OZE - stan na 30 czerwca 2023 r. | 2026-10-12 04:17 UTC | https://www.ure.gov.pl/download/9/13999/MAPAna30-06-2023.xlsx; size 348358 | 101889596065a1e46e2e56f2d379ad0efbb967ce68a61a7c1448185e5d2e2d41
Instalacje OZE - stan na 31 grudnia 2022 r. | 2026-10-12 04:17 UTC | https://www.ure.gov.pl/download/9/13797/MAPAna31-12-2022nastronezprzypisem.xlsx; size 314212 | 9626621f45303f8a5fe6f8ae46c818d77e2a0daaba14bd89be7e71a8673c22c5
Instalacje OZE - stan na 31 grudnia 2021 r. | 2026-10-12 04:17 UTC | https://www.ure.gov.pl/download/9/12809/file.file; size 184211 | 5f374afd3bcbc2c1c266beaad4ba6ec64e2f3babad6f0ebe6c804796b7eb70f5
Instalacje OZE - stan na 30 czerwca 2021 r. | 2026-10-12 04:17 UTC | https://www.ure.gov.pl/download/9/12287/file.file; size 150488 | ce55be032684eed7fb2e5c7eb3fd7312f77b2c3e99de54151a541b359012b290
Instalacje OZE - stan na 31 grudnia 2020 r. | 2026-10-12 04:17 UTC | https://www.ure.gov.pl/download/9/11882/MapaOZEnastroneURE31-12-2020.xlsx; size 138669 | ac087cc952b0baf3ea1eb27c35d7b73eda68c0e590c72826ee94a33db8ebb4ef
Instalacje OZE - stan na 31 grudnia 2019 r. | 2026-10-12 04:17 UTC | https://www.ure.gov.pl/download/9/10922/Instalacjeodnawialnychzrodelenergiiwgstanunadzien31grudnia2019r.xlsx; size 117888 | 76640c245e154ba40808924ba9f76340dfe5e3b002bd908ae0e46921be91af70