## Units
Notes
UNITS
Capacity in MW (megawatts). 'Monthly' has one row per month; Total_MW = sum of the fuel columns. The chart shows the same columns in GW.
Nominal (nameplate) capacity, as ARCONEL's BNEE reports it ('Potencia Nominal en Generacion'), national total (S.N.I. plus isolated systems and self-generators).
COVERAGE
2021-12 to 2026-07 (30 rows). Monthly BNEE workbooks are on arconel.gob.ec from April 2024; earlier months were published on the retired ARCERNNR site (www.controlrecursosyenergia.gob.ec, which no longer serves them). For 2021-2023 the series has one row per year, dated 1 December: the December 'Balance nacional de energia electrica' table reprinted in ARCONEL's 'Estadistica Anual y Multianual del Sector Electrico Ecuatoriano' PDF for that year (https://arconel.gob.ec/publicaciones-estadistica-del-sector-electrico-2/). ARCONEL publishes each month about two to three months later. Months missing inside the range: 2025-05.
SOURCE
ARCONEL - Balance Nacional de Energia Electrica (BNEE), monthly workbook: https://arconel.gob.ec/balance-nacional-de-energia-electrica/ (latest month linked; older months found through the media listing https://arconel.gob.ec/wp-json/wp/v2/media?search=BNEE and the same file names). Per-month workbook URLs are in the 'BNEE by technology' tab.
Script: south_america/ECUADOR_ARCONEL_CAPACITY.py (scheduled by .github/workflows/ecuador_power_capacity.yml).
MAPPING
Hydro_MW = Hidraulica; Wind_MW = Eolica; Solar_MW = Fotovoltaica; Bioenergy_MW = Biomasa + Biogas.
Gas_MW = Turbogas (gas turbines). BNEE gives technology, not fuel: Ecuador's gas turbines include the natural-gas Termogas Machala plant and several diesel-fired units, so this is a technology proxy.
Oil_MW = MCI (internal-combustion engines, fuel oil / diesel, some on oil-field associated gas) + Turbovapor (fuel-oil steam plants).
Other_MW = any other BNEE technology row (none now). Importacion (Colombia and Peru interconnector capacity) is not generation and is left out.
VALIDATION
Latest row here (2026-07) vs Ember yearly capacity 2025 (GW; diff = (ours - Ember) / Ember):
Hydro: 5.374 GW here vs 5.390 GW Ember -> -0.3%
Gas: 0.961 GW here vs 0.810 GW Ember -> +18.6%
Wind: 0.071 GW here vs 0.070 GW Ember -> +1.6%
Solar: 0.029 GW here vs 0.130 GW Ember -> -77.6%
Oil: 2.928 GW here vs 3.510 GW Ember -> -16.6%
Bioenergy: 0.167 GW here vs 0.170 GW Ember -> -1.7%
Total: 9.530 GW here vs 10.080 GW Ember -> -5.5%

## Chart
Date | Hydro | Gas | Wind | Solar | Oil | Bioenergy | Coal | Nuclear & other
2021-12-01 | 5.1069 | 0.94385 | 0.02115 | 0.02765 | 2.4823 | 0.15262 | 0 | 0
2022-12-01 | 5.1913 | 0.94385 | 0.05315 | 0.02865 | 2.4948 | 0.15262 | 0 | 0
2023-12-01 | 5.1923 | 0.94485 | 0.07113 | 0.02906 | 2.5096 | 0.15262 | 0 | 0
2024-04-01 | 5.1998 | 0.94484 | 0.07113 | 0.02906 | 2.5653 | 0.15262 | 0 | 0
2024-05-01 | 5.2152 | 0.94474 | 0.07113 | 0.02913 | 2.5657 | 0.16362 | 0 | 0
2024-06-01 | 5.2152 | 0.94474 | 0.07113 | 0.02913 | 2.5669 | 0.16362 | 0 | 0
2024-07-01 | 5.2152 | 0.90534 | 0.07113 | 0.02813 | 2.608 | 0.16362 | 0 | 0
2024-08-01 | 5.2152 | 0.90534 | 0.07113 | 0.02813 | 2.608 | 0.16362 | 0 | 0
2024-09-01 | 5.2152 | 0.90534 | 0.07113 | 0.02913 | 2.7139 | 0.16362 | 0 | 0
2024-10-01 | 5.2152 | 0.90534 | 0.07113 | 0.02913 | 2.7139 | 0.16362 | 0 | 0
2024-11-01 | 5.2152 | 0.90535 | 0.07113 | 0.02913 | 2.6655 | 0.16642 | 0 | 0
2024-12-01 | 5.4192 | 0.94384 | 0.07113 | 0.02913 | 2.6252 | 0.16642 | 0 | 0
2025-01-01 | 5.4166 | 0.90534 | 0.07113 | 0.02913 | 2.6662 | 0.16642 | 0 | 0
2025-02-01 | 5.4166 | 0.90534 | 0.07113 | 0.02913 | 2.6662 | 0.16642 | 0 | 0
2025-03-01 | 5.4166 | 0.90534 | 0.07113 | 0.02913 | 2.7661 | 0.16642 | 0 | 0
2025-04-01 | 5.4166 | 0.90534 | 0.07113 | 0.02913 | 2.7675 | 0.16642 | 0 | 0
2025-06-01 | 5.4166 | 0.90534 | 0.07113 | 0.02913 | 2.8688 | 0.16642 | 0 | 0
2025-07-01 | 5.4177 | 0.90534 | 0.07113 | 0.02913 | 2.8706 | 0.16642 | 0 | 0
2025-08-01 | 5.4177 | 0.91902 | 0.07113 | 0.02913 | 2.8706 | 0.16642 | 0 | 0
2025-09-01 | 5.4177 | 0.91901 | 0.07113 | 0.02913 | 2.7706 | 0.16642 | 0 | 0
2025-10-01 | 5.4177 | 0.91901 | 0.07113 | 0.02913 | 2.8877 | 0.16642 | 0 | 0
2025-11-01 | 5.4177 | 0.91901 | 0.07113 | 0.02913 | 2.88 | 0.16642 | 0 | 0
2025-12-01 | 5.3889 | 0.95531 | 0.07115 | 0.02913 | 2.8372 | 0.16717 | 0 | 0
2026-01-01 | 5.3889 | 0.91681 | 0.07115 | 0.02913 | 2.9213 | 0.16717 | 0 | 0
2026-02-01 | 5.3889 | 0.91681 | 0.07115 | 0.02913 | 2.9224 | 0.16717 | 0 | 0
2026-03-01 | 5.3889 | 0.91681 | 0.07115 | 0.02913 | 2.9224 | 0.16717 | 0 | 0
2026-04-01 | 5.3889 | 1.0335 | 0.07115 | 0.02913 | 2.8199 | 0.16717 | 0 | 0
2026-05-01 | 5.3841 | 1.0335 | 0.07115 | 0.02913 | 2.815 | 0.16717 | 0 | 0
2026-06-01 | 5.3841 | 1.0335 | 0.07115 | 0.02913 | 2.8159 | 0.16717 | 0 | 0
2026-07-01 | 5.3739 | 0.96071 | 0.07115 | 0.02913 | 2.9278 | 0.16717 | 0 | 0

## Monthly
date | Hydro_MW | Gas_MW | Wind_MW | Solar_MW | Coal_MW | Nuclear_MW | Oil_MW | Bioenergy_MW | Other_MW | Total_MW
2021-12-01 | 5106.85 | 943.85 | 21.15 | 27.65 | 0 | 0 | 2482.3 | 152.62 | 0 | 8734.42
2022-12-01 | 5191.3 | 943.85 | 53.15 | 28.65 | 0 | 0 | 2494.81 | 152.62 | 0 | 8864.38
2023-12-01 | 5192.3 | 944.85 | 71.13 | 29.06 | 0 | 0 | 2509.63 | 152.62 | 0 | 8899.59
2024-04-01 | 5199.8 | 944.84 | 71.13 | 29.06 | 0 | 0 | 2565.28 | 152.62 | 0 | 8962.73
2024-05-01 | 5215.17 | 944.74 | 71.13 | 29.13 | 0 | 0 | 2565.67 | 163.62 | 0 | 8989.46
2024-06-01 | 5215.17 | 944.74 | 71.13 | 29.13 | 0 | 0 | 2566.86 | 163.62 | 0 | 8990.65
2024-07-01 | 5215.17 | 905.34 | 71.13 | 28.13 | 0 | 0 | 2607.95 | 163.62 | 0 | 8991.34
2024-08-01 | 5215.17 | 905.34 | 71.13 | 28.13 | 0 | 0 | 2607.95 | 163.62 | 0 | 8991.34
2024-09-01 | 5215.17 | 905.34 | 71.13 | 29.13 | 0 | 0 | 2713.89 | 163.62 | 0 | 9098.28
2024-10-01 | 5215.17 | 905.34 | 71.13 | 29.13 | 0 | 0 | 2713.89 | 163.62 | 0 | 9098.28
2024-11-01 | 5215.17 | 905.35 | 71.13 | 29.13 | 0 | 0 | 2665.51 | 166.42 | 0 | 9052.71
2024-12-01 | 5419.17 | 943.84 | 71.13 | 29.13 | 0 | 0 | 2625.23 | 166.42 | 0 | 9254.92
2025-01-01 | 5416.57 | 905.34 | 71.13 | 29.13 | 0 | 0 | 2666.24 | 166.42 | 0 | 9254.83
2025-02-01 | 5416.57 | 905.34 | 71.13 | 29.13 | 0 | 0 | 2666.24 | 166.42 | 0 | 9254.83
2025-03-01 | 5416.57 | 905.34 | 71.13 | 29.13 | 0 | 0 | 2766.13 | 166.42 | 0 | 9354.72
2025-04-01 | 5416.57 | 905.34 | 71.13 | 29.13 | 0 | 0 | 2767.48 | 166.42 | 0 | 9356.07
2025-06-01 | 5416.57 | 905.34 | 71.13 | 29.13 | 0 | 0 | 2868.83 | 166.42 | 0 | 9457.42
2025-07-01 | 5417.68 | 905.34 | 71.13 | 29.13 | 0 | 0 | 2870.64 | 166.42 | 0 | 9460.34
2025-08-01 | 5417.68 | 919.02 | 71.13 | 29.13 | 0 | 0 | 2870.64 | 166.42 | 0 | 9474.02
2025-09-01 | 5417.68 | 919.01 | 71.13 | 29.13 | 0 | 0 | 2770.64 | 166.42 | 0 | 9374.01
2025-10-01 | 5417.68 | 919.01 | 71.13 | 29.13 | 0 | 0 | 2887.68 | 166.42 | 0 | 9491.05
2025-11-01 | 5417.68 | 919.01 | 71.13 | 29.13 | 0 | 0 | 2880 | 166.42 | 0 | 9483.37
2025-12-01 | 5388.85 | 955.31 | 71.15 | 29.13 | 0 | 0 | 2837.22 | 167.17 | 0 | 9448.83
2026-01-01 | 5388.85 | 916.81 | 71.15 | 29.13 | 0 | 0 | 2921.34 | 167.17 | 0 | 9494.45
2026-02-01 | 5388.85 | 916.81 | 71.15 | 29.13 | 0 | 0 | 2922.39 | 167.17 | 0 | 9495.5
2026-03-01 | 5388.85 | 916.81 | 71.15 | 29.13 | 0 | 0 | 2922.39 | 167.17 | 0 | 9495.5
2026-04-01 | 5388.85 | 1033.51 | 71.15 | 29.13 | 0 | 0 | 2819.92 | 167.17 | 0 | 9509.73
2026-05-01 | 5384.07 | 1033.51 | 71.15 | 29.13 | 0 | 0 | 2814.99 | 167.17 | 0 | 9500.02
2026-06-01 | 5384.07 | 1033.51 | 71.15 | 29.13 | 0 | 0 | 2815.85 | 167.17 | 0 | 9500.88
2026-07-01 | 5373.86 | 960.71 | 71.15 | 29.13 | 0 | 0 | 2927.78 | 167.17 | 0 | 9529.8

## BNEE by technology
date | HIDRAULICA | EOLICA | FOTOVOLTAICA | BIOMASA | BIOGAS | MCI | TURBOGAS | TURBOVAPOR | source_url
2021-12-01 | 5106.85 | 21.15 | 27.65 | 144.3 | 8.32 | 2020.67 | 943.85 | 461.63 | https://arconel.gob.ec/wp-content/uploads/downloads/2025/01/Estadistica2021.pdf
2022-12-01 | 5191.3 | 53.15 | 28.65 | 144.3 | 8.32 | 2033.18 | 943.85 | 461.63 | https://arconel.gob.ec/wp-content/uploads/downloads/2025/01/EstadisticaAnual2022-baja-1.pdf
2023-12-01 | 5192.3 | 71.13 | 29.06 | 144.3 | 8.32 | 2048 | 944.85 | 461.63 | https://arconel.gob.ec/wp-content/uploads/downloads/2024/07/Estadistica-Anual-y-Multianual-del-Sector-Electrico-Ecuatoriano-2023.pdf
2024-04-01 | 5199.796 | 71.13 | 29.0576 | 144.3 | 8.32 | 2103.6556 | 944.845 | 461.625 | https://arconel.gob.ec/wp-content/uploads/downloads/2024/07/BNEE_abril_2024.xls
2024-05-01 | 5215.166 | 71.13 | 29.13 | 155.3 | 8.32 | 2104.0476 | 944.745 | 461.625 | https://arconel.gob.ec/wp-content/uploads/downloads/2024/08/BNEE_mayo_2024.xls
2024-06-01 | 5215.166 | 71.13 | 29.1276 | 155.3 | 8.32 | 2105.2316 | 944.745 | 461.625 | https://arconel.gob.ec/wp-content/uploads/downloads/2024/11/BNEE_junio_2024.xls
2024-07-01 | 5215.166 | 71.13 | 28.1276 | 155.3 | 8.32 | 2119.4216 | 905.345 | 488.525 | https://arconel.gob.ec/wp-content/uploads/downloads/2024/11/BNEE_julio_2024.xls
2024-08-01 | 5215.166 | 71.13 | 28.1276 | 155.3 | 8.32 | 2119.4216 | 905.345 | 488.525 | https://arconel.gob.ec/wp-content/uploads/downloads/2024/12/BNEE_agosto_2024.xls
2024-09-01 | 5215.166 | 71.13 | 29.13 | 155.3 | 8.32 | 2225.3656 | 905.345 | 488.525 | https://arconel.gob.ec/wp-content/uploads/downloads/2024/12/BNEE_septiembre_2024.xls
2024-10-01 | 5215.166 | 71.13 | 29.13 | 155.3 | 8.32 | 2225.3656 | 905.345 | 488.525 | https://arconel.gob.ec/wp-content/uploads/downloads/2025/03/BNEE_octubre_2024.xls
2024-11-01 | 5215.17 | 71.13 | 29.13 | 155.3 | 11.12 | 2176.98 | 905.35 | 488.53 | https://arconel.gob.ec/wp-content/uploads/downloads/2025/04/BNEE_noviembre_2024.xls
2024-12-01 | 5419.166 | 71.13 | 29.1276 | 155.3 | 11.12 | 2163.6036 | 943.845 | 461.625 | https://arconel.gob.ec/wp-content/uploads/downloads/2025/04/BNEE_diciembre_2024_revACH.xls
2025-01-01 | 5416.57 | 71.13 | 29.1276 | 155.3 | 11.12 | 2177.71 | 905.345 | 488.525 | https://arconel.gob.ec/wp-content/uploads/downloads/2025/05/BNEE_enero_2025_revACH.xls
2025-02-01 | 5416.57 | 71.13 | 29.1276 | 155.3 | 11.12 | 2177.71 | 905.345 | 488.525 | https://arconel.gob.ec/wp-content/uploads/downloads/2025/06/BNEE_febrero_2025.xls
2025-03-01 | 5416.57 | 71.13 | 29.1276 | 155.3 | 11.12 | 2277.6036 | 905.345 | 488.525 | https://arconel.gob.ec/wp-content/uploads/downloads/2025/06/BNEE_marzo_2025.xls
2025-04-01 | 5416.57 | 71.13 | 29.1276 | 155.3 | 11.12 | 2278.9536 | 905.345 | 488.525 | https://arconel.gob.ec/wp-content/uploads/downloads/2025/07/BNEE_abril_2025_revACH.xls
2025-06-01 | 5416.57 | 71.13 | 29.1276 | 155.3 | 11.12 | 2380.3036 | 905.345 | 488.525 | https://arconel.gob.ec/wp-content/uploads/downloads/2025/10/BNEE_junio_2025_revACH.xls
2025-07-01 | 5417.676 | 71.13 | 29.1276 | 155.3 | 11.12 | 2382.1186 | 905.345 | 488.525 | https://arconel.gob.ec/wp-content/uploads/downloads/2025/11/BNEE_julio_2025_revACH.xls
2025-08-01 | 5417.676 | 71.13 | 29.1276 | 155.3 | 11.12 | 2382.1186 | 919.015 | 488.525 | https://arconel.gob.ec/wp-content/uploads/downloads/2025/12/BNEE_agosto_2025.xls
2025-09-01 | 5417.676 | 71.13 | 29.13 | 155.3 | 11.12 | 2282.1186 | 919.015 | 488.525 | https://arconel.gob.ec/wp-content/uploads/downloads/2025/12/BNEE_septiembre_2025.xls
2025-10-01 | 5417.676 | 71.13 | 29.13 | 155.3 | 11.12 | 2399.1566 | 919.015 | 488.525 | https://arconel.gob.ec/wp-content/uploads/downloads/2026/01/BNEE_octubre_2025.xls
2025-11-01 | 5417.676 | 71.13 | 29.13 | 155.3 | 11.12 | 2391.4736 | 919.015 | 488.525 | https://arconel.gob.ec/wp-content/uploads/downloads/2026/01/BNEE_noviembre_2025.xls
2025-12-01 | 5388.853 | 71.15 | 29.1276 | 156.05 | 11.12 | 2377.09 | 955.31 | 460.125 | https://arconel.gob.ec/wp-content/uploads/downloads/2026/03/BNEE_diciembre_2025.xls
2026-01-01 | 5388.853 | 71.15 | 29.1276 | 156.05 | 11.12 | 2434.3168 | 916.81 | 487.025 | https://arconel.gob.ec/wp-content/uploads/downloads/2026/04/BNEE_enero_2026_revACH.xls
2026-02-01 | 5388.853 | 71.15 | 29.1276 | 156.05 | 11.12 | 2435.3668 | 916.81 | 487.025 | https://arconel.gob.ec/wp-content/uploads/downloads/2026/04/BNEE_febrero_2026.xls
2026-03-01 | 5388.853 | 71.15 | 29.1276 | 156.05 | 11.12 | 2435.3668 | 916.81 | 487.025 | https://arconel.gob.ec/wp-content/uploads/downloads/2026/05/BNEE_marzo_2026.xls
2026-04-01 | 5388.853 | 71.15 | 29.1276 | 156.05 | 11.12 | 2371.792 | 1033.5138 | 448.125 | https://arconel.gob.ec/wp-content/uploads/downloads/2026/07/BNEE_abril_2026.xls
2026-05-01 | 5384.073 | 71.15 | 29.1276 | 156.05 | 11.12 | 2366.865 | 1033.5138 | 448.125 | https://arconel.gob.ec/wp-content/uploads/downloads/2026/07/BNEE_mayo_2026.xls
2026-06-01 | 5384.073 | 71.15 | 29.1276 | 156.05 | 11.12 | 2367.721 | 1033.5138 | 448.125 | https://arconel.gob.ec/wp-content/uploads/downloads/2026/09/BNEE_junio_2026_revACH.xls
2026-07-01 | 5373.858 | 71.15 | 29.1276 | 156.05 | 11.12 | 2467.652 | 960.7097 | 460.125 | https://arconel.gob.ec/wp-content/uploads/downloads/2026/10/BNEE_julio_2026.xls