## Units
Notes
UNITS
Capacity in MW (megawatts). 'Monthly' has one row per year; Total_MW = sum of the fuel columns. The chart shows the same columns in GW.
Annual series: each row is dated 1 January of the year and holds MIEM's installed capacity at 31 December of that year (for the current year, when MIEM has published it, the latest half-year value).
COVERAGE
2021 to 2026 (6 years), from 2021. MIEM's national series (UTE, private and mixed plants; private generators' backup sets excluded per MIEM's notes). Salto Grande counted at Uruguay's 50% share (MIEM note: 50% of 1,890 MW).
SOURCE
MIEM / DNE (Direccion Nacional de Energia), 'Series estadisticas de energia electrica' - 'Potencia instalada por central' (https://www.gub.uy/ministerio-industria-energia-mineria/sites/ministerio-industria-energia-mineria/files/2026-10/Potencia%20instalada%20por%20central.zip), sheet 'Pot Inst Fuente'. Page: https://www.gub.uy/ministerio-industria-energia-mineria/datos-y-estadisticas/datos/series-estadisticas-energia-electrica. Data: UTE / elaboracion propia DNE.
Script: south_america/URUGUAY_MIEM_CAPACITY.py (scheduled by .github/workflows/uruguay_power_capacity.yml).
MAPPING
Hydro_MW = MIEM row(s) 'Total Hidráulica'
Wind_MW = MIEM row(s) 'Total Eólica'
Solar_MW = MIEM row(s) 'Total Solar'
Oil_MW = MIEM row(s) 'Total Fósil'
Bioenergy_MW = MIEM row(s) 'Total Biomasa'
Oil_MW = MIEM's 'Total Fosil' (steam turbines, gas turbines and engines). Uruguay's fossil plants burn gas oil / fuel oil (the Punta del Tigre B combined cycle is dual-fuel, natural gas or gas oil); MIEM does not split fossil capacity by fuel, so all of it is shown as Oil. Ember counts the gas turbines / combined cycle as Gas, hence the large Gas and Oil differences against Ember below; the fossil total matches.
Bioenergy_MW = MIEM's 'Total Biomasa' (biomass steam turbines and engines, mostly pulp-mill and other industrial self-producers).
No coal, nuclear or geothermal in Uruguay; Other_MW = any MIEM row not matching a fuel above (none now).
VALIDATION
Latest row here (2026-01) vs Ember yearly capacity 2025 (GW; diff = (ours - Ember) / Ember):
Hydro: 1.538 GW here vs 1.540 GW Ember -> -0.1%
Gas: 0.000 GW here vs 1.110 GW Ember -> -100.0%
Wind: 1.516 GW here vs 1.520 GW Ember -> -0.2%
Solar: 0.348 GW here vs 0.340 GW Ember -> +2.5%
Oil: 1.177 GW here vs 0.070 GW Ember -> +1580.9%
Bioenergy: 0.731 GW here vs 0.740 GW Ember -> -1.2%
Total: 5.311 GW here vs 5.320 GW Ember -> -0.2%

## Chart
Date | Hydro | Gas | Wind | Solar | Oil | Bioenergy | Coal | Nuclear & other
2021-01-01 | 1.538 | 0 | 1.5163 | 0.26639 | 1.1767 | 0.41642 | 0 | 0
2022-01-01 | 1.538 | 0 | 1.5163 | 0.28016 | 1.1767 | 0.41722 | 0 | 0
2023-01-01 | 1.538 | 0 | 1.5163 | 0.30027 | 1.1767 | 0.73122 | 0 | 0
2024-01-01 | 1.538 | 0 | 1.5163 | 0.33577 | 1.1767 | 0.73122 | 0 | 0
2025-01-01 | 1.538 | 0 | 1.5163 | 0.34438 | 1.1767 | 0.73122 | 0 | 0
2026-01-01 | 1.538 | 0 | 1.5163 | 0.34848 | 1.1767 | 0.73122 | 0 | 0

## Monthly
date | Hydro_MW | Gas_MW | Wind_MW | Solar_MW | Coal_MW | Nuclear_MW | Oil_MW | Bioenergy_MW | Other_MW | Total_MW
2021-01-01 | 1538 | 0 | 1516.34 | 266.39 | 0 | 0 | 1176.66 | 416.42 | 0 | 4913.81
2022-01-01 | 1538 | 0 | 1516.34 | 280.16 | 0 | 0 | 1176.66 | 417.22 | 0 | 4928.38
2023-01-01 | 1538 | 0 | 1516.33 | 300.27 | 0 | 0 | 1176.66 | 731.22 | 0 | 5262.48
2024-01-01 | 1538 | 0 | 1516.33 | 335.77 | 0 | 0 | 1176.66 | 731.22 | 0 | 5297.98
2025-01-01 | 1538 | 0 | 1516.33 | 344.38 | 0 | 0 | 1176.66 | 731.22 | 0 | 5306.59
2026-01-01 | 1538 | 0 | 1516.33 | 348.48 | 0 | 0 | 1176.66 | 731.22 | 0 | 5310.69

## MIEM by source
CENTRAL | 2010.0 | 2011.0 | 2012.0 | 2013.0 | 2014.0 | 2015.0 | 2016.0 | 2017.0 | 2018.0 | 2019.0 | 2020.0 | 2021.0 | 2022.0 | 2023.0 | 2024.0 | 2025.0 | 2026.0
Fósil
Centrales Térmicas (Turbinas Ciclo Rankine - Vapor) | 255 | 255 | 255 | 255 | 255 | 205 |  |  | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180
Centrales Térmicas (Turbinas Ciclo Brayton - Gas) | 535.7 | 535.7 | 635.7 | 835.7 | 835.7 | 815.7 | 565.7 | 745.7 | 925.7 | 925.7 | 925.7 | 925.7 | 925.7 | 925.7 | 925.7 | 925.7 | 925.7
Centrales Térmicas (Motores) | 84.987 | 84.987 | 185.03 | 184.2 | 184.2 | 81 | 81 | 81 | 81 | 70.96 | 70.96 | 70.96 | 70.96 | 70.96 | 70.96 | 70.96 | 70.96
Total Fósil | 875.687 | 875.687 | 1075.73 | 1274.9 | 1274.9 | 1101.7 | 646.7 | 826.7 | 1186.7 | 1176.66 | 1176.66 | 1176.66 | 1176.66 | 1176.66 | 1176.66 | 1176.66 | 1176.66
Biomasa
Centrales Térmicas (Turbinas Ciclo Rankine - Vapor) | 234.6 | 242.1 | 246.1 | 416.1 | 416.1 | 426.1 | 426.1 | 414.6 | 414.6 | 414.6 | 414.6 | 414.6 | 414.6 | 728.6 | 728.6 | 728.6 | 728.6
Centrales Térmicas (Motores) | 1 | 1 | 1 | 1 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.67 | 1.67 | 1.82 | 2.62 | 2.62 | 2.62 | 2.62 | 2.62
Total Biomasa | 235.6 | 243.1 | 247.1 | 417.1 | 417.7 | 427.7 | 427.7 | 416.2 | 416.2 | 416.27 | 416.27 | 416.42 | 417.22 | 731.22 | 731.22 | 731.22 | 731.22
Hidráulica
Generadores Hidráulicos | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538
Total Hidráulica | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538
Eólica
Generadores Eólicos | 40.6 | 43.605 | 52.605 | 59.4175 | 481.3 | 856.7555 | 1211.4555 | 1513.1675 | 1513.1675 | 1516.4875 | 1516.3375 | 1516.3375 | 1516.3399 | 1516.3289 | 1516.3289 | 1516.3289 | 1516.3289
Total Eólica | 40.6 | 43.605 | 52.605 | 59.4175 | 481.2775 | 856.7555 | 1211.4555 | 1513.1675 | 1513.1675 | 1516.4875 | 1516.3375 | 1516.3375 | 1516.3399 | 1516.3289 | 1516.3289 | 1516.3289 | 1516.3289
Solar
Generadores Solares | 0.14279 | 0.38913 | 0.60816 | 1.589 | 3.7073 | 64.4942 | 88.9938 | 242.7024 | 248.4019 | 253.6914 | 257.9428 | 266.3862 | 280.1594 | 300.2653 | 335.769 | 344.3787 | 348.4775
Total Solar | 0.14279 | 0.38913 | 0.60819 | 1.589 | 3.7073 | 64.4942 | 88.9938 | 242.7024 | 248.4019 | 253.6914 | 257.9428 | 266.3862 | 280.1594 | 300.2653 | 335.769 | 344.3787 | 348.4775
TOTAL | 2680.0298 | 2700.7811 | 2914.0432 | 3291.0065 | 3715.5848 | 3988.6497 | 3912.8493 | 4536.7699 | 4902.4694 | 4901.1089 | 4905.2103 | 4913.8037 | 4928.3793 | 5262.4742 | 5297.9779 | 5306.5876 | 5310.6864

## MIEM by plant
CENTRAL | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Centrales Térmicas (Turbinas Ciclo Rankine - Vapor)
UTE - Central Batlle - Sala B
UTE - Central Batlle - 5ª Unidad | 80
UTE - Central Batlle - 6ª Unidad | 125
UTE - C.T. Punta del Tigre B grupo 3"ciclo combinado" (4) |  |  |  | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180
UPM I | 161 | 161 | 161 | 161 | 161 | 161 | 161 | 161 | 161 | 161 | 161 | 161
UPM II | [8 empty] | 314 | 314 | 314 | 314
Alur | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Liderdat | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Galofer | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14
Fenirol | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Bioener | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12
Weyerhaeuser | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12
Ponlar | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5
Montes del Plata | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180
Fanapel | 11.5 | 11.5
Azucarlito | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1
Otros Privados
Centrales Térmicas (Turbinas Ciclo Brayton - Gas)
UTE - G.E.
UTE - BBC
UTE - AA (Maldonado)
UTE - CTR (La Tablada) | 212 | 212 | 212 | 212 | 212 | 212 | 212 | 212 | 212 | 212 | 212 | 212
UTE - C.T. Punta del Tigre A | 350 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
UTE - C.T. Punta del Tigre B grupo 1"ciclo combinado" |  |  | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180
UTE - C.T. Punta del Tigre B grupo 2"ciclo combinado" |  |  |  | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180
UTE - C.T. Punta del Tigre APR A (Arrendado) | 100
UTE - C.T. Punta del Tigre APR C (Arrendado) | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
UTE - CTR APR B (Arrendado) | 100
UTE - Grupos Diesel Autonomos/Interconectados | 3.7 | 3.7 | 3.7 | 3.7 | 3.7 | 3.7 | 3.7 | 3.7 | 3.7 | 3.7 | 3.7 | 3.7
Centrales Térmicas (Motores)
UTE - Motores Central Batlle | 80 | 80 | 80 | 80 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
UTE - CTA Aggreko (Arrendado)
UTE - CTB Aggreko (Arrendado)
UTE - Grupos Diesel Autonomos | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96
UTE - Grupos Diesel Interconectados
Las Rosas | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Zendalather
Lanas Trinidad (Alboreto) | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6
Autoproductor Autónomo | [7 empty] | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
Microgeneración conectada a la RED |  |  |  |  | 0.07 | 0.07 | 0.22 | 0.22 | 0.22 | 0.22 | 0.22 | 0.22
Total Térmica | 1529.36 | 1074.36 | 1242.86 | 1602.86 | 1592.93 | 1592.93 | 1593.08 | 1593.88 | 1907.88 | 1907.88 | 1907.88 | 1907.88
Generadores Hidráulicos
UTE - Río Negro - Gabriel Terra (Rincón del Bonete) | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152
UTE - Río Negro - Baygorria | 108 | 108 | 108 | 108 | 108 | 108 | 108 | 108 | 108 | 108 | 108 | 108
UTE - Río Negro - Constitución (Palmar) | 333 | 333 | 333 | 333 | 333 | 333 | 333 | 333 | 333 | 333 | 333 | 333
CTM - Río Uruguay - Salto Grande (2) | 945 | 945 | 945 | 945 | 945 | 945 | 945 | 945 | 945 | 945 | 945 | 945
Total Hidráulica | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538 | 1538
Generadores Eólicos
UTE - FI: Planta Piloto | 0.15 | 0.15 | 0.15 | 0.15 | 0.15
UTE - Sierra de Caracoles I | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
UTE - Sierra de Caracoles II | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Agroland | 0.45 | 0.45 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95
Nuevo Manantial | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18
Kentilux - Magdalena | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2
Lavadero de Lanas Blengio | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8
Engraw | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6
Palmatir - Peralta | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
R del Sur - Maldonado | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Luz de Rio - Pintado II | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Generación Eólica Minas I - Minas I | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42
Parque eólico Libertad | 7.74 | 7.74 | 7.74 | 7.74 | 7.74 | 7.74 | 7.74 | 7.74 | 7.74 | 7.74 | 7.74 | 7.74
Luz de Mar S.A. | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18
Luz de Loma S.A. | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
Polesine S.A. | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Juan Pablo Terra (UTE) | 67.2 | 67.2 | 67.2 | 67.2 | 67.2 | 67.2 | 67.2 | 67.2 | 67.2 | 67.2 | 67.2 | 67.2
Artilleros (UTE - Electrobras) ROUAR S.A. | 65.1 | 65.1 | 65.1 | 65.1 | 65.1 | 65.1 | 65.1 | 65.1 | 65.1 | 65.1 | 65.1 | 65.1
Cadonal (Talas de Maciel II) | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Astidey (Talas de Maciel I) | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Peralta I (Aguas Leguas S.A.) | 58.75 | 58.75 | 58.75 | 58.75 | 58.75 | 58.75 | 58.75 | 58.75 | 58.75 | 58.75 | 58.75 | 58.75
Peralta II (Aguas Leguas S.A.) | 58.75 | 58.75 | 58.75 | 58.75 | 58.75 | 58.75 | 58.75 | 58.75 | 58.75 | 58.75 | 58.75 | 58.75
Carape I (Fingano) | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Carape II (Vengano) | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40
Melowind | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Ventus I | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9
Parque Eólico Rosario | 9 | 9 | 9 | 9 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Parque Eólico Julieta |  | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6
Parque Eólico María Luz |  | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Parque Eólico Maldonado II |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Parque Eólico Florida II |  | 49.5 | 49.5 | 49.5 | 49.5 | 49.5 | 49.5 | 49.5 | 49.5 | 49.5 | 49.5 | 49.5
Parque Eólico Pampa (UTE - Privado) |  | 141.6 | 141.6 | 141.6 | 141.6 | 141.6 | 141.6 | 141.6 | 141.6 | 141.6 | 141.6 | 141.6
Parque Eólico Valentines (UTE - Privado) |  | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Parque Eólico Solis de Mataojo |  | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Parque Eólico 18 de Julio |  | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Parque Eólico Villa Rodriguez |  | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Parque Eólico Kiyú |  |  | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2
Parque Eólico Palomas (UTE) |  |  | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Parque Eólico Nuevo Pastorale I |  |  | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2 | 49.2
Parque Eólico Colonia Arias (UTE - Privado) |  |  | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Marystay |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Parque Eólico Cerro Grande (Ladaner) |  |  | 51.7 | 51.7 | 51.7 | 51.7 | 51.7 | 51.7 | 51.7 | 51.7 | 51.7 | 51.7
Corfrisa |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Microgeneración conectada a la RED | 0.0155 | 0.0155 | 0.0275 | 0.0275 | 0.1475 | 0.1475 | 0.1475 | 0.1499 | 0.1389 | 0.1389 | 0.1389 | 0.1389
Autoproductores Autonomos |  |  | 5.1 | 5.1 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3
Microgeneración Autónoma | s/d | s/d | s/d | s/d | s/d | s/d | s/d | s/d | s/d | s/d | s/d | s/d
Total Eólica | 856.7555 | 1211.4555 | 1513.1675 | 1513.1675 | 1516.4875 | 1516.3375 | 1516.3375 | 1516.3399 | 1516.3289 | 1516.3289 | 1516.3289 | 1516.3289
Generadores Solares
UTE - ASAHI | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.48
La Jacinta (Solar Farm S.R.L) | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Raditon | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
Alto Cielo S.A. |  | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
Cerros de Vera | 0.0522 | 0.0522 | 0.0522 | 0.0522 | 0.0522 | 0.0522 | 0.0522 | 0.0522 | 0.0522 | 0.0522 | 0.0522 | 0.0522
Casalko |  |  | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75
Del Litoral |  |  | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16
Yarnel |  |  | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5
Natelu |  |  | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5
El Naranjal |  |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Dicano |  |  | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25
Fenima |  |  | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5
Menafra |  |  | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
Petilcoran |  |  | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5
Arapey Solar |  |  | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Abril |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
TS (Tesfery) |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Vingano |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Minas – Hikari | [5 empty] | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25
Albisu | [8 empty] | 14 | 14 | 14 | 14
Punta del Tigre Fotovoltaico | [9 empty] | 26 | 26 | 26
Microgeneración conectada a la RED | 5.4009 | 9.3241 | 15.4558 | 17.6154 | 21.2613 | 24.9093 | 32.3355 | 39.4185 | 44.595 | 53.113 | 60.6857 | 63.3845
Microgeneración Autónoma (3) | 0.56023 | 0.59023 | 0.61023 | 0.64623 | 0.85228 | 0.99728 | 1.4888 | 1.7738 | 2.0575 | 2.2465 | 2.8749 | 2.8749
Microgeneración centrales de bombeo | 0.00088 | 0.04719 | 0.06421 | 0.088072 | 0.12567 | 0.17203 | 0.25314 | 0.27668 | 0.29897 | 0.30877 | 0.31045 | 0.31045
Autoproductores Autónomos |  | 0.5 | 1.04 | 1.52 | 2.92 | 3.082 | 3.5266 | 9.9082 | 10.5317 | 11.3185 | 11.7255 | 13.1255
Total Fotovoltaica | 64.4942 | 88.9938 | 242.7024 | 248.4019 | 253.6914 | 257.9428 | 266.3862 | 280.1594 | 300.2653 | 335.769 | 344.3787 | 348.4775
TOTAL | 3988.6097 | 3912.8093 | 4536.7299 | 4902.4294 | 4901.1089 | 4905.2103 | 4913.8037 | 4928.3793 | 5262.4742 | 5297.9779 | 5306.5876 | 5310.6864
(1) Botnia hasta 2008
(2) Potencia perteneciente a Uruguay (50% a partir de1995)
(3) Se considera 20 Kw por año de potencia instalada se toma este criterio a sugerencia del área de energías renovables a partir del año 2013.
(4) Funciona con vapor que generan el ciclo combinado del grupo 1 y 2.