## Units
Notes
UNITS
Every category column is in MW, the daily mean of Eskom's hourly generation readings - 'average MW for that day', not total daily energy.
CATEGORIES
coal, gas, oil, nuclear, hydro, wind, solar, biomass: generation by fuel/technology type.
pumped_storage: pumped-hydro storage discharge.
COVERAGE
This is a rolling archive, not a one-shot historical pull - Eskom's source CSV is always just the last ~7 days, so this script upserts by date into the Data tab on every run, building up history from whenever you first started running it. Run it at least weekly so no day is skipped.
SYSTEM TAB (daily mean of hourly values, MW)
residual_demand_mw: demand met by Eskom-dispatched plant, i.e. excluding renewable IPPs.
rsa_contracted_demand_mw: residual demand plus renewable IPP output - total contracted demand.
unplanned_outages_mw: Eskom capacity out on unplanned (UCLF) plus other (OCLF) outages - a fleet health indicator. Eskom publishes nothing per power station, so this is whole-fleet.
WEEKLY EAF TAB (% of Eskom installed capacity, by week starting)
eaf_pct: Energy Availability Factor - share of capacity available to generate.
planned_outages_pct (PCLF), unplanned_outages_pct (UCLF), other_outages_pct (OCLF): the losses; the four add up to ~100%.
PUMPED STORAGE TAB (upper reservoir level, per station)
Eskom reports each station's stored water as 'generating unit-hours' left - how many hours of generation the upper reservoir holds, summed over units. It is a storage level, not hours run: it rises overnight while pumping and falls during the day while generating.
*_close_unit_hours: level at the last hour of the day. *_close_pct_full: that level as % of the station's full reservoir (Drakensberg 102, Ingula 67, Palmiet 58.7 unit-hours). *_low_pct_full: the lowest level in the day - how deep the peak drew it down.
LOAD SHEDDING TAB (Eskom manual load reduction, MLR)
load_shed_avg_mw: daily mean MW shed. load_shed_peak_mw: highest hour. hours_with_load_shedding: hours in the day with any MLR. All zero while there is no load shedding.
Coverage lags about a week behind the other tabs - Eskom's source file does.
SOURCE
Eskom data portal CSVs: Station_Build_Up (Data), System_hourly_actual_and_forecasted_demand and Hourly_UCLF_and_OCLF_Trend (System), Weekly_Eskom_generation_capacity_breakdown (Weekly EAF), Pumped_storage_gen_hours_gas_generation_and_manual_load_reduction (Pumped storage, Load shedding).

## Chart
Date | coal | wind | solar | nuclear | hydro | pumped storage | oil | Other | Axis label
2026-09-15 | 17693.9875 | 1278.6122 | 562.6011 | 652.9842 | 301.9749 | 484.1149 | 138.2768 | 45.8897 | Sep/26
2026-09-16 | 17275.527 | 1594.5294 | 618.0323 | 652.6445 | 336.6507 | 507.2258 | 165.5623 | 47.1538
2026-09-17 | 16370.0085 | 2893.8567 | 876.8809 | 652.5475 | 359.921 | 428.7386 | 170.0023 | 46.6427
2026-09-18 | 17449.1599 | 3069.8105 | 367.9281 | 653.4792 | 349.8302 | 290.3387 | 153.4751 | 47.2992
2026-09-19 | 17407.8967 | 1491.5869 | 338.3532 | 653.654 | 349.7884 | 481.446 | 112.4993 | 47.2384
2026-09-20 | 18280.7247 | 563.9243 | 515.4673 | 653.317 | 380.7424 | 372.3357 | 152.8349 | 46.2193
2026-09-21 | 18009.5343 | 687.172 | 781.8878 | 653.3082 | 600.8853 | 422.2393 | 122.409 | 46.6375
2026-09-22 | 17706.4912 | 1102.7763 | 484.7177 | 652.8789 | 599.8235 | 375.6554 | 182.8253 | 47.3632
2026-09-23 | 17669.5329 | 1139.2838 | 479.9018 | 651.9265 | 599.5549 | 447.1493 | 173.9637 | 47.3921
2026-09-24 | 16896.3588 | 890.0252 | 544.6279 | 651.2196 | 600.0968 | 419.5679 | 160.5665 | 47.1721
2026-09-25 | 16906.6009 | 1137.9859 | 600.653 | 650.5767 | 600.951 | 376.0448 | 122.745 | 46.1511
2026-09-26 | 16634.6367 | 999.2 | 497.6774 | 651.1358 | 601.398 | 409.3675 | 146.1078 | 45.8512
2026-09-27 | 15218.227 | 1569.0168 | 614.9377 | 651.7128 | 600.1207 | 290.2276 | 169.6043 | 46.4325
2026-09-28 | 17159.5658 | 1067.1978 | 719.6522 | 653.117 | 599.3914 | 512.2462 | 165.1888 | 46.3594
2026-09-29 | 17998.3813 | 1436.8622 | 966.9179 | 653.9607 | 601.059 | 390.447 | 180.2737 | 45.2649
2026-09-30 | 18143.1992 | 1593.13 | 950.4269 | 653.6844 | 602.0206 | 554.8868 | 196.0228 | 44.4737
2026-10-01 | 17322.2706 | 1375.4217 | 662.927 | 652.6858 | 590.4124 | 458.717 | 177.8064 | 42.9288 | Oct/26
2026-10-02 | 17702.0893 | 811.6795 | 543.9985 | 652.5819 | 602.0305 | 437.2322 | 174.4282 | 40.591
2026-10-03 | 16710.901 | 760.6189 | 434.1087 | 651.898 | 601.0111 | 354.256 | 163.2662 | 39.7754
2026-10-04 | 16824.0191 | 742.8995 | 467.2952 | 652.6477 | 602.2744 | 254.3488 | 127.8207 | 35.2791
2026-10-05 | 17345.5636 | 965.6189 | 473.0209 | 652.3169 | 601.444 | 607.5314 | 174.2301 | 36.2605
2026-10-06 | 17393.8437 | 1073.3231 | 621.442 | 651.7473 | 601.5099 | 479.7298 | 193.313 | 36.0735
2026-10-07 | 18107.8754 | 431.8802 | 552.02 | 652.5203 | 590.3 | 538.2315 | 167.9766 | 35.712
2026-10-20 | 17473.377 | 1273.5548 | 1142.845 | 142.9629 | 354.3288 | 458.7469 | 285.3403 | 45.0011
2026-10-21 | 16686.9384 | 1915.2227 | 753.7137 | 444.1029 | 170.4502 | 506.4683 | 177.3491 | 45.0365
2026-10-22 | 17242.1942 | 1642.0472 | 814.2415 | 641.2097 | 164.6624 | 491.7039 | 173.5792 | 46.193
2026-10-23 | 17503.2594 | 738.0077 | 1332.998 | 642.1611 | 156.1151 | 525.589 | 167.5151 | 45.934
2026-10-24 | 17151.0687 | 863.7875 | 720.2217 | 643.241 | 163.5422 | 389.2475 | 172.0419 | 46.2994
2026-10-25 | 16217.9173 | 1327.1818 | 713.5361 | 645.8448 | 157.4335 | 394.0407 | 165.051 | 45.3074
2026-10-26 | 16977.2673 | 1516.0553 | 1048.0555 | 646.62 | 212.0035 | 508.8252 | 171.8432 | 45.8371
2026-10-27 | 17856.3134 | 926.166 | 1073.6633 | 648.2432 | 269.1197 | 369.5903 | 172.7859 | 45.9629

## Data
date | coal | gas | oil | nuclear | hydro | pumped_storage | wind | solar | biomass
2026-09-15 | 17693.9875 | 0 | 138.2768 | 652.9842 | 301.9749 | 484.1149 | 1278.6122 | 562.6011 | 45.8897
2026-09-16 | 17275.527 | 0 | 165.5623 | 652.6445 | 336.6507 | 507.2258 | 1594.5294 | 618.0323 | 47.1538
2026-09-17 | 16370.0085 | 0 | 170.0023 | 652.5475 | 359.921 | 428.7386 | 2893.8567 | 876.8809 | 46.6427
2026-09-18 | 17449.1599 | 0 | 153.4751 | 653.4792 | 349.8302 | 290.3387 | 3069.8105 | 367.9281 | 47.2992
2026-09-19 | 17407.8967 | 0.00041667 | 112.4993 | 653.654 | 349.7884 | 481.446 | 1491.5869 | 338.3532 | 47.238
2026-09-20 | 18280.7247 | 8.3333e-05 | 152.8349 | 653.317 | 380.7424 | 372.3357 | 563.9243 | 515.4673 | 46.2193
2026-09-21 | 18009.5343 | 0.002625 | 122.409 | 653.3082 | 600.8853 | 422.2393 | 687.172 | 781.8878 | 46.6349
2026-09-22 | 17706.4912 | 0.00075 | 182.8253 | 652.8789 | 599.8235 | 375.6554 | 1102.7763 | 484.7177 | 47.3625
2026-09-23 | 17669.5329 | 0.00029167 | 173.9637 | 651.9265 | 599.5549 | 447.1493 | 1139.2838 | 479.9018 | 47.3918
2026-09-24 | 16896.3588 | 0 | 160.5665 | 651.2196 | 600.0968 | 419.5679 | 890.0252 | 544.6279 | 47.1721
2026-09-25 | 16906.6009 | 0 | 122.745 | 650.5767 | 600.951 | 376.0448 | 1137.9859 | 600.653 | 46.1511
2026-09-26 | 16634.6367 | 0 | 146.1078 | 651.1358 | 601.398 | 409.3675 | 999.2 | 497.6774 | 45.8512
2026-09-27 | 15218.227 | 0 | 169.6043 | 651.7128 | 600.1207 | 290.2276 | 1569.0168 | 614.9377 | 46.4325
2026-09-28 | 17159.5658 | 0 | 165.1888 | 653.117 | 599.3914 | 512.2462 | 1067.1978 | 719.6522 | 46.3594
2026-09-29 | 17998.3813 | 0 | 180.2737 | 653.9607 | 601.059 | 390.447 | 1436.8622 | 966.9179 | 45.2649
2026-09-30 | 18143.1992 | 0 | 196.0228 | 653.6844 | 602.0206 | 554.8868 | 1593.13 | 950.4269 | 44.4737
2026-10-01 | 17322.2706 | 0 | 177.8064 | 652.6858 | 590.4124 | 458.717 | 1375.4217 | 662.927 | 42.9288
2026-10-02 | 17702.0893 | 0 | 174.4282 | 652.5819 | 602.0305 | 437.2322 | 811.6795 | 543.9985 | 40.591
2026-10-03 | 16710.901 | 0 | 163.2662 | 651.898 | 601.0111 | 354.256 | 760.6189 | 434.1087 | 39.7754
2026-10-04 | 16824.0191 | 0 | 127.8207 | 652.6477 | 602.2744 | 254.3488 | 742.8995 | 467.2952 | 35.2791
2026-10-05 | 17345.5636 | 0 | 174.2301 | 652.3169 | 601.444 | 607.5314 | 965.6189 | 473.0209 | 36.2605
2026-10-06 | 17393.8437 | 0 | 193.313 | 651.7473 | 601.5099 | 479.7298 | 1073.3231 | 621.442 | 36.0735
2026-10-07 | 18107.8754 | 0 | 167.9766 | 652.5203 | 590.3 | 538.2315 | 431.8802 | 552.02 | 35.712
2026-10-20 | 17473.377 | 0.52283 | 285.3403 | 142.9629 | 354.3288 | 458.7469 | 1273.5548 | 1142.845 | 44.4783
2026-10-21 | 16686.9384 | 8.3333e-05 | 177.3491 | 444.1029 | 170.4502 | 506.4683 | 1915.2227 | 753.7137 | 45.0364
2026-10-22 | 17242.1942 | 0.37204 | 173.5792 | 641.2097 | 164.6624 | 491.7039 | 1642.0472 | 814.2415 | 45.8209
2026-10-23 | 17503.2594 | 0.00016667 | 167.5151 | 642.1611 | 156.1151 | 525.589 | 738.0077 | 1332.998 | 45.9339
2026-10-24 | 17151.0687 | 0.39875 | 172.0419 | 643.241 | 163.5422 | 389.2475 | 863.7875 | 720.2217 | 45.9007
2026-10-25 | 16217.9173 | 0.000125 | 165.051 | 645.8448 | 157.4335 | 394.0407 | 1327.1818 | 713.5361 | 45.3073
2026-10-26 | 16977.2673 | 0.0012917 | 171.8432 | 646.62 | 212.0035 | 508.8252 | 1516.0553 | 1048.0555 | 45.8358
2026-10-27 | 17856.3134 | 0.042292 | 172.7859 | 648.2432 | 269.1197 | 369.5903 | 926.166 | 1073.6633 | 45.9206

## System
date | residual_demand_mw | rsa_contracted_demand_mw | unplanned_outages_mw
2026-09-13 |  |  | 6519.2256
2026-09-14 |  |  | 6909.7323
2026-09-15 |  |  | 7060.313
2026-09-16 |  |  | 7275.7707
2026-09-17 |  |  | 8195.6479
2026-09-18 |  |  | 8078.1642
2026-09-19 |  |  | 7415.309
2026-09-20 |  |  | 7825.2487
2026-09-21 | 20545.0908 | 22046.7014 | 8017.7581
2026-09-22 | 20375.0133 | 22009.8698 | 8146.0194
2026-09-23 | 20349.473 | 22016.0504 | 7275.4049
2026-09-24 | 19482.9981 | 20979.595 | 6860.267
2026-09-25 | 19487.8128 | 21272.6027 | 7898.8329
2026-09-26 | 19238.6707 | 20781.3992 | 9190.4317
2026-09-27 | 17666.6426 | 19897.0296 | 8954.7138
2026-09-28 | 19681.9411 | 21515.1505 | 7141.4108
2026-09-29 | 20481.4548 | 22931.6236 | 7637.7296
2026-09-30 | 20850.8051 | 23450.4587 | 8127.3334
2026-10-01 | 19957.5327 | 22001.3102 | 8599.2597
2026-10-02 | 20358.6113 | 21754.8803 | 7592.6233
2026-10-03 | 19307.0005 | 20541.5035 | 7320.8093
2026-10-04 | 19161.6766 | 20407.1505 | 8170.4938
2026-10-05 | 20288.5225 | 21763.4227 | 8735.3699
2026-10-06 | 20073.6529 | 21804.4915 | 7060.0037
2026-10-07 | 20750.8861 | 21770.4983 | 6569.9353
2026-10-13 |  |  | 8583.2
2026-10-14 |  |  | 8596.0192
2026-10-15 |  |  | 8051.565
2026-10-16 |  |  | 8814.8763
2026-10-17 |  |  | 8523.8612
2026-10-18 |  |  | 10120.9604
2026-10-19 |  |  | 11790.0662
2026-10-20 |  |  | 12529.7188
2026-10-21 | 18858.8012 | 21572.774 | 11259.0575
2026-10-22 | 19581.8974 | 22084.007 | 11608.2765
2026-10-23 | 19970.7475 | 22079.6607 | 8974.4392
2026-10-24 | 19313.9078 | 20943.8177 | 7847.9773
2026-10-25 | 18446.273 | 20532.2982 | 7447.8749
2026-10-26 | 19565.2407 | 22175.1874 | 8043.3913
2026-10-27 | 20269.9247 | 22318.4099 | 9024.953
2026-10-28 | 20677.9656 | 22092.2144 | 9275.8723
2026-10-29 | 21033.7006 | 22345.8842 | 8097.9324

## Weekly EAF
week_start | eaf_pct | planned_outages_pct | unplanned_outages_pct | other_outages_pct
2026-03-30 | 63.608 | 16.2544 | 19.9656 | 0.17194
2026-04-06 | 62.2635 | 16.2539 | 21.283 | 0.19952
2026-04-13 | 58.1481 | 16.8361 | 24.9362 | 0.079719
2026-04-20 | 56.4902 | 16.6174 | 26.4777 | 0.41475
2026-04-27 | 61.4809 | 12.9344 | 25.5847 | 4.9607e-06
2026-05-04 | 61.6469 | 13.4485 | 24.0251 | 0.87954
2026-05-11 | 66.9297 | 13.2313 | 19.6718 | 0.1673
2026-05-18 | 68.0958 | 10.9844 | 20.9191 | 0.0007665
2026-05-25 | 66.6893 | 12.7036 | 20.5959 | 0.011206
2026-06-01 | 65.8367 | 12.5777 | 21.5486 | 0.037077
2026-06-08 | 64.6133 | 13.0544 | 21.8895 | 0.44282
2026-06-15 | 68.6064 | 9.1628 | 22.0301 | 0.20066
2026-06-22 | 67.0684 | 9.8386 | 22.934 | 0.15909
2026-06-29 | 70.1697 | 8.7446 | 20.9845 | 0.10116
2026-07-06 | 73.8502 | 9.9828 | 15.8683 | 0.29868
2026-07-13 | 75.7774 | 7.846 | 16.3629 | 0.013698
2026-07-20 | 79.0243 | 7.1607 | 13.8099 | 0.0051505
2026-07-27 | 77.4278 | 10.1996 | 12.3686 | 0.0040236
2026-08-03 | 71.874 | 11.8611 | 16.0459 | 0.21897
2026-08-10 | 72.0373 | 12.966 | 14.8844 | 0.11233
2026-08-17 | 70.3822 | 15.1922 | 13.9611 | 0.46462
2026-08-24 | 68.73 | 17.2081 | 13.6002 | 0.4617
2026-08-31 | 66.7248 | 15.179 | 18.0715 | 0.024677
2026-09-07 | 69.605 | 13.5795 | 16.7266 | 0.088925
2026-09-14 | 71.4705 | 12.786 | 15.7368 | 0.0067085
2026-09-21 | 68.9168 | 14.4382 | 16.6309 | 0.01406
2026-09-28 | 70.7792 | 12.6421 | 16.4021 | 0.1767
2026-10-05 | 69.5288 | 13.8354 | 16.447 | 0.18885
2026-10-12 | 68.9125 | 13.1267 | 17.9608 | 0
2026-10-19 | 65.431 | 13.5009 | 21.0304 | 0.037692
2026-10-26 | 70.1885 | 12.1648 | 17.6168 | 0.029965

## Pumped storage
date | drakensberg_close_unit_hours | drakensberg_close_pct_full | drakensberg_low_pct_full | ingula_close_unit_hours | ingula_close_pct_full | ingula_low_pct_full | palmiet_close_unit_hours | palmiet_close_pct_full | palmiet_low_pct_full
2026-09-14 | 90 | 88.2353 | 87.6471 | 41.51 | 61.9552 | 60.7164 | 48.8 | 83.1346 | 77.6831
2026-09-15 | 90.6 | 88.8235 | 88.5294 | 40.86 | 60.9851 | 60.9851 | 43.3 | 73.7649 | 73.7649
2026-09-16 | 86.2 | 84.5098 | 84.5098 | 31.17 | 46.5224 | 45.9851 | 38.5 | 65.5877 | 65.5877
2026-09-17 | 84.2 | 82.549 | 82.1569 | 32.94 | 49.1642 | 44.8657 | 34.9 | 59.4549 | 56.0477
2026-09-18 | 83.8 | 82.1569 | 81.3725 | 37.47 | 55.9254 | 52.4478 | 38.5 | 65.5877 | 60.8177
2026-09-19 | 84.6 | 82.9412 | 82.1569 | 29.49 | 44.0149 | 43.5373 | 35.7 | 60.8177 | 60.8177
2026-09-20 | 85.4 | 83.7255 | 83.7255 | 32.38 | 48.3284 | 45.8955 | 39.7 | 67.632 | 62.862
2026-09-21 | 89.4 | 87.6471 | 84.1176 | 29.81 | 44.4925 | 39.9104 | 37.7 | 64.2249 | 62.862
2026-09-22 | 89.4 | 87.6471 | 86.8627 | 33.62 | 50.1791 | 47.9552 | 43.7 | 74.4463 | 64.9063
2026-09-23 | 90.3 | 88.5294 | 87.9412 | 29.55 | 44.1045 | 44.1045 | 42 | 71.5503 | 71.5503
2026-09-24 | 89.7 | 87.9412 | 87.9412 | 28.66 | 42.7761 | 42.7761 | 41.7 | 71.0392 | 66.2692
2026-09-25 | 86.2 | 84.5098 | 84.5098 | 27.77 | 41.4478 | 40.3881 | 40.3 | 68.6542 | 68.6542
2026-09-26 | 83 | 81.3725 | 80.9804 | 29.87 | 44.5821 | 40.6716 | 34.9 | 59.4549 | 59.4549
2026-09-27 | 90.3 | 88.5294 | 82.1569 | 37.89 | 56.5522 | 47.5821 | 48 | 81.7717 | 61.4991
2026-09-28 | 91.2 | 89.4118 | 88.8235 | 30.31 | 45.2388 | 45.2388 | 43.3 | 73.7649 | 73.7649
2026-09-29 | 91.5 | 89.7059 | 89.4118 | 32.26 | 48.1493 | 43.8209 | 38.5 | 65.5877 | 64.2249
2026-09-30 | 89.4 | 87.6471 | 87.2549 | 23.74 | 35.4328 | 34.8507 | 35.7 | 60.8177 | 60.8177
2026-10-01 | 86.2 | 84.5098 | 84.5098 | 24.66 | 36.806 | 36.806 | 38.1 | 64.9063 | 61.4991
2026-10-02 | 82.6 | 80.9804 | 80.9804 | 21.36 | 31.8806 | 31.4776 | 32.1 | 54.6848 | 54.6848
2026-10-03 | 86.6 | 84.902 | 80.9804 | 23.15 | 34.5522 | 33.8657 | 36.9 | 62.862 | 54.6848
2026-10-12 | 87.8 | 86.0784 | 86.0784 | 32.13 | 47.9552 | 42.209 | 43.3 | 73.7649 | 72.402
2026-10-13 | 87.4 | 85.6863 | 85.6863 | 31.63 | 47.209 | 41.7313 | 40.3 | 68.6542 | 67.632
2026-10-14 | 89.4 | 87.6471 | 86.0784 | 28.85 | 43.0597 | 42.6866 | 40.9 | 69.6763 | 69.6763
2026-10-15 | 90.8 | 89.0196 | 87.6471 | 29.55 | 44.1045 | 44.1045 | 43.7 | 74.4463 | 71.0392
2026-10-16 | 86.6 | 84.902 | 84.5098 | 24.2 | 36.1194 | 34.2537 | 35.7 | 60.8177 | 60.477
2026-10-17 | 86.2 | 84.5098 | 84.5098 | 25.77 | 38.4627 | 38.4627 | 41.7 | 71.0392 | 62.5213
2026-10-18 | 75 | 73.5294 | 73.5294 | 26.48 | 39.5224 | 33.0746 | 32.5 | 55.3663 | 55.3663
2026-10-19 | 74.6 | 73.1373 | 73.1373 | 25.51 | 38.0746 | 37.7761 | 34.1 | 58.092 | 58.092
2026-10-20 | 81 | 79.4118 | 73.5294 | 35.47 | 52.9403 | 38.3582 | 42.5 | 72.402 | 57.4106
2026-10-21 | 83 | 81.3725 | 80.5882 | 26.61 | 39.7164 | 39.7164 | 40.9 | 69.6763 | 69.6763
2026-10-22 | 79.8 | 78.2353 | 77.8431 | 24.07 | 35.9254 | 35.9254 | 35.5 | 60.477 | 60.477
2026-10-23 | 83.4 | 81.7647 | 78.6275 | 28.73 | 42.8806 | 36.1194 | 40.9 | 69.6763 | 60.477
2026-10-24 | 83 | 81.3725 | 81.3725 | 26.54 | 39.6119 | 39.6119 | 36.9 | 62.862 | 62.862

## Load shedding
date | load_shed_avg_mw | load_shed_peak_mw | hours_with_load_shedding
2026-09-14 | 0 | 0 | 0
2026-09-15 | 0 | 0 | 0
2026-09-16 | 0 | 0 | 0
2026-09-17 | 0 | 0 | 0
2026-09-18 | 0 | 0 | 0
2026-09-19 | 0 | 0 | 0
2026-09-20 | 0 | 0 | 0
2026-09-21 | 0 | 0 | 0
2026-09-22 | 0 | 0 | 0
2026-09-23 | 0 | 0 | 0
2026-09-24 | 0 | 0 | 0
2026-09-25 | 0 | 0 | 0
2026-09-26 | 0 | 0 | 0
2026-09-27 | 0 | 0 | 0
2026-09-28 | 0 | 0 | 0
2026-09-29 | 0 | 0 | 0
2026-09-30 | 0 | 0 | 0
2026-10-01 | 0 | 0 | 0
2026-10-02 | 0 | 0 | 0
2026-10-03 | 0 | 0 | 0
2026-10-12 | 0 | 0 | 0
2026-10-13 | 0 | 0 | 0
2026-10-14 | 0 | 0 | 0
2026-10-15 | 0 | 0 | 0
2026-10-16 | 0 | 0 | 0
2026-10-17 | 0 | 0 | 0
2026-10-18 | 0 | 0 | 0
2026-10-19 | 0 | 0 | 0
2026-10-20 | 0 | 0 | 0
2026-10-21 | 0 | 0 | 0
2026-10-22 | 0 | 0 | 0
2026-10-23 | 0 | 0 | 0
2026-10-24 | 0 | 0 | 0