## Units
Notes
UNITS
All *_MW columns are MW, the daily mean of IESO's hourly generation readings for that fuel category, summed across every generator of that fuel type - 'average MW for that day', not total daily energy. Total_MW is the sum of the category means.
SCOPE
Ontario only, not all of Canada - IESO is Ontario's grid operator. Categories: NUCLEAR, GAS, HYDRO, WIND, SOLAR, BIOFUEL, OTHER (Ontario has no coal generation left).
Renewables_Share: (HYDRO + WIND + SOLAR + BIOFUEL) daily mean, as a share of Total_MW.
Hours_Reported: how many of the expected 24 hourly readings that day actually came back; a day is only saved if at least 20 came back.
TIMESTAMPS
The 'date' index is the report's own date field (Ontario/Eastern operating day).
COVERAGE
This is IESO's rolling 'today' XML document, not a historical range query - hours populate through the day as they're realized. Like MISO's /FuelMix/Today, this upserts by date into the Data tab on every run, building up history from whenever this script first started running, not backfilling the past.
SOURCE
IESO (Independent Electricity System Operator, Ontario) public report: https://reports-public.ieso.ca/public/GenOutputCapability/PUB_GenOutputCapability.xml

## Chart
Date | Nuclear | Gas | Hydro | Wind | Solar | Biofuel | Other | Axis label
2026-09-30 | 7583.3043 | 5435.7826 | 3276.2609 | 1543.6522 | 50.3043 | 0 | 97.3913 | Sep/26
2026-10-01 | 7388.7826 | 5504.4783 | 3407.2174 | 1757.8696 | 27.4783 | 0 | 132.8261 | Oct/26
2026-10-02 | 7366.8696 | 5546.8696 | 3247.5652 | 1518.3913 | 63.3478 | 0 | 115.5652
2026-10-03 | 7408.0417 | 4537.25 | 3133.2083 | 523.9167 | 127.75 | 0 | 117.2083
2026-10-04 | 7401.6087 | 3821.1304 | 3183.1304 | 1813.7826 | 78.5652 | 0 | 101.7826
2026-10-05 | 7409.7391 | 3751.0435 | 3317.8261 | 2190.0435 | 110.9565 | 0 | 113.2609
2026-10-06 | 7511.913 | 4164.6957 | 3330.9565 | 1234.2609 | 129.7391 | 0 | 116.3478
2026-10-07 | 7517.2174 | 3663.4348 | 3417.6087 | 2735.6522 | 84.3913 | 0 | 175.5652
2026-10-08 | 7520.4783 | 4306.5217 | 3355.2609 | 1915.6087 | 93.6087 | 0 | 171.087
2026-10-09 | 7532.1304 | 4542.2609 | 3502.1739 | 931.3478 | 91.6522 | 0 | 141.6522
2026-10-10 | 7508.8696 | 3779.6087 | 3232.087 | 2208.4783 | 75.0435 | 0 | 76.6957
2026-10-11 | 7495.913 | 4350.2609 | 3312.5652 | 1253.6957 | 50.2174 | 0 | 98.0435

## Data
date | NUCLEAR_MW | GAS_MW | HYDRO_MW | WIND_MW | SOLAR_MW | BIOFUEL_MW | OTHER_MW | Total_MW | Renewables_Share | Hours_Reported
2026-09-30 | 7583.3043 | 5435.7826 | 3276.2609 | 1543.6522 | 50.3043 | 0 | 97.3913 | 17986.6957 | 0.27077 | 23
2026-10-01 | 7388.7826 | 5504.4783 | 3407.2174 | 1757.8696 | 27.4783 | 0 | 132.8261 | 18218.6522 | 0.28501 | 23
2026-10-02 | 7366.8696 | 5546.8696 | 3247.5652 | 1518.3913 | 63.3478 | 0 | 115.5652 | 17858.6087 | 0.27042 | 23
2026-10-03 | 7408.0417 | 4537.25 | 3133.2083 | 523.9167 | 127.75 | 0 | 117.2083 | 15847.375 | 0.23883 | 24
2026-10-04 | 7401.6087 | 3821.1304 | 3183.1304 | 1813.7826 | 78.5652 | 0 | 101.7826 | 16400 | 0.30948 | 23
2026-10-05 | 7409.7391 | 3751.0435 | 3317.8261 | 2190.0435 | 110.9565 | 0 | 113.2609 | 16892.8696 | 0.33262 | 23
2026-10-06 | 7511.913 | 4164.6957 | 3330.9565 | 1234.2609 | 129.7391 | 0 | 116.3478 | 16487.913 | 0.28475 | 23
2026-10-07 | 7517.2174 | 3663.4348 | 3417.6087 | 2735.6522 | 84.3913 | 0 | 175.5652 | 17593.8696 | 0.35454 | 23
2026-10-08 | 7520.4783 | 4306.5217 | 3355.2609 | 1915.6087 | 93.6087 | 0 | 171.087 | 17362.5652 | 0.30897 | 23
2026-10-09 | 7532.1304 | 4542.2609 | 3502.1739 | 931.3478 | 91.6522 | 0 | 141.6522 | 16741.2174 | 0.2703 | 23
2026-10-10 | 7508.8696 | 3779.6087 | 3232.087 | 2208.4783 | 75.0435 | 0 | 76.6957 | 16880.7826 | 0.32674 | 23
2026-10-11 | 7495.913 | 4350.2609 | 3312.5652 | 1253.6957 | 50.2174 | 0 | 98.0435 | 16560.6957 | 0.27876 | 23