## Units
Notes
UNITS
Monthly: installed capacity, MW, all India (utilities), as on the last day of the month (row dated the 1st). Coal = coal + lignite; Gas; Oil = diesel; Nuclear; Hydro = large hydro (CEA 'Hydro', >25 MW) + small hydro (MNRE, <=25 MW); Wind; Solar (ground-mounted, rooftop and off-grid solar as MNRE reports it); Bioenergy = biomass/bagasse cogeneration + waste to energy; Other = any RES not covered by the break-up. Total_MW = sum of fuels; Grand_total_reported_MW = CEA's own grand total (a check). Detail columns split hydro and show lignite and waste to energy. Lignite_MW is blank before Dec 2021: earlier reports have no lignite column (lignite is inside coal there, so Coal_MW is consistent throughout).
Mar 2025: CEA's report drops gas by 5.06 GW (25,188 -> 20,132 MW), coal by 2.8 GW and nuclear by 0.1 GW while solar / wind / hydro grow, so the total falls 2.6 GW. This is CEA's own revision (retired / de-rated units taken out), not a parse error: every month's fuel sum equals CEA's reported grand total.
Files: the NPP file read for each month and its Last-Modified date.
COVERAGE
Monthly from Jan 2019 to Sep 2026. Utilities only (captive plants are not included). Renewable capacity is MNRE's figure as carried in CEA's report. A month's report appears on NPP about 2-3 weeks after the month ends.
SOURCE
CEA (Central Electricity Authority, Ministry of Power), All India Installed Capacity (Utilities) monthly report, via the National Power Portal: https://npp.gov.in/publishedReports (files https://npp.gov.in/public-reports/cea/monthly/installcap/YYYY/MON/capacity1-YYYY-MM.xls); also published at https://cea.nic.in/installed-capacity-report/?lang=en.

## Chart
Date | Hydro | Gas | Wind | Solar | Oil | Bioenergy | Coal | Nuclear & other
2021-01-01 | 50.8177 | 24.9565 | 38.6836 | 38.7941 | 0.5097 | 10.3146 | 206.4045 | 6.78
2021-02-01 | 50.9923 | 24.9565 | 38.7892 | 39.0837 | 0.5097 | 10.3146 | 207.7045 | 6.78
2021-03-01 | 50.996 | 24.924 | 39.247 | 40.0854 | 0.5097 | 10.3146 | 209.2945 | 6.78
2021-04-01 | 50.996 | 24.924 | 39.4104 | 40.5008 | 0.5097 | 10.3146 | 209.2945 | 6.78
2021-05-01 | 50.996 | 24.924 | 39.4422 | 41.0876 | 0.5097 | 10.3396 | 209.2945 | 6.78
2021-06-01 | 51.116 | 24.924 | 39.4866 | 42.3355 | 0.5097 | 10.3396 | 208.6245 | 6.78
2021-07-01 | 51.1618 | 24.924 | 39.5888 | 43.9401 | 0.5097 | 10.5591 | 209.4245 | 6.78
2021-08-01 | 51.22 | 24.924 | 39.6912 | 45.6119 | 0.5097 | 10.5724 | 208.8245 | 6.78
2021-09-01 | 51.322 | 24.8995 | 39.8704 | 46.2751 | 0.5097 | 10.5774 | 208.6145 | 6.78
2021-10-01 | 51.334 | 24.8995 | 39.9901 | 47.6659 | 0.5097 | 10.5774 | 209.0345 | 6.78
2021-11-01 | 51.3436 | 24.8995 | 40.0336 | 48.5566 | 0.5097 | 10.6097 | 209.2845 | 6.78
2021-12-01 | 51.3516 | 24.8995 | 40.0827 | 49.3467 | 0.5097 | 10.6097 | 209.8095 | 6.78
2022-01-01 | 51.3521 | 24.8995 | 40.1009 | 50.3036 | 0.5097 | 10.6097 | 210.5195 | 6.78
2022-02-01 | 51.3644 | 24.8995 | 40.1298 | 50.7778 | 0.5097 | 10.6272 | 210.5195 | 6.78
2022-03-01 | 51.5714 | 24.8995 | 40.3576 | 53.9965 | 0.5097 | 10.6824 | 210.6995 | 6.78
2022-04-01 | 51.5734 | 24.8995 | 40.5281 | 55.3377 | 0.5097 | 10.6824 | 210.6995 | 6.78
2022-05-01 | 51.6089 | 24.8792 | 40.7064 | 56.9513 | 0.5097 | 10.6824 | 210.6995 | 6.78
2022-06-01 | 51.7381 | 24.8562 | 40.788 | 57.7057 | 0.5097 | 10.6824 | 210.6995 | 6.78
2022-07-01 | 51.7381 | 24.8562 | 40.8933 | 57.9738 | 0.5097 | 10.6824 | 210.6995 | 6.78
2022-08-01 | 51.7381 | 24.8562 | 41.2047 | 59.3027 | 0.5097 | 10.6824 | 210.6995 | 6.78
2022-09-01 | 51.7497 | 24.8242 | 41.6661 | 60.8139 | 0.5624 | 10.7008 | 210.6995 | 6.78
2022-10-01 | 51.7737 | 24.8242 | 41.844 | 61.6243 | 0.5624 | 10.7008 | 210.6055 | 6.78
2022-11-01 | 51.7748 | 24.8242 | 41.8953 | 61.9664 | 0.5892 | 10.7258 | 210.6055 | 6.78
2022-12-01 | 51.7858 | 24.8242 | 41.9298 | 63.3025 | 0.5892 | 10.7322 | 210.3955 | 6.78
2023-01-01 | 51.7898 | 24.8242 | 41.9832 | 63.8938 | 0.5892 | 10.7329 | 211.0555 | 6.78
2023-02-01 | 51.7933 | 24.8242 | 42.0154 | 64.3807 | 0.5892 | 10.7739 | 211.0555 | 6.78
2023-03-01 | 51.7945 | 24.8242 | 42.6331 | 66.7803 | 0.5892 | 10.802 | 211.8555 | 6.78
2023-04-01 | 51.7945 | 24.8242 | 42.8681 | 67.0779 | 0.5892 | 10.802 | 211.8555 | 6.78
2023-05-01 | 51.7945 | 24.8242 | 43.199 | 67.8212 | 0.5892 | 10.8045 | 211.8555 | 6.78
2023-06-01 | 51.8092 | 24.8242 | 43.7731 | 70.0968 | 0.5892 | 10.8136 | 212.5155 | 7.48
2023-07-01 | 51.8329 | 25.0382 | 43.9401 | 71.145 | 0.5892 | 10.8184 | 212.5155 | 7.48
2023-08-01 | 51.8329 | 25.0382 | 44.0897 | 71.61 | 0.5892 | 10.8322 | 212.8155 | 7.48
2023-09-01 | 51.8329 | 25.0382 | 44.1846 | 71.7807 | 0.5892 | 10.8353 | 213.6655 | 7.48
2023-10-01 | 51.8369 | 25.0382 | 44.2924 | 72.018 | 0.5892 | 10.8353 | 213.4455 | 7.48
2023-11-01 | 51.8669 | 25.0382 | 44.5637 | 72.3117 | 0.5892 | 10.8364 | 213.4455 | 7.48
2023-12-01 | 51.8969 | 25.0382 | 44.7362 | 73.3185 | 0.5892 | 10.8447 | 214.3955 | 7.48
2024-01-01 | 51.9229 | 25.0382 | 44.9692 | 74.3065 | 0.5892 | 10.8459 | 214.8095 | 7.48
2024-02-01 | 51.9229 | 25.0382 | 45.1537 | 75.5758 | 0.5892 | 10.8459 | 217.5895 | 7.48
2024-03-01 | 51.9314 | 25.0382 | 45.8865 | 81.8136 | 0.5892 | 10.9412 | 217.5895 | 8.18
2024-04-01 | 51.9334 | 24.8182 | 46.1618 | 82.6379 | 0.5892 | 10.9466 | 217.5895 | 8.18
2024-05-01 | 51.9334 | 24.8182 | 46.4225 | 84.2774 | 0.5892 | 10.9466 | 217.5895 | 8.18
2024-06-01 | 51.9334 | 24.8182 | 46.6564 | 85.4743 | 0.5892 | 10.9487 | 217.5895 | 8.18
2024-07-01 | 51.9649 | 24.8182 | 47.0754 | 87.208 | 0.5892 | 10.9562 | 217.5895 | 8.18
2024-08-01 | 51.9989 | 24.8182 | 47.1923 | 89.432 | 0.5892 | 10.9594 | 217.5895 | 8.18
2024-09-01 | 52.0039 | 24.8182 | 47.3629 | 90.7621 | 0.5892 | 11.3289 | 217.6495 | 8.18
2024-10-01 | 52.0454 | 24.8182 | 47.7167 | 92.1192 | 0.5892 | 11.3339 | 217.6495 | 8.18
2024-11-01 | 52.0524 | 24.8182 | 47.9591 | 94.1678 | 0.5892 | 11.3412 | 217.6495 | 8.18
2024-12-01 | 52.0687 | 24.8182 | 48.1632 | 97.8647 | 0.5892 | 11.3482 | 219.033 | 8.18
2025-01-01 | 52.0687 | 24.8182 | 48.3653 | 100.3298 | 0.5892 | 11.4066 | 220.493 | 8.18
2025-02-01 | 52.0687 | 25.1883 | 48.5886 | 102.566 | 0.5892 | 11.4544 | 221.813 | 8.18
2025-03-01 | 52.8287 | 20.1324 | 50.0378 | 105.6465 | 0.5892 | 11.5833 | 218.988 | 8.08
2025-04-01 | 53.0302 | 20.1324 | 51.0586 | 107.9456 | 0.5892 | 11.594 | 219.338 | 8.78
2025-05-01 | 53.0302 | 20.1324 | 51.2922 | 110.8343 | 0.5892 | 11.594 | 219.338 | 8.78
2025-06-01 | 54.4802 | 20.1324 | 51.6748 | 116.2478 | 0.5892 | 11.5963 | 221.318 | 8.78
2025-07-01 | 54.7369 | 20.1324 | 52.1401 | 119.0165 | 0.5892 | 11.5976 | 223.068 | 8.78
2025-08-01 | 55.2169 | 20.1324 | 52.6812 | 123.1301 | 0.5892 | 11.5976 | 223.418 | 8.78
2025-09-01 | 55.2418 | 20.1324 | 53.1238 | 127.3323 | 0.5892 | 11.6118 | 224.078 | 8.78
2025-10-01 | 55.5068 | 20.1324 | 53.5999 | 129.9238 | 0.5892 | 11.6129 | 224.878 | 8.78
2025-11-01 | 55.5733 | 20.1224 | 53.986 | 132.8483 | 0.5892 | 11.6139 | 226.23 | 8.78
2025-12-01 | 56.0733 | 20.1224 | 54.5109 | 135.81 | 0.5892 | 11.6139 | 226.23 | 8.78
2026-01-01 | 56.3233 | 20.1224 | 54.6504 | 140.6017 | 0.5892 | 11.6139 | 227.83 | 8.78
2026-02-01 | 56.336 | 20.1224 | 55.1325 | 143.6044 | 0.5892 | 11.615 | 227.83 | 8.78
2026-03-01 | 56.586 | 20.1224 | 56.0948 | 150.2607 | 0.5892 | 11.7465 | 228.56 | 8.78
2026-04-01 | 56.836 | 20.1224 | 56.4366 | 154.2361 | 0.5892 | 11.7465 | 228.5175 | 8.78
2026-05-01 | 57.144 | 20.1224 | 56.807 | 157.0464 | 0.5892 | 11.7476 | 230.1175 | 8.78
2026-06-01 | 57.2464 | 20.1224 | 57.4434 | 162.142 | 0.5892 | 11.7476 | 230.7775 | 8.78
2026-07-01 | 57.2464 | 20.1224 | 58.1369 | 164.5948 | 0.5892 | 11.7476 | 230.7775 | 8.78
2026-08-01 | 57.2464 | 19.144 | 58.5203 | 168.0401 | 0.2883 | 11.7476 | 230.7775 | 8.78
2026-09-01 | 57.2464 | 19.144 | 59.2011 | 171.0515 | 0.2883 | 11.7476 | 231.4375 | 8.78

## Monthly
date | Hydro_MW | Gas_MW | Wind_MW | Solar_MW | Coal_MW | Nuclear_MW | Oil_MW | Bioenergy_MW | Other_MW | Total_MW | Large_hydro_MW | Small_hydro_MW | Lignite_MW | Waste_to_energy_MW | Grand_total_reported_MW
2019-01-01 | 49916.7 | 24937.2 | 35138.2 | 25212.3 | 197452.5 | 6780 | 637.6 | 9213.8 | 0 | 349288.2 | 45399.2 | 4517.4 |  | 138.3 | 349288.2
2019-02-01 | 49927.3 | 24937.2 | 35288.1 | 26026 | 197352.5 | 6780 | 637.6 | 9213.8 | 0 | 350162.5 | 45399.2 | 4528 |  | 138.3 | 350162.5
2019-03-01 | 49992.4 | 24937.2 | 35626 | 28180.7 | 200704.5 | 6780 | 637.6 | 9241.8 | 0 | 356100.2 | 45399.2 | 4593.2 |  | 138.3 | 356100.2
2019-04-01 | 49992.4 | 24937.2 | 35626 | 28180.7 | 200704.5 | 6780 | 637.6 | 9241.8 | 0 | 356100.2 | 45399.2 | 4593.2 |  | 138.3 | 356100.2
2019-05-01 | 49993.4 | 24937.2 | 35815.9 | 28679.2 | 200704.5 | 6780 | 637.6 | 9269.8 | 0 | 356817.6 | 45399.2 | 4594.2 |  | 138.3 | 356817.6
2019-06-01 | 50004 | 24937.2 | 36368.5 | 29549.3 | 200749.5 | 6780 | 637.6 | 9269.8 | 0 | 358296 | 45399.2 | 4604.8 |  | 138.3 | 358296
2019-07-01 | 50004 | 24937.2 | 36686.8 | 30071.4 | 202069.5 | 6780 | 637.6 | 9269.8 | 0 | 360456.4 | 45399.2 | 4604.8 |  | 138.3 | 360456.4
2019-08-01 | 50008 | 24937.2 | 36750.4 | 30708.8 | 202529.5 | 6780 | 509.7 | 9271.3 | 0 | 361495 | 45399.2 | 4608.8 |  | 139.8 | 361495
2019-09-01 | 50010 | 24937.2 | 36930.3 | 31101.7 | 203154.5 | 6780 | 509.7 | 9946.1 | 0 | 363369.6 | 45399.2 | 4610.8 |  | 139.8 | 363369.6
2019-10-01 | 50046.3 | 24937.2 | 37090 | 31696.3 | 203954.5 | 6780 | 509.7 | 9946.1 | 0 | 364960.2 | 45399.2 | 4647.1 |  | 139.8 | 364960.1
2019-11-01 | 50046.8 | 24937.2 | 37278.7 | 32527.6 | 203954.5 | 6780 | 509.7 | 9946.1 | 0 | 365980.6 | 45399.2 | 4647.6 |  | 139.8 | 365980.5
2019-12-01 | 50070.8 | 24937.2 | 37505.2 | 33730.6 | 205254.5 | 6780 | 509.7 | 10001.1 | 0 | 368789.1 | 45399.2 | 4671.6 |  | 139.8 | 368789
2020-01-01 | 50075.8 | 24955.4 | 37607.7 | 34035.7 | 204724.5 | 6780 | 509.7 | 10001.1 | 0 | 368689.8 | 45399.2 | 4676.6 |  | 139.8 | 368689.8
2020-02-01 | 50382.4 | 24955.4 | 37669.2 | 34405.7 | 204724.5 | 6780 | 509.7 | 10001.1 | 0 | 369428 | 45699.2 | 4683.2 |  | 139.8 | 369428
2020-03-01 | 50382.4 | 24955.4 | 37693.8 | 34627.8 | 205134.5 | 6780 | 509.7 | 10022.9 | 0 | 370106.5 | 45699.2 | 4683.2 |  | 147.6 | 370106.5
2020-04-01 | 50382.4 | 24955.4 | 37745.8 | 34811.8 | 205134.5 | 6780 | 509.7 | 10027.9 | 0 | 370347.5 | 45699.2 | 4683.2 |  | 147.6 | 370347.5
2020-05-01 | 50382.4 | 24991.5 | 37756.4 | 34915.4 | 205134.5 | 6780 | 509.7 | 10029.2 | 0 | 370499 | 45699.2 | 4683.2 |  | 148.8 | 370499
2020-06-01 | 50387.4 | 24991.5 | 37829.6 | 35122.3 | 205404.5 | 6780 | 509.7 | 10029.2 | 0 | 371054.1 | 45699.2 | 4688.2 |  | 148.8 | 371054.1
2020-07-01 | 50411.4 | 24991.5 | 37941 | 35303.3 | 205954.5 | 6780 | 509.7 | 10085.5 | 0 | 371976.9 | 45699.2 | 4712.2 |  | 148.8 | 371976.8
2020-08-01 | 50439.2 | 24956.5 | 37999.6 | 35739.4 | 205954.5 | 6780 | 509.7 | 10314.6 | 0 | 372693.4 | 45699.2 | 4740 |  | 168.6 | 372693.4
2020-09-01 | 50439.2 | 24956.5 | 38124.2 | 36050.7 | 205854.5 | 6780 | 509.7 | 10314.6 | 0 | 373029.4 | 45699.2 | 4740 |  | 168.6 | 373029.4
2020-10-01 | 50439.7 | 24956.5 | 38263 | 36317.6 | 205854.5 | 6780 | 509.7 | 10314.6 | 0 | 373435.6 | 45699.2 | 4740.5 |  | 168.6 | 373435.6
2020-11-01 | 50439.7 | 24956.5 | 38433.6 | 36910.5 | 205854.5 | 6780 | 509.7 | 10314.6 | 0 | 374199.1 | 45699.2 | 4740.5 |  | 168.6 | 374199
2020-12-01 | 50548.7 | 24956.5 | 38624.2 | 37464.6 | 206124.5 | 6780 | 509.7 | 10314.6 | 0 | 375322.8 | 45798.2 | 4750.5 |  | 168.6 | 375322.7
2021-01-01 | 50817.7 | 24956.5 | 38683.6 | 38794.1 | 206404.5 | 6780 | 509.7 | 10314.6 | 0 | 377260.7 | 46059.2 | 4758.5 |  | 168.6 | 377260.7
2021-02-01 | 50992.3 | 24956.5 | 38789.2 | 39083.7 | 207704.5 | 6780 | 509.7 | 10314.6 | 0 | 379130.4 | 46209.2 | 4783.1 |  | 168.6 | 379130.4
2021-03-01 | 50996 | 24924 | 39247 | 40085.4 | 209294.5 | 6780 | 509.7 | 10314.6 | 0 | 382151.2 | 46209.2 | 4786.8 |  | 168.6 | 382151.2
2021-04-01 | 50996 | 24924 | 39410.4 | 40500.8 | 209294.5 | 6780 | 509.7 | 10314.6 | 0 | 382730 | 46209.2 | 4786.8 |  | 168.6 | 382730
2021-05-01 | 50996 | 24924 | 39442.2 | 41087.6 | 209294.5 | 6780 | 509.7 | 10339.6 | 0 | 383373.7 | 46209.2 | 4786.8 |  | 168.6 | 383373.7
2021-06-01 | 51116 | 24924 | 39486.6 | 42335.5 | 208624.5 | 6780 | 509.7 | 10339.6 | 0 | 384116 | 46322.2 | 4793.8 |  | 168.6 | 384115.9
2021-07-01 | 51161.8 | 24924 | 39588.8 | 43940.1 | 209424.5 | 6780 | 509.7 | 10559.1 | 0 | 386888.2 | 46367.2 | 4794.6 |  | 388.2 | 386888.2
2021-08-01 | 51220 | 24924 | 39691.2 | 45611.9 | 208824.5 | 6780 | 509.7 | 10572.4 | 0 | 388133.8 | 46412.2 | 4807.8 |  | 401.8 | 388133.8
2021-09-01 | 51322 | 24899.5 | 39870.4 | 46275.1 | 208614.5 | 6780 | 509.7 | 10577.4 | 0 | 388848.8 | 46512.2 | 4809.8 |  | 401.8 | 388848.8
2021-10-01 | 51334 | 24899.5 | 39990.1 | 47665.9 | 209034.5 | 6780 | 509.7 | 10577.4 | 0 | 390791.2 | 46512.2 | 4821.8 |  | 401.8 | 390791.2
2021-11-01 | 51343.6 | 24899.5 | 40033.6 | 48556.6 | 209284.5 | 6780 | 509.7 | 10609.7 | 0 | 392017.2 | 46512.2 | 4831.4 |  | 434.1 | 392017.2
2021-12-01 | 51351.6 | 24899.5 | 40082.7 | 49346.7 | 209809.5 | 6780 | 509.7 | 10609.7 | 0 | 393389.5 | 46512.2 | 4839.4 | 6620 | 434.1 | 393389.5
2022-01-01 | 51352.1 | 24899.5 | 40100.9 | 50303.6 | 210519.5 | 6780 | 509.7 | 10609.7 | 0 | 395075.1 | 46512.2 | 4839.9 | 6620 | 434.1 | 395075.1
2022-02-01 | 51364.4 | 24899.5 | 40129.8 | 50777.8 | 210519.5 | 6780 | 509.7 | 10627.2 | 0 | 395607.9 | 46524.5 | 4839.9 | 6620 | 451.6 | 395607.9
2022-03-01 | 51571.4 | 24899.5 | 40357.6 | 53996.5 | 210699.5 | 6780 | 509.7 | 10682.4 | 0 | 399496.6 | 46722.5 | 4848.9 | 6620 | 476.8 | 399496.6
2022-04-01 | 51573.4 | 24899.5 | 40528.1 | 55337.7 | 210699.5 | 6780 | 509.7 | 10682.4 | 0 | 401010.2 | 46722.5 | 4850.9 | 6620 | 476.8 | 401010.2
2022-05-01 | 51608.9 | 24879.2 | 40706.4 | 56951.3 | 210699.5 | 6780 | 509.7 | 10682.4 | 0 | 402817.4 | 46722.5 | 4886.4 | 6620 | 476.8 | 402817.4
2022-06-01 | 51738.1 | 24856.2 | 40788 | 57705.7 | 210699.5 | 6780 | 509.7 | 10682.4 | 0 | 403759.6 | 46850.2 | 4887.9 | 6620 | 476.8 | 403759.6
2022-07-01 | 51738.1 | 24856.2 | 40893.3 | 57973.8 | 210699.5 | 6780 | 509.7 | 10682.4 | 0 | 404133 | 46850.2 | 4887.9 | 6620 | 476.8 | 404133
2022-08-01 | 51738.1 | 24856.2 | 41204.7 | 59302.7 | 210699.5 | 6780 | 509.7 | 10682.4 | 0 | 405773.2 | 46850.2 | 4887.9 | 6620 | 476.8 | 405773.2
2022-09-01 | 51749.7 | 24824.2 | 41666.1 | 60813.9 | 210699.5 | 6780 | 562.4 | 10700.8 | 0 | 407796.6 | 46850.2 | 4899.5 | 6620 | 495.2 | 407796.6
2022-10-01 | 51773.7 | 24824.2 | 41844 | 61624.3 | 210605.5 | 6780 | 562.4 | 10700.8 | 0 | 408714.8 | 46850.2 | 4923.5 | 6620 | 495.2 | 408714.8
2022-11-01 | 51774.8 | 24824.2 | 41895.3 | 61966.4 | 210605.5 | 6780 | 589.2 | 10725.8 | 0 | 409161.2 | 46850.2 | 4924.6 | 6620 | 520.2 | 409161.2
2022-12-01 | 51785.8 | 24824.2 | 41929.8 | 63302.5 | 210395.5 | 6780 | 589.2 | 10732.2 | 0 | 410339.2 | 46850.2 | 4935.6 | 6620 | 522.4 | 410339.2
2023-01-01 | 51789.8 | 24824.2 | 41983.2 | 63893.8 | 211055.5 | 6780 | 589.2 | 10732.9 | 0 | 411648.6 | 46850.2 | 4939.6 | 6620 | 523 | 411648.6
2023-02-01 | 51793.3 | 24824.2 | 42015.4 | 64380.7 | 211055.5 | 6780 | 589.2 | 10773.9 | 0 | 412212.1 | 46850.2 | 4943.1 | 6620 | 556.4 | 412212.1
2023-03-01 | 51794.5 | 24824.2 | 42633.1 | 66780.3 | 211855.5 | 6780 | 589.2 | 10802 | 0 | 416058.9 | 46850.2 | 4944.3 | 6620 | 554 | 416058.9
2023-04-01 | 51794.5 | 24824.2 | 42868.1 | 67077.9 | 211855.5 | 6780 | 589.2 | 10802 | 0 | 416591.4 | 46850.2 | 4944.3 | 6620 | 554 | 416591.4
2023-05-01 | 51794.5 | 24824.2 | 43199 | 67821.2 | 211855.5 | 6780 | 589.2 | 10804.5 | 0 | 417668.1 | 46850.2 | 4944.3 | 6620 | 556.5 | 417668.1
2023-06-01 | 51809.2 | 24824.2 | 43773.1 | 70096.8 | 212515.5 | 7480 | 589.2 | 10813.6 | 0 | 421901.6 | 46850.2 | 4959 | 6620 | 565.6 | 421901.6
2023-07-01 | 51832.9 | 25038.2 | 43940.1 | 71145 | 212515.5 | 7480 | 589.2 | 10818.4 | 0 | 423359.3 | 46850.2 | 4982.8 | 6620 | 570.4 | 423359.3
2023-08-01 | 51832.9 | 25038.2 | 44089.7 | 71610 | 212815.5 | 7480 | 589.2 | 10832.2 | 0 | 424287.7 | 46850.2 | 4982.8 | 6620 | 570.4 | 424287.7
2023-09-01 | 51832.9 | 25038.2 | 44184.6 | 71780.7 | 213665.5 | 7480 | 589.2 | 10835.3 | 0 | 425406.5 | 46850.2 | 4982.8 | 6620 | 573.5 | 425406.5
2023-10-01 | 51836.9 | 25038.2 | 44292.4 | 72018 | 213445.5 | 7480 | 589.2 | 10835.3 | 0 | 425535.5 | 46850.2 | 4986.8 | 6620 | 573.5 | 425535.5
2023-11-01 | 51866.9 | 25038.2 | 44563.7 | 72311.7 | 213445.5 | 7480 | 589.2 | 10836.4 | 0 | 426131.6 | 46880.2 | 4986.8 | 6620 | 574.6 | 426131.6
2023-12-01 | 51896.9 | 25038.2 | 44736.2 | 73318.5 | 214395.5 | 7480 | 589.2 | 10844.7 | 0 | 428299.3 | 46910.2 | 4986.8 | 6620 | 582.9 | 428299.3
2024-01-01 | 51922.9 | 25038.2 | 44969.2 | 74306.5 | 214809.5 | 7480 | 589.2 | 10845.9 | 0 | 429961.5 | 46928.2 | 4994.8 | 6620 | 584 | 429961.4
2024-02-01 | 51922.9 | 25038.2 | 45153.7 | 75575.8 | 217589.5 | 7480 | 589.2 | 10845.9 | 0 | 434195.2 | 46928.2 | 4994.8 | 6620 | 584 | 434195.2
2024-03-01 | 51931.4 | 25038.2 | 45886.5 | 81813.6 | 217589.5 | 8180 | 589.2 | 10941.2 | 0 | 441969.6 | 46928.2 | 5003.2 | 6620 | 585.8 | 441969.6
2024-04-01 | 51933.4 | 24818.2 | 46161.8 | 82637.9 | 217589.5 | 8180 | 589.2 | 10946.6 | 0 | 442856.6 | 46928.2 | 5005.2 | 6620 | 591.3 | 442856.6
2024-05-01 | 51933.4 | 24818.2 | 46422.5 | 84277.4 | 217589.5 | 8180 | 589.2 | 10946.6 | 0 | 444756.9 | 46928.2 | 5005.2 | 6620 | 591.3 | 444756.9
2024-06-01 | 51933.4 | 24818.2 | 46656.4 | 85474.3 | 217589.5 | 8180 | 589.2 | 10948.7 | 0 | 446189.7 | 46928.2 | 5005.2 | 6620 | 593.4 | 446189.7
2024-07-01 | 51964.9 | 24818.2 | 47075.4 | 87208 | 217589.5 | 8180 | 589.2 | 10956.2 | 0 | 448381.5 | 46928.2 | 5036.8 | 6620 | 600.9 | 448381.4
2024-08-01 | 51998.9 | 24818.2 | 47192.3 | 89432 | 217589.5 | 8180 | 589.2 | 10959.4 | 0 | 450759.6 | 46928.2 | 5070.8 | 6620 | 604.1 | 450759.6
2024-09-01 | 52003.9 | 24818.2 | 47362.9 | 90762.1 | 217649.5 | 8180 | 589.2 | 11328.9 | 0 | 452694.8 | 46928.2 | 5075.8 | 6620 | 604.5 | 452694.8
2024-10-01 | 52045.4 | 24818.2 | 47716.7 | 92119.2 | 217649.5 | 8180 | 589.2 | 11333.9 | 0 | 454452.2 | 46968.2 | 5077.2 | 6620 | 605.7 | 454452.2
2024-11-01 | 52052.4 | 24818.2 | 47959.1 | 94167.8 | 217649.5 | 8180 | 589.2 | 11341.2 | 0 | 456757.5 | 46968.2 | 5084.2 | 6620 | 613 | 456757.5
2024-12-01 | 52068.7 | 24818.2 | 48163.2 | 97864.7 | 219033 | 8180 | 589.2 | 11348.2 | 0 | 462065.2 | 46968.2 | 5100.6 | 6620 | 619.9 | 462065.2
2025-01-01 | 52068.7 | 24818.2 | 48365.3 | 100329.8 | 220493 | 8180 | 589.2 | 11406.6 | 0 | 466250.8 | 46968.2 | 5100.6 | 6620 | 663.5 | 466250.8
2025-02-01 | 52068.7 | 25188.3 | 48588.6 | 102566 | 221813 | 8180 | 589.2 | 11454.4 | 0 | 470448.2 | 46968.2 | 5100.6 | 6620 | 711.3 | 470448.2
2025-03-01 | 52828.7 | 20132.4 | 50037.8 | 105646.5 | 218988 | 8080 | 589.2 | 11583.3 | 0 | 467886 | 47728.2 | 5100.6 | 6620 | 840.2 | 467886
2025-04-01 | 53030.2 | 20132.4 | 51058.6 | 107945.6 | 219338 | 8780 | 589.2 | 11594 | 0 | 472468 | 47928.2 | 5102 | 6620 | 850.9 | 472468
2025-05-01 | 53030.2 | 20132.4 | 51292.2 | 110834.3 | 219338 | 8780 | 589.2 | 11594 | 0 | 475590.4 | 47928.2 | 5102 | 6620 | 850.9 | 475590.4
2025-06-01 | 54480.2 | 20132.4 | 51674.8 | 116247.8 | 221318 | 8780 | 589.2 | 11596.3 | 0 | 484818.8 | 49378.2 | 5102 | 6620 | 853.2 | 484818.8
2025-07-01 | 54736.9 | 20132.4 | 52140.1 | 119016.5 | 223068 | 8780 | 589.2 | 11597.6 | 0 | 490060.7 | 49628.2 | 5108.7 | 6620 | 854.4 | 490060.7
2025-08-01 | 55216.9 | 20132.4 | 52681.2 | 123130.1 | 223418 | 8780 | 589.2 | 11597.6 | 0 | 495545.4 | 50108.2 | 5108.7 | 6620 | 854.4 | 495545.4
2025-09-01 | 55241.8 | 20132.4 | 53123.8 | 127332.3 | 224078 | 8780 | 589.2 | 11611.8 | 0 | 500889.2 | 50108.2 | 5133.6 | 6620 | 854.4 | 500889.2
2025-10-01 | 55506.8 | 20132.4 | 53599.9 | 129923.8 | 224878 | 8780 | 589.2 | 11612.9 | 0 | 505023.1 | 50348.2 | 5158.6 | 6620 | 855.6 | 505023.1
2025-11-01 | 55573.3 | 20122.4 | 53986 | 132848.3 | 226230 | 8780 | 589.2 | 11613.9 | 0 | 509743.1 | 50414.7 | 5158.6 | 6620 | 856.6 | 509743.1
2025-12-01 | 56073.3 | 20122.4 | 54510.9 | 135810 | 226230 | 8780 | 589.2 | 11613.9 | 0 | 513729.7 | 50914.7 | 5158.6 | 6620 | 856.6 | 513729.7
2026-01-01 | 56323.3 | 20122.4 | 54650.4 | 140601.7 | 227830 | 8780 | 589.2 | 11613.9 | 0 | 520511 | 51164.7 | 5158.6 | 6620 | 856.6 | 520511
2026-02-01 | 56336 | 20122.4 | 55132.5 | 143604.4 | 227830 | 8780 | 589.2 | 11615 | 0 | 524009.5 | 51164.7 | 5171.4 | 6620 | 857.7 | 524009.5
2026-03-01 | 56586 | 20122.4 | 56094.8 | 150260.7 | 228560 | 8780 | 589.2 | 11746.5 | 0 | 532739.7 | 51414.7 | 5171.4 | 6620 | 877.4 | 532739.7
2026-04-01 | 56836 | 20122.4 | 56436.6 | 154236.1 | 228517.5 | 8780 | 589.2 | 11746.5 | 0 | 537264.4 | 51664.7 | 5171.4 | 6620 | 877.4 | 537264.4
2026-05-01 | 57144 | 20122.4 | 56807 | 157046.4 | 230117.5 | 8780 | 589.2 | 11747.6 | 0 | 542354.2 | 51964.7 | 5179.4 | 6620 | 878.4 | 542354.2
2026-06-01 | 57246.4 | 20122.4 | 57443.4 | 162142 | 230777.5 | 8780 | 589.2 | 11747.6 | 0 | 548848.5 | 52064.7 | 5181.8 | 6620 | 878.4 | 548848.5
2026-07-01 | 57246.4 | 20122.4 | 58136.9 | 164594.8 | 230777.5 | 8780 | 589.2 | 11747.6 | 0 | 551994.8 | 52064.7 | 5181.8 | 6620 | 878.4 | 551994.8
2026-08-01 | 57246.4 | 19144 | 58520.3 | 168040.1 | 230777.5 | 8780 | 288.3 | 11747.6 | 0 | 554544.2 | 52064.7 | 5181.8 | 6370 | 878.4 | 554544.2
2026-09-01 | 57246.4 | 19144 | 59201.1 | 171051.5 | 231437.5 | 8780 | 288.3 | 11747.6 | 0 | 558896.4 | 52064.7 | 5181.8 | 6370 | 878.4 | 558896.4

## Files
month | url | last_modified
2019-01-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2019/JAN/capacity1-2019-01.xls | Fri, 08 Feb 2019 06:37:35 GMT
2019-02-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2019/FEB/capacity1-2019-02.xls | Thu, 07 Mar 2019 06:48:22 GMT
2019-03-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2019/MAR/capacity1-2019-03.xls | Tue, 16 Apr 2019 12:30:51 GMT
2019-04-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2019/APR/capacity1-2019-04.xls | Fri, 10 May 2019 04:45:28 GMT
2019-05-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2019/MAY/capacity1-2019-05.xls | Mon, 10 Jun 2019 05:34:48 GMT
2019-06-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2019/JUN/capacity1-2019-06.xls | Thu, 18 Jul 2019 06:30:40 GMT
2019-07-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2019/JUL/capacity1-2019-07.xls | Mon, 19 Aug 2019 10:43:02 GMT
2019-08-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2019/AUG/capacity1-2019-08.xls | Wed, 18 Sep 2019 10:21:07 GMT
2019-09-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2019/SEP/capacity1-2019-09.xls | Mon, 21 Oct 2019 07:18:48 GMT
2019-10-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2019/OCT/capacity1-2019-10.xls | Tue, 19 Nov 2019 05:34:26 GMT
2019-11-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2019/NOV/capacity1-2019-11.xls | Tue, 17 Dec 2019 04:53:00 GMT
2019-12-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2019/DEC/capacity1-2019-12.xls | Tue, 30 Jun 2020 11:01:07 GMT
2020-01-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2020/JAN/capacity1-2020-01.xls | Mon, 17 Feb 2020 11:25:49 GMT
2020-02-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2020/FEB/capacity1-2020-02.xls | Thu, 12 Mar 2020 10:37:59 GMT
2020-03-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2020/MAR/capacity1-2020-03.xls | Fri, 17 Apr 2020 11:38:48 GMT
2020-04-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2020/APR/capacity1-2020-04.xls | Wed, 20 May 2020 12:00:57 GMT
2020-05-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2020/MAY/capacity1-2020-05.xls | Wed, 10 Jun 2020 07:37:51 GMT
2020-06-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2020/JUN/capacity1-2020-06.xls | Wed, 08 Jul 2020 09:46:13 GMT
2020-07-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2020/JUL/capacity1-2020-07.xls | Mon, 10 Aug 2020 06:51:47 GMT
2020-08-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2020/AUG/capacity1-2020-08.xls | Wed, 09 Sep 2020 09:44:25 GMT
2020-09-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2020/SEP/capacity1-2020-09.xls | Tue, 13 Oct 2020 06:12:35 GMT
2020-10-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2020/OCT/capacity1-2020-10.xls | Fri, 06 Nov 2020 12:07:14 GMT
2020-11-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2020/NOV/capacity1-2020-11.xls | Wed, 09 Dec 2020 07:27:34 GMT
2020-12-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2020/DEC/capacity1-2020-12.xls | Fri, 15 Jan 2021 07:25:48 GMT
2021-01-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2021/JAN/capacity1-2021-01.xls | Wed, 10 Feb 2021 08:40:05 GMT
2021-02-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2021/FEB/capacity1-2021-02.xls | Mon, 08 Mar 2021 11:14:12 GMT
2021-03-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2021/MAR/capacity1-2021-03.xls | Tue, 13 Apr 2021 09:35:24 GMT
2021-04-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2021/APR/capacity1-2021-04.xls | Tue, 11 May 2021 09:44:50 GMT
2021-05-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2021/MAY/capacity1-2021-05.xls | Wed, 09 Jun 2021 05:53:46 GMT
2021-06-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2021/JUN/capacity1-2021-06.xls | Thu, 08 Jul 2021 06:26:24 GMT
2021-07-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2021/JUL/capacity1-2021-07.xls | Thu, 12 Aug 2021 06:35:58 GMT
2021-08-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2021/AUG/capacity1-2021-08.xls | Thu, 09 Sep 2021 11:51:33 GMT
2021-09-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2021/SEP/capacity1-2021-09.xls | Fri, 08 Oct 2021 10:42:38 GMT
2021-10-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2021/OCT/capacity1-2021-10.xls | Tue, 09 Nov 2021 10:09:28 GMT
2021-11-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2021/NOV/capacity1-2021-11.xls | Thu, 09 Dec 2021 07:00:50 GMT
2021-12-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2021/DEC/capacity1-2021-12.xls | Sat, 14 May 2022 08:41:57 GMT
2022-01-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2022/JAN/capacity1-2022-01.xls | Sat, 14 May 2022 08:46:31 GMT
2022-02-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2022/FEB/capacity1-2022-02.xls | Sat, 14 May 2022 08:30:13 GMT
2022-03-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2022/MAR/capacity1-2022-03.xls | Thu, 12 May 2022 09:41:26 GMT
2022-04-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2022/APR/capacity1-2022-04.xls | Thu, 12 May 2022 09:36:15 GMT
2022-05-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2022/MAY/capacity1-2022-05.xls | Thu, 16 Jun 2022 11:25:02 GMT
2022-06-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2022/JUN/capacity1-2022-06.xls | Tue, 12 Jul 2022 12:12:32 GMT
2022-07-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2022/JUL/capacity1-2022-07.xls | Thu, 11 Aug 2022 11:20:14 GMT
2022-08-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2022/AUG/capacity1-2022-08.xls | Tue, 27 Sep 2022 07:10:37 GMT
2022-09-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2022/SEP/capacity1-2022-09.xls | Tue, 18 Oct 2022 12:00:39 GMT
2022-10-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2022/OCT/capacity1-2022-10.xls | Thu, 17 Nov 2022 06:49:48 GMT
2022-11-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2022/NOV/capacity1-2022-11.xls | Fri, 23 Dec 2022 12:03:56 GMT
2022-12-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2022/DEC/capacity1-2022-12.xls | Wed, 18 Jan 2023 10:03:46 GMT
2023-01-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2023/JAN/capacity1-2023-01.xls | Tue, 21 Feb 2023 06:30:45 GMT
2023-02-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2023/FEB/capacity1-2023-02.xls | Thu, 16 Mar 2023 11:16:26 GMT
2023-03-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2023/MAR/capacity1-2023-03.xls | Wed, 12 Apr 2023 05:30:16 GMT
2023-04-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2023/APR/capacity1-2023-04.xls | Wed, 10 May 2023 07:45:33 GMT
2023-05-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2023/MAY/capacity1-2023-05.xls | Fri, 09 Jun 2023 10:43:04 GMT
2023-06-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2023/JUN/capacity1-2023-06.xls | Wed, 12 Jul 2023 09:07:18 GMT
2023-07-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2023/JUL/capacity1-2023-07.xls | Wed, 16 Aug 2023 11:32:09 GMT
2023-08-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2023/AUG/capacity1-2023-08.xls | Tue, 12 Sep 2023 11:19:03 GMT
2023-09-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2023/SEP/capacity1-2023-09.xls | Wed, 11 Oct 2023 07:03:36 GMT
2023-10-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2023/OCT/capacity1-2023-10.xls | Wed, 15 Nov 2023 05:34:06 GMT
2023-11-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2023/NOV/capacity1-2023-11.xls | Thu, 18 Jan 2024 08:05:36 GMT
2023-12-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2023/DEC/capacity1-2023-12.xls | Thu, 18 Jan 2024 08:01:27 GMT
2024-01-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2024/JAN/capacity1-2024-01.xls | Wed, 14 Feb 2024 05:49:11 GMT
2024-02-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2024/FEB/capacity1-2024-02.xls | Thu, 14 Mar 2024 12:19:09 GMT
2024-03-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2024/MAR/capacity1-2024-03.xls | Fri, 19 Apr 2024 10:56:08 GMT
2024-04-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2024/APR/capacity1-2024-04.xls | Fri, 17 May 2024 10:43:16 GMT
2024-05-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2024/MAY/capacity1-2024-05.xls | Fri, 21 Jun 2024 06:21:40 GMT
2024-06-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2024/JUN/capacity1-2024-06.xls | Thu, 18 Jul 2024 07:05:21 GMT
2024-07-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2024/JUL/capacity1-2024-07.xls | Thu, 22 Aug 2024 07:14:04 GMT
2024-08-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2024/AUG/capacity1-2024-08.xls | Wed, 18 Sep 2024 06:52:08 GMT
2024-09-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2024/SEP/capacity1-2024-09.xls | Fri, 11 Oct 2024 12:24:15 GMT
2024-10-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2024/OCT/capacity1-2024-10.xls | Mon, 25 Nov 2024 10:02:41 GMT
2024-11-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2024/NOV/capacity1-2024-11.xls | Thu, 19 Dec 2024 05:39:57 GMT
2024-12-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2024/DEC/capacity1-2024-12.xls | Wed, 29 Jan 2025 06:17:17 GMT
2025-01-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2025/JAN/capacity1-2025-01.xls | Fri, 14 Feb 2025 08:53:45 GMT
2025-02-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2025/FEB/capacity1-2025-02.xls | Fri, 21 Mar 2025 13:14:15 GMT
2025-03-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2025/MAR/capacity1-2025-03.xls | Tue, 20 May 2025 05:37:32 GMT
2025-04-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2025/APR/capacity1-2025-04.xls | Sat, 17 May 2025 07:30:27 GMT
2025-05-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2025/MAY/capacity1-2025-05.xls | Wed, 18 Jun 2025 06:52:59 GMT
2025-06-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2025/JUN/capacity1-2025-06.xls | Fri, 18 Jul 2025 07:27:18 GMT
2025-07-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2025/JUL/capacity1-2025-07.xls | Thu, 21 Aug 2025 10:13:42 GMT
2025-08-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2025/AUG/capacity1-2025-08.xls | Wed, 17 Sep 2025 10:43:14 GMT
2025-09-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2025/SEP/capacity1-2025-09.xls | Thu, 30 Oct 2025 08:56:15 GMT
2025-10-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2025/OCT/capacity1-2025-10.xls | Tue, 18 Nov 2025 10:20:02 GMT
2025-11-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2025/NOV/capacity1-2025-11.xls | Thu, 18 Dec 2025 09:22:48 GMT
2025-12-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2025/DEC/capacity1-2025-12.xls | Thu, 15 Jan 2026 07:05:50 GMT
2026-01-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2026/JAN/capacity1-2026-01.xls | Wed, 18 Feb 2026 06:41:48 GMT
2026-02-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2026/FEB/capacity1-2026-02.xls | Fri, 13 Mar 2026 11:35:16 GMT
2026-03-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2026/MAR/capacity1-2026-03.xls | Thu, 23 Apr 2026 10:10:58 GMT
2026-04-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2026/APR/capacity1-2026-04.xls | Fri, 15 May 2026 11:40:34 GMT
2026-05-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2026/MAY/capacity1-2026-05.xls | Fri, 12 Jun 2026 10:42:46 GMT
2026-06-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2026/JUN/capacity1-2026-06.xls | Tue, 14 Jul 2026 09:45:17 GMT
2026-07-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2026/JUL/capacity1-2026-07.xls | Fri, 14 Aug 2026 11:20:29 GMT
2026-08-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2026/AUG/capacity1-2026-08.xls | Fri, 18 Sep 2026 10:15:03 GMT
2026-09-01 | https://npp.gov.in/public-reports/cea/monthly/installcap/2026/SEP/capacity1-2026-09.xls | Mon, 19 Oct 2026 14:46:15 GMT