## Units
Notes
UNITS
Daily: MWh per day, scheduled generation (SCHED_MW) of every WESM generating resource in the 5-minute dispatch-interval (DIPC) energy results, positive values only, summed per fuel per interval; MWh = mean MW over the day's intervals x 24. Total_MWh = all fuels. Other_MWh = Geothermal_MWh + Storage_MWh (battery discharge) + Unmapped_MWh (resources with no fuel in the map); those three are shown separately as detail. Hydro includes the Kalayaan pumped-storage plant's generation (its pumping is excluded with all negative schedules). Intervals = 5-minute intervals read for the day (288 = complete). Source = DIPCEF (final, after IEMOP's price review, about 5-6 weeks after the day) or DIPCER (raw, replaced by the final file once IEMOP lists it).
Demand: Philippines market requirement (Luzon + Visayas + Mindanao), average and peak MW, and MWh = mean x 24, from the RTD regional summaries (same data as philippines_power_market.xlsx).
FUEL MAP
IEMOP's files carry no fuel. Each resource's fuel comes from asia/philippines_resource_fuels.csv, built from DOE's List of Existing Power Plants (grid-connected, as of 31 July 2026), IEMOP's registered capacity list (trading participant per resource) and name rules (SOL = solar, WIND = wind, _BAT = battery). Limay CCGT (PanAsia) runs on diesel and is counted as Oil, as in DOE's list.
COVERAGE
From 2026-07-06 to 2026-10-03; final (DIPCEF) data for 51 days, raw (DIPCER) for the rest. Grid-connected WESM regions only (Luzon, Visayas, Mindanao); off-grid islands (Mindoro, Palawan, etc.) and embedded generation that is not scheduled in WESM (rooftop solar, small plants inside distribution networks) are not included. Scheduled, not metered, generation: the dispatch target for each 5-minute interval. IEMOP lists about 90 days of files; older days are kept from previous runs.
SOURCE
IEMOP (Independent Electricity Market Operator of the Philippines), market data: DIPC Energy Results (final and raw) and RTD Regional Summaries, https://www.iemop.ph/market-data/; fuel map from DOE List of Existing Power Plants, https://doe.gov.ph/data-and-prices/energy-statistics/electric-power-industry

## Chart
Date | Hydro | Gas | Wind | Solar | Coal | Nuclear | Other
2026-07-01 | 654.2745 | 1589.0566 | 47.9096 | 644.5026 | 5526.3745 | 0 | 878.2461
2026-08-01 | 1083.9053 | 1598.92 | 150.0491 | 552.4369 | 5803.1352 | 0 | 1179.7454
2026-09-01 | 1208.9 | 1785.3388 | 65.7162 | 804.7102 | 5453.9455 | 0 | 1118.6604

## Chart - Demand
Date | Average demand | Daily peak
2026-07-01 | 14518.7926 | 16643.3111
2026-08-01 | 13619.9839 | 15450.0774
2026-09-01 | 14148.8467 | 16254.9933
2026-10-01 | 14781.9 | 17024.1333

## Daily
date | Coal_MWh | Gas_MWh | Oil_MWh | Hydro_MWh | Solar_MWh | Wind_MWh | Bioenergy_MWh | Other_MWh | Total_MWh | Geothermal_MWh | Storage_MWh | Unmapped_MWh | Intervals | Source
2026-07-06 | 230370.1 | 66812.6 | 5735.9 | 24737.9 | 26166.2 | 187.3 | 2061.2 | 26924.1 | 382995.3 | 26613.6 | 242 | 68.5 | 288 | DIPCEF
2026-07-07 | 229792.6 | 70055.3 | 6851.5 | 23509.6 | 27728.4 | 304.2 | 2093.9 | 28215.5 | 388551.1 | 27865.1 | 281.9 | 68.5 | 288 | DIPCEF
2026-07-08 | 227746.5 | 68153.8 | 7043.7 | 23929 | 25711 | 929 | 2085.3 | 28635.2 | 384233.5 | 28248.6 | 334.7 | 51.9 | 288 | DIPCEF
2026-07-09 | 228567.5 | 67618.6 | 5331.2 | 24634.4 | 23405.8 | 3329.8 | 1999.3 | 27570.7 | 382457.1 | 27135.4 | 435.3 | 0 | 288 | DIPCEF
2026-07-10 | 225940.1 | 59039.8 | 3283.5 | 24888.9 | 17418.4 | 6871.2 | 2075.3 | 26751 | 366268.1 | 26409.1 | 341.8 | 0 | 288 | DIPCEF
2026-07-11 | 204746.6 | 48755.6 | 1223 | 23720.9 | 17288.2 | 7747.6 | 2067.6 | 26744.2 | 332293.7 | 26507.9 | 236.2 | 0 | 288 | DIPCEF
2026-07-12 | 192193 | 45474.5 | 817.9 | 23561.5 | 18899.4 | 3812.7 | 2105.7 | 27409 | 314273.5 | 27378.1 | 30.9 | 0 | 288 | DIPCEF
2026-07-13 | 204593.7 | 55242 | 4826.7 | 27681.4 | 18580.1 | 1579.2 | 2314.4 | 28024.6 | 342842 | 27891.1 | 133.5 | 0 | 288 | DIPCEF
2026-07-14 | 210375.8 | 53790.7 | 6231.4 | 28068.7 | 25994.1 | 1012.3 | 2311.8 | 28774.1 | 356558.9 | 28434.3 | 339.8 | 0 | 288 | DIPCEF
2026-07-15 | 222065.9 | 58666.4 | 6391.2 | 25391.9 | 28054.6 | 1425.1 | 2307.9 | 28841 | 373143.9 | 28364.5 | 476.6 | 0 | 288 | DIPCEF
2026-07-16 | 221774.3 | 66072.4 | 4198.4 | 25994.6 | 28633.1 | 1440 | 2320.6 | 28315.5 | 378748.9 | 28071.9 | 243.6 | 0 | 288 | DIPCEF
2026-07-17 | 222076.8 | 65731.5 | 3511.2 | 26072.4 | 28859.2 | 2606.6 | 2190.9 | 28003.9 | 379052.4 | 27808 | 195.9 | 0 | 288 | DIPCEF
2026-07-18 | 213326.8 | 63501.4 | 2737 | 24990.4 | 30136.3 | 2304 | 2190.6 | 27611.7 | 366798.2 | 27519.9 | 91.8 | 0 | 288 | DIPCEF
2026-07-19 | 205366.6 | 53068.2 | 1804.5 | 23541.2 | 26798.9 | 1498.6 | 1676.4 | 27766.5 | 341520.9 | 27728.4 | 38.1 | 0 | 288 | DIPCEF
2026-07-20 | 215219.5 | 69781 | 4534.6 | 24348.5 | 27145.1 | 802.9 | 1869.6 | 28044.8 | 371746.1 | 27902.3 | 142.5 | 0 | 288 | DIPCEF
2026-07-21 | 218739.9 | 69117.1 | 3208.6 | 24642.5 | 29911.4 | 312.2 | 1726.9 | 28465.4 | 376123.9 | 28400 | 65.4 | 0 | 288 | DIPCEF
2026-07-22 | 216060.1 | 64823.7 | 3639.7 | 25910.1 | 31874.4 | 274.9 | 1611.6 | 28606.4 | 372800.7 | 28431.7 | 174.6 | 0 | 288 | DIPCEF
2026-07-23 | 217232.4 | 64935.2 | 2552 | 25761.8 | 28767.5 | 1430.1 | 1816.6 | 27708.7 | 370204.3 | 27619.4 | 86.2 | 3.1 | 288 | DIPCEF
2026-07-24 | 209278.2 | 61839.4 | 1251.2 | 25520.7 | 19935.1 | 4032.2 | 1908.5 | 27771 | 351536.3 | 27486.7 | 212.2 | 72.2 | 288 | DIPCEF
2026-07-25 | 200467.1 | 57330.4 | 1651.2 | 24023.3 | 22595.3 | 2081.7 | 1829 | 28654.8 | 338633 | 28398.6 | 184 | 72.2 | 288 | DIPCEF
2026-07-26 | 194701.8 | 47707 | 1170.8 | 23116.9 | 21881.9 | 543.4 | 1768.6 | 27829.4 | 318719.7 | 27731.8 | 25.3 | 72.2 | 288 | DIPCEF
2026-07-27 | 209441.7 | 62198.9 | 2991.9 | 26596.4 | 23517.4 | 323.7 | 1796.8 | 28170.2 | 355037 | 28043.6 | 54.4 | 72.2 | 288 | DIPCEF
2026-07-28 | 199249.9 | 65084.2 | 3094.6 | 27418.3 | 31062.3 | 1191.9 | 1796.7 | 28284 | 357181.9 | 28011.7 | 200 | 72.2 | 288 | DIPCEF
2026-07-29 | 201378.5 | 63420.2 | 5523.8 | 24496.6 | 16468 | 1092.9 | 1782.4 | 28187.6 | 342350 | 27842.5 | 272.9 | 72.2 | 288 | DIPCEF
2026-07-30 | 200418.2 | 61961.3 | 5170.6 | 26237.6 | 23886.1 | 602.8 | 1778 | 28367.7 | 348422.3 | 27994.1 | 301.4 | 72.2 | 288 | DIPCEF
2026-07-31 | 205250.9 | 58875.4 | 4194.7 | 25479 | 23784.4 | 173.3 | 1766.6 | 28346.1 | 347870.4 | 28069.2 | 204.8 | 72.2 | 288 | DIPCEF
2026-08-01 | 196129.9 | 56940.3 | 2600.1 | 24843.3 | 23150.7 | 529.8 | 1651.1 | 28318.4 | 334163.5 | 28073.6 | 172.6 | 72.2 | 288 | DIPCEF
2026-08-02 | 195678.2 | 48416.4 | 2834.9 | 21895.4 | 16584.1 | 1113.5 | 1610.5 | 26495.3 | 314628.4 | 26256.3 | 166.9 | 72.2 | 288 | DIPCEF
2026-08-03 | 198544 | 54044 | 7510 | 26704.8 | 12455.1 | 4484 | 1617 | 28108.6 | 333467.5 | 27648.9 | 387.5 | 72.2 | 288 | DIPCEF
2026-08-04 | 201759.8 | 55902.9 | 8162.2 | 27181.7 | 17062.4 | 2322.7 | 1628.9 | 28923 | 342943.8 | 28264.2 | 584.6 | 74.3 | 288 | DIPCEF
2026-08-05 | 198823.5 | 55331.9 | 9067 | 25675.4 | 19321.8 | 2233.4 | 1652.3 | 28755 | 340860.3 | 28208.6 | 456.7 | 89.7 | 288 | DIPCEF
2026-08-06 | 194502.1 | 54276 | 9358.4 | 26927.9 | 15354.9 | 3102.1 | 1702.8 | 29336.3 | 334560.4 | 28730.2 | 530.5 | 75.6 | 288 | DIPCEF
2026-08-07 | 187684.9 | 51757.4 | 10526.3 | 29550.2 | 17153 | 5646.7 | 1732.5 | 28510.6 | 332561.6 | 27937.7 | 451.6 | 121.4 | 288 | DIPCEF
2026-08-08 | 173584.1 | 52746.6 | 10097.4 | 27886.4 | 14787.5 | 7475.1 | 1732.3 | 27524.4 | 315833.9 | 26882.3 | 562.5 | 79.6 | 288 | DIPCEF
2026-08-09 | 160449.6 | 47050.5 | 5859.7 | 26152.6 | 11658.1 | 8144.4 | 1730.1 | 27172.4 | 288217.4 | 26669.2 | 431.1 | 72.2 | 288 | DIPCEF
2026-08-10 | 175244.1 | 50660 | 11141.3 | 35757.6 | 13057 | 7758.5 | 1742 | 27901.4 | 323261.9 | 27220.8 | 591 | 89.5 | 288 | DIPCEF
2026-08-11 | 181834.3 | 50326.4 | 11170.4 | 40040 | 25034.3 | 5402.7 | 1762.9 | 29337.6 | 344908.6 | 27948.7 | 1280.2 | 108.7 | 288 | DIPCEF
2026-08-12 | 182096.6 | 58660.8 | 11175.3 | 40427.8 | 18610.7 | 5406.3 | 1772.9 | 29019.7 | 347170.1 | 28089.6 | 829.3 | 100.9 | 288 | DIPCEF
2026-08-13 | 184521 | 57019.5 | 10363.1 | 38325.5 | 17078.1 | 5086.2 | 1798.5 | 29269.5 | 343461.4 | 28397.6 | 748.6 | 123.4 | 288 | DIPCEF
2026-08-14 | 192805.4 | 49708 | 9049.6 | 36139.1 | 17282.1 | 4885.5 | 1775.7 | 29275.7 | 340921 | 28634.3 | 567.1 | 74.3 | 288 | DIPCEF
2026-08-15 | 187893.7 | 45822.8 | 7349.3 | 36672.2 | 22753.3 | 5578.4 | 1792.1 | 29414.2 | 337276 | 28757.3 | 580.6 | 76.3 | 288 | DIPCEF
2026-08-16 | 181319.6 | 43875.3 | 5415.3 | 34782 | 21470.5 | 6731.9 | 1779.9 | 29228.2 | 324602.7 | 28825.8 | 330.2 | 72.2 | 288 | DIPCEF
2026-08-17 | 197607.9 | 48516.7 | 8661 | 34710.5 | 12719.4 | 5167.7 | 1791.8 | 29292.6 | 338467.7 | 28869.4 | 291.5 | 131.7 | 288 | DIPCEF
2026-08-18 | 189756.9 | 46900.2 | 5867.6 | 39632 | 16493 | 2839.9 | 1581.7 | 28948.2 | 332019.6 | 28450.9 | 425.1 | 72.2 | 288 | DIPCEF
2026-08-19 | 191372.3 | 43916 | 6836.1 | 41173.3 | 13801.8 | 3290.5 | 1820.1 | 28773 | 330983.1 | 28203.3 | 497.5 | 72.2 | 288 | DIPCEF
2026-08-20 | 187100.1 | 48957.1 | 5643.4 | 43818.4 | 23960.6 | 6105.3 | 1797.3 | 28637 | 346019.2 | 28161.7 | 403.2 | 72.2 | 288 | DIPCEF
2026-08-21 | 182600.6 | 52263.6 | 4091.6 | 38642 | 26965.5 | 5897.1 | 1824.2 | 28630.6 | 340915.3 | 28325.3 | 233.1 | 72.2 | 288 | DIPCEF
2026-08-22 | 195211.9 | 47471.9 | 4481.8 | 40011.8 | 20348.5 | 4667.7 | 1899.6 | 28344.4 | 342437.6 | 27956.9 | 315.4 | 72.2 | 288 | DIPCEF
2026-08-23 | 185314.5 | 46949.3 | 4186.1 | 37717.9 | 20007.5 | 4232 | 1796.1 | 28807.2 | 329010.5 | 28378.6 | 356.3 | 72.2 | 288 | DIPCEF
2026-08-24 | 207527.2 | 49801.8 | 8275.5 | 42155.6 | 15266.8 | 4366.8 | 1796.2 | 29162.6 | 358352.6 | 28750.1 | 302.9 | 109.6 | 288 | DIPCEF
2026-08-25 | 212482.9 | 49310.4 | 8637 | 41649.9 | 17382.3 | 4651.7 | 1812.8 | 29371.8 | 365298.8 | 28809 | 476.5 | 86.3 | 288 | DIPCEF
2026-08-26 | 199324.8 | 54962.8 | 8888.7 | 41107.2 | 26480.5 | 5051.8 | 1790.7 | 29267.1 | 366873.6 | 28868.1 | 284.4 | 114.6 | 288 | DIPCER
2026-08-27 | 199745.2 | 59992.5 | 7925.1 | 39393.1 | 18509.3 | 6030.3 | 1828.6 | 28472.8 | 361897 | 28096.1 | 275.8 | 100.9 | 288 | DIPCER
2026-08-28 | 190370.3 | 54358 | 7759 | 38262.6 | 12263.6 | 6414.9 | 1888.3 | 28867.1 | 340183.9 | 28423.1 | 370.2 | 73.8 | 288 | DIPCER
2026-08-29 | 169021.5 | 50855.7 | 7826.6 | 36614 | 12600.4 | 5974.9 | 1908.8 | 28475.7 | 313277.5 | 28059.9 | 337.9 | 77.8 | 288 | DIPCER
2026-08-30 | 147239.5 | 54824.3 | 6634.1 | 35405.6 | 13423.4 | 3678.7 | 1839.5 | 28928.5 | 291973.5 | 28498.3 | 351.7 | 78.4 | 288 | DIPCER
2026-08-31 | 155588.8 | 57300.9 | 7784.1 | 34649.5 | 19400.7 | 5778.6 | 1671.6 | 29469.7 | 311643.9 | 28998.5 | 393 | 78.2 | 288 | DIPCER
2026-09-01 | 181450.5 | 57157.5 | 10503.7 | 41538.7 | 22475.1 | 6561.1 | 1802.7 | 29873.6 | 351362.9 | 29306.6 | 425.4 | 141.6 | 288 | DIPCER
2026-09-02 | 191465.9 | 55370.5 | 10569.7 | 41266.2 | 23094.8 | 6239.1 | 1562.1 | 30461.8 | 360030 | 29826.5 | 460.3 | 175 | 288 | DIPCER
2026-09-03 | 194156.9 | 55177.6 | 11711.8 | 40433.5 | 21234.2 | 6544.2 | 1585.7 | 30234.2 | 361078.1 | 29610.2 | 425.8 | 198.1 | 288 | DIPCER
2026-09-04 | 191810.7 | 55623.8 | 9781.9 | 39684.9 | 17424.4 | 4582.1 | 1618.7 | 29949.1 | 350475.5 | 29033.1 | 788.2 | 127.8 | 288 | DIPCER
2026-09-05 | 178723.2 | 54205.7 | 5996.5 | 36141.7 | 17916.6 | 4127.5 | 1615.6 | 29663 | 328389.7 | 29186.9 | 402.8 | 73.2 | 288 | DIPCER
2026-09-06 | 166794.4 | 54184 | 3030.3 | 34544.3 | 17952.9 | 3970.7 | 1696.8 | 29539.8 | 311713.1 | 29118.5 | 349 | 72.2 | 288 | DIPCER
2026-09-07 | 175392.1 | 57065.1 | 8451.3 | 40111.8 | 18170.3 | 3322.1 | 1800.9 | 29681.6 | 333995.1 | 29220.9 | 344.4 | 116.2 | 288 | DIPCER
2026-09-08 | 172816.5 | 59484.5 | 9369.6 | 41738.2 | 20496 | 1378.7 | 1798.2 | 29970.9 | 337052.5 | 29422.2 | 435.7 | 113 | 288 | DIPCER
2026-09-09 | 174154.5 | 57081.9 | 11630.6 | 41389.9 | 20323 | 2013.2 | 1700 | 29743.2 | 338036.3 | 29164.9 | 479.5 | 98.7 | 288 | DIPCER
2026-09-10 | 171766.5 | 56394.2 | 10431.9 | 42798.5 | 22142.9 | 2311.6 | 1815.8 | 29799.1 | 337460.4 | 29131 | 578.6 | 89.4 | 288 | DIPCER
2026-09-11 | 173277.2 | 55877.5 | 9407 | 44421.8 | 24700.4 | 229.1 | 1865.6 | 28712.7 | 338491.3 | 28049.3 | 521.3 | 142.1 | 288 | DIPCER
2026-09-12 | 169897.3 | 54039 | 7329.9 | 42362.4 | 24898.8 | 111.4 | 1875 | 28386.3 | 328900.1 | 27909.5 | 388.3 | 88.5 | 288 | DIPCER
2026-09-13 | 162845.8 | 50137 | 2572.4 | 40416.9 | 27491 | 615.2 | 1775.9 | 28415.4 | 314269.5 | 28083.5 | 259.7 | 72.2 | 288 | DIPCER
2026-09-14 | 178146.7 | 56156.7 | 6117.3 | 44097.2 | 33190.8 | 2220.7 | 1737.1 | 28808.8 | 350475.3 | 28499.5 | 227.4 | 82 | 288 | DIPCER
2026-09-15 | 191672.1 | 57124.4 | 6486.8 | 36835.6 | 29747.4 | 3732.7 | 1769.6 | 31390 | 358758.8 | 30075.9 | 1196.3 | 117.8 | 288 | DIPCER
2026-09-16 | 192624.3 | 59499.1 | 4235.9 | 37006.8 | 31370.7 | 3085.3 | 1873.3 | 30221.1 | 359916.6 | 29869.9 | 279 | 72.2 | 288 | DIPCER
2026-09-17 | 187239.5 | 57580.8 | 3867.9 | 40723.7 | 28684.8 | 2794.1 | 1946.8 | 29349.5 | 352187.1 | 29059.8 | 217.5 | 72.2 | 288 | DIPCER
2026-09-18 | 181304.9 | 57092.3 | 1869.1 | 41127.8 | 31468.9 | 2724.5 | 1881.2 | 29328.4 | 346797.2 | 29200.3 | 55.9 | 72.2 | 288 | DIPCER
2026-09-19 | 168748.9 | 61746 | 3539.5 | 40243 | 32265.5 | 2315.9 | 1783.2 | 29545 | 340187 | 29223.7 | 249.1 | 72.2 | 288 | DIPCER
2026-09-20 | 171139.6 | 55914.1 | 2297.3 | 40716.6 | 28403.3 | 612.3 | 1811.1 | 29803.2 | 330697.4 | 29610.6 | 120.4 | 72.2 | 288 | DIPCER
2026-09-21 | 187076.4 | 67566.6 | 6849.9 | 39105.3 | 31106.3 | 1014 | 1814.6 | 29674.7 | 364207.7 | 29331.4 | 260.1 | 83.2 | 288 | DIPCER
2026-09-22 | 186509.2 | 73329.3 | 6984.1 | 37291.9 | 29666.5 | 1872.1 | 1843.9 | 29910.3 | 367407.3 | 29489.5 | 348.6 | 72.2 | 288 | DIPCER
2026-09-23 | 195329.6 | 64371.5 | 5132.1 | 38402.5 | 29887 | 1023.3 | 1786.6 | 29679.5 | 365612.1 | 29467.5 | 138.4 | 73.5 | 288 | DIPCER
2026-09-24 | 195292.7 | 63730.7 | 3735.2 | 38342.4 | 29470.5 | 294 | 1815 | 29677.7 | 362358.3 | 29406 | 199.5 | 72.2 | 288 | DIPCER
2026-09-25 | 193565.7 | 59233.1 | 3210.3 | 39378.5 | 31475.5 | 160.6 | 1835 | 29416.7 | 358275.5 | 29159.6 | 184.9 | 72.2 | 288 | DIPCER
2026-09-26 | 180096.7 | 61659.2 | 2622 | 42744.4 | 31902.3 | 293.1 | 1877.4 | 27977.5 | 349172.6 | 27769.5 | 135.9 | 72.2 | 288 | DIPCER
2026-09-27 | 168947.8 | 58306.5 | 1403 | 42389.3 | 31197.6 | 418.7 | 1774.7 | 28570.8 | 333008.5 | 28421.3 | 77.3 | 72.2 | 288 | DIPCER
2026-09-28 | 183759.8 | 70664.4 | 3866.2 | 43271.8 | 30886.2 | 261.5 | 1803.4 | 29527.2 | 364040.3 | 29269.2 | 185.8 | 72.2 | 288 | DIPCER
2026-09-29 | 191976 | 72187.6 | 3152 | 40816.2 | 31016.8 | 138.4 | 2079.6 | 28826.8 | 370193.5 | 28608.3 | 146.4 | 72.2 | 288 | DIPCER
2026-09-30 | 195964.1 | 67378.2 | 2812.3 | 39558.2 | 34649.7 | 749 | 2098.9 | 29510.6 | 372721.2 | 29237.2 | 201.2 | 72.2 | 288 | DIPCER
2026-10-01 | 194824.4 | 70761.3 | 3349 | 39407.3 | 32290.2 | 684.7 | 2417.6 | 30127.1 | 373861.5 | 29870.8 | 184.1 | 72.2 | 288 | DIPCER
2026-10-02 | 192754.6 | 69867 | 3089.2 | 38056.4 | 30996.9 | 1470.9 | 2489.5 | 30087.6 | 368812.2 | 29834.6 | 180.8 | 72.2 | 288 | DIPCER
2026-10-03 | 185466.7 | 60976.6 | 1953.6 | 37678.2 | 32742.3 | 1054 | 2634.7 | 29666.9 | 352173.2 | 29463.7 | 131.1 | 72.2 | 288 | DIPCER

## Demand
date | Demand_avg_MW | Demand_peak_MW | Demand_MWh
2026-07-05 | 14042.1 | 15885.9 | 337009.7
2026-07-06 | 15481 | 18092.6 | 371543.5
2026-07-07 | 15770 | 18168.1 | 378480.3
2026-07-08 | 15542.6 | 17825.2 | 373021.3
2026-07-09 | 15457.1 | 17375.7 | 370969.3
2026-07-10 | 14808.9 | 16575.6 | 355413.9
2026-07-11 | 13396.2 | 14873.1 | 321507.6
2026-07-12 | 12675.8 | 14410.7 | 304218.4
2026-07-13 | 13907.5 | 16602.4 | 333779.1
2026-07-14 | 14428.5 | 16729.1 | 346283.8
2026-07-15 | 15081.6 | 17542 | 361957.7
2026-07-16 | 15319.7 | 17536.8 | 367672.9
2026-07-17 | 15326.6 | 17485.2 | 367837.8
2026-07-18 | 14798.6 | 16614.7 | 355166.2
2026-07-19 | 13731.6 | 15301.9 | 329557.6
2026-07-20 | 15013.7 | 17636.4 | 360328.1
2026-07-21 | 15183.6 | 17674.8 | 364405.3
2026-07-22 | 15113.2 | 17429.4 | 362717.7
2026-07-23 | 14997.5 | 17104.8 | 359941.1
2026-07-24 | 14279.3 | 15876.5 | 342702.1
2026-07-25 | 13740.8 | 15381.2 | 329780.3
2026-07-26 | 12880.7 | 14719.8 | 309135.7
2026-07-27 | 14380.5 | 16762.4 | 345132.2
2026-07-28 | 14476.9 | 17225.6 | 347445.3
2026-07-29 | 13897.3 | 15737.3 | 333534.5
2026-07-30 | 14128.4 | 16335 | 339081.6
2026-07-31 | 14147.7 | 16467.2 | 339544.8
2026-08-01 | 13525.3 | 15618.8 | 324606.6
2026-08-02 | 12687.3 | 14333.2 | 304494.8
2026-08-03 | 13571.9 | 15312.3 | 325724.9
2026-08-04 | 13956.7 | 15916.1 | 334959.6
2026-08-05 | 13885.9 | 15546.9 | 333261.5
2026-08-06 | 13665.3 | 15324.7 | 327966.2
2026-08-07 | 13589.7 | 15262.7 | 326152.5
2026-08-08 | 12832.9 | 14416.7 | 307989.8
2026-08-09 | 11823.8 | 13760.6 | 283770
2026-08-10 | 13232.2 | 14991 | 317574
2026-08-11 | 14095.7 | 16045.7 | 338296.2
2026-08-12 | 14201.1 | 16204.6 | 340826.8
2026-08-13 | 14006.5 | 15896.3 | 336155.3
2026-08-14 | 13873.1 | 15409 | 332954
2026-08-15 | 13783.2 | 15464.4 | 330796.6
2026-08-16 | 13135.5 | 14867.9 | 315252.7
2026-08-17 | 13748.6 | 16010.2 | 329967
2026-08-18 | 13511.7 | 15330 | 324282
2026-08-19 | 13525.7 | 15289.1 | 324617.3
2026-08-20 | 14114.2 | 16258.9 | 338741.7
2026-08-21 | 13847.2 | 15585.3 | 332333.5
2026-08-22 | 13872.2 | 15429.4 | 332933.9
2026-08-23 | 13264.6 | 15002.6 | 318350.7
2026-08-24 | 14603.4 | 16733.4 | 350482.6
2026-08-25 | 14887.1 | 16884.5 | 357289.9
2026-08-26 | 14922.3 | 17123.4 | 358135.1
2026-08-27 | 14710.1 | 16803.5 | 353042.5
2026-08-28 | 13896.8 | 15453.6 | 333522.7
2026-08-29 | 12751.7 | 14228.7 | 306040.7
2026-08-30 | 12002.1 | 13715.9 | 288049.5
2026-08-31 | 12695.7 | 14733 | 304696.6
2026-09-01 | 14367 | 16625 | 344807.4
2026-09-02 | 14737.1 | 16667.4 | 353691.4
2026-09-03 | 14746.2 | 16797.4 | 353908.2
2026-09-04 | 14313.8 | 16199.3 | 343530.8
2026-09-05 | 13391.3 | 14808.2 | 321391.2
2026-09-06 | 12591.1 | 14449.2 | 302187.2
2026-09-07 | 13644.4 | 15797.5 | 327465.4
2026-09-08 | 13804 | 15723.4 | 331296.6
2026-09-09 | 13859.3 | 15747.1 | 332623.7
2026-09-10 | 13794.4 | 15650.2 | 331066.4
2026-09-11 | 13855.7 | 15931.2 | 332536.7
2026-09-12 | 13403.5 | 14933.6 | 321684.1
2026-09-13 | 12677 | 14537.5 | 304247.7
2026-09-14 | 14230.5 | 16692.1 | 341531.8
2026-09-15 | 14563.1 | 16621.3 | 349513.7
2026-09-16 | 14578.2 | 16763.2 | 349876.2
2026-09-17 | 14254.7 | 16568.7 | 342113.8
2026-09-18 | 14121.2 | 16264 | 338909
2026-09-19 | 13888.9 | 15758.9 | 333334.7
2026-09-20 | 13396.4 | 15362.7 | 321512.7
2026-09-21 | 14830.2 | 17285.8 | 355924.2
2026-09-22 | 14884.5 | 17386.7 | 357227.4
2026-09-23 | 14803.8 | 17272.3 | 355290.7
2026-09-24 | 14707.6 | 17214.2 | 352982.8
2026-09-25 | 14520 | 17009.4 | 348481.1
2026-09-26 | 14177.4 | 16040.6 | 340258.2
2026-09-27 | 13405.9 | 15443 | 321740.7
2026-09-28 | 14791.7 | 17135 | 355000.1
2026-09-29 | 15021.8 | 17393.3 | 360522.5
2026-09-30 | 15104.7 | 17571.6 | 362514
2026-10-01 | 15182.2 | 17542.3 | 364373.6
2026-10-02 | 14926.6 | 17343.1 | 358238.1
2026-10-03 | 14236.9 | 16187 | 341685.1