## Units
Notes
Denmark - monthly installed generation capacity (MW)
Source
Energinet, Energi Data Service dataset CapacityPerMunicipality (Danish Energy Agency master data, summed over the 98 municipalities): https://api.energidataservice.dk/dataset/CapacityPerMunicipality
Raw official source, MONTHLY from Jan 2016. Capacity is calculated at midnight on the first day of the month, so the row dated 1 May is the capacity at the end of April. Published in the first two weeks of the next month.
Columns
Wind_Offshore_MW, Wind_Onshore_MW, Wind_MW (sum), Solar_MW (all registered PV incl. small roof systems): by fuel.
Thermal_ge100MW_MW / Thermal_lt100MW_MW / Thermal_unsplit_MW (sum): thermal plant is split by SIZE only, not by fuel. Energinet notes a version by main fuel is under development; until then gas, coal, oil and biomass cannot be separated.
Hydro (about 9 MW) and batteries are not in the dataset. PARTIAL series: wind, solar and thermal in total.
Method
Incremental: stored months are kept; the last 4 months and any new month are re-read each run. Nothing is interpolated or filled.
Sheets
Monthly, Check_ENTSOE (1 January against ENTSO-E A68), Releases

## Chart
Date | Wind | Solar | Thermal (all fuels, not split at source)
2021-01-01 | 6.5147 | 1.3367 | 8.2125
2021-02-01 | 6.6447 | 1.3392 | 8.2125
2021-03-01 | 6.7418 | 1.3415 | 8.2125
2021-04-01 | 6.9018 | 1.3447 | 8.2125
2021-05-01 | 6.9016 | 1.3511 | 8.2134
2021-06-01 | 6.9016 | 1.3534 | 8.2145
2021-07-01 | 6.9016 | 1.36 | 8.2121
2021-08-01 | 6.9016 | 1.363 | 8.2085
2021-09-01 | 6.9493 | 1.367 | 8.1851
2021-10-01 | 6.9493 | 1.5308 | 8.1836
2021-11-01 | 6.9493 | 1.5309 | 8.1836
2021-12-01 | 7.0209 | 1.5998 | 8.1824
2022-01-01 | 7.0253 | 1.6044 | 8.1822
2022-02-01 | 7.0393 | 1.6868 | 8.1746
2022-03-01 | 7.0321 | 1.7106 | 8.1733
2022-04-01 | 7.0194 | 1.7768 | 8.1634
2022-05-01 | 7.0192 | 2.1353 | 7.8304
2022-06-01 | 7.0162 | 2.3091 | 7.8303
2022-07-01 | 7.0162 | 2.3176 | 7.8303
2022-08-01 | 6.9982 | 2.2991 | 6.7535
2022-09-01 | 6.9939 | 2.3365 | 6.7535
2022-10-01 | 7.0089 | 2.3919 | 6.7535
2022-11-01 | 7.0246 | 2.5864 | 6.7531
2022-12-01 | 7.0184 | 2.7529 | 6.7486
2023-01-01 | 7.0882 | 3.16 | 6.7524
2023-02-01 | 7.0882 | 3.1828 | 6.688
2023-03-01 | 7.0882 | 3.2028 | 6.6861
2023-04-01 | 7.1068 | 3.228 | 6.686
2023-05-01 | 7.1068 | 3.251 | 6.6859
2023-06-01 | 7.1036 | 3.2768 | 6.685
2023-07-01 | 7.1341 | 3.355 | 5.4672
2023-08-01 | 7.1268 | 3.3982 | 5.4672
2023-09-01 | 7.1268 | 3.4671 | 5.4694
2023-10-01 | 7.1278 | 3.4882 | 5.4694
2023-11-01 | 7.1273 | 3.5055 | 5.4704
2023-12-01 | 7.2723 | 3.5289 | 6.7322
2024-01-01 | 7.2723 | 3.5381 | 6.7309
2024-02-01 | 7.2697 | 3.5574 | 6.6554
2024-03-01 | 7.4978 | 3.5716 | 6.6572
2024-04-01 | 7.4978 | 3.6502 | 6.657
2024-05-01 | 7.4954 | 3.6724 | 6.6524
2024-06-01 | 7.4995 | 3.6905 | 6.6532
2024-07-01 | 7.5148 | 3.7105 | 6.6532
2024-08-01 | 7.5316 | 3.7227 | 6.6532
2024-09-01 | 7.5316 | 3.7698 | 6.5797
2024-10-01 | 7.5206 | 3.8548 | 6.1215
2024-11-01 | 7.5123 | 3.8749 | 6.1214
2024-12-01 | 7.5073 | 3.9132 | 6.1184
2025-01-01 | 7.5068 | 4.15 | 6.1212
2025-02-01 | 7.5329 | 4.2132 | 6.1237
2025-03-01 | 7.5206 | 4.2306 | 6.1346
2025-04-01 | 7.5272 | 4.2426 | 5.4674
2025-05-01 | 7.5308 | 4.4015 | 5.4665
2025-06-01 | 7.5295 | 4.4352 | 5.4665
2025-07-01 | 7.5264 | 4.6 | 5.4674
2025-08-01 | 7.5263 | 4.8104 | 5.4674
2025-09-01 | 7.5263 | 4.8239 | 5.4672
2025-10-01 | 7.5265 | 5.0308 | 5.4709
2025-11-01 | 7.5265 | 4.9422 | 5.463
2025-12-01 | 7.5264 | 4.9562 | 5.4555
2026-01-01 | 7.5264 | 5.0675 | 5.4542
2026-02-01 | 7.5291 | 5.0801 | 5.4384
2026-03-01 | 8.586 | 5.0968 | 5.4442
2026-04-01 | 8.6128 | 5.2411 | 5.4394
2026-05-01 | 8.6128 | 5.335 | 5.4373
2026-06-01 | 8.6124 | 5.3487 | 5.3994
2026-07-01 | 8.6124 | 5.4129 | 5.4103
2026-08-01 | 8.6124 | 5.4468 | 5.4085
2026-09-01 | 8.6119 | 5.4569 | 5.4038

## Chart - Net additions
Date | Solar | Wind
2021-02-01 | 2.425 | 130.003
2021-03-01 | 2.328 | 97.132
2021-04-01 | 3.26 | 159.988
2021-05-01 | 6.353 | -0.196
2021-06-01 | 2.287 | -0.02
2021-07-01 | 6.668 | 0.025
2021-08-01 | 2.93 | -0.01
2021-09-01 | 4.004 | 47.7
2021-10-01 | 163.783 | -0.025
2021-11-01 | 0.173 | 0
2021-12-01 | 68.854 | 71.604
2022-01-01 | 4.575 | 4.396
2022-02-01 | 82.409 | 14.016
2022-03-01 | 23.871 | -7.15
2022-04-01 | 66.123 | -12.711
2022-05-01 | 358.498 | -0.219
2022-06-01 | 173.807 | -3
2022-07-01 | 8.52 | -0.025
2022-08-01 | -18.479 | -17.959
2022-09-01 | 37.409 | -4.3
2022-10-01 | 55.383 | 15
2022-11-01 | 194.513 | 15.7
2022-12-01 | 166.464 | -6.245
2023-01-01 | 407.113 | 69.85
2023-02-01 | 22.763 | 0
2023-03-01 | 20.057 | 0
2023-04-01 | 25.168 | 18.6
2023-05-01 | 22.966 | 0
2023-06-01 | 25.859 | -3.275
2023-07-01 | 78.196 | 30.562
2023-08-01 | 43.148 | -7.3
2023-09-01 | 68.985 | 0
2023-10-01 | 21.058 | 1
2023-11-01 | 17.303 | -0.485
2023-12-01 | 23.431 | 144.979
2024-01-01 | 9.124 | 0
2024-02-01 | 19.302 | -2.61
2024-03-01 | 14.257 | 228.05
2024-04-01 | 78.603 | 0
2024-05-01 | 22.175 | -2.38
2024-06-01 | 18.061 | 4.1
2024-07-01 | 20.024 | 15.31
2024-08-01 | 12.198 | 16.77
2024-09-01 | 47.162 | 0
2024-10-01 | 85.002 | -10.99
2024-11-01 | 20.091 | -8.275
2024-12-01 | 38.307 | -4.955
2025-01-01 | 236.749 | -0.5
2025-02-01 | 63.255 | 26.04
2025-03-01 | 17.353 | -12.3
2025-04-01 | 11.997 | 6.582
2025-05-01 | 158.908 | 3.6
2025-06-01 | 33.663 | -1.23
2025-07-01 | 164.864 | -3.075
2025-08-01 | 210.391 | -0.15
2025-09-01 | 13.498 | 0
2025-10-01 | 206.876 | 0.17
2025-11-01 | -88.585 | 0.025
2025-12-01 | 13.955 | -0.11
2026-01-01 | 111.328 | 0
2026-02-01 | 12.566 | 2.682
2026-03-01 | 16.765 | 1056.9
2026-04-01 | 144.265 | 26.85
2026-05-01 | 93.935 | 0
2026-06-01 | 13.703 | -0.4
2026-07-01 | 64.222 | 0
2026-08-01 | 33.808 | 0
2026-09-01 | 10.167 | -0.555

## Monthly
date | Wind_Offshore_MW | Wind_Onshore_MW | Wind_MW | Solar_MW | Thermal_ge100MW_MW | Thermal_lt100MW_MW | Thermal_unsplit_MW
2016-01-01 | 1271.05 | 3813.424 | 5084.474 | 777.1 | 6052 | 3409.769 | 9461.769
2016-02-01 | 1271.05 | 3817.104 | 5088.154 | 777.955 | 6052 | 3413.089 | 9465.089
2016-03-01 | 1271.05 | 3815.331 | 5086.381 | 779.357 | 6052 | 3412.783 | 9464.783
2016-04-01 | 1271.05 | 3827.14 | 5098.19 | 780.862 | 6052 | 3413.974 | 9465.974
2016-05-01 | 1271.05 | 3832.041 | 5103.091 | 781.976 | 6052 | 3420.311 | 9472.311
2016-06-01 | 1271.05 | 3827.811 | 5098.861 | 783.124 | 6052 | 3420.105 | 9472.105
2016-07-01 | 1271.05 | 3861.137 | 5132.187 | 784.045 | 6052 | 3419.464 | 9471.464
2016-08-01 | 1271.05 | 3880.56 | 5151.61 | 785.069 | 6052 | 3416.202 | 9468.202
2016-09-01 | 1271.05 | 3893.753 | 5164.803 | 787.516 | 6052 | 3422 | 9474
2016-10-01 | 1271.05 | 3892.219 | 5163.269 | 788.478 | 6052 | 3420.739 | 9472.739
2016-11-01 | 1271.05 | 3929.568 | 5200.618 | 795.777 | 6052 | 3429.851 | 9481.851
2016-12-01 | 1271.05 | 3977.867 | 5248.917 | 840.901 | 6052 | 3429.681 | 9481.681
2017-01-01 | 1271.05 | 3976.337 | 5247.387 | 843.89 | 6052 | 3429.77 | 9481.77
2017-02-01 | 1266.1 | 3973.147 | 5239.247 | 845.454 | 6052 | 3429.48 | 9481.48
2017-03-01 | 1266.1 | 3997.835 | 5263.935 | 847.662 | 6052 | 3429.002 | 9481.002
2017-04-01 | 1266.1 | 4004.423 | 5270.523 | 849.704 | 6052 | 3428.985 | 9480.985
2017-05-01 | 1266.1 | 4007.117 | 5273.217 | 852.109 | 6052 | 3428.496 | 9480.496
2017-06-01 | 1266.1 | 4038.292 | 5304.392 | 853.407 | 6052 | 3429.145 | 9481.145
2017-07-01 | 1266.1 | 4037.902 | 5304.002 | 854.268 | 6052 | 3467.144 | 9519.144
2017-08-01 | 1266.1 | 4039.867 | 5305.967 | 855.495 | 6052 | 3467.034 | 9519.034
2017-09-01 | 1266.1 | 4060.747 | 5326.847 | 863.123 | 6052 | 3467.532 | 9519.532
2017-10-01 | 1266.1 | 4027.302 | 5293.402 | 865.014 | 6052 | 3467.909 | 9519.909
2017-11-01 | 1266.1 | 4048.555 | 5314.655 | 867.215 | 6052 | 3470.089 | 9522.089
2017-12-01 | 1263.8 | 4228.985 | 5492.785 | 903.538 | 6052 | 3469.939 | 9521.939
2018-01-01 | 1266.1 | 4314.4 | 5580.5 | 904.491 | 6052 | 3449.459 | 9501.459
2018-02-01 | 1294.1 | 4423.378 | 5717.478 | 905.302 | 6052 | 3447.379 | 9499.379
2018-03-01 | 1294.1 | 4423.176 | 5717.276 | 920.754 | 6052 | 3427.579 | 9479.579
2018-04-01 | 1294.1 | 4423.139 | 5717.239 | 927.915 | 6052 | 3403.671 | 9455.671
2018-05-01 | 1294.1 | 4414.697 | 5708.797 | 963.567 | 6052 | 3403.671 | 9455.671
2018-06-01 | 1294.1 | 4414.687 | 5708.787 | 965.694 | 5426 | 3403.671 | 8829.671
2018-07-01 | 1294.1 | 4414.707 | 5708.807 | 967.14 | 5426 | 3404.306 | 8830.306
2018-08-01 | 1294.1 | 4414.512 | 5708.612 | 968.84 | 5426 | 3401.69 | 8827.69
2018-09-01 | 1294.1 | 4424.097 | 5718.197 | 970.532 | 5426 | 3403.724 | 8829.724
2018-10-01 | 1294.1 | 4432.721 | 5726.821 | 972.086 | 5426 | 3373.744 | 8799.744
2018-11-01 | 1294.1 | 4432.785 | 5726.885 | 990.67 | 5426 | 3367.144 | 8793.144
2018-12-01 | 1700.8 | 4432.786 | 6133.586 | 996.366 | 5426 | 3370.144 | 8796.144
2019-01-01 | 1700.8 | 4411.614 | 6112.414 | 996.983 | 5303 | 3400.436 | 8703.436
2019-02-01 | 1700.8 | 4413.844 | 6114.644 | 999.057 | 5303 | 3395.435 | 8698.435
2019-03-01 | 1700.8 | 4411.018 | 6111.818 | 1002.785 | 5303 | 3391.416 | 8694.416
2019-04-01 | 1700.8 | 4411.288 | 6112.088 | 1004.59 | 5303 | 3388.44 | 8691.44
2019-05-01 | 1700.8 | 4411.077 | 6111.877 | 1006.529 | 5303 | 3388.688 | 8691.688
2019-06-01 | 1700.8 | 4410.64 | 6111.44 | 1007.846 | 5303 | 3382.534 | 8685.534
2019-07-01 | 1700.8 | 4403.063 | 6103.863 | 1009.164 | 5303 | 3382.193 | 8685.193
2019-08-01 | 1700.8 | 4403.093 | 6103.893 | 1010.107 | 5303 | 3374.923 | 8677.923
2019-09-01 | 1700.8 | 4401.937 | 6102.737 | 1011.551 | 5303 | 3353.245 | 8656.245
2019-10-01 | 1700.8 | 4401.02 | 6101.82 | 1013.607 | 5452 | 3361.153 | 8813.153
2019-11-01 | 1700.8 | 4394.225 | 6095.025 | 1015.367 | 5452 | 3359.543 | 8811.543
2019-12-01 | 1700.8 | 4406.053 | 6106.853 | 1086.566 | 5452 | 3352.6 | 8804.6
2020-01-01 | 1700.8 | 4414.44 | 6115.24 | 1089.19 | 5452 | 3350.821 | 8802.821
2020-02-01 | 1700.8 | 4452.111 | 6152.911 | 1104.955 | 5452 | 3338.622 | 8790.622
2020-03-01 | 1700.8 | 4477.702 | 6178.502 | 1106.804 | 5202 | 3337.42 | 8539.42
2020-04-01 | 1700.8 | 4496.303 | 6197.103 | 1155.972 | 5202 | 3334.933 | 8536.933
2020-05-01 | 1700.8 | 4495.866 | 6196.666 | 1202.738 | 5202 | 3330.72 | 8532.72
2020-06-01 | 1700.8 | 4490.918 | 6191.718 | 1183.302 | 5202 | 3316.374 | 8518.374
2020-07-01 | 1700.8 | 4492.918 | 6193.718 | 1186.981 | 5202 | 3304.774 | 8506.774
2020-08-01 | 1700.8 | 4486.614 | 6187.414 | 1213.761 | 4932 | 3303.974 | 8235.974
2020-09-01 | 1700.8 | 4486.614 | 6187.414 | 1268.524 | 4932 | 3299.842 | 8231.842
2020-10-01 | 2305.6 | 4540.493 | 6846.093 | 1272.458 | 4932 | 3299.862 | 8231.862
2020-11-01 | 2305.6 | 4567.803 | 6873.403 | 1315.52 | 4932 | 3293.119 | 8225.119
2020-12-01 | 2305.6 | 4567.681 | 6873.281 | 1334.724 | 4932 | 3288.375 | 8220.375
2021-01-01 | 1919.2 | 4595.476 | 6514.676 | 1336.728 | 4933 | 3279.533 | 8212.533
2021-02-01 | 2028.4 | 4616.279 | 6644.679 | 1339.153 | 4933 | 3279.493 | 8212.493
2021-03-01 | 2146 | 4595.811 | 6741.811 | 1341.481 | 4933 | 3279.493 | 8212.493
2021-04-01 | 2305.6 | 4596.199 | 6901.799 | 1344.741 | 4933 | 3279.493 | 8212.493
2021-05-01 | 2305.6 | 4596.003 | 6901.603 | 1351.094 | 4933 | 3280.418 | 8213.418
2021-06-01 | 2305.6 | 4595.983 | 6901.583 | 1353.381 | 4933 | 3281.518 | 8214.518
2021-07-01 | 2305.6 | 4596.008 | 6901.608 | 1360.049 | 4933 | 3279.117 | 8212.117
2021-08-01 | 2305.6 | 4595.998 | 6901.598 | 1362.979 | 4933 | 3275.534 | 8208.534
2021-09-01 | 2305.6 | 4643.698 | 6949.298 | 1366.983 | 4933 | 3252.094 | 8185.094
2021-10-01 | 2305.6 | 4643.673 | 6949.273 | 1530.766 | 4933 | 3250.61 | 8183.61
2021-11-01 | 2305.6 | 4643.673 | 6949.273 | 1530.939 | 4933 | 3250.61 | 8183.61
2021-12-01 | 2305.6 | 4715.277 | 7020.877 | 1599.793 | 4933 | 3249.41 | 8182.41
2022-01-01 | 2305.6 | 4719.673 | 7025.273 | 1604.368 | 4933 | 3249.214 | 8182.214
2022-02-01 | 2305.6 | 4733.689 | 7039.289 | 1686.777 | 4933 | 3241.583 | 8174.583
2022-03-01 | 2305.6 | 4726.539 | 7032.139 | 1710.648 | 4933 | 3240.343 | 8173.343
2022-04-01 | 2305.7 | 4713.728 | 7019.428 | 1776.771 | 4933 | 3230.38 | 8163.38
2022-05-01 | 2305.7 | 4713.509 | 7019.209 | 2135.269 | 4790 | 3040.361 | 7830.361
2022-06-01 | 2305.7 | 4710.509 | 7016.209 | 2309.076 | 4790 | 3040.349 | 7830.349
2022-07-01 | 2305.7 | 4710.484 | 7016.184 | 2317.596 | 4790 | 3040.349 | 7830.349
2022-08-01 | 2303.1 | 4695.125 | 6998.225 | 2299.117 | 4123.2 | 2630.273 | 6753.473
2022-09-01 | 2303.1 | 4690.825 | 6993.925 | 2336.526 | 4123.2 | 2630.273 | 6753.473
2022-10-01 | 2303.1 | 4705.825 | 7008.925 | 2391.909 | 4123.2 | 2630.273 | 6753.473
2022-11-01 | 2303.1 | 4721.525 | 7024.625 | 2586.422 | 4123.2 | 2629.916 | 6753.116
2022-12-01 | 2303.1 | 4715.28 | 7018.38 | 2752.886 | 4123.2 | 2625.39 | 6748.59
2023-01-01 | 2303.1 | 4785.13 | 7088.23 | 3159.999 | 4123.2 | 2629.238 | 6752.438
2023-02-01 | 2303.1 | 4785.13 | 7088.23 | 3182.762 | 4123.2 | 2564.772 | 6687.972
2023-03-01 | 2303.1 | 4785.13 | 7088.23 | 3202.819 | 4123.2 | 2562.865 | 6686.065
2023-04-01 | 2303.1 | 4803.73 | 7106.83 | 3227.987 | 4123.2 | 2562.839 | 6686.039
2023-05-01 | 2303.1 | 4803.73 | 7106.83 | 3250.953 | 4123.2 | 2562.689 | 6685.889
2023-06-01 | 2303.1 | 4800.455 | 7103.555 | 3276.812 | 4123.2 | 2561.824 | 6685.024
2023-07-01 | 2303.5 | 4830.617 | 7134.117 | 3355.008 | 3072.2 | 2394.986 | 5467.186
2023-08-01 | 2303.5 | 4823.317 | 7126.817 | 3398.156 | 3072.2 | 2394.977 | 5467.177
2023-09-01 | 2303.5 | 4823.317 | 7126.817 | 3467.141 | 3072.2 | 2397.217 | 5469.417
2023-10-01 | 2303.5 | 4824.317 | 7127.817 | 3488.199 | 3072.2 | 2397.217 | 5469.417
2023-11-01 | 2303.5 | 4823.832 | 7127.332 | 3505.502 | 3072.2 | 2398.173 | 5470.373
2023-12-01 | 2471.1 | 4801.211 | 7272.311 | 3528.933 | 4123.2 | 2609.049 | 6732.249
2024-01-01 | 2471.1 | 4801.211 | 7272.311 | 3538.057 | 4123.2 | 2607.716 | 6730.916
2024-02-01 | 2469.1 | 4800.601 | 7269.701 | 3557.359 | 4123.2 | 2532.229 | 6655.429
2024-03-01 | 2645.5 | 4852.251 | 7497.751 | 3571.616 | 4123.2 | 2534.001 | 6657.201
2024-04-01 | 2645.5 | 4852.251 | 7497.751 | 3650.219 | 4123.2 | 2533.85 | 6657.05
2024-05-01 | 2645.5 | 4849.871 | 7495.371 | 3672.394 | 4123.2 | 2529.181 | 6652.381
2024-06-01 | 2645.5 | 4853.971 | 7499.471 | 3690.455 | 4123.2 | 2530.021 | 6653.221
2024-07-01 | 2645.5 | 4869.281 | 7514.781 | 3710.479 | 4123.2 | 2530.021 | 6653.221
2024-08-01 | 2645.5 | 4886.051 | 7531.551 | 3722.677 | 4123.2 | 2530.001 | 6653.201
2024-09-01 | 2645.5 | 4886.051 | 7531.551 | 3769.839 | 4123.2 | 2456.541 | 6579.741
2024-10-01 | 2645.5 | 4875.061 | 7520.561 | 3854.841 | 3722.2 | 2399.295 | 6121.495
2024-11-01 | 2645.5 | 4866.786 | 7512.286 | 3874.932 | 3722.2 | 2399.157 | 6121.357
2024-12-01 | 2645.5 | 4861.831 | 7507.331 | 3913.239 | 3722.2 | 2396.185 | 6118.385
2025-01-01 | 2645.5 | 4861.331 | 7506.831 | 4149.988 | 3722.2 | 2399.001 | 6121.201
2025-02-01 | 2645.5 | 4887.371 | 7532.871 | 4213.243 | 3722.2 | 2401.543 | 6123.743
2025-03-01 | 2645.5 | 4875.071 | 7520.571 | 4230.596 | 3730.2 | 2404.351 | 6134.551
2025-04-01 | 2647.9 | 4879.253 | 7527.153 | 4242.593 | 3072.2 | 2395.249 | 5467.449
2025-05-01 | 2647.9 | 4882.853 | 7530.753 | 4401.501 | 3072.2 | 2394.278 | 5466.478
2025-06-01 | 2647.9 | 4881.623 | 7529.523 | 4435.164 | 3072.2 | 2394.278 | 5466.478
2025-07-01 | 2647.9 | 4878.548 | 7526.448 | 4600.028 | 3072.2 | 2395.187 | 5467.387
2025-08-01 | 2647.9 | 4878.398 | 7526.298 | 4810.419 | 3072.2 | 2395.187 | 5467.387
2025-09-01 | 2647.9 | 4878.398 | 7526.298 | 4823.917 | 3072.2 | 2394.977 | 5467.177
2025-10-01 | 2647.9 | 4878.568 | 7526.468 | 5030.793 | 3072.2 | 2398.703 | 5470.903
2025-11-01 | 2647.9 | 4878.593 | 7526.493 | 4942.208 | 3072.2 | 2390.798 | 5462.998
2025-12-01 | 2647.9 | 4878.483 | 7526.383 | 4956.163 | 3072.2 | 2383.278 | 5455.478
2026-01-01 | 2642.6 | 4883.783 | 7526.383 | 5067.491 | 3072.2 | 2382.009 | 5454.209
2026-02-01 | 2642.6 | 4886.465 | 7529.065 | 5080.057 | 3072.2 | 2366.243 | 5438.443
2026-03-01 | 3701 | 4884.965 | 8585.965 | 5096.822 | 3072.2 | 2372.03 | 5444.23
2026-04-01 | 3701 | 4911.815 | 8612.815 | 5241.087 | 3072.2 | 2367.236 | 5439.436
2026-05-01 | 3701 | 4911.815 | 8612.815 | 5335.022 | 3072.2 | 2365.14 | 5437.34
2026-06-01 | 3701 | 4911.415 | 8612.415 | 5348.725 | 3072.2 | 2327.16 | 5399.36
2026-07-01 | 3701 | 4911.415 | 8612.415 | 5412.947 | 3072.2 | 2338.125 | 5410.325
2026-08-01 | 3701 | 4911.415 | 8612.415 | 5446.755 | 3072.2 | 2336.285 | 5408.485
2026-09-01 | 3701 | 4910.86 | 8611.86 | 5456.922 | 3072.2 | 2331.585 | 5403.785

## Check_ENTSOE
date | series | this_file_MW | ENTSOE_A68_MW | difference_MW | difference_pct
2021-01-01 | Wind_MW | 6514.7 | 6181 | 333.7 | 5.4
2021-01-01 | Solar_MW | 1336.7 | 1300 | 36.7 | 2.8
2021-01-01 | Thermal_unsplit_MW (ENTSO-E: total less wind less solar) | 8212.5 | 8483 | -270.5 | -3.2
2022-01-01 | Wind_MW | 7025.3 | 6949 | 76.3 | 1.1
2022-01-01 | Solar_MW | 1604.4 | 1536 | 68.4 | 4.5
2022-01-01 | Thermal_unsplit_MW (ENTSO-E: total less wind less solar) | 8182.2 | 8181 | 1.2 | 0
2023-01-01 | Wind_MW | 7088.2 | 7016 | 72.2 | 1
2023-01-01 | Solar_MW | 3160 | 2322 | 838 | 36.1
2023-01-01 | Thermal_unsplit_MW (ENTSO-E: total less wind less solar) | 6752.4 | 7828 | -1075.6 | -13.7
2024-01-01 | Wind_MW | 7272.3 | 7506 | -233.7 | -3.1
2024-01-01 | Solar_MW | 3538.1 | 3730 | -191.9 | -5.1
2024-01-01 | Thermal_unsplit_MW (ENTSO-E: total less wind less solar) | 6730.9 | 0 | 6730.9 | inf
2025-01-01 | Wind_MW | 7506.8 | 5638 | 1868.8 | 33.1
2025-01-01 | Solar_MW | 4150 | 3228 | 922 | 28.6
2025-01-01 | Thermal_unsplit_MW (ENTSO-E: total less wind less solar) | 6121.2 | 6150 | -28.8 | -0.5
2026-01-01 | Wind_MW | 7526.4 | 5639 | 1887.4 | 33.5
2026-01-01 | Solar_MW | 5067.5 | 3120 | 1947.5 | 62.4
2026-01-01 | Thermal_unsplit_MW (ENTSO-E: total less wind less solar) | 5454.2 | 6114 | -659.8 | -10.8

## Releases
source | checked_utc | detail | sha256
Energi Data Service CapacityPerMunicipality | 2026-10-12 04:05 | 12771 rows from 2016-01-01; latest month 2026-09-01 | 28eac98a0adf6342