## Units
Notes
UNITS
Daily: one row per YEAR (dated 1 January), MWh in the year (EAC publishes million kWh = GWh, x1,000). Hydro, Solar (licensed solar plants), Coal, Oil (diesel / heavy fuel oil, back-up and operating), Bioenergy; Gas, Wind and Other are 0 (none in Cambodia). Total_MWh = their sum = domestic generation sent out by licensees.
Imports_MWh = Imports_Vietnam + Imports_Thailand + Imports_Laos (HV grid links plus MV border supplies; Imports_HV_MWh / Imports_MV_MWh split them), not in Total_MWh. Supply_MWh = Total_MWh + Imports_MWh (EAC's 'total energy available'). Imports_Laos_MWh, Imports_MWh, Imports_HV_MWh and Supply_MWh all INCLUDE EDC's Lao hydro plant (e.g. 2024: Laos 2,872 GWh = 16.6 GWh at HV/MV in EAC's import table + 2,855.7 GWh plant; imports 4,525 = Vietnam 921 + Thailand 731 + Laos 2,872 = HV 4,052 + MV 472; supply 20,005 = generation 15,481 + imports 4,525 = EAC's generation in Cambodia 18,336 + table imports 1,669); Total_MWh never does.
Imports_Laos_EDC_hydro_MWh: from 2024 EAC counts EDC's dedicated hydro plant in Laos (460 MW, wired to the Cambodian grid) as EDC generation; here it is moved to imports from Laos so Hydro_MWh is Cambodian plants only (until 2023 EAC itself listed this energy as 'import from Laos at HV'). For a year from the salient features (which do not split it out) the plant's last reported output is used - an ESTIMATE, flagged on the Basis sheet and by Laos_EDC_hydro_estimated = True, replaced when that year's annual report appears (Ember makes the same adjustment). This is why 2025 shows the same plant output as 2024.
IPP_MWh / EDC_MWh / Other_licensees_MWh: energy sent out by type of licensee (EDC excludes the Lao plant).
Solar_rooftop_MWh: rooftop solar (EAC salient features, from 2024), not in Total_MWh.
Monthly: installed capacity at the end of each year, MW (one row per year; sheet named for the standard capacity layout); Hydro_MW also leaves out EDC's Lao plant where EAC counts it.
Basis: the publication each year's row comes from. Raw: every value read (GWh / MW) by publication.
COVERAGE
Annual, 2003 to 2025. Years with an EAC annual report use it (the latest edition that covers the year, so revisions are picked up); the latest year comes from the salient features until its annual report appears (about ten months after the year). Imports by country are in the annual reports from the 2010s editions on; earlier rows have generation by type only.
No official monthly or daily series is published for Cambodia (checked: EAC, EDC, MME, NCC, Open Development Cambodia, ASEAN Centre for Energy - discovery_archive/asia/CAMBODIA_DISCOVERY*.py).
Each PDF is downloaded only when new or when its Last-Modified changes:
Read: Annual-Report-2003-en.pdf ¦ Last-Modified: Thu, 11 Jan 2018 10:09:44 GMT
Read: Annual-Report-2004-en.pdf ¦ Last-Modified: Thu, 11 Jan 2018 10:09:44 GMT
Read: Annual-Report-2005-en.pdf ¦ Last-Modified: Thu, 11 Jan 2018 10:09:44 GMT
Read: Annual-Report-2006-en.pdf ¦ Last-Modified: Thu, 11 Jan 2018 10:09:44 GMT
Read: Annual-Report-2007-en.pdf ¦ Last-Modified: Thu, 11 Jan 2018 10:09:44 GMT
Read: Annual-Report-2008-en.pdf ¦ Last-Modified: Thu, 11 Jan 2018 10:09:44 GMT
Read: Annual-Report-2009-en.pdf ¦ Last-Modified: Thu, 11 Jan 2018 10:09:45 GMT
Read: Annual-Report-2010-en.pdf ¦ Last-Modified: Thu, 11 Jan 2018 10:09:45 GMT
Read: Annual-Report-2011-en.pdf ¦ Last-Modified: Thu, 11 Jan 2018 10:09:45 GMT
Read: Annual-Report-2012-en.pdf ¦ Last-Modified: Thu, 11 Jan 2018 10:09:45 GMT
Read: Annual-Report-2013-en.pdf ¦ Last-Modified: Thu, 11 Jan 2018 10:09:45 GMT
Read: Annual-Report-2014-en.pdf ¦ Last-Modified: Thu, 11 Jan 2018 10:09:45 GMT
Read: Annual-Report-2015-en.pdf ¦ Last-Modified: Thu, 11 Jan 2018 10:09:45 GMT
Read: Annual-Report-2016-en.pdf ¦ Last-Modified: Thu, 11 Jan 2018 10:09:45 GMT
Read: Annual-Report-2017-en.pdf ¦ Last-Modified: Mon, 19 Nov 2018 02:56:29 GMT
Read: Annual-Report-2018-en.pdf ¦ Last-Modified: Fri, 19 Jul 2019 01:45:11 GMT
Read: Annual-Report-2019-en.pdf ¦ Last-Modified: Thu, 01 Oct 2020 08:59:44 GMT
Read: Annual-Report-2020-en.pdf ¦ Last-Modified: Thu, 19 Aug 2021 08:34:04 GMT
Read: Annual-Report-2021-en.pdf ¦ Last-Modified: Thu, 08 Sep 2022 09:07:18 GMT
Read: Annual-Report-2022-en.pdf ¦ Last-Modified: Fri, 01 Dec 2023 09:41:15 GMT
Read: Annual-Report-2023-en.pdf ¦ Last-Modified: Wed, 20 Nov 2024 02:23:26 GMT
Read: Annual-Report-2024-en.pdf ¦ Last-Modified: Thu, 23 Oct 2025 03:25:30 GMT
Read: Annual-Report-2025-en.pdf ¦ Last-Modified: Thu, 08 Oct 2026 02:32:43 GMT
Read: salient_feature_2025_en.pdf ¦ Last-Modified: Fri, 26 Dec 2025 07:36:43 GMT
SOURCE
Electricity Authority of Cambodia (EAC): Report on Power Sector of the Kingdom of Cambodia (annual, Annex 2 tables) and Salient Features of Power Development in the Kingdom of Cambodia, https://eac.gov.kh/site/annualreport?lang=en

## Chart
Date | Hydro | Gas | Wind | Solar | Coal | Nuclear | Other
2021-01-01 | 5043.94 | 0 | 0 | 609.96 | 3455.6 | 0 | 603.27
2022-01-01 | 5898.32 | 0 | 0 | 695.52 | 3144.39 | 0 | 358.41
2023-01-01 | 4840.1 | 0 | 0 | 822.99 | 7822.6 | 0 | 128.34
2024-01-01 | 4372.14 | 0 | 0 | 1070.02 | 9428.14 | 0 | 610.33
2025-01-01 | 5667.51 | 0 | 0 | 2217.36 | 9799.32 | 0 | 373.27

## Chart - Supply
Date | Domestic generation | Imports from Vietnam | Imports from Thailand | Imports from Laos
2010-01-01 | 968.364
2011-01-01 | 1018.54 | 1392.39 | 430.79 | 6.6
2012-01-01 | 1423.1 | 1560.23 | 535.08 | 9.01
2013-01-01 | 1769.96 | 1691.31 | 579.59 | 10.73
2014-01-01 | 3058.38 | 1265.72 | 523.55 | 13.77
2015-01-01 | 4489.27 | 1200.39 | 307.39 | 18.31
2016-01-01 | 5482.95 | 1177.12 | 335.66 | 37.41
2017-01-01 | 6633.69 | 1094.66 | 290.93 | 53.56
2018-01-01 | 8172.26 | 1090.98 | 409.98 | 65.55
2019-01-01 | 8675.25 | 1772.21 | 1161.22 | 129.23
2020-01-01 | 8581.11 | 1247.02 | 809.78 | 1762.85
2021-01-01 | 9712.77 | 829.95 | 283.55 | 2271.55
2022-01-01 | 10096.64 | 1284.97 | 780.12 | 2734.35
2023-01-01 | 13614.03 | 682.3 | 132.22 | 2558.68
2024-01-01 | 15480.63 | 921.39 | 731.01 | 2872.28
2025-01-01 | 18057.46 | 1068.07 | 402.99 | 3001.1

## Chart - Capacity
Date | Hydro | Gas | Wind | Solar | Oil | Bioenergy | Coal | Nuclear & other
2021-01-01 | 1.3297 | 0 | 0 | 0.3568 | 0.6196 | 0.0286 | 0.675 | 0
2022-01-01 | 1.3317 | 0 | 0 | 0.4368 | 0.6434 | 0.0286 | 1.045 | 0
2023-01-01 | 1.3317 | 0 | 0 | 0.4368 | 0.6464 | 0.0485 | 1.41 | 0
2024-01-01 | 1.3364 | 0 | 0 | 0.7968 | 0.657 | 0.0485 | 1.335 | 0
2025-01-01 | 1.3414 | 0 | 0 | 1.3706 | 0.6137 | 0.0492 | 1.4 | 0

## Daily
date | Hydro_MWh | Gas_MWh | Wind_MWh | Solar_MWh | Coal_MWh | Oil_MWh | Bioenergy_MWh | Other_MWh | Total_MWh | Imports_MWh | Imports_Vietnam_MWh | Imports_Thailand_MWh | Imports_Laos_MWh | Imports_Laos_EDC_hydro_MWh | Laos_EDC_hydro_estimated | Imports_HV_MWh | Imports_MV_MWh | Supply_MWh | IPP_MWh | EDC_MWh | Other_licensees_MWh | Solar_rooftop_MWh
2003-01-01 | 40509 | 0 | 0 | 0 | 0 | 596376 | 0 | 0 | 636885 | [9 empty] | 456244 | 165285 | 15356
2004-01-01 | 28422 | 0 | 0 | 0 | 0 | 714809 | 0 | 0 | 743231 | [9 empty] | 450854 | 273298 | 19078
2005-01-01 | 43542 | 0 | 0 | 0 | 0 | 835710 | 122 | 0 | 879374 | [9 empty] | 625131 | 233450 | 20793
2006-01-01 | 50609 | 0 | 0 | 0 | 0 | 1034815 | 1680 | 0 | 1087104 | [9 empty] | 853992 | 208871 | 24241
2007-01-01 | 49707 | 0 | 0 | 0 | 0 | 1294356 | 5253 | 0 | 1349316 | [9 empty] | 1141270 | 171886 | 36160
2008-01-01 | 46284 | 0 | 0 | 0 | 23359 | 1409937 | 4532 | 0 | 1484112 | [9 empty] | 1286470 | 160012 | 37629
2009-01-01 | 47425 | 0 | 0 | 0 | 28033 | 1152650 | 6486 | 0 | 1234594 | [9 empty] | 1092976 | 100030 | 41588
2010-01-01 | 31734 | 0 | 0 | 0 | 32081 | 898730 | 5819 | 0 | 968364 | [9 empty] | 880764 | 46689 | 40911
2011-01-01 | 51522 | 0 | 0 | 0 | 46500 | 908611 | 11907 | 0 | 1018540 | 1829780 | 1392390 | 430790 | 6600 |  |  | 1449540 | 380240 | 2848320 | 917537 | 63180 | 37822
2012-01-01 | 517370 | 0 | 0 | 0 | 37420 | 856563 | 11747 | 0 | 1423100 | 2104320 | 1560230 | 535080 | 9010 |  |  | 1611630 | 492690 | 3527420 | 1305991 | 76903 | 40206
2013-01-01 | 1015540 | 0 | 0 | 0 | 168750 | 578990 | 6680 | 0 | 1769960 | 2281630 | 1691310 | 579590 | 10730 |  |  | 1746090 | 535540 | 4051590 | 1694700 | 47670 | 27590
2014-01-01 | 1851600 | 0 | 0 | 0 | 863020 | 326970 | 16790 | 0 | 3058380 | 1803040 | 1265720 | 523550 | 13770 |  |  | 1228600 | 574440 | 4861420 | 2995430 | 34710 | 28230
2015-01-01 | 2159640 | 0 | 0 | 0 | 2127820 | 163660 | 38150 | 0 | 4489270 | 1526090 | 1200390 | 307390 | 18310 |  |  | 942150 | 583940 | 6015360 | 4421860 | 16820 | 50590
2016-01-01 | 2567960 | 0 | 0 | 0 | 2394220 | 478330 | 42440 | 0 | 5482950 | 1550190 | 1177120 | 335660 | 37410 |  |  | 884020 | 666170 | 7033140 | 5346880 | 84180 | 51900
2017-01-01 | 2711140 | 0 | 0 | 4630 | 3569010 | 289670 | 59240 | 0 | 6633690 | 1439150 | 1094660 | 290930 | 53560 |  |  | 796310 | 642840 | 8072840 | 6534850 | 43740 | 55100
2018-01-01 | 4737010 | 0 | 0 | 15750 | 3056560 | 299310 | 63630 | 0 | 8172260 | 1566510 | 1090980 | 409980 | 65550 |  |  | 939490 | 627020 | 9738770 | 8047500 | 67710 | 57060
2019-01-01 | 4025340 | 0 | 0 | 93360 | 3734010 | 731850 | 90690 | 0 | 8675250 | 3062660 | 1772210 | 1161220 | 129230 |  |  | 2364290 | 698370 | 11737910 | 8335520 | 231310 | 108420
2020-01-01 | 3860030 | 0 | 0 | 289760 | 3918870 | 446910 | 65540 | 0 | 8581110 | 3819650 | 1247020 | 809780 | 1762850 |  |  | 3264800 | 554850 | 12400760 | 8400810 | 115410 | 64890
2021-01-01 | 5043940 | 0 | 0 | 609960 | 3455600 | 553640 | 49630 | 0 | 9712770 | 3385050 | 829950 | 283550 | 2271550 |  |  | 2921210 | 463840 | 13097820 | 9141120 | 521990 | 49640
2022-01-01 | 5898320 | 0 | 0 | 695520 | 3144390 | 345990 | 12420 | 0 | 10096640 | 4799440 | 1284970 | 780120 | 2734350 |  |  | 4258810 | 540630 | 14896080 | 9762780 | 305860 | 28000
2023-01-01 | 4840100 | 0 | 0 | 822990 | 7822600 | 53710 | 74630 | 0 | 13614030 | 3373200 | 682300 | 132220 | 2558680 |  |  | 2942460 | 430740 | 16987230 | 13332020 | 55860 | 226160
2024-01-01 | 4372140 | 0 | 0 | 1070020 | 9428140 | 532980 | 77350 | 0 | 15480630 | 4524680 | 921390 | 731010 | 2872280 | 2855690 | FALSE | 4052470 | 472210 | 20005310 | 14757870 | 438910 | 283870 | 219180
2025-01-01 | 5667510 | 0 | 0 | 2217360 | 9799320 | 295520 | 77750 | 0 | 18057460 | 4472160 | 1068070 | 402990 | 3001100 | 2846080 | FALSE | 4076220 | 395940 | 22529620 | 17322730 | 219790 | 256980 | 265690

## Monthly
date | Hydro_MW | Oil_MW | Total_MW | Bioenergy_MW | Coal_MW | Solar_MW
2003-01-01 | 12 | 174.9 | 186.9
2004-01-01 | 13 | 176.8 | 189.8
2005-01-01 | 13 | 218.3 | 231.3 | 0.1
2006-01-01 | 13 | 282.7 | 300.1 | 4.5
2007-01-01 | 13 | 296.9 | 314.4 | 4.6
2008-01-01 | 13.4 | 353.1 | 384.6 | 5.1 | 13
2009-01-01 | 13.4 | 340 | 372.1 | 5.8 | 13
2010-01-01 | 13.3 | 328 | 360.1 | 5.8 | 13
2011-01-01 | 207.1 | 342.5 | 569 | 6.5 | 13
2012-01-01 | 225.4 | 321 | 581.9 | 22.5 | 13
2013-01-01 | 683.4 | 324 | 1155 | 14.6 | 133
2014-01-01 | 929.4 | 291.3 | 1511.3 | 22.6 | 268
2015-01-01 | 929.7 | 304.6 | 1657.3 | 19.9 | 403
2016-01-01 | 930 | 304.2 | 1681 | 17.6 | 429.2
2017-01-01 | 979.7 | 295.1 | 1877.6 | 28.6 | 564.2 | 10
2018-01-01 | 1329.7 | 266.8 | 2187 | 29.3 | 551.2 | 10
2019-01-01 | 1329.7 | 269.5 | 2442.5 | 29.3 | 708.7 | 105.3
2020-01-01 | 1329.7 | 659.1 | 2991.1 | 30.6 | 675 | 296.8
2021-01-01 | 1329.7 | 619.6 | 3009.7 | 28.6 | 675 | 356.8
2022-01-01 | 1331.7 | 643.4 | 3485.5 | 28.6 | 1045 | 436.8
2023-01-01 | 1331.7 | 646.4 | 3873.4 | 48.5 | 1410 | 436.8
2024-01-01 | 1336.4 | 657 | 4173.8 | 48.5 | 1335 | 796.8
2025-01-01 | 1341.4 | 613.7 | 4774.9 | 49.2 | 1400 | 1370.6

## Basis
date | Basis
2003-01-01 | EAC Report on Power Sector 2004 (Annex 2)
2004-01-01 | EAC Report on Power Sector 2005 (Annex 2)
2005-01-01 | EAC Report on Power Sector 2006 (Annex 2)
2006-01-01 | EAC Report on Power Sector 2007 (Annex 2)
2007-01-01 | EAC Report on Power Sector 2008 (Annex 2)
2008-01-01 | EAC Report on Power Sector 2009 (Annex 2)
2009-01-01 | EAC Report on Power Sector 2010 (Annex 2)
2010-01-01 | EAC Report on Power Sector 2010 (Annex 2)
2011-01-01 | EAC Report on Power Sector 2012 (Annex 2)
2012-01-01 | EAC Report on Power Sector 2013 (Annex 2)
2013-01-01 | EAC Report on Power Sector 2014 (Annex 2)
2014-01-01 | EAC Report on Power Sector 2015 (Annex 2)
2015-01-01 | EAC Report on Power Sector 2016 (Annex 2)
2016-01-01 | EAC Report on Power Sector 2017 (Annex 2)
2017-01-01 | EAC Report on Power Sector 2018 (Annex 2)
2018-01-01 | EAC Report on Power Sector 2019 (Annex 2)
2019-01-01 | EAC Report on Power Sector 2020 (Annex 2)
2020-01-01 | EAC Report on Power Sector 2021 (Annex 2)
2021-01-01 | EAC Report on Power Sector 2022 (Annex 2)
2022-01-01 | EAC Report on Power Sector 2023 (Annex 2)
2023-01-01 | EAC Report on Power Sector 2024 (Annex 2)
2024-01-01 | EAC Report on Power Sector 2025 (Annex 2); hydro excludes EDC's dedicated Lao hydro plant (2,856 GWh), counted as imports from Laos
2025-01-01 | EAC Report on Power Sector 2025 (Annex 2); hydro excludes EDC's dedicated Lao hydro plant (2,846 GWh), counted as imports from Laos

## Raw
Publication | Edition | Field | Year | Value
Annual report 2004 | 2004 | cap_Hydro | 2003 | 12
Annual report 2004 | 2004 | cap_Oil | 2003 | 174.948
Annual report 2004 | 2004 | cap_Total | 2003 | 186.948
Annual report 2004 | 2004 | gen_Hydro | 2003 | 40.509
Annual report 2004 | 2004 | gen_Oil | 2003 | 596.376
Annual report 2004 | 2004 | gen_Total | 2003 | 636.885
Annual report 2004 | 2004 | lcap_EDC | 2003 | 82.732
Annual report 2004 | 2004 | lcap_IPP | 2003 | 89.46
Annual report 2004 | 2004 | lcap_Other_licensees | 2003 | 14.756
Annual report 2004 | 2004 | lcap_Total | 2003 | 186.948
Annual report 2004 | 2004 | lic_EDC | 2003 | 165.285
Annual report 2004 | 2004 | lic_IPP | 2003 | 456.244
Annual report 2004 | 2004 | lic_Other_licensees | 2003 | 15.356
Annual report 2004 | 2004 | lic_Total | 2003 | 636.885
Annual report 2004 | 2004 | cap_Hydro | 2004 | 13
Annual report 2004 | 2004 | cap_Oil | 2004 | 176.824
Annual report 2004 | 2004 | cap_Total | 2004 | 189.824
Annual report 2004 | 2004 | gen_Hydro | 2004 | 28.422
Annual report 2004 | 2004 | gen_Oil | 2004 | 714.809
Annual report 2004 | 2004 | gen_Total | 2004 | 743.231
Annual report 2004 | 2004 | lcap_EDC | 2004 | 83.9
Annual report 2004 | 2004 | lcap_IPP | 2004 | 88.392
Annual report 2004 | 2004 | lcap_Other_licensees | 2004 | 17.532
Annual report 2004 | 2004 | lcap_Total | 2004 | 189.824
Annual report 2004 | 2004 | lic_EDC | 2004 | 273.298
Annual report 2004 | 2004 | lic_IPP | 2004 | 450.854
Annual report 2004 | 2004 | lic_Other_licensees | 2004 | 19.078
Annual report 2004 | 2004 | lic_Total | 2004 | 743.231
Annual report 2005 | 2005 | cap_Hydro | 2004 | 13
Annual report 2005 | 2005 | cap_Oil | 2004 | 176.824
Annual report 2005 | 2005 | cap_Total | 2004 | 189.824
Annual report 2005 | 2005 | gen_Hydro | 2004 | 28.422
Annual report 2005 | 2005 | gen_Oil | 2004 | 714.809
Annual report 2005 | 2005 | gen_Total | 2004 | 743.231
Annual report 2005 | 2005 | lcap_EDC | 2004 | 83.9
Annual report 2005 | 2005 | lcap_IPP | 2004 | 88.392
Annual report 2005 | 2005 | lcap_Other_licensees | 2004 | 17.532
Annual report 2005 | 2005 | lcap_Total | 2004 | 189.824
Annual report 2005 | 2005 | lic_EDC | 2004 | 273.298
Annual report 2005 | 2005 | lic_IPP | 2004 | 450.854
Annual report 2005 | 2005 | lic_Other_licensees | 2004 | 19.078
Annual report 2005 | 2005 | lic_Total | 2004 | 743.231
Annual report 2005 | 2005 | cap_Bioenergy | 2005 | 0.102
Annual report 2005 | 2005 | cap_Hydro | 2005 | 12.96
Annual report 2005 | 2005 | cap_Oil | 2005 | 218.273
Annual report 2005 | 2005 | cap_Total | 2005 | 231.335
Annual report 2005 | 2005 | gen_Bioenergy | 2005 | 0.122
Annual report 2005 | 2005 | gen_Hydro | 2005 | 43.542
Annual report 2005 | 2005 | gen_Oil | 2005 | 835.71
Annual report 2005 | 2005 | gen_Total | 2005 | 879.374
Annual report 2005 | 2005 | lcap_EDC | 2005 | 83.86
Annual report 2005 | 2005 | lcap_IPP | 2005 | 127.97
Annual report 2005 | 2005 | lcap_Other_licensees | 2005 | 19.505
Annual report 2005 | 2005 | lcap_Total | 2005 | 231.335
Annual report 2005 | 2005 | lic_EDC | 2005 | 233.45
Annual report 2005 | 2005 | lic_IPP | 2005 | 625.131
Annual report 2005 | 2005 | lic_Other_licensees | 2005 | 20.793
Annual report 2005 | 2005 | lic_Total | 2005 | 879.374
Annual report 2006 | 2006 | cap_Bioenergy | 2005 | 0.102
Annual report 2006 | 2006 | cap_Hydro | 2005 | 12.96
Annual report 2006 | 2006 | cap_Oil | 2005 | 218.273
Annual report 2006 | 2006 | cap_Total | 2005 | 231.335
Annual report 2006 | 2006 | gen_Bioenergy | 2005 | 0.122
Annual report 2006 | 2006 | gen_Hydro | 2005 | 43.542
Annual report 2006 | 2006 | gen_Oil | 2005 | 835.71
Annual report 2006 | 2006 | gen_Total | 2005 | 879.374
Annual report 2006 | 2006 | lcap_EDC | 2005 | 83.86
Annual report 2006 | 2006 | lcap_IPP | 2005 | 127.97
Annual report 2006 | 2006 | lcap_Other_licensees | 2005 | 19.505
Annual report 2006 | 2006 | lcap_Total | 2005 | 231.335
Annual report 2006 | 2006 | lic_EDC | 2005 | 233.45
Annual report 2006 | 2006 | lic_IPP | 2005 | 625.131
Annual report 2006 | 2006 | lic_Other_licensees | 2005 | 20.793
Annual report 2006 | 2006 | lic_Total | 2005 | 879.374
Annual report 2006 | 2006 | cap_Bioenergy | 2006 | 4.512
Annual report 2006 | 2006 | cap_Hydro | 2006 | 12.96
Annual report 2006 | 2006 | cap_Oil | 2006 | 282.6635
Annual report 2006 | 2006 | cap_Total | 2006 | 300.1355
Annual report 2006 | 2006 | gen_Bioenergy | 2006 | 1.68
Annual report 2006 | 2006 | gen_Hydro | 2006 | 50.609
Annual report 2006 | 2006 | gen_Oil | 2006 | 1034.815
Annual report 2006 | 2006 | gen_Total | 2006 | 1087.104
Annual report 2006 | 2006 | lcap_EDC | 2006 | 76.86
Annual report 2006 | 2006 | lcap_IPP | 2006 | 202.788
Annual report 2006 | 2006 | lcap_Other_licensees | 2006 | 20.4875
Annual report 2006 | 2006 | lcap_Total | 2006 | 300.1355
Annual report 2006 | 2006 | lic_EDC | 2006 | 208.871
Annual report 2006 | 2006 | lic_IPP | 2006 | 853.992
Annual report 2006 | 2006 | lic_Other_licensees | 2006 | 24.241
Annual report 2006 | 2006 | lic_Total | 2006 | 1087.104
Annual report 2007 | 2007 | cap_Bioenergy | 2006 | 4.512
Annual report 2007 | 2007 | cap_Hydro | 2006 | 12.96
Annual report 2007 | 2007 | cap_Oil | 2006 | 282.6635
Annual report 2007 | 2007 | cap_Total | 2006 | 300.1355
Annual report 2007 | 2007 | gen_Bioenergy | 2006 | 1.68
Annual report 2007 | 2007 | gen_Hydro | 2006 | 50.609
Annual report 2007 | 2007 | gen_Oil | 2006 | 1034.815
Annual report 2007 | 2007 | gen_Total | 2006 | 1087.104
Annual report 2007 | 2007 | lcap_EDC | 2006 | 76.86
Annual report 2007 | 2007 | lcap_IPP | 2006 | 202.788
Annual report 2007 | 2007 | lcap_Other_licensees | 2006 | 20.4875
Annual report 2007 | 2007 | lcap_Total | 2006 | 300.1355
Annual report 2007 | 2007 | lic_EDC | 2006 | 208.871
Annual report 2007 | 2007 | lic_IPP | 2006 | 853.992
Annual report 2007 | 2007 | lic_Other_licensees | 2006 | 24.241
Annual report 2007 | 2007 | lic_Total | 2006 | 1087.104
Annual report 2007 | 2007 | cap_Bioenergy | 2007 | 4.602
Annual report 2007 | 2007 | cap_Hydro | 2007 | 12.96
Annual report 2007 | 2007 | cap_Oil | 2007 | 296.8503
Annual report 2007 | 2007 | cap_Total | 2007 | 314.4123
Annual report 2007 | 2007 | gen_Bioenergy | 2007 | 5.253
Annual report 2007 | 2007 | gen_Hydro | 2007 | 49.707
Annual report 2007 | 2007 | gen_Oil | 2007 | 1294.356
Annual report 2007 | 2007 | gen_Total | 2007 | 1349.316
Annual report 2007 | 2007 | lcap_EDC | 2007 | 76.86
Annual report 2007 | 2007 | lcap_IPP | 2007 | 202.543
Annual report 2007 | 2007 | lcap_Other_licensees | 2007 | 35.0093
Annual report 2007 | 2007 | lcap_Total | 2007 | 314.4123
Annual report 2007 | 2007 | lic_EDC | 2007 | 171.886
Annual report 2007 | 2007 | lic_IPP | 2007 | 1141.27
Annual report 2007 | 2007 | lic_Other_licensees | 2007 | 36.16
Annual report 2007 | 2007 | lic_Total | 2007 | 1349.316
Annual report 2008 | 2008 | cap_Bioenergy | 2007 | 4.602
Annual report 2008 | 2008 | cap_Hydro | 2007 | 12.96
Annual report 2008 | 2008 | cap_Oil | 2007 | 296.8503
Annual report 2008 | 2008 | cap_Total | 2007 | 314.4123
Annual report 2008 | 2008 | gen_Bioenergy | 2007 | 5.253
Annual report 2008 | 2008 | gen_Hydro | 2007 | 49.707
Annual report 2008 | 2008 | gen_Oil | 2007 | 1294.356
Annual report 2008 | 2008 | gen_Total | 2007 | 1349.316
Annual report 2008 | 2008 | lcap_EDC | 2007 | 76.86
Annual report 2008 | 2008 | lcap_IPP | 2007 | 202.543
Annual report 2008 | 2008 | lcap_Other_licensees | 2007 | 35.0093
Annual report 2008 | 2008 | lcap_Total | 2007 | 314.4123
Annual report 2008 | 2008 | lic_EDC | 2007 | 171.886
Annual report 2008 | 2008 | lic_IPP | 2007 | 1141.27
Annual report 2008 | 2008 | lic_Other_licensees | 2007 | 36.16
Annual report 2008 | 2008 | lic_Total | 2007 | 1349.316
Annual report 2008 | 2008 | cap_Bioenergy | 2008 | 5.092
Annual report 2008 | 2008 | cap_Coal | 2008 | 13
Annual report 2008 | 2008 | cap_Hydro | 2008 | 13.386
Annual report 2008 | 2008 | cap_Oil | 2008 | 353.1426
Annual report 2008 | 2008 | cap_Total | 2008 | 384.6206
Annual report 2008 | 2008 | gen_Bioenergy | 2008 | 4.532
Annual report 2008 | 2008 | gen_Coal | 2008 | 23.359
Annual report 2008 | 2008 | gen_Hydro | 2008 | 46.284
Annual report 2008 | 2008 | gen_Oil | 2008 | 1409.937
Annual report 2008 | 2008 | gen_Total | 2008 | 1484.111
Annual report 2008 | 2008 | lcap_EDC | 2008 | 76.86
Annual report 2008 | 2008 | lcap_IPP | 2008 | 264.977
Annual report 2008 | 2008 | lcap_Other_licensees | 2008 | 42.7836
Annual report 2008 | 2008 | lcap_Total | 2008 | 384.6206
Annual report 2008 | 2008 | lic_EDC | 2008 | 160.012
Annual report 2008 | 2008 | lic_IPP | 2008 | 1286.47
Annual report 2008 | 2008 | lic_Other_licensees | 2008 | 37.629
Annual report 2008 | 2008 | lic_Total | 2008 | 1484.111
Annual report 2009 | 2009 | cap_Bioenergy | 2008 | 5.092
Annual report 2009 | 2009 | cap_Coal | 2008 | 13
Annual report 2009 | 2009 | cap_Hydro | 2008 | 13.386
Annual report 2009 | 2009 | cap_Oil | 2008 | 353.1426
Annual report 2009 | 2009 | cap_Total | 2008 | 384.6206
Annual report 2009 | 2009 | gen_Bioenergy | 2008 | 4.532
Annual report 2009 | 2009 | gen_Coal | 2008 | 23.359
Annual report 2009 | 2009 | gen_Hydro | 2008 | 46.284
Annual report 2009 | 2009 | gen_Oil | 2008 | 1409.937
Annual report 2009 | 2009 | gen_Total | 2008 | 1484.111
Annual report 2009 | 2009 | lcap_EDC | 2008 | 76.86
Annual report 2009 | 2009 | lcap_IPP | 2008 | 264.977
Annual report 2009 | 2009 | lcap_Other_licensees | 2008 | 42.7836
Annual report 2009 | 2009 | lcap_Total | 2008 | 384.6206
Annual report 2009 | 2009 | lic_EDC | 2008 | 160.012
Annual report 2009 | 2009 | lic_IPP | 2008 | 1286.47
Annual report 2009 | 2009 | lic_Other_licensees | 2008 | 37.629
Annual report 2009 | 2009 | lic_Total | 2008 | 1484.111
Annual report 2009 | 2009 | cap_Bioenergy | 2009 | 5.776
Annual report 2009 | 2009 | cap_Coal | 2009 | 13
Annual report 2009 | 2009 | cap_Hydro | 2009 | 13.35
Annual report 2009 | 2009 | cap_Oil | 2009 | 340.003
Annual report 2009 | 2009 | cap_Total | 2009 | 372.129
Annual report 2009 | 2009 | gen_Bioenergy | 2009 | 6.486
Annual report 2009 | 2009 | gen_Coal | 2009 | 28.033
Annual report 2009 | 2009 | gen_Hydro | 2009 | 47.425
Annual report 2009 | 2009 | gen_Oil | 2009 | 1152.65
Annual report 2009 | 2009 | gen_Total | 2009 | 1234.594
Annual report 2009 | 2009 | lcap_EDC | 2009 | 75.06
Annual report 2009 | 2009 | lcap_IPP | 2009 | 259.294
Annual report 2009 | 2009 | lcap_Other_licensees | 2009 | 37.775
Annual report 2009 | 2009 | lcap_Total | 2009 | 372.129
Annual report 2009 | 2009 | lic_EDC | 2009 | 2009
Annual report 2009 | 2009 | lic_IPP | 2009 | 1092.976
Annual report 2009 | 2009 | lic_Other_licensees | 2009 | 2009
Annual report 2009 | 2009 | lic_Total | 2009 | 1234.594
Annual report 2010 | 2010 | cap_Bioenergy | 2009 | 5.776
Annual report 2010 | 2010 | cap_Coal | 2009 | 13
Annual report 2010 | 2010 | cap_Hydro | 2009 | 13.35
Annual report 2010 | 2010 | cap_Oil | 2009 | 340.003
Annual report 2010 | 2010 | cap_Total | 2009 | 372.129
Annual report 2010 | 2010 | gen_Bioenergy | 2009 | 6.486
Annual report 2010 | 2010 | gen_Coal | 2009 | 28.033
Annual report 2010 | 2010 | gen_Hydro | 2009 | 47.425
Annual report 2010 | 2010 | gen_Oil | 2009 | 1152.65
Annual report 2010 | 2010 | gen_Total | 2009 | 1234.594
Annual report 2010 | 2010 | lcap_EDC | 2009 | 75.06
Annual report 2010 | 2010 | lcap_IPP | 2009 | 259.294
Annual report 2010 | 2010 | lcap_Other_licensees | 2009 | 37.775
Annual report 2010 | 2010 | lcap_Total | 2009 | 372.129
Annual report 2010 | 2010 | lic_EDC | 2009 | 100.03
Annual report 2010 | 2010 | lic_IPP | 2009 | 1092.976
Annual report 2010 | 2010 | lic_Other_licensees | 2009 | 41.588
Annual report 2010 | 2010 | lic_Total | 2009 | 1234.594
Annual report 2010 | 2010 | cap_Bioenergy | 2010 | 5.776
Annual report 2010 | 2010 | cap_Coal | 2010 | 13
Annual report 2010 | 2010 | cap_Hydro | 2010 | 13.33
Annual report 2010 | 2010 | cap_Oil | 2010 | 327.972
Annual report 2010 | 2010 | cap_Total | 2010 | 360.078
Annual report 2010 | 2010 | gen_Bioenergy | 2010 | 5.819
Annual report 2010 | 2010 | gen_Coal | 2010 | 32.081
Annual report 2010 | 2010 | gen_Hydro | 2010 | 31.734
Annual report 2010 | 2010 | gen_Oil | 2010 | 898.73
Annual report 2010 | 2010 | gen_Total | 2010 | 968.364
Annual report 2010 | 2010 | lcap_EDC | 2010 | 75.73
Annual report 2010 | 2010 | lcap_IPP | 2010 | 245.574
Annual report 2010 | 2010 | lcap_Other_licensees | 2010 | 38.774
Annual report 2010 | 2010 | lcap_Total | 2010 | 360.078
Annual report 2010 | 2010 | lic_EDC | 2010 | 46.689
Annual report 2010 | 2010 | lic_IPP | 2010 | 880.764
Annual report 2010 | 2010 | lic_Other_licensees | 2010 | 40.911
Annual report 2010 | 2010 | lic_Total | 2010 | 968.364
Annual report 2011 | 2011 | lcap_EDC | 2010 | 75.73
Annual report 2011 | 2011 | lcap_IPP | 2010 | 245.574
Annual report 2011 | 2011 | lcap_Other_licensees | 2010 | 38.774
Annual report 2011 | 2011 | lcap_Total | 2010 | 360.078
Annual report 2011 | 2011 | lic_EDC | 2010 | 46.689
Annual report 2011 | 2011 | lic_IPP | 2010 | 880.764
Annual report 2011 | 2011 | lic_Other_licensees | 2010 | 40.911
Annual report 2011 | 2011 | lic_Total | 2010 | 968.364
Annual report 2011 | 2011 | gen_Bioenergy | 2011 | 6511.907
Annual report 2011 | 2011 | gen_Coal | 2011 | 13046.5
Annual report 2011 | 2011 | gen_Hydro | 2011 | 207111.522
Annual report 2011 | 2011 | gen_Oil | 2011 | 343389.611
Annual report 2011 | 2011 | gen_Total | 2011 | 570059.54
Annual report 2011 | 2011 | lcap_EDC | 2011 | 75.73
Annual report 2011 | 2011 | lcap_IPP | 2011 | 435.844
Annual report 2011 | 2011 | lcap_Other_licensees | 2011 | 57.467
Annual report 2011 | 2011 | lcap_Total | 2011 | 569.041
Annual report 2011 | 2011 | lic_EDC | 2011 | 63.18
Annual report 2011 | 2011 | lic_IPP | 2011 | 917.537
Annual report 2011 | 2011 | lic_Other_licensees | 2011 | 37.822
Annual report 2011 | 2011 | lic_Total | 2011 | 1018.54
Annual report 2012 | 2012 | available_total | 2011 | 2848.33
Annual report 2012 | 2012 | cap_Bioenergy | 2011 | 6.5
Annual report 2012 | 2012 | cap_Coal | 2011 | 13
Annual report 2012 | 2012 | cap_Hydro | 2011 | 207.06
Annual report 2012 | 2012 | cap_Oil | 2011 | 342.481
Annual report 2012 | 2012 | cap_Total | 2011 | 569.041
Annual report 2012 | 2012 | gen_Bioenergy | 2011 | 11.907
Annual report 2012 | 2012 | gen_Coal | 2011 | 46.5
Annual report 2012 | 2012 | gen_Hydro | 2011 | 51.522
Annual report 2012 | 2012 | gen_Oil | 2011 | 908.611
Annual report 2012 | 2012 | gen_Total | 2011 | 1018.54
Annual report 2012 | 2012 | gen_in_cambodia | 2011 | 1018.54
Annual report 2012 | 2012 | imp_Laos_MV | 2011 | 6.6
Annual report 2012 | 2012 | imp_Thailand_HV | 2011 | 315.75
Annual report 2012 | 2012 | imp_Thailand_MV | 2011 | 115.04
Annual report 2012 | 2012 | imp_Vietnam_HV | 2011 | 1133.79
Annual report 2012 | 2012 | imp_Vietnam_MV | 2011 | 258.6
Annual report 2012 | 2012 | lcap_EDC | 2011 | 75.73
Annual report 2012 | 2012 | lcap_IPP | 2011 | 435.844
Annual report 2012 | 2012 | lcap_Other_licensees | 2011 | 57.467
Annual report 2012 | 2012 | lcap_Total | 2011 | 569.041
Annual report 2012 | 2012 | lic_EDC | 2011 | 63.18
Annual report 2012 | 2012 | lic_IPP | 2011 | 917.537
Annual report 2012 | 2012 | lic_Other_licensees | 2011 | 37.822
Annual report 2012 | 2012 | lic_Total | 2011 | 1018.54
Annual report 2012 | 2012 | available_total | 2012 | 3527.42
Annual report 2012 | 2012 | cap_Bioenergy | 2012 | 22.5
Annual report 2012 | 2012 | cap_Coal | 2012 | 13
Annual report 2012 | 2012 | cap_Hydro | 2012 | 225.43
Annual report 2012 | 2012 | cap_Oil | 2012 | 321.005
Annual report 2012 | 2012 | cap_Total | 2012 | 581.935
Annual report 2012 | 2012 | gen_Bioenergy | 2012 | 11.747
Annual report 2012 | 2012 | gen_Coal | 2012 | 37.42
Annual report 2012 | 2012 | gen_Hydro | 2012 | 517.37
Annual report 2012 | 2012 | gen_Oil | 2012 | 856.563
Annual report 2012 | 2012 | gen_Total | 2012 | 1423.1
Annual report 2012 | 2012 | gen_in_cambodia | 2012 | 1423.1
Annual report 2012 | 2012 | imp_Laos_MV | 2012 | 9.01
Annual report 2012 | 2012 | imp_Thailand_HV | 2012 | 392.11
Annual report 2012 | 2012 | imp_Thailand_MV | 2012 | 142.97
Annual report 2012 | 2012 | imp_Vietnam_HV | 2012 | 1219.52
Annual report 2012 | 2012 | imp_Vietnam_MV | 2012 | 340.71
Annual report 2012 | 2012 | lcap_EDC | 2012 | 75.73
Annual report 2012 | 2012 | lcap_IPP | 2012 | 451.844
Annual report 2012 | 2012 | lcap_Other_licensees | 2012 | 54.361
Annual report 2012 | 2012 | lcap_Total | 2012 | 581.935
Annual report 2012 | 2012 | lic_EDC | 2012 | 76.903
Annual report 2012 | 2012 | lic_IPP | 2012 | 1305.991
Annual report 2012 | 2012 | lic_Other_licensees | 2012 | 40.206
Annual report 2012 | 2012 | lic_Total | 2012 | 1423.1
Annual report 2013 | 2013 | available_total | 2012 | 3527.42
Annual report 2013 | 2013 | cap_Bioenergy | 2012 | 22.5
Annual report 2013 | 2013 | cap_Coal | 2012 | 13
Annual report 2013 | 2013 | cap_Hydro | 2012 | 225.43
Annual report 2013 | 2013 | cap_Oil | 2012 | 321.005
Annual report 2013 | 2013 | cap_Total | 2012 | 581.935
Annual report 2013 | 2013 | gen_Bioenergy | 2012 | 11.747
Annual report 2013 | 2013 | gen_Coal | 2012 | 37.42
Annual report 2013 | 2013 | gen_Hydro | 2012 | 517.37
Annual report 2013 | 2013 | gen_Oil | 2012 | 856.563
Annual report 2013 | 2013 | gen_Total | 2012 | 1423.1
Annual report 2013 | 2013 | gen_in_cambodia | 2012 | 1423.1
Annual report 2013 | 2013 | imp_Laos_MV | 2012 | 9.01
Annual report 2013 | 2013 | imp_Thailand_HV | 2012 | 392.11
Annual report 2013 | 2013 | imp_Thailand_MV | 2012 | 142.97
Annual report 2013 | 2013 | imp_Vietnam_HV | 2012 | 1219.52
Annual report 2013 | 2013 | imp_Vietnam_MV | 2012 | 340.71
Annual report 2013 | 2013 | lcap_EDC | 2012 | 75.73
Annual report 2013 | 2013 | lcap_IPP | 2012 | 451.844
Annual report 2013 | 2013 | lcap_Other_licensees | 2012 | 54.361
Annual report 2013 | 2013 | lcap_Total | 2012 | 581.935
Annual report 2013 | 2013 | lic_EDC | 2012 | 76.903
Annual report 2013 | 2013 | lic_IPP | 2012 | 1305.991
Annual report 2013 | 2013 | lic_Other_licensees | 2012 | 40.206
Annual report 2013 | 2013 | lic_Total | 2012 | 1423.1
Annual report 2013 | 2013 | available_total | 2013 | 4051.59
Annual report 2013 | 2013 | cap_Bioenergy | 2013 | 14.57
Annual report 2013 | 2013 | cap_Coal | 2013 | 133
Annual report 2013 | 2013 | cap_Hydro | 2013 | 682.1
Annual report 2013 | 2013 | cap_Oil | 2013 | 325.323
Annual report 2013 | 2013 | cap_Total | 2013 | 1154.993
Annual report 2013 | 2013 | gen_Bioenergy | 2013 | 6.68
Annual report 2013 | 2013 | gen_Coal | 2013 | 168.75
Annual report 2013 | 2013 | gen_Hydro | 2013 | 1015.54
Annual report 2013 | 2013 | gen_Oil | 2013 | 578.99
Annual report 2013 | 2013 | gen_Total | 2013 | 1769.96
Annual report 2013 | 2013 | gen_in_cambodia | 2013 | 1769.96
Annual report 2013 | 2013 | imp_Laos_MV | 2013 | 10.73
Annual report 2013 | 2013 | imp_Thailand_HV | 2013 | 416.97
Annual report 2013 | 2013 | imp_Thailand_MV | 2013 | 162.62
Annual report 2013 | 2013 | imp_Vietnam_HV | 2013 | 1329.12
Annual report 2013 | 2013 | imp_Vietnam_MV | 2013 | 362.19
Annual report 2013 | 2013 | lcap_EDC | 2013 | 74.19
Annual report 2013 | 2013 | lcap_IPP | 2013 | 1021.814
Annual report 2013 | 2013 | lcap_Other_licensees | 2013 | 58.989
Annual report 2013 | 2013 | lcap_Total | 2013 | 1154.993
Annual report 2013 | 2013 | lic_EDC | 2013 | 47.67
Annual report 2013 | 2013 | lic_IPP | 2013 | 1694.7
Annual report 2013 | 2013 | lic_Other_licensees | 2013 | 27.59
Annual report 2013 | 2013 | lic_Total | 2013 | 1769.96
Annual report 2014 | 2014 | available_total | 2013 | 4051.59
Annual report 2014 | 2014 | cap_Bioenergy | 2013 | 14.57
Annual report 2014 | 2014 | cap_Coal | 2013 | 133
Annual report 2014 | 2014 | cap_Hydro | 2013 | 683.43
Annual report 2014 | 2014 | cap_Oil | 2013 | 323.993
Annual report 2014 | 2014 | cap_Total | 2013 | 1154.993
Annual report 2014 | 2014 | gen_Bioenergy | 2013 | 6.68
Annual report 2014 | 2014 | gen_Coal | 2013 | 168.75
Annual report 2014 | 2014 | gen_Hydro | 2013 | 1015.54
Annual report 2014 | 2014 | gen_Oil | 2013 | 578.99
Annual report 2014 | 2014 | gen_Total | 2013 | 1769.96
Annual report 2014 | 2014 | gen_in_cambodia | 2013 | 1769.96
Annual report 2014 | 2014 | imp_Laos_MV | 2013 | 10.73
Annual report 2014 | 2014 | imp_Thailand_HV | 2013 | 416.97
Annual report 2014 | 2014 | imp_Thailand_MV | 2013 | 162.62
Annual report 2014 | 2014 | imp_Vietnam_HV | 2013 | 1329.12
Annual report 2014 | 2014 | imp_Vietnam_MV | 2013 | 362.19
Annual report 2014 | 2014 | lcap_EDC | 2013 | 74.19
Annual report 2014 | 2014 | lcap_IPP | 2013 | 815.814
Annual report 2014 | 2014 | lcap_Other_licensees | 2013 | 58.989
Annual report 2014 | 2014 | lcap_Total | 2013 | 948.993
Annual report 2014 | 2014 | lic_EDC | 2013 | 47.67
Annual report 2014 | 2014 | lic_IPP | 2013 | 1694.7
Annual report 2014 | 2014 | lic_Other_licensees | 2013 | 27.59
Annual report 2014 | 2014 | lic_Total | 2013 | 1769.96
Annual report 2014 | 2014 | available_total | 2014 | 4861.41
Annual report 2014 | 2014 | cap_Bioenergy | 2014 | 22.64
Annual report 2014 | 2014 | cap_Coal | 2014 | 268
Annual report 2014 | 2014 | cap_Hydro | 2014 | 929.43
Annual report 2014 | 2014 | cap_Oil | 2014 | 291.268
Annual report 2014 | 2014 | cap_Total | 2014 | 1.5113
Annual report 2014 | 2014 | gen_Bioenergy | 2014 | 16.79
Annual report 2014 | 2014 | gen_Coal | 2014 | 863.02
Annual report 2014 | 2014 | gen_Hydro | 2014 | 1851.6
Annual report 2014 | 2014 | gen_Oil | 2014 | 326.97
Annual report 2014 | 2014 | gen_Total | 2014 | 3058.36
Annual report 2014 | 2014 | gen_in_cambodia | 2014 | 3058.36
Annual report 2014 | 2014 | imp_Laos_MV | 2014 | 13.77
Annual report 2014 | 2014 | imp_Thailand_HV | 2014 | 350.07
Annual report 2014 | 2014 | imp_Thailand_MV | 2014 | 173.48
Annual report 2014 | 2014 | imp_Vietnam_HV | 2014 | 878.53
Annual report 2014 | 2014 | imp_Vietnam_MV | 2014 | 387.19
Annual report 2014 | 2014 | lcap_EDC | 2014 | 74.19
Annual report 2014 | 2014 | lcap_IPP | 2014 | 1402.814
Annual report 2014 | 2014 | lcap_Other_licensees | 2014 | 34.334
Annual report 2014 | 2014 | lcap_Total | 2014 | 1511.338
Annual report 2014 | 2014 | lic_EDC | 2014 | 34.71
Annual report 2014 | 2014 | lic_IPP | 2014 | 2995.43
Annual report 2014 | 2014 | lic_Other_licensees | 2014 | 28.23
Annual report 2014 | 2014 | lic_Total | 2014 | 3058.36
Annual report 2015 | 2015 | available_total | 2014 | 4861.41
Annual report 2015 | 2015 | cap_Bioenergy | 2014 | 22.64
Annual report 2015 | 2015 | cap_Coal | 2014 | 268
Annual report 2015 | 2015 | cap_Hydro | 2014 | 929.43
Annual report 2015 | 2015 | cap_Oil | 2014 | 291.268
Annual report 2015 | 2015 | cap_Total | 2014 | 1.5113
Annual report 2015 | 2015 | gen_Bioenergy | 2014 | 16.79
Annual report 2015 | 2015 | gen_Coal | 2014 | 863.02
Annual report 2015 | 2015 | gen_Hydro | 2014 | 1851.6
Annual report 2015 | 2015 | gen_Oil | 2014 | 326.97
Annual report 2015 | 2015 | gen_Total | 2014 | 3058.36
Annual report 2015 | 2015 | gen_in_cambodia | 2014 | 3058.36
Annual report 2015 | 2015 | imp_Laos_MV | 2014 | 13.77
Annual report 2015 | 2015 | imp_Thailand_HV | 2014 | 350.07
Annual report 2015 | 2015 | imp_Thailand_MV | 2014 | 173.48
Annual report 2015 | 2015 | imp_Vietnam_HV | 2014 | 878.53
Annual report 2015 | 2015 | imp_Vietnam_MV | 2014 | 387.19
Annual report 2015 | 2015 | lcap_EDC | 2014 | 74.19
Annual report 2015 | 2015 | lcap_IPP | 2014 | 1402.814
Annual report 2015 | 2015 | lcap_Other_licensees | 2014 | 34.334
Annual report 2015 | 2015 | lcap_Total | 2014 | 1511.338
Annual report 2015 | 2015 | lic_EDC | 2014 | 34.71
Annual report 2015 | 2015 | lic_IPP | 2014 | 2995.43
Annual report 2015 | 2015 | lic_Other_licensees | 2014 | 28.23
Annual report 2015 | 2015 | lic_Total | 2014 | 3058.36
Annual report 2015 | 2015 | available_total | 2015 | 6015.35
Annual report 2015 | 2015 | cap_Bioenergy | 2015 | 19.945
Annual report 2015 | 2015 | cap_Coal | 2015 | 403
Annual report 2015 | 2015 | cap_Hydro | 2015 | 929.7
Annual report 2015 | 2015 | cap_Oil | 2015 | 304.629
Annual report 2015 | 2015 | cap_Total | 2015 | 1657.274
Annual report 2015 | 2015 | gen_Bioenergy | 2015 | 38.15
Annual report 2015 | 2015 | gen_Coal | 2015 | 2127.82
Annual report 2015 | 2015 | gen_Hydro | 2015 | 2159.64
Annual report 2015 | 2015 | gen_Oil | 2015 | 163.66
Annual report 2015 | 2015 | gen_Total | 2015 | 4489.27
Annual report 2015 | 2015 | gen_in_cambodia | 2015 | 4489.27
Annual report 2015 | 2015 | imp_Laos_MV | 2015 | 18.31
Annual report 2015 | 2015 | imp_Thailand_HV | 2015 | 138.64
Annual report 2015 | 2015 | imp_Thailand_MV | 2015 | 168.75
Annual report 2015 | 2015 | imp_Vietnam_HV | 2015 | 803.51
Annual report 2015 | 2015 | imp_Vietnam_MV | 2015 | 396.88
Annual report 2015 | 2015 | lcap_EDC | 2015 | 113.05
Annual report 2015 | 2015 | lcap_IPP | 2015 | 1502.214
Annual report 2015 | 2015 | lcap_Other_licensees | 2015 | 42.01
Annual report 2015 | 2015 | lcap_Total | 2015 | 1657.274
Annual report 2015 | 2015 | lic_EDC | 2015 | 16.82
Annual report 2015 | 2015 | lic_IPP | 2015 | 4421.86
Annual report 2015 | 2015 | lic_Other_licensees | 2015 | 50.59
Annual report 2015 | 2015 | lic_Total | 2015 | 4489.27
Annual report 2016 | 2016 | available_total | 2015 | 6015.35
Annual report 2016 | 2016 | cap_Bioenergy | 2015 | 19.945
Annual report 2016 | 2016 | cap_Coal | 2015 | 403
Annual report 2016 | 2016 | cap_Hydro | 2015 | 929.7
Annual report 2016 | 2016 | cap_Oil | 2015 | 304.629
Annual report 2016 | 2016 | cap_Total | 2015 | 1657.274
Annual report 2016 | 2016 | gen_Bioenergy | 2015 | 38.15
Annual report 2016 | 2016 | gen_Coal | 2015 | 2127.82
Annual report 2016 | 2016 | gen_Hydro | 2015 | 2159.64
Annual report 2016 | 2016 | gen_Oil | 2015 | 163.66
Annual report 2016 | 2016 | gen_Total | 2015 | 4489.27
Annual report 2016 | 2016 | gen_in_cambodia | 2015 | 4489.27
Annual report 2016 | 2016 | imp_Laos_MV | 2015 | 18.31
Annual report 2016 | 2016 | imp_Thailand_HV | 2015 | 138.64
Annual report 2016 | 2016 | imp_Thailand_MV | 2015 | 168.75
Annual report 2016 | 2016 | imp_Vietnam_HV | 2015 | 803.51
Annual report 2016 | 2016 | imp_Vietnam_MV | 2015 | 396.88
Annual report 2016 | 2016 | lic_EDC | 2015 | 16.82
Annual report 2016 | 2016 | lic_IPP | 2015 | 4421.86
Annual report 2016 | 2016 | lic_Other_licensees | 2015 | 50.59
Annual report 2016 | 2016 | lic_Total | 2015 | 4489.27
Annual report 2016 | 2016 | available_total | 2016 | 7033.15
Annual report 2016 | 2016 | cap_Bioenergy | 2016 | 17.57
Annual report 2016 | 2016 | cap_Coal | 2016 | 429.2
Annual report 2016 | 2016 | cap_Hydro | 2016 | 930
Annual report 2016 | 2016 | cap_Oil | 2016 | 304.215
Annual report 2016 | 2016 | cap_Total | 2016 | 1680.985
Annual report 2016 | 2016 | gen_Bioenergy | 2016 | 42.44
Annual report 2016 | 2016 | gen_Coal | 2016 | 2394.22
Annual report 2016 | 2016 | gen_Hydro | 2016 | 2567.96
Annual report 2016 | 2016 | gen_Oil | 2016 | 478.33
Annual report 2016 | 2016 | gen_Total | 2016 | 5482.96
Annual report 2016 | 2016 | gen_in_cambodia | 2016 | 5482.96
Annual report 2016 | 2016 | imp_Laos_MV | 2016 | 37.41
Annual report 2016 | 2016 | imp_Thailand_HV | 2016 | 146.89
Annual report 2016 | 2016 | imp_Thailand_MV | 2016 | 188.77
Annual report 2016 | 2016 | imp_Vietnam_HV | 2016 | 737.13
Annual report 2016 | 2016 | imp_Vietnam_MV | 2016 | 439.99
Annual report 2016 | 2016 | lic_EDC | 2016 | 84.18
Annual report 2016 | 2016 | lic_IPP | 2016 | 5346.88
Annual report 2016 | 2016 | lic_Other_licensees | 2016 | 51.9
Annual report 2016 | 2016 | lic_Total | 2016 | 5482.96
Annual report 2017 | 2017 | available_total | 2016 | 7033.15
Annual report 2017 | 2017 | cap_Bioenergy | 2016 | 17.57
Annual report 2017 | 2017 | cap_Coal | 2016 | 429.2
Annual report 2017 | 2017 | cap_Hydro | 2016 | 930
Annual report 2017 | 2017 | cap_Oil | 2016 | 304.215
Annual report 2017 | 2017 | cap_Total | 2016 | 1680.985
Annual report 2017 | 2017 | gen_Bioenergy | 2016 | 42.44
Annual report 2017 | 2017 | gen_Coal | 2016 | 2394.22
Annual report 2017 | 2017 | gen_Hydro | 2016 | 2567.96
Annual report 2017 | 2017 | gen_Oil | 2016 | 478.33
Annual report 2017 | 2017 | gen_Total | 2016 | 5482.96
Annual report 2017 | 2017 | gen_in_cambodia | 2016 | 5482.96
Annual report 2017 | 2017 | imp_Laos_MV | 2016 | 37.41
Annual report 2017 | 2017 | imp_Thailand_HV | 2016 | 146.89
Annual report 2017 | 2017 | imp_Thailand_MV | 2016 | 188.77
Annual report 2017 | 2017 | imp_Vietnam_HV | 2016 | 737.13
Annual report 2017 | 2017 | imp_Vietnam_MV | 2016 | 439.99
Annual report 2017 | 2017 | lcap_EDC | 2016 | 113.05
Annual report 2017 | 2017 | lcap_IPP | 2016 | 1528.414
Annual report 2017 | 2017 | lcap_Other_licensees | 2016 | 39.521
Annual report 2017 | 2017 | lcap_Total | 2016 | 1680.985
Annual report 2017 | 2017 | lic_EDC | 2016 | 84.18
Annual report 2017 | 2017 | lic_IPP | 2016 | 5346.88
Annual report 2017 | 2017 | lic_Other_licensees | 2016 | 51.9
Annual report 2017 | 2017 | lic_Total | 2016 | 5482.96
Annual report 2017 | 2017 | available_total | 2017 | 8072.85
Annual report 2017 | 2017 | cap_Bioenergy | 2017 | 28.57
Annual report 2017 | 2017 | cap_Coal | 2017 | 564.2
Annual report 2017 | 2017 | cap_Hydro | 2017 | 979.7
Annual report 2017 | 2017 | cap_Oil | 2017 | 295.14
Annual report 2017 | 2017 | cap_Solar | 2017 | 10
Annual report 2017 | 2017 | cap_Total | 2017 | 1877.61
Annual report 2017 | 2017 | gen_Bioenergy | 2017 | 59.24
Annual report 2017 | 2017 | gen_Coal | 2017 | 3569.01
Annual report 2017 | 2017 | gen_Hydro | 2017 | 2711.14
Annual report 2017 | 2017 | gen_Oil | 2017 | 289.67
Annual report 2017 | 2017 | gen_Solar | 2017 | 4.63
Annual report 2017 | 2017 | gen_Total | 2017 | 6633.69
Annual report 2017 | 2017 | gen_in_cambodia | 2017 | 6633.69
Annual report 2017 | 2017 | imp_Laos_MV | 2017 | 53.56
Annual report 2017 | 2017 | imp_Thailand_HV | 2017 | 86.8
Annual report 2017 | 2017 | imp_Thailand_MV | 2017 | 204.13
Annual report 2017 | 2017 | imp_Vietnam_HV | 2017 | 709.51
Annual report 2017 | 2017 | imp_Vietnam_MV | 2017 | 385.15
Annual report 2017 | 2017 | lcap_EDC | 2017 | 111.73
Annual report 2017 | 2017 | lcap_IPP | 2017 | 1734.414
Annual report 2017 | 2017 | lcap_Other_licensees | 2017 | 31.466
Annual report 2017 | 2017 | lcap_Total | 2017 | 1877.61
Annual report 2017 | 2017 | lic_EDC | 2017 | 43.74
Annual report 2017 | 2017 | lic_IPP | 2017 | 6534.85
Annual report 2017 | 2017 | lic_Other_licensees | 2017 | 55.1
Annual report 2017 | 2017 | lic_Total | 2017 | 6633.69
Annual report 2018 | 2018 | available_total | 2017 | 8072.85
Annual report 2018 | 2018 | cap_Bioenergy | 2017 | 28.57
Annual report 2018 | 2018 | cap_Coal | 2017 | 564.2
Annual report 2018 | 2018 | cap_Hydro | 2017 | 979.7
Annual report 2018 | 2018 | cap_Oil | 2017 | 295.14
Annual report 2018 | 2018 | cap_Solar | 2017 | 10
Annual report 2018 | 2018 | cap_Total | 2017 | 1877.61
Annual report 2018 | 2018 | gen_Bioenergy | 2017 | 59.24
Annual report 2018 | 2018 | gen_Coal | 2017 | 3569.01
Annual report 2018 | 2018 | gen_Hydro | 2017 | 2711.14
Annual report 2018 | 2018 | gen_Oil | 2017 | 289.67
Annual report 2018 | 2018 | gen_Solar | 2017 | 4.63
Annual report 2018 | 2018 | gen_Total | 2017 | 6633.69
Annual report 2018 | 2018 | gen_in_cambodia | 2017 | 6633.69
Annual report 2018 | 2018 | imp_Laos_MV | 2017 | 53.56
Annual report 2018 | 2018 | imp_Thailand_HV | 2017 | 86.8
Annual report 2018 | 2018 | imp_Thailand_MV | 2017 | 204.13
Annual report 2018 | 2018 | imp_Vietnam_HV | 2017 | 709.51
Annual report 2018 | 2018 | imp_Vietnam_MV | 2017 | 385.15
Annual report 2018 | 2018 | lcap_EDC | 2017 | 111.73
Annual report 2018 | 2018 | lcap_IPP | 2017 | 1734.414
Annual report 2018 | 2018 | lcap_Other_licensees | 2017 | 31.466
Annual report 2018 | 2018 | lcap_Total | 2017 | 1877.61
Annual report 2018 | 2018 | lic_EDC | 2017 | 43.74
Annual report 2018 | 2018 | lic_IPP | 2017 | 6534.85
Annual report 2018 | 2018 | lic_Other_licensees | 2017 | 55.1
Annual report 2018 | 2018 | lic_Total | 2017 | 6633.69
Annual report 2018 | 2018 | available_total | 2018 | 9738.78
Annual report 2018 | 2018 | cap_Bioenergy | 2018 | 29.27
Annual report 2018 | 2018 | cap_Coal | 2018 | 551.2
Annual report 2018 | 2018 | cap_Hydro | 2018 | 1329.7
Annual report 2018 | 2018 | cap_Oil | 2018 | 266.824
Annual report 2018 | 2018 | cap_Solar | 2018 | 10
Annual report 2018 | 2018 | cap_Total | 2018 | 2186.994
Annual report 2018 | 2018 | gen_Bioenergy | 2018 | 63.63
Annual report 2018 | 2018 | gen_Coal | 2018 | 3056.56
Annual report 2018 | 2018 | gen_Hydro | 2018 | 4737.01
Annual report 2018 | 2018 | gen_Oil | 2018 | 299.31
Annual report 2018 | 2018 | gen_Solar | 2018 | 15.75
Annual report 2018 | 2018 | gen_Total | 2018 | 8172.27
Annual report 2018 | 2018 | gen_in_cambodia | 2018 | 8172.27
Annual report 2018 | 2018 | imp_Laos_MV | 2018 | 65.55
Annual report 2018 | 2018 | imp_Thailand_HV | 2018 | 211.75
Annual report 2018 | 2018 | imp_Thailand_MV | 2018 | 198.23
Annual report 2018 | 2018 | imp_Vietnam_HV | 2018 | 727.74
Annual report 2018 | 2018 | imp_Vietnam_MV | 2018 | 363.24
Annual report 2018 | 2018 | lcap_EDC | 2018 | 111.73
Annual report 2018 | 2018 | lcap_IPP | 2018 | 2048.954
Annual report 2018 | 2018 | lcap_Other_licensees | 2018 | 26.31
Annual report 2018 | 2018 | lcap_Total | 2018 | 2186.994
Annual report 2018 | 2018 | lic_EDC | 2018 | 67.71
Annual report 2018 | 2018 | lic_IPP | 2018 | 8047.5
Annual report 2018 | 2018 | lic_Other_licensees | 2018 | 57.06
Annual report 2018 | 2018 | lic_Total | 2018 | 8172.27
Annual report 2019 | 2019 | available_total | 2018 | 9738.78
Annual report 2019 | 2019 | cap_Bioenergy | 2018 | 29.27
Annual report 2019 | 2019 | cap_Coal | 2018 | 551.2
Annual report 2019 | 2019 | cap_Hydro | 2018 | 1329.7
Annual report 2019 | 2019 | cap_Oil | 2018 | 266.824
Annual report 2019 | 2019 | cap_Solar | 2018 | 10
Annual report 2019 | 2019 | cap_Total | 2018 | 2186.994
Annual report 2019 | 2019 | gen_Bioenergy | 2018 | 63.63
Annual report 2019 | 2019 | gen_Coal | 2018 | 3056.56
Annual report 2019 | 2019 | gen_Hydro | 2018 | 4737.01
Annual report 2019 | 2019 | gen_Oil | 2018 | 299.31
Annual report 2019 | 2019 | gen_Solar | 2018 | 15.75
Annual report 2019 | 2019 | gen_Total | 2018 | 8172.27
Annual report 2019 | 2019 | gen_in_cambodia | 2018 | 8172.27
Annual report 2019 | 2019 | imp_Laos_MV | 2018 | 65.55
Annual report 2019 | 2019 | imp_Thailand_HV | 2018 | 211.75
Annual report 2019 | 2019 | imp_Thailand_MV | 2018 | 198.23
Annual report 2019 | 2019 | imp_Vietnam_HV | 2018 | 727.74
Annual report 2019 | 2019 | imp_Vietnam_MV | 2018 | 363.24
Annual report 2019 | 2019 | lic_EDC | 2018 | 67.71
Annual report 2019 | 2019 | lic_IPP | 2018 | 8047.5
Annual report 2019 | 2019 | lic_Other_licensees | 2018 | 57.06
Annual report 2019 | 2019 | lic_Total | 2018 | 8172.27
Annual report 2019 | 2019 | available_total | 2019 | 11737.9
Annual report 2019 | 2019 | cap_Bioenergy | 2019 | 29.27
Annual report 2019 | 2019 | cap_Coal | 2019 | 708.7
Annual report 2019 | 2019 | cap_Hydro | 2019 | 1329.7
Annual report 2019 | 2019 | cap_Oil | 2019 | 269.526
Annual report 2019 | 2019 | cap_Solar | 2019 | 105.316
Annual report 2019 | 2019 | cap_Total | 2019 | 2442.512
Annual report 2019 | 2019 | gen_Bioenergy | 2019 | 90.69
Annual report 2019 | 2019 | gen_Coal | 2019 | 3734.01
Annual report 2019 | 2019 | gen_Hydro | 2019 | 4025.34
Annual report 2019 | 2019 | gen_Oil | 2019 | 731.85
Annual report 2019 | 2019 | gen_Solar | 2019 | 93.36
Annual report 2019 | 2019 | gen_Total | 2019 | 8675.24
Annual report 2019 | 2019 | gen_in_cambodia | 2019 | 8675.24
Annual report 2019 | 2019 | imp_Laos_HV | 2019 | 111.16
Annual report 2019 | 2019 | imp_Laos_MV | 2019 | 18.07
Annual report 2019 | 2019 | imp_Thailand_HV | 2019 | 942.01
Annual report 2019 | 2019 | imp_Thailand_MV | 2019 | 219.21
Annual report 2019 | 2019 | imp_Vietnam_HV | 2019 | 1311.12
Annual report 2019 | 2019 | imp_Vietnam_MV | 2019 | 461.09
Annual report 2019 | 2019 | lic_EDC | 2019 | 231.31
Annual report 2019 | 2019 | lic_IPP | 2019 | 8335.52
Annual report 2019 | 2019 | lic_Other_licensees | 2019 | 108.42
Annual report 2019 | 2019 | lic_Total | 2019 | 8675.24
Annual report 2020 | 2020 | available_total | 2019 | 11737.9
Annual report 2020 | 2020 | cap_Bioenergy | 2019 | 29.27
Annual report 2020 | 2020 | cap_Coal | 2019 | 708.7
Annual report 2020 | 2020 | cap_Hydro | 2019 | 1329.7
Annual report 2020 | 2020 | cap_Oil | 2019 | 269.526
Annual report 2020 | 2020 | cap_Solar | 2019 | 105.316
Annual report 2020 | 2020 | cap_Total | 2019 | 2442.512
Annual report 2020 | 2020 | gen_Bioenergy | 2019 | 90.69
Annual report 2020 | 2020 | gen_Coal | 2019 | 3734.01
Annual report 2020 | 2020 | gen_Hydro | 2019 | 4025.34
Annual report 2020 | 2020 | gen_Oil | 2019 | 731.85
Annual report 2020 | 2020 | gen_Solar | 2019 | 93.36
Annual report 2020 | 2020 | gen_Total | 2019 | 8675.24
Annual report 2020 | 2020 | gen_in_cambodia | 2019 | 8675.24
Annual report 2020 | 2020 | imp_Laos_HV | 2019 | 111.16
Annual report 2020 | 2020 | imp_Laos_MV | 2019 | 18.07
Annual report 2020 | 2020 | imp_Thailand_HV | 2019 | 942.01
Annual report 2020 | 2020 | imp_Thailand_MV | 2019 | 219.21
Annual report 2020 | 2020 | imp_Vietnam_HV | 2019 | 1311.12
Annual report 2020 | 2020 | imp_Vietnam_MV | 2019 | 461.09
Annual report 2020 | 2020 | lic_IPP | 2019 | 8335.52
Annual report 2020 | 2020 | lic_Other_licensees | 2019 | 108.42
Annual report 2020 | 2020 | lic_Total | 2019 | 8675.24
Annual report 2020 | 2020 | available_total | 2020 | 12400.75
Annual report 2020 | 2020 | cap_Bioenergy | 2020 | 30.57
Annual report 2020 | 2020 | cap_Coal | 2020 | 675
Annual report 2020 | 2020 | cap_Hydro | 2020 | 1329.7
Annual report 2020 | 2020 | cap_Oil | 2020 | 659.06
Annual report 2020 | 2020 | cap_Solar | 2020 | 296.8
Annual report 2020 | 2020 | cap_Total | 2020 | 2991.13
Annual report 2020 | 2020 | gen_Bioenergy | 2020 | 65.54
Annual report 2020 | 2020 | gen_Coal | 2020 | 3918.87
Annual report 2020 | 2020 | gen_Hydro | 2020 | 3860.03
Annual report 2020 | 2020 | gen_Oil | 2020 | 446.91
Annual report 2020 | 2020 | gen_Solar | 2020 | 289.76
Annual report 2020 | 2020 | gen_Total | 2020 | 8581.11
Annual report 2020 | 2020 | gen_in_cambodia | 2020 | 8581.11
Annual report 2020 | 2020 | imp_Laos_HV | 2020 | 1758.8
Annual report 2020 | 2020 | imp_Laos_MV | 2020 | 4.05
Annual report 2020 | 2020 | imp_Thailand_HV | 2020 | 610.1
Annual report 2020 | 2020 | imp_Thailand_MV | 2020 | 199.68
Annual report 2020 | 2020 | imp_Vietnam_HV | 2020 | 895.9
Annual report 2020 | 2020 | imp_Vietnam_MV | 2020 | 351.12
Annual report 2020 | 2020 | lic_EDC | 2020 | 115.41
Annual report 2020 | 2020 | lic_IPP | 2020 | 8400.81
Annual report 2020 | 2020 | lic_Other_licensees | 2020 | 64.89
Annual report 2020 | 2020 | lic_Total | 2020 | 8581.11
Annual report 2021 | 2021 | available_total | 2020 | 12400.75
Annual report 2021 | 2021 | cap_Bioenergy | 2020 | 30.57
Annual report 2021 | 2021 | cap_Coal | 2020 | 675
Annual report 2021 | 2021 | cap_Hydro | 2020 | 1329.7
Annual report 2021 | 2021 | cap_Oil | 2020 | 659.06
Annual report 2021 | 2021 | cap_Solar | 2020 | 296.8
Annual report 2021 | 2021 | cap_Total | 2020 | 2991.13
Annual report 2021 | 2021 | gen_Bioenergy | 2020 | 65.54
Annual report 2021 | 2021 | gen_Coal | 2020 | 3918.87
Annual report 2021 | 2021 | gen_Hydro | 2020 | 3860.03
Annual report 2021 | 2021 | gen_Oil | 2020 | 446.91
Annual report 2021 | 2021 | gen_Solar | 2020 | 289.76
Annual report 2021 | 2021 | gen_Total | 2020 | 8581.11
Annual report 2021 | 2021 | gen_in_cambodia | 2020 | 8581.11
Annual report 2021 | 2021 | imp_Laos_HV | 2020 | 1758.8
Annual report 2021 | 2021 | imp_Laos_MV | 2020 | 4.05
Annual report 2021 | 2021 | imp_Thailand_HV | 2020 | 610.1
Annual report 2021 | 2021 | imp_Thailand_MV | 2020 | 199.68
Annual report 2021 | 2021 | imp_Vietnam_HV | 2020 | 895.9
Annual report 2021 | 2021 | imp_Vietnam_MV | 2020 | 351.12
Annual report 2021 | 2021 | lcap_EDC | 2020 | 514.65
Annual report 2021 | 2021 | lcap_IPP | 2020 | 2429.87
Annual report 2021 | 2021 | lcap_Other_licensees | 2020 | 46.61
Annual report 2021 | 2021 | lcap_Total | 2020 | 2991.13
Annual report 2021 | 2021 | lic_EDC | 2020 | 115.41
Annual report 2021 | 2021 | lic_IPP | 2020 | 8400.81
Annual report 2021 | 2021 | lic_Other_licensees | 2020 | 64.89
Annual report 2021 | 2021 | lic_Total | 2020 | 8581.11
Annual report 2021 | 2021 | available_total | 2021 | 13097.81
Annual report 2021 | 2021 | cap_Bioenergy | 2021 | 28.57
Annual report 2021 | 2021 | cap_Coal | 2021 | 675
Annual report 2021 | 2021 | cap_Hydro | 2021 | 1329.7
Annual report 2021 | 2021 | cap_Oil | 2021 | 619.598
Annual report 2021 | 2021 | cap_Solar | 2021 | 356.8
Annual report 2021 | 2021 | cap_Total | 2021 | 3009.668
Annual report 2021 | 2021 | gen_Bioenergy | 2021 | 49.63
Annual report 2021 | 2021 | gen_Coal | 2021 | 3455.6
Annual report 2021 | 2021 | gen_Hydro | 2021 | 5043.94
Annual report 2021 | 2021 | gen_Oil | 2021 | 553.64
Annual report 2021 | 2021 | gen_Solar | 2021 | 609.96
Annual report 2021 | 2021 | gen_Total | 2021 | 9712.76
Annual report 2021 | 2021 | gen_in_cambodia | 2021 | 9712.76
Annual report 2021 | 2021 | imp_Laos_HV | 2021 | 2268.03
Annual report 2021 | 2021 | imp_Laos_MV | 2021 | 3.52
Annual report 2021 | 2021 | imp_Thailand_HV | 2021 | 77.34
Annual report 2021 | 2021 | imp_Thailand_MV | 2021 | 206.21
Annual report 2021 | 2021 | imp_Vietnam_HV | 2021 | 575.84
Annual report 2021 | 2021 | imp_Vietnam_MV | 2021 | 254.11
Annual report 2021 | 2021 | lcap_EDC | 2021 | 514.65
Annual report 2021 | 2021 | lcap_IPP | 2021 | 2462.87
Annual report 2021 | 2021 | lcap_Other_licensees | 2021 | 32.148
Annual report 2021 | 2021 | lcap_Total | 2021 | 3009.668
Annual report 2021 | 2021 | lic_EDC | 2021 | 521.99
Annual report 2021 | 2021 | lic_IPP | 2021 | 9141.12
Annual report 2021 | 2021 | lic_Other_licensees | 2021 | 49.64
Annual report 2021 | 2021 | lic_Total | 2021 | 9712.76
Annual report 2022 | 2022 | available_total | 2021 | 13097.81
Annual report 2022 | 2022 | cap_Bioenergy | 2021 | 28.57
Annual report 2022 | 2022 | cap_Coal | 2021 | 675
Annual report 2022 | 2022 | cap_Hydro | 2021 | 1329.7
Annual report 2022 | 2022 | cap_Oil | 2021 | 619.598
Annual report 2022 | 2022 | cap_Solar | 2021 | 356.8
Annual report 2022 | 2022 | cap_Total | 2021 | 3009.668
Annual report 2022 | 2022 | gen_Bioenergy | 2021 | 49.63
Annual report 2022 | 2022 | gen_Coal | 2021 | 3455.6
Annual report 2022 | 2022 | gen_Hydro | 2021 | 5043.94
Annual report 2022 | 2022 | gen_Oil | 2021 | 553.64
Annual report 2022 | 2022 | gen_Solar | 2021 | 609.96
Annual report 2022 | 2022 | gen_Total | 2021 | 9712.76
Annual report 2022 | 2022 | gen_in_cambodia | 2021 | 9712.76
Annual report 2022 | 2022 | imp_Laos_HV | 2021 | 2268.03
Annual report 2022 | 2022 | imp_Laos_MV | 2021 | 3.52
Annual report 2022 | 2022 | imp_Thailand_HV | 2021 | 77.34
Annual report 2022 | 2022 | imp_Thailand_MV | 2021 | 206.21
Annual report 2022 | 2022 | imp_Vietnam_HV | 2021 | 575.84
Annual report 2022 | 2022 | imp_Vietnam_MV | 2021 | 254.11
Annual report 2022 | 2022 | lcap_EDC | 2021 | 514.65
Annual report 2022 | 2022 | lcap_IPP | 2021 | 2462.87
Annual report 2022 | 2022 | lcap_Other_licensees | 2021 | 32.148
Annual report 2022 | 2022 | lcap_Total | 2021 | 3009.668
Annual report 2022 | 2022 | lic_EDC | 2021 | 521.99
Annual report 2022 | 2022 | lic_IPP | 2021 | 9141.12
Annual report 2022 | 2022 | lic_Other_licensees | 2021 | 49.64
Annual report 2022 | 2022 | lic_Total | 2021 | 9712.76
Annual report 2022 | 2022 | available_total | 2022 | 14896.08
Annual report 2022 | 2022 | cap_Bioenergy | 2022 | 28.57
Annual report 2022 | 2022 | cap_Coal | 2022 | 1045
Annual report 2022 | 2022 | cap_Hydro | 2022 | 1331.7
Annual report 2022 | 2022 | cap_Oil | 2022 | 643.43
Annual report 2022 | 2022 | cap_Solar | 2022 | 436.8
Annual report 2022 | 2022 | cap_Total | 2022 | 3485.5
Annual report 2022 | 2022 | gen_Bioenergy | 2022 | 12.42
Annual report 2022 | 2022 | gen_Coal | 2022 | 3144.39
Annual report 2022 | 2022 | gen_Hydro | 2022 | 5898.32
Annual report 2022 | 2022 | gen_Oil | 2022 | 345.99
Annual report 2022 | 2022 | gen_Solar | 2022 | 695.52
Annual report 2022 | 2022 | gen_Total | 2022 | 10096.64
Annual report 2022 | 2022 | gen_in_cambodia | 2022 | 10096.64
Annual report 2022 | 2022 | imp_Laos_HV | 2022 | 2730.16
Annual report 2022 | 2022 | imp_Laos_MV | 2022 | 4.19
Annual report 2022 | 2022 | imp_Thailand_HV | 2022 | 566.53
Annual report 2022 | 2022 | imp_Thailand_MV | 2022 | 213.59
Annual report 2022 | 2022 | imp_Vietnam_HV | 2022 | 962.12
Annual report 2022 | 2022 | imp_Vietnam_MV | 2022 | 322.85
Annual report 2022 | 2022 | lcap_EDC | 2022 | 514.65
Annual report 2022 | 2022 | lcap_IPP | 2022 | 2917.87
Annual report 2022 | 2022 | lcap_Other_licensees | 2022 | 52.98
Annual report 2022 | 2022 | lcap_Total | 2022 | 3485.5
Annual report 2022 | 2022 | lic_EDC | 2022 | 305.86
Annual report 2022 | 2022 | lic_IPP | 2022 | 9762.78
Annual report 2022 | 2022 | lic_Other_licensees | 2022 | 28
Annual report 2022 | 2022 | lic_Total | 2022 | 10096.64
Annual report 2023 | 2023 | available_total | 2022 | 14896.08
Annual report 2023 | 2023 | cap_Bioenergy | 2022 | 28.57
Annual report 2023 | 2023 | cap_Coal | 2022 | 1045
Annual report 2023 | 2023 | cap_Hydro | 2022 | 1331.7
Annual report 2023 | 2023 | cap_Oil | 2022 | 643.43
Annual report 2023 | 2023 | cap_Solar | 2022 | 436.8
Annual report 2023 | 2023 | cap_Total | 2022 | 3485.5
Annual report 2023 | 2023 | gen_Bioenergy | 2022 | 12.42
Annual report 2023 | 2023 | gen_Coal | 2022 | 3144.39
Annual report 2023 | 2023 | gen_Hydro | 2022 | 5898.32
Annual report 2023 | 2023 | gen_Oil | 2022 | 345.99
Annual report 2023 | 2023 | gen_Solar | 2022 | 695.52
Annual report 2023 | 2023 | gen_Total | 2022 | 10096.64
Annual report 2023 | 2023 | gen_in_cambodia | 2022 | 10096.64
Annual report 2023 | 2023 | imp_Laos_HV | 2022 | 2730.16
Annual report 2023 | 2023 | imp_Laos_MV | 2022 | 4.19
Annual report 2023 | 2023 | imp_Thailand_HV | 2022 | 566.53
Annual report 2023 | 2023 | imp_Thailand_MV | 2022 | 213.59
Annual report 2023 | 2023 | imp_Vietnam_HV | 2022 | 962.12
Annual report 2023 | 2023 | imp_Vietnam_MV | 2022 | 322.85
Annual report 2023 | 2023 | lcap_EDC | 2022 | 514.65
Annual report 2023 | 2023 | lcap_IPP | 2022 | 2917.87
Annual report 2023 | 2023 | lcap_Other_licensees | 2022 | 52.98
Annual report 2023 | 2023 | lcap_Total | 2022 | 3485.5
Annual report 2023 | 2023 | lic_EDC | 2022 | 305.86
Annual report 2023 | 2023 | lic_IPP | 2022 | 9762.78
Annual report 2023 | 2023 | lic_Other_licensees | 2022 | 28
Annual report 2023 | 2023 | lic_Total | 2022 | 10096.64
Annual report 2023 | 2023 | available_total | 2023 | 16987.23
Annual report 2023 | 2023 | cap_Bioenergy | 2023 | 48.5
Annual report 2023 | 2023 | cap_Coal | 2023 | 1410
Annual report 2023 | 2023 | cap_Hydro | 2023 | 1331.7
Annual report 2023 | 2023 | cap_Oil | 2023 | 646.438
Annual report 2023 | 2023 | cap_Solar | 2023 | 436.8
Annual report 2023 | 2023 | cap_Total | 2023 | 3873.438
Annual report 2023 | 2023 | gen_Bioenergy | 2023 | 74.63
Annual report 2023 | 2023 | gen_Coal | 2023 | 7822.6
Annual report 2023 | 2023 | gen_Hydro | 2023 | 4840.1
Annual report 2023 | 2023 | gen_Oil | 2023 | 53.71
Annual report 2023 | 2023 | gen_Solar | 2023 | 822.99
Annual report 2023 | 2023 | gen_Total | 2023 | 13614.04
Annual report 2023 | 2023 | gen_in_cambodia | 2023 | 13614.04
Annual report 2023 | 2023 | imp_Laos_HV | 2023 | 2554.47
Annual report 2023 | 2023 | imp_Laos_MV | 2023 | 4.21
Annual report 2023 | 2023 | imp_Thailand_HV | 2023 | 7.02
Annual report 2023 | 2023 | imp_Thailand_MV | 2023 | 125.2
Annual report 2023 | 2023 | imp_Vietnam_HV | 2023 | 380.97
Annual report 2023 | 2023 | imp_Vietnam_MV | 2023 | 301.33
Annual report 2023 | 2023 | lcap_EDC | 2023 | 514.65
Annual report 2023 | 2023 | lcap_IPP | 2023 | 3287.8
Annual report 2023 | 2023 | lcap_Other_licensees | 2023 | 70.988
Annual report 2023 | 2023 | lcap_Total | 2023 | 3873.438
Annual report 2023 | 2023 | lic_EDC | 2023 | 55.86
Annual report 2023 | 2023 | lic_IPP | 2023 | 13332.02
Annual report 2023 | 2023 | lic_Other_licensees | 2023 | 226.16
Annual report 2023 | 2023 | lic_Total | 2023 | 13614.04
Annual report 2024 | 2024 | available_total | 2023 | 16987.23
Annual report 2024 | 2024 | cap_Bioenergy | 2023 | 48.5
Annual report 2024 | 2024 | cap_Coal | 2023 | 1410
Annual report 2024 | 2024 | cap_Hydro | 2023 | 1331.7
Annual report 2024 | 2024 | cap_Oil | 2023 | 646.438
Annual report 2024 | 2024 | cap_Solar | 2023 | 436.8
Annual report 2024 | 2024 | cap_Total | 2023 | 3873.438
Annual report 2024 | 2024 | gen_Bioenergy | 2023 | 74.63
Annual report 2024 | 2024 | gen_Coal | 2023 | 7822.6
Annual report 2024 | 2024 | gen_Hydro | 2023 | 4840.1
Annual report 2024 | 2024 | gen_Oil | 2023 | 53.71
Annual report 2024 | 2024 | gen_Solar | 2023 | 822.99
Annual report 2024 | 2024 | gen_Total | 2023 | 13614.04
Annual report 2024 | 2024 | gen_in_cambodia | 2023 | 13614.04
Annual report 2024 | 2024 | imp_Laos_HV | 2023 | 2554.47
Annual report 2024 | 2024 | imp_Laos_MV | 2023 | 4.21
Annual report 2024 | 2024 | imp_Thailand_HV | 2023 | 7.02
Annual report 2024 | 2024 | imp_Thailand_MV | 2023 | 125.2
Annual report 2024 | 2024 | imp_Vietnam_HV | 2023 | 380.97
Annual report 2024 | 2024 | imp_Vietnam_MV | 2023 | 301.33
Annual report 2024 | 2024 | lcap_EDC | 2023 | 514.65
Annual report 2024 | 2024 | lcap_IPP | 2023 | 3287.8
Annual report 2024 | 2024 | lcap_Other_licensees | 2023 | 70.988
Annual report 2024 | 2024 | lcap_Total | 2023 | 3873.438
Annual report 2024 | 2024 | lic_EDC | 2023 | 55.86
Annual report 2024 | 2024 | lic_IPP | 2023 | 13332.02
Annual report 2024 | 2024 | lic_Other_licensees | 2023 | 226.16
Annual report 2024 | 2024 | lic_Total | 2023 | 13614.04
Annual report 2024 | 2024 | available_total | 2024 | 20005.32
Annual report 2024 | 2024 | cap_Bioenergy | 2024 | 48.5
Annual report 2024 | 2024 | cap_Coal | 2024 | 1335
Annual report 2024 | 2024 | cap_Hydro | 2024 | 1796.4
Annual report 2024 | 2024 | cap_Oil | 2024 | 657.025
Annual report 2024 | 2024 | cap_Solar | 2024 | 796.844
Annual report 2024 | 2024 | cap_Total | 2024 | 4633.769
Annual report 2024 | 2024 | gen_Bioenergy | 2024 | 77.35
Annual report 2024 | 2024 | gen_Coal | 2024 | 9428.14
Annual report 2024 | 2024 | gen_Hydro | 2024 | 7227.83
Annual report 2024 | 2024 | gen_Oil | 2024 | 532.98
Annual report 2024 | 2024 | gen_Solar | 2024 | 1070.02
Annual report 2024 | 2024 | gen_Total | 2024 | 18336.33
Annual report 2024 | 2024 | gen_in_cambodia | 2024 | 18336.33
Annual report 2024 | 2024 | imp_Laos_HV | 2024 | 7.55
Annual report 2024 | 2024 | imp_Laos_MV | 2024 | 9.04
Annual report 2024 | 2024 | imp_Thailand_HV | 2024 | 602.82
Annual report 2024 | 2024 | imp_Thailand_MV | 2024 | 128.19
Annual report 2024 | 2024 | imp_Vietnam_HV | 2024 | 586.41
Annual report 2024 | 2024 | imp_Vietnam_MV | 2024 | 334.98
Annual report 2024 | 2024 | lcap_EDC | 2024 | 514.45
Annual report 2024 | 2024 | lcap_EDC_Laos_hydro | 2024 | 460
Annual report 2024 | 2024 | lcap_IPP | 2024 | 3577.7
Annual report 2024 | 2024 | lcap_Other_licensees | 2024 | 81.619
Annual report 2024 | 2024 | lcap_Total | 2024 | 4633.769
Annual report 2024 | 2024 | lic_EDC | 2024 | 438.91
Annual report 2024 | 2024 | lic_EDC_Laos_hydro | 2024 | 2855.69
Annual report 2024 | 2024 | lic_IPP | 2024 | 14757.87
Annual report 2024 | 2024 | lic_Other_licensees | 2024 | 283.87
Annual report 2024 | 2024 | lic_Total | 2024 | 18336.33
Annual report 2025 | 2025 | available_total | 2024 | 20005.32
Annual report 2025 | 2025 | cap_Bioenergy | 2024 | 48.5
Annual report 2025 | 2025 | cap_Coal | 2024 | 1335
Annual report 2025 | 2025 | cap_Hydro | 2024 | 1796.4
Annual report 2025 | 2025 | cap_Oil | 2024 | 657.025
Annual report 2025 | 2025 | cap_Solar | 2024 | 796.844
Annual report 2025 | 2025 | cap_Total | 2024 | 4633.769
Annual report 2025 | 2025 | gen_Bioenergy | 2024 | 77.35
Annual report 2025 | 2025 | gen_Coal | 2024 | 9428.14
Annual report 2025 | 2025 | gen_Hydro | 2024 | 7227.83
Annual report 2025 | 2025 | gen_Oil | 2024 | 532.98
Annual report 2025 | 2025 | gen_Solar | 2024 | 1070.02
Annual report 2025 | 2025 | gen_Total | 2024 | 18336.33
Annual report 2025 | 2025 | gen_in_cambodia | 2024 | 18336.33
Annual report 2025 | 2025 | imp_Laos_HV | 2024 | 7.55
Annual report 2025 | 2025 | imp_Laos_MV | 2024 | 9.04
Annual report 2025 | 2025 | imp_Thailand_HV | 2024 | 602.82
Annual report 2025 | 2025 | imp_Thailand_MV | 2024 | 128.19
Annual report 2025 | 2025 | imp_Vietnam_HV | 2024 | 586.41
Annual report 2025 | 2025 | imp_Vietnam_MV | 2024 | 334.98
Annual report 2025 | 2025 | lcap_EDC | 2024 | 514.45
Annual report 2025 | 2025 | lcap_EDC_Laos_hydro | 2024 | 460
Annual report 2025 | 2025 | lcap_IPP | 2024 | 3577.7
Annual report 2025 | 2025 | lcap_Other_licensees | 2024 | 81.619
Annual report 2025 | 2025 | lcap_Total | 2024 | 4633.769
Annual report 2025 | 2025 | lic_EDC | 2024 | 438.91
Annual report 2025 | 2025 | lic_EDC_Laos_hydro | 2024 | 2855.69
Annual report 2025 | 2025 | lic_IPP | 2024 | 14757.87
Annual report 2025 | 2025 | lic_Other_licensees | 2024 | 283.87
Annual report 2025 | 2025 | lic_Total | 2024 | 18336.33
Annual report 2025 | 2025 | available_total | 2025 | 22529.62
Annual report 2025 | 2025 | cap_Bioenergy | 2025 | 49.2
Annual report 2025 | 2025 | cap_Coal | 2025 | 1400
Annual report 2025 | 2025 | cap_Hydro | 2025 | 1801.4
Annual report 2025 | 2025 | cap_Oil | 2025 | 613.68
Annual report 2025 | 2025 | cap_Solar | 2025 | 1370.634
Annual report 2025 | 2025 | cap_Total | 2025 | 5234.914
Annual report 2025 | 2025 | gen_Bioenergy | 2025 | 77.75
Annual report 2025 | 2025 | gen_Coal | 2025 | 9799.32
Annual report 2025 | 2025 | gen_Hydro | 2025 | 8513.59
Annual report 2025 | 2025 | gen_Oil | 2025 | 295.52
Annual report 2025 | 2025 | gen_Solar | 2025 | 2217.36
Annual report 2025 | 2025 | gen_Total | 2025 | 20903.53
Annual report 2025 | 2025 | gen_in_cambodia | 2025 | 20903.53
Annual report 2025 | 2025 | imp_Laos_HV | 2025 | 145.62
Annual report 2025 | 2025 | imp_Laos_MV | 2025 | 9.4
Annual report 2025 | 2025 | imp_Thailand_HV | 2025 | 317.15
Annual report 2025 | 2025 | imp_Thailand_MV | 2025 | 85.84
Annual report 2025 | 2025 | imp_Vietnam_HV | 2025 | 767.37
Annual report 2025 | 2025 | imp_Vietnam_MV | 2025 | 300.7
Annual report 2025 | 2025 | lcap_EDC | 2025 | 470.65
Annual report 2025 | 2025 | lcap_EDC_Laos_hydro | 2025 | 460
Annual report 2025 | 2025 | lcap_IPP | 2025 | 4057.9
Annual report 2025 | 2025 | lcap_Other_licensees | 2025 | 82.774
Annual report 2025 | 2025 | lcap_Total | 2025 | 5234.914
Annual report 2025 | 2025 | lic_EDC | 2025 | 219.79
Annual report 2025 | 2025 | lic_EDC_Laos_hydro | 2025 | 2846.08
Annual report 2025 | 2025 | lic_IPP | 2025 | 17322.73
Annual report 2025 | 2025 | lic_Other_licensees | 2025 | 256.98
Annual report 2025 | 2025 | lic_Total | 2025 | 20903.53
Salient features 2025 | 2025 | cap_Bioenergy | 2024 | 49
Salient features 2025 | 2025 | cap_Coal | 2024 | 1300
Salient features 2025 | 2025 | cap_Hydro | 2024 | 1796
Salient features 2025 | 2025 | cap_Oil | 2024 | 400
Salient features 2025 | 2025 | cap_Solar | 2024 | 827
Salient features 2025 | 2025 | cap_Solar_rooftop | 2024 | 139
Salient features 2025 | 2025 | capimp_Laos | 2024 | 56
Salient features 2025 | 2025 | capimp_Thailand | 2024 | 277
Salient features 2025 | 2025 | capimp_Vietnam | 2024 | 339
Salient features 2025 | 2025 | gen_Bioenergy | 2024 | 66.66
Salient features 2025 | 2025 | gen_Coal | 2024 | 9208.88
Salient features 2025 | 2025 | gen_Hydro | 2024 | 7227.78
Salient features 2025 | 2025 | gen_Oil | 2024 | 532.42
Salient features 2025 | 2025 | gen_Solar | 2024 | 1059.78
Salient features 2025 | 2025 | gen_Solar_rooftop | 2024 | 219.18
Salient features 2025 | 2025 | imp_Laos | 2024 | 16.68
Salient features 2025 | 2025 | imp_Thailand | 2024 | 731.01
Salient features 2025 | 2025 | imp_Vietnam | 2024 | 910.04
Salient features 2025 | 2025 | cap_Bioenergy | 2025 | 49
Salient features 2025 | 2025 | cap_Coal | 2025 | 1365
Salient features 2025 | 2025 | cap_Hydro | 2025 | 1801
Salient features 2025 | 2025 | cap_Oil | 2025 | 569
Salient features 2025 | 2025 | cap_Solar | 2025 | 1307
Salient features 2025 | 2025 | cap_Solar_rooftop | 2025 | 169
Salient features 2025 | 2025 | capimp_Laos | 2025 | 56
Salient features 2025 | 2025 | capimp_Thailand | 2025 | 277
Salient features 2025 | 2025 | capimp_Vietnam | 2025 | 339
Salient features 2025 | 2025 | gen_Bioenergy | 2025 | 52.59
Salient features 2025 | 2025 | gen_Coal | 2025 | 9828.08
Salient features 2025 | 2025 | gen_Hydro | 2025 | 8167.52
Salient features 2025 | 2025 | gen_Oil | 2025 | 450.48
Salient features 2025 | 2025 | gen_Solar | 2025 | 1831.72
Salient features 2025 | 2025 | gen_Solar_rooftop | 2025 | 265.69
Salient features 2025 | 2025 | imp_Laos | 2025 | 182.48
Salient features 2025 | 2025 | imp_Thailand | 2025 | 391.33
Salient features 2025 | 2025 | imp_Vietnam | 2025 | 1191.28