## Units
Notes
Cameroon monthly energy balance (ARSEL / SONATREL - ENEO)
What it is
Monthly validation minutes (PV de validation du bilan energetique) of the transmission energy balance, signed by SONATREL (grid operator) and ENEO (utility), published by ARSEL, the electricity regulator. Values are MWh at the metering node.
Sheets: Plant injections (MWh injected per plant to the grid; IPP = independent producers), Substation off-take (MWh drawn at transmission substations: RIS = southern interconnected grid, RIN = northern grid; approximates distribution-level sales before distribution losses), HT customers (direct high-voltage customers), Parse checks (parsed sums vs totals printed in the PDF), Source files (URL, month, size, last-modified).
Hydro: Songloulou, Edea 3, Lagdo, Nachtigal, Memve'ele, Lom Pangar. Thermal: Kribi (gas), Dibamba, Limbe HFO, Oyomabang. Edea 3 = the four Edea 3 nodes (Ndjock Nkong, Mangombe 1+2, Alucam). Solar is not reported as a separate plant.
Caveats
Publication lag is 8+ months: the twelve months of 2025 were all posted in February 2026 and no 2026 month had been posted by October 2026. File names are irregular and contain typos, so months are read from the title on page 1 of each PDF; new files are found by scraping the ARSEL page and the WordPress media list (names containing 'bilan').
Plant injections are at the grid connection (net of plant auxiliaries). Off-take is transmission-substation withdrawal, not retail sales. Behind-the-meter / off-grid generation and the Eneo-owned isolated networks are not covered. Values are as validated by SONATREL/ENEO and can be revised. Any month where Parse checks shows MISMATCH should be treated with caution (a PDF row layout parsed differently).
The ARSEL Power BI dashboards (production, energies produites, transport) are image-only snapshots and are not used.
Source
ARSEL (Cameroon electricity regulator), monthly energy balance validation minutes: https://arsel-cm.org/bilan-energetique-mensuel/
Months covered: 2025-01 to 2025-12

## Chart
Date | Songloulou | Nachtigal | Edea 3 | Memve'ele | Kribi (gas) | Lagdo | Lom Pangar | Other
2025-01-01 | 237.633 | 228.8862 | 94.05 | 26.093 | 10.738 | 33.4514 | 7.1033 | 11.074
2025-02-01 | 215.216 | 192.116 | 80.821 | 14.694 | 26.952 | 31.9552 | 6.3422 | 9.144
2025-03-01 | 204.388 | 208.0248 | 78.484 | 29.443 | 42.507 | 39.4655 | 6.1426 | 9.177
2025-04-01 | 211.461 | 156.5383 | 75.415 | 62.194 | 43.505 | 38.6016 | 6.0897 | 5.155
2025-05-01 | 218.458 | 128.5812 | 77.03 | 73.521 | 75.678 | 34.7938 | 1.2389 | 5.245
2025-06-01 | 215.673 | 124.2347 | 85.56 | 71.702 | 56.997 | 26.8884 | 0 | 3.844
2025-07-01 | 200.388 | 144.2134 | 89.746 | 52.55 | 60.451 | 22.6942 | 0.75806 | 2.043
2025-08-01 | 193.413 | 190.2948 | 77.164 | 21.961 | 51.31 | 31.0293 | 5.0641 | 0.483
2025-09-01 | 205.416 | 200.3947 | 76.643 | 9.42 | 40.297 | 33.7324 | 2.6124 | 1.684
2025-10-01 | 209.832 | 169.8343 | 78.235 | 33.222 | 52.457 | 35.0382 | 6.7747 | 2.19
2025-11-01 | 207.845 | 163.01 | 85.893 | 45.654 | 56.861 | 32.2693 | 6.1565 | 4.008
2025-12-01 | 226.398 | 160.6603 | 99.192 | 109.192 | 30.811 | 34.4006 | 8.439 | 8.726

## Chart - Injections vs off-take
Date | Plant injections | Substation off-take
2025-01-01 | 649.0289 | 563.0417
2025-02-01 | 577.2403 | 503.8043
2025-03-01 | 617.6319 | 530.55
2025-04-01 | 598.9596 | 513.6628
2025-05-01 | 614.5459 | 535.1643
2025-06-01 | 584.8991 | 499.7823
2025-07-01 | 572.8437 | 493.3377
2025-08-01 | 570.7191 | 485.3525
2025-09-01 | 570.1995 | 488.2294
2025-10-01 | 587.5832 | 505.5717
2025-11-01 | 601.6968 | 517.2486
2025-12-01 | 677.8189 | 573.5243

## Chart - HT customers
Date | CIMAF | CIMENCAM | DANGOTE | ALUCAM | PROMETAL
2025-01-01 | 2.5999 | 4.5499 | 4.8025 | 29.273 | 0
2025-02-01 | 2.7438 | 4.6856 | 4.8053 | 18.911 | 5.0099
2025-03-01 | 3.1332 | 5.181 | 4.9965 | 17.66 | 14.4952
2025-04-01 | 2.9398 | 4.7497 | 4.6946 | 15.884 | 14.1903
2025-05-01 | 2.8094 | 4.9604 | 4.4359 | 18.751 | 15.1279
2025-06-01 | 3.1551 | 4.5802 | 4.6374 | 21.683 | 14.1243
2025-07-01 | 3.1418 | 4.4663 | 4.0803 | 24.814 | 15.4785
2025-08-01 | 3.2307 | 5.1627 | 3.3807 | 22.572 | 15.2751
2025-09-01 | 3.1593 | 4.5321 | 3.4773 | 22.507 | 14.7103
2025-10-01 | 2.1392 | 3.1339 | 2.9704 | 24.941 | 12.6807
2025-11-01 | 2.9099 | 3.3514 | 3.9089 | 28.359 | 10.4944
2025-12-01 | 2.7404 | 3.4954 | 4.0247 | 34.323 | 12.2557

## Plant injections
month | Songloulou | Edea 3 | Lagdo | Limbe HFO | Oyomabang | Nachtigal | Memve'ele | Lom Pangar | Kribi (gas) | Dibamba | Total plant injections
2025-01 | 237633 | 94050 | 33451.38 | 7686 | 27 | 228886.225 | 26093 | 7103.32 | 10738 | 3361 | 649028.925
2025-02 | 215216 | 80821 | 31955.17 | 7764 | 22 | 192116.004 | 14694 | 6342.16 | 26952 | 1358 | 577240.334
2025-03 | 204388 | 78484 | 39465.53 | 6724 | 10 | 208024.754 | 29443 | 6142.63 | 42507 | 2443 | 617631.914
2025-04 | 211461 | 75415 | 38601.6 | 5146 | 9 | 156538.31 | 62194 | 6089.66 | 43505 | 0 | 598959.57
2025-05 | 218458 | 77030 | 34793.85 | 3509 | 5 | 128581.164 | 73521 | 1238.86 | 75678 | 1731 | 614545.874
2025-06 | 215673 | 85560 | 26888.44 | 1928 | 0 | 124234.705 | 71702 | 0 | 56997 | 1916 | 584899.145
2025-07 | 200388 | 89746 | 22694.23 | 952 | 1 | 144213.379 | 52550 | 758.06 | 60451 | 1090 | 572843.669
2025-08 | 193413 | 77164 | 31029.29 | 483 | 0 | 190294.783 | 21961 | 5064.06 | 51310 | 0 | 570719.133
2025-09 | 205416 | 76643 | 33732.37 | 1060 | 0 | 200394.719 | 9420 | 2612.44 | 40297 | 624 | 570199.529
2025-10 | 209832 | 78235 | 35038.18 | 1311 | 0 | 169834.281 | 33222 | 6774.7 | 52457 | 879 | 587583.161
2025-11 | 207845 | 85893 | 32269.26 | 2704 | 0 | 163010.029 | 45654 | 6156.53 | 56861 | 1304 | 601696.819
2025-12 | 226398 | 99192 | 34400.59 | 4648 | 1 | 160660.302 | 109192 | 8439.05 | 30811 | 4077 | 677818.942

## Substation off-take
month | Off-take RIS (south grid) | Off-take RIN (north grid) | Off-take total
2025-01 | 529395.69 | 33646 | 563041.69
2025-02 | 471908.34 | 31896 | 503804.34
2025-03 | 491905.01 | 38645 | 530550.01
2025-04 | 476258.8 | 37404 | 513662.8
2025-05 | 500024.31 | 35140 | 535164.31
2025-06 | 471176.34 | 28606 | 499782.34
2025-07 | 467498.67 | 25839 | 493337.67
2025-08 | 453827.51 | 31525 | 485352.51
2025-09 | 454585.37 | 33644 | 488229.37
2025-10 | 470121.68 | 35450 | 505571.68
2025-11 | 484569.55 | 32679 | 517248.55
2025-12 | 538489.28 | 35035 | 573524.28

## HT customers
month | CIMAF | CIMENCAM | DANGOTE | ALUCAM | PROMETAL | HT customers total
2025-01 | 2599.9 | 4549.85 | 4802.54 | 29273 | 0 | 41225.29
2025-02 | 2743.82 | 4685.57 | 4805.33 | 18911 | 5009.95 | 36155.67
2025-03 | 3133.17 | 5181 | 4996.53 | 17660 | 14495.21 | 45465.91
2025-04 | 2939.77 | 4749.67 | 4694.65 | 15884 | 14190.29 | 42458.38
2025-05 | 2809.44 | 4960.43 | 4435.9 | 18751 | 15127.91 | 46084.68
2025-06 | 3155.15 | 4580.21 | 4637.4 | 21683 | 14124.32 | 48180.08
2025-07 | 3141.77 | 4466.3 | 4080.26 | 24814 | 15478.51 | 51980.84
2025-08 | 3230.67 | 5162.67 | 3380.66 | 22572 | 15275.14 | 49621.14
2025-09 | 3159.28 | 4532.09 | 3477.33 | 22507 | 14710.27 | 48385.97
2025-10 | 2139.18 | 3133.87 | 2970.41 | 24941 | 12680.71 | 45865.17
2025-11 | 2909.93 | 3351.35 | 3908.87 | 28359 | 10494.35 | 49023.5
2025-12 | 2740.4 | 3495.38 | 4024.7 | 34323 | 12255.67 | 56839.15

## Parse checks
month | Centrales parsed (MWh) | Centrales printed total (MWh) | IPP parsed (MWh) | IPP printed total (MWh) | HT customers parsed (MWh) | HT customers printed total (MWh) | Centrales check | IPP check | HT customers check
2025-01 | 372847.38 | 372847.38 | 276181.545 | 276181.54 | 41225.29 | 41225.28 | ok | ok | ok
2025-02 | 335778.17 | 335778.17 | 241462.164 | 241462.17 | 36155.67 | 36155.67 | ok | ok | ok
2025-03 | 329071.53 | 329071.52 | 288560.384 | 288560.39 | 45465.91 | 45465.91 | ok | ok | ok
2025-04 | 330632.6 | 330632.6 | 268326.97 | 268326.97 | 42458.38 | 42458.39 | ok | ok | ok
2025-05 | 333795.85 | 333795.85 | 280750.024 | 280750.02 | 46084.68 | 46084.67 | ok | ok | ok
2025-06 | 330049.44 | 330049.45 | 254849.705 | 254849.71 | 48180.08 | 48180.08 | ok | ok | ok
2025-07 | 313781.23 | 313781.22 | 259062.439 | 259062.44 | 51980.84 |  | ok | ok | ok
2025-08 | 302089.29 | 302089.29 | 268629.843 | 268629.84 | 49621.14 |  | ok | ok | ok
2025-09 | 316851.37 | 316851.36 | 253348.159 | 253348.16 | 48385.97 | 48385.97 | ok | ok | ok
2025-10 | 324416.18 | 324416.18 | 263166.981 | 263166.98 | 45865.17 | 45865.17 | ok | ok | ok
2025-11 | 328711.26 | 328711.25 | 272985.559 | 272985.55 | 49023.5 | 49023.51 | ok | ok | ok
2025-12 | 364639.59 | 364639.59 | 313179.352 | 313179.35 | 56839.15 | 56839.16 | ok | ok | ok

## Source files
month | url | bytes | last_modified | listing_modified
2025-01 | https://arsel-cm.org/wp-content/uploads/2026/02/PV-de-validation-du-bilan-e-nergetique-Janvier-2025.pdf | 2074048 | Tue, 17 Feb 2026 18:31:20 GMT | 2026-02-11T15:58:42
2025-02 | https://arsel-cm.org/wp-content/uploads/2026/02/PV-de-validation-du-bilan-e-nergetique-Fevrier-2025.pdf | 2174609 | Tue, 17 Feb 2026 18:31:16 GMT | 2026-02-11T15:58:56
2025-03 | https://arsel-cm.org/wp-content/uploads/2026/02/PV-de-validation-du-bilan-energetique-Mars-2025.pdf | 2404621 | Tue, 17 Feb 2026 18:32:11 GMT | 2026-02-11T15:59:25
2025-04 | https://arsel-cm.org/wp-content/uploads/2026/02/PV-de-validation-du-bilan-ener-getique-Avril-2025_V2_GOOD.pdf | 2324105 | Tue, 17 Feb 2026 18:31:58 GMT | 2026-02-11T15:59:45
2025-05 | https://arsel-cm.org/wp-content/uploads/2026/02/PV-de-validation-du-bilan-energetique-Mai-2025.pdf | 2259358 | Tue, 17 Feb 2026 18:32:05 GMT | 2026-02-11T16:00:07
2025-06 | https://arsel-cm.org/wp-content/uploads/2026/02/PV-de-validation-du-bilan-en-ergetique-Juin-2025_BON.pdf | 2239541 | Tue, 17 Feb 2026 18:31:36 GMT | 2026-02-11T16:01:00
2025-07 | https://arsel-cm.org/wp-content/uploads/2026/02/PV-de-validation-du-bilan-e-nergetique-Juillet-2025.pdf | 2207975 | Tue, 17 Feb 2026 18:31:26 GMT | 2026-02-11T15:58:13
2025-08 | https://arsel-cm.org/wp-content/uploads/2026/02/PV-de-validation-du-bilan-energetique-Aout-2025.pdf | 2291058 | Tue, 17 Feb 2026 18:31:59 GMT | 2026-02-11T15:59:10
2025-09 | https://arsel-cm.org/wp-content/uploads/2026/02/PV-de-validation-du-bilan-en-ergetique-Septembre-2025.pdf | 2330332 | Tue, 17 Feb 2026 18:31:46 GMT | 2026-02-11T16:00:43
2025-10 | https://arsel-cm.org/wp-content/uploads/2026/02/PV-de-validation-du-bilan-ene-rgetique-Octobre-20251.pdf | 2275580 | Tue, 17 Feb 2026 18:31:51 GMT | 2026-02-11T16:00:27
2025-11 | https://arsel-cm.org/wp-content/uploads/2026/02/PV-de-validation-du-bilan-en-ergetique-Novembre-2025.pdf | 2174160 | Tue, 17 Feb 2026 18:31:43 GMT | 2026-02-11T15:57:58
2025-12 | https://arsel-cm.org/wp-content/uploads/2026/02/PV-de-validation-du-bilan-en-ergetique-Decembre-2025.pdf | 2232766 | Tue, 17 Feb 2026 18:31:31 GMT | 2026-02-11T15:58:28