## Units
Notes
UNITS
GWh = gigawatt-hours of NET energy generated in the calendar year; MW = capacity. By plant tab shows GWh per plant (the reports give MWh).
COVERAGE
Annual only, from 2015 (2015-2019 from the 2019 report, 2020 onward from the latest report). Sarawak Energy publishes no monthly or daily generation.
Main grid = the company's headline generation mix (e.g. 34,444 GWh in 2024, 75.8% hydro). Northern grids (Lawas / Limbang mini hydro and diesel) and stand-alone diesel systems are small and shown separately.
It is Sarawak Energy's own generation (its plants and subsidiaries listed in the report: Bakun, Murum, Batang Ai, Balingian, Mukah, Sejingkat, PPLS, Sarawak Power Generation, Kidurong, Bintulu, Miri and the diesel and mini-hydro sets); any other producer is not in it.
Exports to West Kalimantan are part of this generation, not subtracted.
SOURCE
Sarawak Energy Berhad, Annual and Sustainability Reports (net energy generated tables, third-party assured), see the Sources tab for the PDFs.
Each reported 'Total' line is checked against the sum of its plants on every run; the run fails if they differ by more than 0.01% (or 5 MWh).
Capacity is 'available capacity' (net generator output after auxiliary consumption), as listed in the report, not installed capacity; the list covers the plants the report names.
The web pages of sarawakenergy.com time out from GitHub Actions; the PDFs download. If a new report (ASR2025 ...) appears at the same URL pattern it is picked up and its years replace older figures.

## Chart
Date | Hydro | Gas | Wind | Solar | Coal | Nuclear | Other
2015-01-01 | 10170.316 | 2022.2668 | 0 | 0 | 2881.3349 | 0 | 22.7371
2016-01-01 | 16046.493 | 3056.5138 | 0 | 0 | 2771.8806 | 0 | 33.5841
2017-01-01 | 19240.5942 | 2869.073 | 0 | 0 | 2852.202 | 0 | 16.183
2018-01-01 | 20888.386 | 3171.8393 | 0 | 0 | 2609.581 | 0 | 0
2019-01-01 | 21503.2518 | 3257.0908 | 0 | 0 | 3790.2786 | 0 | 0.88778
2020-01-01 | 21606.3645 | 2883.7174 | 0 | 0 | 3045.8347 | 0 | 0
2021-01-01 | 23171.5861 | 3279.4772 | 0 | 0 | 3712.3128 | 0 | 0
2022-01-01 | 24167.7271 | 4573.6318 | 0 | 0 | 3845.7518 | 0 | 1.9132
2023-01-01 | 25058.7482 | 5429.3843 | 0 | 0 | 3952.7625 | 0 | 15.4345
2024-01-01 | 26104.4726 | 4246.6319 | 0 | 0 | 4078.5349 | 0 | 13.687

## Annual by fuel
date | Hydro (GWh) | Coal (GWh) | Natural gas (GWh) | Diesel (GWh) | Main grid total (GWh) | Hydro share of main grid (%) | Coal share of main grid (%) | Natural gas share of main grid (%) | Diesel share of main grid (%) | Northern grids total (GWh) | Stand-alone grids total (GWh) | All grids total (GWh)
2015-01-01 | 10170.316 | 2881.3349 | 2022.2668 | 22.7371 | 15096.6548 | 67.368 | 19.0859 | 13.3955 | 0.15061 | 134.3915 | 13.5118 | 15244.558
2016-01-01 | 16046.493 | 2771.8806 | 3056.5138 | 33.5841 | 21908.4715 | 73.2433 | 12.6521 | 13.9513 | 0.15329 | 140.2749 | 12.6122 | 22061.3586
2017-01-01 | 19240.5942 | 2852.202 | 2869.073 | 16.183 | 24978.0522 | 77.03 | 11.4188 | 11.4864 | 0.064789 | 133.3095 | 12.359 | 25123.7206
2018-01-01 | 20888.386 | 2609.581 | 3171.8393 | -0.56791 | 26669.2384 | 78.3239 | 9.785 | 11.8933 | -0.0021295 | 139.5378 | 16.1943 | 26824.9705
2019-01-01 | 21503.2518 | 3790.2786 | 3257.0908 | 0.88778 | 28551.509 | 75.3139 | 13.2752 | 11.4078 | 0.0031094 | 148.0366 | 17.5151 | 28717.0606
2020-01-01 | 21606.3645 | 3045.8347 | 2883.7174 | 0 | 27535.9166 | 78.4661 | 11.0613 | 10.4726 | 0 | 161.2488 | 10.9987 | 27708.1641
2021-01-01 | 23171.5861 | 3712.3128 | 3279.4772 | 0 | 30163.3762 | 76.8203 | 12.3074 | 10.8724 | 0 | 167.7706 | 11.3669 | 30342.5137
2022-01-01 | 24167.7271 | 3845.7518 | 4573.6318 | 1.9132 | 32589.0239 | 74.1591 | 11.8008 | 14.0343 | 0.0058706 | 170.6512 | 11.9484 | 32771.6236
2023-01-01 | 25058.7482 | 3952.7625 | 5429.3843 | 15.4345 | 34456.3295 | 72.7261 | 11.4718 | 15.7573 | 0.044794 | 183.2948 | 9.0013 | 34648.6256
2024-01-01 | 26104.4726 | 4078.5349 | 4246.6319 | 13.687 | 34443.3264 | 75.7896 | 11.8413 | 12.3293 | 0.039738 | 200.5683 | 8.347 | 34652.2417

## By plant
Plant | Grid | Fuel | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Bakun | Main | Hydro | 7721.9968 | 12161.263 | 13078.267 | 14351.89 | 15424.402 | 14680.879 | 16239.095 | 16549.475 | 17579.2668 | 18419.7058
Batang Ai | Main | Hydro | 315.3315 | 444.5142 | 442.324 | 480.5867 | 386.9934 | 517.4345 | 475.0245 | 471.2176 | 467.3604 | 469.6872
Lundu PS | Main | Hydro | 3.966 | 3.236 | 2.6182 | 2.8525 | 3.0241 | 1.6377 | 1.0949 | 1.3792 | 1.9412 | 1.5182
Murum | Main | Hydro | 2129.0219 | 3437.4799 | 5717.385 | 6053.0567 | 5688.8323 | 6406.4132 | 6456.3717 | 7145.6553 | 7010.1799 | 7213.5614
Balingian Power Generation | Main | Coal |  |  |  |  | 1421.7244 | 1263.9764 | 2104.9085 | 2556.189 | 2850.3464 | 2799.208
Mukah Power Generation | Main | Coal | 1478.4599 | 1328.8863 | 1494.404 | 1401.9636 | 1343.9669 | 770.6264 | 776.3988 | 685.9321 | 549.4319 | 737.995
PPLS Power Generation | Main | Coal | 700.4229 | 722.8811 | 673.687 | 614.1275 | 518.6728 | 516.3298 | 500.2619 | 422.2876 | 372.5668 | 352.4717
Sejingkat Power Corp. | Main | Coal | 702.4521 | 720.1132 | 684.111 | 593.4899 | 505.9145 | 494.9021 | 330.7436 | 181.3431 | 180.4174 | 188.8602
Bintulu PS | Main | Natural gas | 486.7795 | 405.3551 | 614.311 | 661.3068 | 615.4656 | 608.6725 | 204.3637 | 333.3605 | 300.1275 | 380.1747
Kidurong Power Generation 1 | Main | Natural gas | 2020: 212.1146; 2021: 1626.8792; 2022: 1166.242; 2023: 1731.0977; 2024: 477.5482
Kidurong Power Generation 2 | Main | Natural gas | 2022: 1056.3074; 2023: 1762.9048; 2024: 1770.271
Miri PS | Main | Natural gas | 509.4027 | 562.5628 | 516.563 | 487.5065 | 535.3714 | 468.369 | 374.9552 | 377.2029 | 224.2955 | 61.993
Sarawak Power Generation | Main | Natural gas | 1026.0846 | 2088.5958 | 1738.199 | 2023.026 | 2106.2537 | 1594.5614 | 1073.2792 | 1640.5192 | 1410.9587 | 1556.6449
Sg Biawak PS | Main | Diesel | 22.7371 | 33.5841 | 16.183 | -0.56791 | 0.88778 | 0 | 0 | 1.9132 | 15.4345 | 13.687
Lawas M/H (Kalamuku) | Northern | Mini hydro | 2020: 1.6039; 2021: 0.7862; 2022: 1.0254; 2023: 0.47352; 2024: 1.769
Lawas M/H (Sg.Kota 1) | Northern | Mini hydro | 2020: 0; 2021: 1.4035; 2022: 2.728; 2023: 3.6474; 2024: 3.1172
Lawas M/H (Sg.Kota 2) | Northern | Mini hydro | 2020: 21.3218; 2021: 26.9859; 2022: 28.2114; 2023: 16.2114; 2024: 27.7611
Lawas PS | Northern | Diesel | 49.0597 | 53.6241 | 48.4723 | 52.0436 | 57.4666 | 46.6621 | 44.8385 | 42.9562 | 61.6093 | 57.6224
Limbang PS | Northern | Diesel | 85.3318 | 86.6508 | 84.8372 | 87.4942 | 90.5699 | 91.6609 | 93.7566 | 95.7302 | 101.3532 | 110.2987
Bakun - Sg Asap PS | Stand-alone | Diesel | 2015: 0.056
Banting PS | Stand-alone | Diesel | 0.24452 | 0.26354 | 0.29373 | 0.31915 | 0.34247 | 0.33512 | 0.3404 | 0.34021 | 0.35643 | 0.36794
Belaga PS | Stand-alone | Diesel | 4.0549 | 4.1441 | 3.9696 | 4.2382 | 4.2561 | 4.5192 | 4.9143 | 5.1106 | 1.0579 | 0
Kapit PS | Stand-alone | Diesel | 2018: 0.09678
Kg Bruit PS | Stand-alone | Diesel | 2015: 1.0641; 2016: 0.00556
Kg Saai PS | Stand-alone | Diesel | 2015: 0.28988
Long Lama PS | Stand-alone | Diesel | 3.07 | 3.3013 | 3.2839 | 3.5199 | 3.629 | 3.7787 | 3.7683 | 3.5222 | 4.2008 | 4.4401
Mulu PS | Stand-alone | Diesel | 2.4236 | 2.2628 | 2.1109 | 1.8773 | 1.641 | 1.0569 | 0.9481 | 1.5435 | 2.0751 | 2.3095
Ng Entawau PS | Stand-alone | Diesel | 0.27893 | 0.33061 | 0.3197 | 0.34393 | 0.32864 | 0.34059 | 0.34267 | 0.34522 | 0.36987 | 0.33237
Ng Jagau PS | Stand-alone | Diesel | 0.12331 | 0.15597 | 0.21012 | 0.21037 | 0.21824 | 0.2326 | 0.25619 | 0.28262 | 0.09547 | 0
Ng Mujong PS | Stand-alone | Diesel | 2015: 0.20538; 2016: 0.2437; 2017: 0.24437; 2018: 0.2504; 2019: 0.17763
Ng Ngungun PS | Stand-alone | Diesel | 2015: 1.0848; 2016: 1.263; 2017: 1.2927; 2018: 0.85868; 2019: 0
Paloh PS | Stand-alone | Diesel | 0.61639 | 0.64165 | 0.63383 | 0.66252 | 0.699 | 0.73561 | 0.7969 | 0.80407 | 0.84581 | 0.89706
Song PS | Stand-alone | Diesel | 2018: 3.817; 2019: 6.223

## Capacity
Plant | Fuel | Available capacity (MW) | Commissioned
Batang Ai HEP | Hydro | 108 | 1985
Bakun HEP | Hydro | 2520 | 2011
Murum HEP | Hydro | 944 | 2014
Kota 2 Mini Hydro | Hydro | 11.1 | 2020
Miri Power Station | Natural gas | 50 | 1972
Bintulu Power Station (Combined Cycle) | Natural gas | 280 | 2010
Tanjung Kidurong Combined Cycle Power Plant | Natural gas | 720 | 2021
Sejingkat Coal-Fired Power Plant | Coal | 120 | 2004
Mukah Coal-Fired Power Plant | Coal | 243 | 2010
Balingian Coal-Fired Power Plant | Coal | 578 | 2019

## Sources
Report | URL | Title | PDF size (bytes) | Years in table
SEASR2019 | https://www.sarawakenergy.com/assets/pdf/SEASR-2019.pdf | Sarawak Energy Annual and Sustainability Report 2019 | 60401573 | 2015-2019
ASR2024 | https://www.sarawakenergy.com/assets/pdf/Sarawak-Energy-ASR2024.pdf | Sarawak Energy Annual and Sustainability Report 2024 | 75136793 | 2020-2024