## Units
Notes
UNITS
Daily demand: per region (Luzon, Visayas, Mindanao) from the 5-minute real-time dispatch (RTD) regional summaries, energy commodity: demand_avg / demand_peak = average and maximum market requirement (MW); demand_MWh, generation_MWh, losses_MWh = mean MW x 24. Philippines_* = the three regions summed per interval. Intervals = 5-minute intervals in the day (287 = complete: the files carry 287 per day; under 280 is re-read).
Daily prices: PHP/MWh (Philippine pesos). <Region>_SMP = time-weighted average of the 5-minute system marginal price; <Region>_LMP_genweighted = locational marginal price weighted by each resource's scheduled generation; Philippines_LMP_genweighted = the same across all regions.
Price_source = 'final' (DIPCEF, after IEMOP's price review, about 5-6 weeks after the day) or 'provisional' (DIPCER, raw; replaced by the final file once listed). Raw Visayas / Mindanao prices can run 3-10x the final ones (4 Aug 2026 Visayas SMP 79,024 raw vs 7,882 final), so on provisional days a price above the 32,000 PHP/MWh WESM offer cap is left blank (and so is Philippines_LMP_genweighted that day); every provisional value is kept as published in <col>_provisional. Provisional prices below the cap can still be revised; use final days for analysis.
COVERAGE
Demand from 2026-07-05 to 2026-10-27; prices from 2026-07-05 to 2026-10-27. IEMOP lists about 90 days of files; older days are kept from previous runs. Grid-connected WESM regions (Mindanao joined WESM in 2023); off-grid islands are not included.
SOURCE
IEMOP (Independent Electricity Market Operator of the Philippines), market data: RTD Regional Summaries and DIPC Energy Results - Raw, https://www.iemop.ph/market-data/

## Chart
Date | Luzon | Visayas | Mindanao | Axis label
2026-07-05 | 10160.3 | 1951.1 | 1931.6 | Jul/26
2026-07-06 | 11197.7 | 2147.9 | 2133.1
2026-07-07 | 11437.2 | 2186.1 | 2142.9
2026-07-08 | 11245.7 | 2200.1 | 2094.4
2026-07-09 | 11284.1 | 2136.5 | 2034.2
2026-07-10 | 10780.3 | 2033.1 | 1990.2
2026-07-11 | 9630.9 | 1836.8 | 1926.8
2026-07-12 | 8941.8 | 1835.6 | 1896.4
2026-07-13 | 9772.8 | 2063.9 | 2066
2026-07-14 | 10243.7 | 2082.4 | 2100.8
2026-07-15 | 10756.6 | 2168.5 | 2154.4
2026-07-16 | 10999.8 | 2167.7 | 2149.8
2026-07-17 | 11076.9 | 2153.1 | 2094.6
2026-07-18 | 10697.7 | 2061.4 | 2038.5
2026-07-19 | 9923.7 | 1941.2 | 1866
2026-07-20 | 10870.4 | 2079 | 2061.3
2026-07-21 | 11052.5 | 2079.5 | 2046.9
2026-07-22 | 11004.8 | 2077.2 | 2028.6
2026-07-23 | 10999.3 | 2062.6 | 1931
2026-07-24 | 10379 | 1965.3 | 1931.7
2026-07-25 | 9820.5 | 1969.1 | 1948.6
2026-07-26 | 9149.3 | 1868.7 | 1862.5
2026-07-27 | 10317.7 | 2019.4 | 2040.1
2026-07-28 | 10418.1 | 2001 | 2053.1
2026-07-29 | 9772.4 | 2027.1 | 2092.6
2026-07-30 | 9994.2 | 2028.4 | 2103
2026-07-31 | 10221 | 1926.9 | 1994.6
2026-08-01 | 9759.1 | 1831.6 | 1932.9 | Aug/26
2026-08-02 | 8966 | 1808.3 | 1911.5
2026-08-03 | 9421.6 | 2025.2 | 2121.8
2026-08-04 | 9680.4 | 2093 | 2179.4
2026-08-05 | 9557.2 | 2117.7 | 2206.6
2026-08-06 | 9309.4 | 2124 | 2228.3
2026-08-07 | 9267.7 | 2084.8 | 2233.4
2026-08-08 | 8673.9 | 1997.4 | 2157.2
2026-08-09 | 7879.3 | 1915.6 | 2027.5
2026-08-10 | 8881.6 | 2094.6 | 2253.9
2026-08-11 | 9609.5 | 2150.6 | 2331.9
2026-08-12 | 9664.5 | 2174.6 | 2357.3
2026-08-13 | 9455.7 | 2201.7 | 2345.3
2026-08-14 | 9382.7 | 2220.9 | 2266.1
2026-08-15 | 9419.5 | 2160.8 | 2201.5
2026-08-16 | 8995.7 | 2063 | 2075.4
2026-08-17 | 9299.6 | 2186.9 | 2257.4
2026-08-18 | 9093 | 2163.2 | 2251.4
2026-08-19 | 9048.4 | 2224.7 | 2248.9
2026-08-20 | 9647.8 | 2231.7 | 2232.9
2026-08-21 | 9654.3 | 2132.6 | 2059.5
2026-08-22 | 9718.7 | 2087.3 | 2064.9
2026-08-23 | 9305.3 | 1969.8 | 1989.3
2026-08-24 | 10190.8 | 2168.9 | 2240.4
2026-08-25 | 10430.8 | 2194.1 | 2259.2
2026-08-26 | 10538.5 | 2184.6 | 2195.4
2026-08-27 | 10386.9 | 2136.8 | 2181.9
2026-08-28 | 9645.7 | 2081.4 | 2164.3
2026-08-29 | 8619.5 | 2012.5 | 2116.6
2026-08-30 | 8101.1 | 1935.8 | 1965.1
2026-08-31 | 8698.6 | 1981.5 | 2016
2026-09-01 | 10024.8 | 2152.3 | 2187.9 | Sep/26
2026-09-02 | 10359.1 | 2162.1 | 2213.5
2026-09-03 | 10300.7 | 2165.2 | 2276
2026-09-04 | 9828.5 | 2192.3 | 2289.1
2026-09-05 | 9099.4 | 2127 | 2162
2026-09-06 | 8556.6 | 2022.9 | 2010.6
2026-09-07 | 9256.5 | 2153 | 2230.7
2026-09-08 | 9338.3 | 2183.1 | 2279.1
2026-09-09 | 9481.7 | 2114.5 | 2259.5
2026-09-10 | 9492 | 2079.4 | 2219.5
2026-09-11 | 9578.7 | 2050.4 | 2223.3
2026-09-12 | 9325.5 | 1985.2 | 2090.6
2026-09-13 | 8887.2 | 1913.7 | 1875.2
2026-09-14 | 10082.7 | 2048.8 | 2096.7
2026-09-15 | 10359.5 | 2077.2 | 2122.7
2026-09-16 | 10408.7 | 2094.1 | 2070.1
2026-09-17 | 10123.2 | 2061.4 | 2065.4
2026-09-18 | 9941.4 | 2069.5 | 2107
2026-09-19 | 9775.2 | 2035.4 | 2076.8
2026-09-20 | 9409.1 | 1967.9 | 2018.7
2026-09-21 | 10472.5 | 2137.2 | 2216.4
2026-09-22 | 10561.5 | 2115.2 | 2203.4
2026-09-23 | 10574.6 | 2043.3 | 2181.8
2026-09-24 | 10452.9 | 2086.6 | 2162.5
2026-09-25 | 10320.7 | 2099.4 | 2096.9
2026-09-26 | 10103.2 | 2039.4 | 2032.9
2026-09-27 | 9620.6 | 1922.6 | 1861.9
2026-09-28 | 10585.3 | 2086.9 | 2115.9
2026-09-29 | 10785.7 | 2104.4 | 2127.1
2026-09-30 | 10839.7 | 2129.8 | 2132.4
2026-10-01 | 10863.6 | 2159.6 | 2154.7 | Oct/26
2026-10-02 | 10685.5 | 2132.7 | 2103.8
2026-10-03 | 10172.5 | 2038.8 | 2023.1
2026-10-04 | 9671.8 | 1911 | 1892.4
2026-10-05 | 10702.3 | 2101.8 | 2079.3
2026-10-06 | 10675.1 | 2100 | 2070.1
2026-10-07 | 10714 | 2094.9 | 2059.4
2026-10-08 | 10427.1 | 2108.5 | 2069.1
2026-10-09 | 10434.7 | 2049.6 | 2062.6
2026-10-10 | 10084.6 | 1996.7 | 1961.6
2026-10-11 | 9209 | 1909.8 | 1891
2026-10-12 | 10120.5 | 2108.3 | 2103.9
2026-10-13 | 10452.6 | 2116.3 | 2128.6
2026-10-14 | 10496.9 | 2087.8 | 2108.1
2026-10-15 | 10547.8 | 2101.7 | 2108.1
2026-10-16 | 10560.8 | 2093.8 | 2072.9
2026-10-17 | 10216.1 | 2026.7 | 2014.6
2026-10-18 | 9561.2 | 1938.9 | 1951
2026-10-19 | 10627.1 | 2142.2 | 2187.8
2026-10-20 | 10994.1 | 2188.6 | 2201.8
2026-10-21 | 11268 | 2214.6 | 2213.3
2026-10-22 | 11170 | 2199.5 | 2229.3
2026-10-23 | 10798 | 2093.3 | 2203.5
2026-10-24 | 10232.6 | 1947.8 | 2079.1
2026-10-25 | 9614.7 | 1840.8 | 1937.7
2026-10-26 | 10728.9 | 2098.6 | 2143.1
2026-10-27 | 10936 | 2142.9 | 2188.3

## Chart - Prices
Date | Luzon | Visayas | Mindanao | Axis label
2026-07-06 | 9674.01 | 15156.17 | 14460.04 | Jul/26
2026-07-07 | 15492.4 | 17820.99 | 15246.13
2026-07-08 | 10449.38 | 13888.54 | 14614.91
2026-07-09 | 10372.94 | 11598.82 | 10811.54
2026-07-10 | 8512.87 | 11923.74 | 10811.07
2026-07-11 | 4452.64 | 7464.57 | 7346.37
2026-07-12 | 2642.16 | 6034.67 | 5928.22
2026-07-13 | 9189.7 | 14279.83 | 13475.05
2026-07-14 | 8732.28 | 13763.51 | 13415.44
2026-07-15 | 6750.34 | 14389.92 | 14360.79
2026-07-16 | 7864.06 | 13883.19 | 13279.45
2026-07-17 | 8464.02 | 11423.06 | 10344.33
2026-07-18 | 5117.03 | 10347.97 | 9862.98
2026-07-19 | 4970.86 | 7220.62 | 7237.53
2026-07-20 | 6890.82 | 13865.49 | 14544.17
2026-07-21 | 6083.68 | 10411.83 | 10562.24
2026-07-22 | 8257.85 | 12154.8 | 11589.02
2026-07-23 | 6056.21 | 10789.8 | 9989.58
2026-07-24 | 4921.19 | 8242.72 | 8436.88
2026-07-25 | 4805 | 8652.07 | 8386.87
2026-07-26 | 3886.71 | 5239.84 | 4629.7
2026-07-27 | 6405.59 | 11455 | 10443.03
2026-07-28 | 5886.06 | 11581.61 | 11653.53
2026-07-29 | 5205.21 | 14951.17 | 16579.68
2026-07-30 | 5603.98 | 10563.8 | 11030.67
2026-07-31 | 5857.44 | 10717.52 | 11943.7
2026-08-01 | 4561.83 | 9263.35 | 9239.18 | Aug/26
2026-08-02 | 3796.44 | 11969.25 | 10845.88
2026-08-03 | 3787.23 | 17100.04 | 17908.14
2026-08-04 | 3535.25 | 7882.29 | 9861.61
2026-08-05 | 2973.33 | 10675.1 | 11277.64
2026-08-06 | 3782.31 | 16623.05 | 18459.61
2026-08-07 | 4346.28 | 8291.66 | 9740.26
2026-08-08 | 4663.58 | 10483 | 11438.52
2026-08-09 | 1547.8 | 14741.54 | 16176.46
2026-08-10 | 4929.35 | 11145.99 | 12159.54
2026-08-11 | 7358.18 | 11435.63 | 11054.31
2026-08-12 | 11501.98 | 14012.1 | 15848.95
2026-08-13 | 6684.9 | 12051.29 | 12404.99
2026-08-14 | 5263.8 | 10940.16 | 11076.78
2026-08-15 | 4857.89 | 13485.61 | 15791.65
2026-08-16 | 3048.5 | 12190.58 | 12622.72
2026-08-17 | 2960.13 | 11313.86 | 10931.23
2026-08-18 | 4502.67 | 11769.83 | 14083.82
2026-08-19 | 4582.48 | 13771.67 | 14413.45
2026-08-20 | 5275.79 | 9226.67 | 9706.99
2026-08-21 | 4556.96 | 14055.76 | 13802.96
2026-08-22 | 3481.62 | 13602.04 | 15250.68
2026-08-23 | 3216.95 | 9254.39 | 9933.52
2026-08-24 | 6217.28 | 13592.9 | 14273.03
2026-08-25 | 7128.3 | 13399.38 | 15772.83
2026-08-26 | 6873.25 | 10481.38 | 9322.67
2026-08-27 | 7656.06 | 12623.77 | 13905.53
2026-08-28 | 5605.03 | 15444.54 | 15304.79
2026-08-29 | 3736.58 | 10651.32 | 9341.29
2026-08-30 | -176.35 | 12130.43 | 13992.86
2026-08-31 | 564.68 | 13786.92 | 15438.84
2026-09-01 | 4639.04 | 11853.13 | 9344.14 | Sep/26
2026-09-02 | 4679.14 | 12020.06 | 13814.28
2026-09-03 | 3498.94 | 13171.76 | 15731.22
2026-09-04 | 3426.25 | 11971.85 | 9342.45
2026-09-05 | 2584.47 | 11671.23 | 13642.77
2026-09-06 | -322.62 | 12473.17 | 12809.84
2026-09-07 | 3901.67 | 13740.55 | 12225.79
2026-09-08 | 5622.6 | 11265.71 | 13678.62
2026-09-09 | 5448.04 | 11433.48 | 12656.22
2026-09-10 | 4831.19 | 14860.35 | 11987.1
2026-09-11 | 4744.52 | 11374.15 | 13574.06
2026-09-12 | 4775.23 | 11588.55 | 12606.14
2026-09-13 | 1319.7 | 13180.25 | 10642.35
2026-09-14 | 5067.07 | 12706.07 | 14970.03
2026-09-15 | 5344.56 | 10740.2 | 11339.33
2026-09-16 | 5066.79 | 15128.05 | 12038.65
2026-09-17 | 4847.99 | 10265.19 | 11388.88
2026-09-18 | 4860.73 | 10483.34 | 10453.8
2026-09-19 | 5558.36 | 13970.38 | 13665.48
2026-09-20 | 6141.66 | 11483.58 | 11252.32
2026-09-21 | 12782.6 | 13011.37 | 12161.29
2026-09-22 | 12749.34 | 12562.2 | 12549.41
2026-09-23 | 9860.48 | 12357.27 | 12518.28
2026-09-24 | 8153.6 | 14182.21 | 12174.27
2026-09-25 | 6599.24 | 11947.62 | 11247.4

## Daily demand
date | Luzon_demand_avg_MW | Luzon_demand_peak_MW | Luzon_demand_MWh | Luzon_generation_MWh | Luzon_losses_MWh | Mindanao_demand_avg_MW | Mindanao_demand_peak_MW | Mindanao_demand_MWh | Mindanao_generation_MWh | Mindanao_losses_MWh | Visayas_demand_avg_MW | Visayas_demand_peak_MW | Visayas_demand_MWh | Visayas_generation_MWh | Visayas_losses_MWh | Philippines_demand_avg_MW | Philippines_demand_peak_MW | Philippines_demand_MWh | Intervals
2026-07-05 | 10160.3 | 11449 | 243846.4 | 250482.7 | 4331 | 1931.6 | 2239 | 46359.3 | 55717.4 | 1201.9 | 1951.1 | 2260.2 | 46827.1 | 39157.4 | 472 | 14042.1 | 15885.9 | 337009.7 | 287
2026-07-06 | 11197.7 | 13103.6 | 268744 | 280803.2 | 5385.3 | 2133.1 | 2537.9 | 51194.2 | 60338.8 | 1263.5 | 2147.9 | 2535.9 | 51549.4 | 41764.9 | 537.9 | 15481 | 18092.6 | 371543.5 | 287
2026-07-07 | 11437.2 | 13211.6 | 274493.9 | 283233.5 | 5469.7 | 2142.9 | 2454.9 | 51429.2 | 61172.5 | 1251.1 | 2186.1 | 2525.1 | 52467.3 | 44056.4 | 509.8 | 15770 | 18168.1 | 378480.3 | 287
2026-07-08 | 11245.7 | 12942.6 | 269896.9 | 280321.6 | 5428.8 | 2094.4 | 2403.8 | 50265.9 | 60475.3 | 1112.1 | 2200.1 | 2635.1 | 52801.8 | 43381.7 | 482 | 15542.6 | 17825.2 | 373021.3 | 287
2026-07-09 | 11284.1 | 12686 | 270818 | 281699.4 | 5562.7 | 2034.2 | 2314.3 | 48820.1 | 59986.5 | 1054.8 | 2136.5 | 2411.4 | 51275.5 | 40670.6 | 471.2 | 15457.1 | 17375.7 | 370969.3 | 287
2026-07-10 | 10780.3 | 12163.1 | 258726.4 | 268403 | 5180.3 | 1990.2 | 2216.5 | 47764.7 | 58532 | 1033.5 | 2033.1 | 2304.7 | 48793.2 | 39161 | 419.7 | 14808.9 | 16575.6 | 355413.9 | 287
2026-07-11 | 9630.9 | 10585.3 | 231141.4 | 241957.5 | 4336.9 | 1926.8 | 2299.1 | 46243.7 | 54960.8 | 1065.4 | 1836.8 | 2187.2 | 44083.1 | 35318 | 430 | 13396.2 | 14873.1 | 321507.6 | 287
2026-07-12 | 8941.8 | 10057.4 | 214602.1 | 223829.9 | 3866.1 | 1896.4 | 2191.5 | 45514 | 54307.3 | 1063.5 | 1835.6 | 2187.8 | 44053.9 | 36008 | 402.2 | 12675.8 | 14410.7 | 304218.4 | 287
2026-07-13 | 9772.8 | 11682 | 234548 | 243578.7 | 3984.2 | 2066 | 2456.6 | 49583.7 | 59356.7 | 1132.5 | 2063.9 | 2479.6 | 49534.2 | 39846 | 492.6 | 13907.5 | 16602.4 | 333779.1 | 287
2026-07-14 | 10243.7 | 11850.9 | 245847.8 | 255104.5 | 4413.2 | 2100.8 | 2460.3 | 50419.8 | 60711.2 | 1139.4 | 2082.4 | 2450.6 | 49977.7 | 40659.3 | 480.1 | 14428.5 | 16729.1 | 346283.8 | 287
2026-07-15 | 10756.6 | 12456.2 | 258158.5 | 269165.2 | 5155.1 | 2154.4 | 2527.6 | 51705.9 | 59856 | 1154.4 | 2168.5 | 2583.1 | 52045 | 44046.8 | 529.5 | 15081.6 | 17542 | 361957.7 | 287
2026-07-16 | 10999.8 | 12515.4 | 263994.9 | 275046.9 | 5542 | 2149.8 | 2492.4 | 51596.3 | 59826.7 | 1236.3 | 2167.7 | 2553.8 | 52023.8 | 43814 | 542.3 | 15319.7 | 17536.8 | 367672.9 | 287
2026-07-17 | 11076.9 | 12581.4 | 265844.7 | 275566.2 | 5646.7 | 2094.6 | 2414.5 | 50269.4 | 60171.4 | 1241.8 | 2153.1 | 2517.8 | 51674.6 | 43202.9 | 489.3 | 15326.6 | 17485.2 | 367837.8 | 287
2026-07-18 | 10697.7 | 11972.1 | 256744.5 | 266135.7 | 5085.8 | 2038.5 | 2368.1 | 48924.2 | 58710.6 | 1253.8 | 2061.4 | 2367.6 | 49474.3 | 41758.2 | 470.7 | 14798.6 | 16614.7 | 355166.2 | 287
2026-07-19 | 9923.7 | 11010.6 | 238169.3 | 248096.8 | 4559.9 | 1866 | 2259.6 | 44782.9 | 53281 | 1079.6 | 1941.2 | 2233.5 | 46587.9 | 40037.9 | 453.6 | 13731.6 | 15301.9 | 329557.6 | 287
2026-07-20 | 10870.4 | 12805.5 | 260889.3 | 271582.1 | 5241.9 | 2061.3 | 2453.8 | 49472 | 57749.9 | 1213.4 | 2079 | 2450.8 | 49896.3 | 42268 | 506.5 | 15013.7 | 17636.4 | 360328.1 | 287
2026-07-21 | 11052.5 | 12954.5 | 265259 | 276000.5 | 5378.7 | 2046.9 | 2425.4 | 49126.7 | 58008.9 | 1224.8 | 2079.5 | 2437.8 | 49908.3 | 42021.2 | 520 | 15183.6 | 17674.8 | 364405.3 | 287
2026-07-22 | 11004.8 | 12652.8 | 264114.2 | 272756.6 | 5249 | 2028.6 | 2402.3 | 48686.5 | 57862.1 | 1199.8 | 2077.2 | 2455.4 | 49853.7 | 42045 | 486.7 | 15113.2 | 17429.4 | 362717.7 | 287
2026-07-23 | 10999.3 | 12614.1 | 263982.3 | 272761.2 | 5281.7 | 1931 | 2213.3 | 46343.8 | 56318 | 1167.6 | 2062.6 | 2427.6 | 49501.3 | 40968.3 | 474.4 | 14997.5 | 17104.8 | 359941.1 | 287
2026-07-24 | 10379 | 11472.3 | 249095.1 | 255556.3 | 4743.5 | 1931.7 | 2269.7 | 46360.4 | 56109.4 | 1143.4 | 1965.3 | 2240 | 47167.6 | 39580.8 | 436.6 | 14279.3 | 15876.5 | 342702.1 | 287
2026-07-25 | 9820.5 | 11033.2 | 235692.3 | 242184.2 | 4169.1 | 1948.6 | 2270.1 | 46766.1 | 56268 | 1091.5 | 1969.1 | 2311.8 | 47258.7 | 39920.9 | 436 | 13740.8 | 15381.2 | 329780.3 | 287
2026-07-26 | 9149.3 | 10474.7 | 219582.7 | 227927.4 | 3639.7 | 1862.5 | 2207.2 | 44698.9 | 53517.2 | 1133.6 | 1868.7 | 2137.2 | 44848.3 | 37172 | 428.7 | 12880.7 | 14719.8 | 309135.7 | 287
2026-07-27 | 10317.7 | 12061.2 | 247623.7 | 257182.5 | 4679.6 | 2040.1 | 2420.3 | 48961.6 | 58827.2 | 1205 | 2019.4 | 2375.7 | 48464.7 | 38876.2 | 491.3 | 14380.5 | 16762.4 | 345132.2 | 287
2026-07-28 | 10418.1 | 12534.9 | 250035.4 | 259244 | 4661.9 | 2053.1 | 2379.3 | 49273.6 | 58861.8 | 1138.9 | 2001 | 2324.7 | 48024.5 | 38756.8 | 475.7 | 14476.9 | 17225.6 | 347445.3 | 287
2026-07-29 | 9772.4 | 11159.5 | 234537.8 | 240127.2 | 4413.2 | 2092.6 | 2467.6 | 50223.5 | 59893.1 | 1131.2 | 2027.1 | 2388.7 | 48650.3 | 42002.3 | 450.9 | 13897.3 | 15737.3 | 333534.5 | 287
2026-07-30 | 9994.2 | 11579.6 | 239859.6 | 249291.3 | 4301.5 | 2103 | 2483.3 | 50471.3 | 58250.1 | 1107.8 | 2028.4 | 2396.5 | 48682.2 | 40521.5 | 533.3 | 14128.4 | 16335 | 339081.6 | 287
2026-07-31 | 10221 | 12059.7 | 245303.6 | 253177.1 | 4341.1 | 1994.6 | 2276 | 47871.1 | 57629.6 | 1097.9 | 1926.9 | 2218.4 | 46246.8 | 36862.9 | 456.6 | 14147.7 | 16467.2 | 339544.8 | 287
2026-08-01 | 9759.1 | 11358.6 | 234218.6 | 243252.6 | 4068.6 | 1932.9 | 2311.4 | 46389.2 | 54477.3 | 1085.2 | 1831.6 | 2175.7 | 43958.7 | 36239.7 | 492 | 13525.3 | 15618.8 | 324606.6 | 287
2026-08-02 | 8966 | 9918.5 | 215183.9 | 225650.1 | 3697.1 | 1911.5 | 2285.5 | 45876.1 | 53316.3 | 1012.5 | 1808.3 | 2163.6 | 43398.7 | 35527.7 | 474.7 | 12687.3 | 14333.2 | 304494.8 | 287
2026-08-03 | 9421.6 | 10656.4 | 226119.3 | 234060.5 | 3862.4 | 2121.8 | 2468.7 | 50923.1 | 60202.2 | 1048.6 | 2025.2 | 2385.5 | 48604.9 | 38986.1 | 491.6 | 13571.9 | 15312.3 | 325724.9 | 287
2026-08-04 | 9680.4 | 11050.6 | 232329.3 | 240970.8 | 3913.2 | 2179.4 | 2549.6 | 52305.5 | 60900.8 | 1133.7 | 2093 | 2468 | 50231.3 | 40831.6 | 522.3 | 13956.7 | 15916.1 | 334959.6 | 287
2026-08-05 | 9557.2 | 10717.9 | 229372.6 | 237414.2 | 3975.1 | 2206.6 | 2546.9 | 52957.6 | 61936.6 | 1145.5 | 2117.7 | 2480.1 | 50825.1 | 41258.1 | 495.6 | 13885.9 | 15546.9 | 333261.5 | 287
2026-08-06 | 9309.4 | 10580.5 | 223426.6 | 230756.5 | 3674 | 2228.3 | 2579.6 | 53478.6 | 61744.7 | 1274.7 | 2124 | 2419 | 50975 | 41938.8 | 557.3 | 13665.3 | 15324.7 | 327966.2 | 287
2026-08-07 | 9267.7 | 10498.8 | 222424.9 | 229268.2 | 3620.7 | 2233.4 | 2581.5 | 53602.5 | 60606.2 | 1213.8 | 2084.8 | 2424.2 | 50035.5 | 42700.4 | 504.1 | 13589.7 | 15262.7 | 326152.5 | 287
2026-08-08 | 8673.9 | 10029.5 | 208172.7 | 216302.5 | 3365.8 | 2157.2 | 2455.6 | 51773.7 | 59726.2 | 1096.8 | 1997.4 | 2294.9 | 47937 | 39863.4 | 395.3 | 12832.9 | 14416.7 | 307989.8 | 287
2026-08-09 | 7879.3 | 9167.2 | 189102.2 | 193879.6 | 2863.6 | 2027.5 | 2356.8 | 48659.3 | 53594.1 | 1055.4 | 1915.6 | 2242.9 | 45974.1 | 40536.4 | 401.8 | 11823.8 | 13760.6 | 283770 | 287
2026-08-10 | 8881.6 | 10125.9 | 213159.2 | 220419 | 3771.4 | 2253.9 | 2641.3 | 54093.6 | 57595.5 | 1153.5 | 2094.6 | 2431.4 | 50271 | 45436.7 | 466.3 | 13232.2 | 14991 | 317574 | 287
2026-08-11 | 9609.5 | 10928.1 | 230628.6 | 238675.5 | 3950.3 | 2331.9 | 2723.2 | 55966.7 | 59827.3 | 1188.5 | 2150.6 | 2527.8 | 51614.2 | 46697.3 | 496.7 | 14095.7 | 16045.7 | 338296.2 | 287
2026-08-12 | 9664.5 | 11035.9 | 231948.9 | 239501.2 | 3943.6 | 2357.3 | 2746.4 | 56575.5 | 60294.3 | 1192 | 2174.6 | 2541.5 | 52190.8 | 47361.2 | 496.3 | 14201.1 | 16204.6 | 340826.8 | 287
2026-08-13 | 9455.7 | 10861.6 | 226937.1 | 235181.4 | 3821.3 | 2345.3 | 2694.9 | 56286.3 | 60600.8 | 1128.8 | 2201.7 | 2529.5 | 52841.6 | 47918.5 | 477.6 | 14006.5 | 15896.3 | 336155.3 | 287
2026-08-14 | 9382.7 | 10502.7 | 225184.5 | 234223.2 | 3843.9 | 2266.1 | 2598.5 | 54386 | 60364.2 | 1043.7 | 2220.9 | 2539.2 | 53300.6 | 46229.4 | 516.6 | 13873.1 | 15409 | 332954 | 287
2026-08-15 | 9419.5 | 10539.6 | 226068.6 | 232372.8 | 3467.4 | 2201.5 | 2497.5 | 52836.8 | 59269.3 | 1115.2 | 2160.8 | 2462.8 | 51859.5 | 45602.6 | 509 | 13783.2 | 15464.4 | 330796.6 | 287
2026-08-16 | 8995.7 | 10134.7 | 215897.8 | 225413.8 | 3392.2 | 2075.4 | 2367.1 | 49810.2 | 56597 | 1122.1 | 2063 | 2396.3 | 49513 | 42341.4 | 501.8 | 13135.5 | 14867.9 | 315252.7 | 287
2026-08-17 | 9299.6 | 11024.1 | 223189.4 | 232558 | 3738.8 | 2257.4 | 2682.2 | 54178 | 60554.7 | 1141.6 | 2186.9 | 2572.1 | 52486.6 | 45344.2 | 512.2 | 13748.6 | 16010.2 | 329967 | 287
2026-08-18 | 9093 | 10358.4 | 218232.8 | 227652.2 | 3486.6 | 2251.4 | 2567.4 | 54032.9 | 60936.8 | 1212.4 | 2163.2 | 2469.9 | 51917.1 | 43358.6 | 519.9 | 13511.7 | 15330 | 324282 | 287
2026-08-19 | 9048.4 | 10169 | 217160.8 | 223876.3 | 3519.4 | 2248.9 | 2604.2 | 53973.2 | 62387.3 | 1231 | 2224.7 | 2584.8 | 53393.5 | 44627.3 | 500.4 | 13525.7 | 15289.1 | 324617.3 | 287
2026-08-20 | 9647.8 | 11128.6 | 231547 | 239670.1 | 3968.3 | 2232.9 | 2628 | 53590.7 | 62548.6 | 1313.5 | 2231.7 | 2639.1 | 53562 | 43636.6 | 555.3 | 14114.2 | 16258.9 | 338741.7 | 287
2026-08-21 | 9654.3 | 10852.4 | 231703.6 | 240667.3 | 4110.7 | 2059.5 | 2358.1 | 49426.9 | 57896.6 | 1215.5 | 2132.6 | 2457.8 | 51182.4 | 42243.1 | 521.7 | 13847.2 | 15585.3 | 332333.5 | 287
2026-08-22 | 9718.7 | 10647.6 | 233249 | 242621 | 4097.8 | 2064.9 | 2449.8 | 49558.6 | 58494 | 1172.4 | 2087.3 | 2400.1 | 50094.5 | 41251.7 | 478.8 | 13872.2 | 15429.4 | 332933.9 | 287
2026-08-23 | 9305.3 | 10342.6 | 223327.9 | 232493.3 | 3740.2 | 1989.3 | 2335.2 | 47742.2 | 56668 | 1126.6 | 1969.8 | 2344.5 | 47274.4 | 39752.7 | 451.9 | 13264.6 | 15002.6 | 318350.7 | 287
2026-08-24 | 10190.8 | 11589.7 | 244578.8 | 253288.3 | 4514.4 | 2240.4 | 2651.4 | 53770.2 | 61650.7 | 1255.8 | 2168.9 | 2575.5 | 52053.3 | 43441.4 | 541.1 | 14603.4 | 16733.4 | 350482.6 | 287
2026-08-25 | 10430.8 | 11739.3 | 250340.4 | 258811.9 | 4691.2 | 2259.2 | 2666.7 | 54219.7 | 63068.4 | 1261.1 | 2194.1 | 2574.6 | 52658.2 | 43525.1 | 530.5 | 14887.1 | 16884.5 | 357289.9 | 287
2026-08-26 | 10538.5 | 12166.5 | 252924.3 | 262078.9 | 4619.9 | 2195.4 | 2575.9 | 52690.5 | 61221.7 | 1265 | 2184.6 | 2527.6 | 52429.4 | 43545.1 | 530.3 | 14922.3 | 17123.4 | 358135.1 | 287
2026-08-27 | 10386.9 | 11773.4 | 249284.8 | 259116.4 | 4418 | 2181.9 | 2537.3 | 52366.3 | 61322 | 1232.1 | 2136.8 | 2530.9 | 51283.3 | 41521.4 | 526.2 | 14710.1 | 16803.5 | 353042.5 | 287
2026-08-28 | 9645.7 | 10861.7 | 231496.6 | 238782.2 | 3841.1 | 2164.3 | 2490.9 | 51943.9 | 60920.6 | 1201.1 | 2081.4 | 2449.9 | 49954.2 | 40461 | 491.8 | 13896.8 | 15453.6 | 333522.7 | 287
2026-08-29 | 8619.5 | 9811.7 | 206868.5 | 214406.7 | 3228.8 | 2116.6 | 2491.2 | 50797.4 | 60024.3 | 1223.1 | 2012.5 | 2288.2 | 48299 | 38911.3 | 441.3 | 12751.7 | 14228.7 | 306040.7 | 287
2026-08-30 | 8101.1 | 9362.9 | 194427.1 | 198545.5 | 2544.2 | 1965.1 | 2330 | 47162.8 | 53120.4 | 1166.5 | 1935.8 | 2221.7 | 46458.3 | 40207.7 | 456.3 | 12002.1 | 13715.9 | 288049.5 | 287
2026-08-31 | 8698.6 | 10181.4 | 208766.4 | 216040 | 3159.5 | 2016 | 2394.9 | 48383.4 | 53844.8 | 1116.9 | 1981.5 | 2290.3 | 47556.1 | 41348.8 | 468.8 | 12695.7 | 14733 | 304696.6 | 287
2026-09-01 | 10024.8 | 11638.9 | 240595.7 | 247767.1 | 4021.4 | 2187.9 | 2571 | 52509.9 | 57213.6 | 1257.9 | 2152.3 | 2560.4 | 51654.8 | 46592.1 | 464.9 | 14367 | 16625 | 344807.4 | 287
2026-09-02 | 10359.1 | 11535.5 | 248618.3 | 255858.2 | 4345.7 | 2213.5 | 2602.8 | 53124.5 | 56555.9 | 1320.6 | 2162.1 | 2629.6 | 51890.6 | 48227.8 | 456.5 | 14737.1 | 16667.4 | 353691.4 | 287
2026-09-03 | 10300.7 | 11706.2 | 247216.1 | 255287.9 | 4543 | 2276 | 2667.5 | 54623.9 | 57857.4 | 1307.8 | 2165.2 | 2483.4 | 51963.6 | 47987.3 | 481.9 | 14746.2 | 16797.4 | 353908.2 | 287
2026-09-04 | 9828.5 | 10987.4 | 235885.1 | 243725.6 | 4201.6 | 2289.1 | 2692.5 | 54937.6 | 58600.8 | 1439.1 | 2192.3 | 2606.5 | 52614.4 | 48290.2 | 475.7 | 14313.8 | 16199.3 | 343530.8 | 287
2026-09-05 | 9099.4 | 10201.3 | 218386.5 | 226439.8 | 3732.6 | 2162 | 2471.6 | 51887.5 | 55300.1 | 1346.6 | 2127 | 2472.3 | 51048.3 | 46624.5 | 547 | 13391.3 | 14808.2 | 321391.2 | 287
2026-09-06 | 8556.6 | 9680.8 | 205358.3 | 214100 | 3237.1 | 2010.6 | 2403.7 | 48253.7 | 53376.6 | 1233.5 | 2022.9 | 2377.5 | 48549.4 | 43874.2 | 500.8 | 12591.1 | 14449.2 | 302187.2 | 287
2026-09-07 | 9256.5 | 10833.3 | 222155.4 | 229256.9 | 3483 | 2230.7 | 2658.1 | 53537.5 | 58361.7 | 1246.2 | 2153 | 2589.4 | 51672.3 | 46516.1 | 471.4 | 13644.4 | 15797.5 | 327465.4 | 287
2026-09-08 | 9338.3 | 10506.1 | 224118.9 | 230766.2 | 3402 | 2279.1 | 2676.3 | 54698.8 | 57689.8 | 1278.5 | 2183.1 | 2632.6 | 52393.7 | 48745.7 | 492.5 | 13804 | 15723.4 | 331296.6 | 287
2026-09-09 | 9481.7 | 10758.9 | 227560.8 | 234004.2 | 3500.3 | 2259.5 | 2662.7 | 54228.3 | 58688.8 | 1162.1 | 2114.5 | 2442.5 | 50748.5 | 45671 | 450.3 | 13859.3 | 15747.1 | 332623.7 | 287
2026-09-10 | 9492 | 10683.3 | 227809.2 | 234669.9 | 3540.5 | 2219.5 | 2581.8 | 53268 | 58681.1 | 1139.2 | 2079.4 | 2404.6 | 49905.1 | 44133.3 | 442 | 13794.4 | 15650.2 | 331066.4 | 287
2026-09-11 | 9578.7 | 10848.7 | 229888.8 | 237448 | 3620.4 | 2223.3 | 2613.1 | 53358.7 | 58012.2 | 1207.4 | 2050.4 | 2478.2 | 49210.6 | 43279.9 | 431.6 | 13855.7 | 15931.2 | 332536.7 | 287
2026-09-12 | 9325.5 | 10524.7 | 223811.5 | 232072.7 | 3553.7 | 2090.6 | 2441.3 | 50173.3 | 55720.5 | 1104.1 | 1985.2 | 2245.7 | 47645.1 | 41294.1 | 437.8 | 13403.5 | 14933.6 | 321684.1 | 287
2026-09-13 | 8887.2 | 10076.5 | 213293.1 | 224086.8 | 3249.4 | 1875.2 | 2210.6 | 45004.4 | 52631.9 | 1039.4 | 1913.7 | 2269.8 | 45927.6 | 37174.5 | 495.3 | 12677 | 14537.5 | 304247.7 | 287
2026-09-14 | 10082.7 | 11903.8 | 241984.5 | 252854.8 | 3898.6 | 2096.7 | 2506 | 50321.2 | 58027.8 | 1190.4 | 2048.8 | 2502.1 | 49172.1 | 39648.9 | 539.1 | 14230.5 | 16692.1 | 341531.8 | 287
2026-09-15 | 10359.5 | 11776.3 | 248629.1 | 257630.6 | 4577.2 | 2122.7 | 2444.6 | 50945.8 | 58017.4 | 1209.8 | 2077.2 | 2432.3 | 49852.1 | 43242.5 | 495.8 | 14563.1 | 16621.3 | 349513.7 | 287
2026-09-16 | 10408.7 | 12102.4 | 249809.1 | 259030.8 | 4595 | 2070.1 | 2403.2 | 49681.2 | 56024.1 | 1139 | 2094.1 | 2393.3 | 50259 | 44751.6 | 483.3 | 14578.2 | 16763.2 | 349876.2 | 287
2026-09-17 | 10123.2 | 11866.5 | 242957 | 253174.8 | 4384.6 | 2065.4 | 2369.6 | 49570.3 | 55856.3 | 1101.4 | 2061.4 | 2423.5 | 49472.8 | 43122 | 474.3 | 14254.7 | 16568.7 | 342113.8 | 287
2026-09-18 | 9941.4 | 11463.7 | 238593.3 | 246377.4 | 4389.9 | 2107 | 2476.5 | 50567.7 | 56482.3 | 1118.6 | 2069.5 | 2453.5 | 49668.1 | 43866.1 | 690 | 14121.2 | 16264 | 338909 | 287
2026-09-19 | 9775.2 | 11150.3 | 234604 | 238125.2 | 3654.5 | 2076.8 | 2443.6 | 49844.3 | 55750.1 | 1119.2 | 2035.4 | 2446.1 | 48848.6 | 46144.6 | 474.2 | 13888.9 | 15758.9 | 333334.7 | 287
2026-09-20 | 9409.1 | 10654.2 | 225818 | 234088.7 | 3514.5 | 2018.7 | 2432.5 | 48449.8 | 54234.1 | 1152.1 | 1967.9 | 2375.5 | 47230.8 | 42255.9 | 480.3 | 13396.4 | 15362.7 | 321512.7 | 287
2026-09-21 | 10472.5 | 12210.4 | 251340.8 | 257524.4 | 4081.2 | 2216.4 | 2618 | 53193.6 | 61907.1 | 1257.5 | 2137.2 | 2539.3 | 51293 | 44712.6 | 500.3 | 14830.2 | 17285.8 | 355924.2 | 287
2026-09-22 | 10561.5 | 12374.4 | 253476.1 | 261732 | 4180.8 | 2203.4 | 2595.2 | 52881.2 | 62829.1 | 1245.1 | 2115.2 | 2487 | 50765 | 42769 | 489.2 | 14884.5 | 17386.7 | 357227.4 | 287
2026-09-23 | 10574.6 | 12272.5 | 253790.3 | 260704.5 | 4493 | 2181.8 | 2549 | 52362 | 62554.1 | 1265.7 | 2043.3 | 2456.2 | 49038.4 | 41879.1 | 451.3 | 14803.8 | 17272.3 | 355290.7 | 287
2026-09-24 | 10452.9 | 12265.7 | 250868.5 | 258988.6 | 4323.4 | 2162.5 | 2560.5 | 51900.6 | 61663.9 | 1285 | 2086.6 | 2409.9 | 50078.3 | 41618.8 | 526.1 | 14707.6 | 17214.2 | 352982.8 | 287
2026-09-25 | 10320.7 | 12100.3 | 247696 | 256768.8 | 4401.2 | 2096.9 | 2466.4 | 50325.5 | 60830.9 | 1263.5 | 2099.4 | 2489 | 50384.9 | 40581.2 | 552.4 | 14520 | 17009.4 | 348481.1 | 287
2026-09-26 | 10103.2 | 11308.5 | 242475.6 | 251469.3 | 3936.4 | 2032.9 | 2404.3 | 48788.7 | 57810.5 | 1229.4 | 2039.4 | 2431.7 | 48945.7 | 39791.8 | 506.6 | 14177.4 | 16040.6 | 340258.2 | 287
2026-09-27 | 9620.6 | 10883 | 230893.9 | 240221.5 | 3639.1 | 1861.9 | 2333 | 44685.8 | 54463.8 | 1125.1 | 1922.6 | 2324.2 | 46143.3 | 38121.9 | 473 | 13405.9 | 15443 | 321740.7 | 287
2026-09-28 | 10585.3 | 12190.4 | 254048.2 | 260970.3 | 4266.4 | 2115.9 | 2534.2 | 50782.6 | 60844.6 | 1221 | 2086.9 | 2499.5 | 50086.7 | 42103.9 | 519.2 | 14791.7 | 17135 | 355000.1 | 287
2026-09-29 | 10785.7 | 12432.2 | 258855.7 | 264442.5 | 4532.9 | 2127.1 | 2505 | 51050.7 | 60351.1 | 1288.2 | 2104.4 | 2509.2 | 50505.1 | 45285.5 | 512.1 | 15021.8 | 17393.3 | 360522.5 | 287
2026-09-30 | 10839.7 | 12601.8 | 260153.2 | 265877.1 | 4688.8 | 2132.4 | 2544.2 | 51176.9 | 59477.6 | 1345.9 | 2129.8 | 2497.8 | 51114.4 | 47213.3 | 556.9 | 15104.7 | 17571.6 | 362514 | 287
2026-10-01 | 10863.6 | 12513.4 | 260725.3 | 266028.1 | 4634.9 | 2154.7 | 2561 | 51713.3 | 59675.9 | 1312 | 2159.6 | 2522.2 | 51829.7 | 48054.4 | 534.9 | 15182.2 | 17542.3 | 364373.6 | 287
2026-10-02 | 10685.5 | 12438 | 256451.5 | 261782.6 | 4539.6 | 2103.8 | 2483 | 50490.6 | 59294.8 | 1317.8 | 2132.7 | 2481.9 | 51185.5 | 47608.3 | 529 | 14926.6 | 17343.1 | 358238.1 | 287
2026-10-03 | 10172.5 | 11606.7 | 244139.3 | 249887.2 | 3875.4 | 2023.1 | 2433.8 | 48555.4 | 55230.3 | 1230.9 | 2038.8 | 2406.4 | 48931.6 | 46944.2 | 493.7 | 14236.9 | 16187 | 341685.1 | 287
2026-10-04 | 9671.8 | 10900.4 | 232122 | 239075.4 | 3296.4 | 1892.4 | 2306.9 | 45418.5 | 51020.2 | 1210.1 | 1911 | 2291.5 | 45863.8 | 44737.6 | 444.6 | 13475.7 | 15447.8 | 323417 | 287
2026-10-05 | 10702.3 | 12777.2 | 256854.9 | 261753.7 | 4510.2 | 2079.3 | 2500.9 | 49904.1 | 56900 | 1231.8 | 2101.8 | 2525.9 | 50443.1 | 46203.6 | 486.7 | 14887.5 | 17631.6 | 357299 | 287
2026-10-06 | 10675.1 | 12679.5 | 256202.9 | 262203.6 | 4585.4 | 2070.1 | 2432.8 | 49683.5 | 58827 | 1343.6 | 2100 | 2423.6 | 50399.2 | 46034 | 558 | 14849.5 | 17432.8 | 356389 | 287
2026-10-07 | 10714 | 12311.9 | 257135.7 | 262556.6 | 4861.7 | 2059.4 | 2412.7 | 49424.6 | 59301.9 | 1387.9 | 2094.9 | 2421.3 | 50277.6 | 46140.2 | 564.1 | 14872 | 17101.3 | 356928.5 | 287
2026-10-08 | 10427.1 | 11814.9 | 250249.6 | 255982.3 | 4572.4 | 2069.1 | 2460.5 | 49657.5 | 59557.3 | 1376.5 | 2108.5 | 2442.1 | 50602.8 | 46660.1 | 568 | 14609.3 | 16695.6 | 350624.1 | 287
2026-10-09 | 10434.7 | 12015.5 | 250433.9 | 254645.6 | 4435.1 | 2062.6 | 2416.9 | 49501.5 | 59508.2 | 1374.2 | 2049.6 | 2357.5 | 49190.3 | 44708.3 | 495.5 | 14550.1 | 16660 | 349203.5 | 287
2026-10-10 | 10084.6 | 11316.6 | 242030.1 | 246459 | 4217.9 | 1961.6 | 2343.5 | 47078 | 57463.8 | 1399.7 | 1996.7 | 2339.8 | 47920.4 | 42727.6 | 474.1 | 14045.3 | 15915.7 | 337086.2 | 287
2026-10-11 | 9209 | 10419.7 | 221015.4 | 227862 | 3891.7 | 1891 | 2318.6 | 45384.9 | 53864.3 | 1348.6 | 1909.8 | 2300.6 | 45834.7 | 39925.3 | 457.2 | 13011.6 | 14935.5 | 312278 | 287
2026-10-12 | 10120.5 | 11767.9 | 242891.5 | 249722.1 | 4357.1 | 2103.9 | 2547.8 | 50493.6 | 60198.2 | 1338.2 | 2108.3 | 2503.5 | 50599.5 | 43716.8 | 515.1 | 14336 | 16758 | 344064.3 | 287
2026-10-13 | 10452.6 | 11949.9 | 250862.6 | 256740.4 | 4318.4 | 2128.6 | 2527.6 | 51087.3 | 61612.7 | 1404.6 | 2116.3 | 2492.7 | 50790.5 | 44704.1 | 484.9 | 14701.8 | 16837.9 | 352843.3 | 287
2026-10-14 | 10496.9 | 11983.7 | 251925.6 | 257372 | 4410 | 2108.1 | 2494.3 | 50594 | 58522.1 | 1322.3 | 2087.8 | 2435.9 | 50107.3 | 45968.6 | 495.2 | 14696.8 | 16732.2 | 352722.3 | 287
2026-10-15 | 10547.8 | 12107.5 | 253147.2 | 259334.3 | 4269.4 | 2108.1 | 2476.2 | 50594.3 | 56978.6 | 1230.2 | 2101.7 | 2499.2 | 50441.5 | 46946.5 | 472.2 | 14761.7 | 17021.6 | 354280.3 | 287
2026-10-16 | 10560.8 | 11934.5 | 253459.8 | 259007.6 | 4262.5 | 2072.9 | 2444.1 | 49749.5 | 56608.4 | 1219.3 | 2093.8 | 2445.1 | 50250.7 | 46948.5 | 454.6 | 14730.5 | 16738.1 | 353531.8 | 286
2026-10-17 | 10216.1 | 11331.3 | 245185.6 | 252272.5 | 4089.4 | 2014.6 | 2351.2 | 48349.8 | 54117.3 | 1248.6 | 2026.7 | 2394.8 | 48640 | 45659.2 | 432.8 | 14259.4 | 16074.8 | 342224.6 | 287
2026-10-18 | 9561.2 | 10779.2 | 229469 | 238209 | 3674.1 | 1951 | 2341.9 | 46823.3 | 51819.7 | 1166.3 | 1938.9 | 2311.1 | 46534.1 | 43631.3 | 404.3 | 13451.9 | 15403.8 | 322844.9 | 287
2026-10-19 | 10627.1 | 12200.5 | 255051.4 | 261775 | 4370.5 | 2187.8 | 2614.6 | 52506.7 | 58822.6 | 1426.4 | 2142.2 | 2544.4 | 51412 | 47005.6 | 522.8 | 14960.2 | 17343.8 | 359045.4 | 287
2026-10-20 | 10994.1 | 12785.6 | 263858.8 | 270184.7 | 4559.7 | 2201.8 | 2605.3 | 52842.6 | 60549.7 | 1426.5 | 2188.6 | 2566.9 | 52525.4 | 47843.6 | 554.6 | 15387.5 | 17924.4 | 369300.2 | 287
2026-10-21 | 11268 | 12989.7 | 270433.1 | 278893 | 5070.2 | 2213.3 | 2632.2 | 53118.8 | 58909 | 1404.2 | 2214.6 | 2592.8 | 53149.7 | 48779.8 | 548.9 | 15699.2 | 18097.8 | 376780.3 | 287
2026-10-22 | 11170 | 12828 | 268080.5 | 275507.6 | 4804.3 | 2229.3 | 2605.9 | 53502.3 | 59128.7 | 1485.8 | 2199.5 | 2618.8 | 52788.6 | 49551.1 | 464.1 | 15602.5 | 17871 | 374460.3 | 287
2026-10-23 | 10798 | 12042.5 | 259152.1 | 267283.6 | 4514.4 | 2203.5 | 2570.8 | 52884.5 | 58529.3 | 1443.4 | 2093.3 | 2412 | 50239.9 | 46227.5 | 467.3 | 15099 | 16880.6 | 362375.8 | 287
2026-10-24 | 10232.6 | 11356.8 | 245581.7 | 255189.6 | 4100.2 | 2079.1 | 2386.7 | 49898.1 | 56184 | 1320.5 | 1947.8 | 2308.1 | 46747.5 | 41785.7 | 445.5 | 14262.1 | 15982.5 | 342289.7 | 287
2026-10-25 | 9614.7 | 10822.1 | 230751.8 | 240908.9 | 3791.3 | 1937.7 | 2384.4 | 46504 | 52094 | 1262.1 | 1840.8 | 2238 | 44179.8 | 40877.6 | 459.3 | 13394 | 15261.8 | 321456.1 | 287
2026-10-26 | 10728.9 | 12584.2 | 257494 | 265674.8 | 4747.2 | 2143.1 | 2565.9 | 51433.3 | 58179 | 1319.3 | 2098.6 | 2520 | 50366.3 | 44714.7 | 449.9 | 14973.7 | 17621.2 | 359369 | 287
2026-10-27 | 10936 | 12744.8 | 262463.4 | 272659.2 | 5137.6 | 2188.3 | 2575.7 | 52519.5 | 60572.5 | 1314.2 | 2142.9 | 2548.6 | 51430.5 | 44207.8 | 483.5 | 15270.5 | 17836.1 | 366492.3 | 287

## Daily prices
date | Luzon_SMP_PHP_per_MWh | Luzon_LMP_genweighted_PHP_per_MWh | Mindanao_SMP_PHP_per_MWh | Mindanao_LMP_genweighted_PHP_per_MWh | Visayas_SMP_PHP_per_MWh | Visayas_LMP_genweighted_PHP_per_MWh | Philippines_LMP_genweighted_PHP_per_MWh | Intervals | Price_source | Luzon_SMP_PHP_per_MWh_provisional | Luzon_LMP_genweighted_PHP_per_MWh_provisional | Visayas_SMP_PHP_per_MWh_provisional | Visayas_LMP_genweighted_PHP_per_MWh_provisional | Mindanao_SMP_PHP_per_MWh_provisional | Mindanao_LMP_genweighted_PHP_per_MWh_provisional | Philippines_LMP_genweighted_PHP_per_MWh_provisional
2026-07-05 | 5481.43 | 5717.17 | 6564.1 | 6976.43 | 7319.85 | 7323.09 | 6102.42 | 288
2026-07-06 | 9674.01 | 9814.93 | 14460.04 | 15656.8 | 15156.17 | 15976.2 | 11407.62 | 288 | final
2026-07-07 | 15492.4 | 15571.02 | 15246.13 | 16023.57 | 17820.99 | 18091.28 | 15928.17 | 288 | final
2026-07-08 | 10449.38 | 10410.5 | 14614.91 | 15319.51 | 13888.54 | 13844.27 | 11570.8 | 288 | final
2026-07-09 | 10372.94 | 10295.5 | 10811.54 | 10796.7 | 11598.82 | 11857.78 | 10540.25 | 288 | final
2026-07-10 | 8512.87 | 8514.48 | 10811.07 | 11201 | 11923.74 | 12043.12 | 9321.62 | 288 | final
2026-07-11 | 4452.64 | 4379.4 | 7346.37 | 7895.81 | 7464.57 | 7643.61 | 5307.95 | 288 | final
2026-07-12 | 2642.16 | 2580.32 | 5928.22 | 6302.98 | 6034.67 | 5861.36 | 3600.12 | 288 | final
2026-07-13 | 9189.7 | 9461.11 | 13475.05 | 14359.01 | 14279.83 | 15346.19 | 10993.14 | 288 | final
2026-07-14 | 8732.28 | 8989.16 | 13415.44 | 14548.59 | 13763.51 | 14492.4 | 10564.2 | 288 | final
2026-07-15 | 6750.34 | 6786.58 | 14360.79 | 15563.45 | 14389.92 | 15255.27 | 9195.32 | 288 | final
2026-07-16 | 7864.06 | 7864.9 | 13279.45 | 14417.8 | 13883.19 | 14372.59 | 9653.74 | 288 | final
2026-07-17 | 8464.02 | 8599.91 | 10344.33 | 10955.45 | 11423.06 | 11405.41 | 9294.02 | 288 | final
2026-07-18 | 5117.03 | 5019.04 | 9862.98 | 10643.07 | 10347.97 | 10434.57 | 6536.64 | 288 | final
2026-07-19 | 4970.86 | 4889.18 | 7237.53 | 7578.38 | 7220.62 | 7149.63 | 5574.14 | 288 | final
2026-07-20 | 6890.82 | 6919 | 14544.17 | 15049 | 13865.49 | 14718.66 | 9069.64 | 288 | final
2026-07-21 | 6083.68 | 6032.71 | 10562.24 | 10893.95 | 10411.83 | 10794.6 | 7315.27 | 288 | final
2026-07-22 | 8257.85 | 8404.51 | 11589.02 | 12013.28 | 12154.8 | 12654.33 | 9444.48 | 288 | final
2026-07-23 | 6056.21 | 6022.27 | 9989.58 | 10052.23 | 10789.8 | 11237.63 | 7213.38 | 288 | final
2026-07-24 | 4921.19 | 4735.12 | 8436.88 | 8587.53 | 8242.72 | 8254.56 | 5747.3 | 288 | final
2026-07-25 | 4805 | 4700.18 | 8386.87 | 9041.05 | 8652.07 | 8668.81 | 5890.4 | 288 | final
2026-07-26 | 3886.71 | 3810.56 | 4629.7 | 4906.32 | 5239.84 | 5156.64 | 4151.87 | 288 | final
2026-07-27 | 6405.59 | 6502.12 | 10443.03 | 11376.72 | 11455 | 12185.79 | 7932.45 | 288 | final
2026-07-28 | 5886.06 | 5882.75 | 11653.53 | 12162.51 | 11581.61 | 12148.18 | 7599.62 | 288 | final
2026-07-29 | 5205.21 | 5092.37 | 16579.68 | 16812.99 | 14951.17 | 15917.1 | 8475.55 | 288 | final
2026-07-30 | 5603.98 | 5657.95 | 11030.67 | 11003.06 | 10563.8 | 11622.59 | 7247.46 | 288 | final
2026-07-31 | 5857.44 | 5898.87 | 11943.7 | 11684.11 | 10717.52 | 11746.61 | 7479.21 | 288 | final
2026-08-01 | 4561.83 | 4536.01 | 9239.18 | 9848.46 | 9263.35 | 9487.56 | 5941.07 | 288 | final
2026-08-02 | 3796.44 | 3719.33 | 10845.88 | 11707.71 | 11969.25 | 12071.67 | 6019.07 | 288 | final
2026-08-03 | 3787.23 | 3756.82 | 17908.14 | 19382.56 | 17100.04 | 18380.11 | 8292.44 | 288 | final
2026-08-04 | 3535.25 | 3560.65 | 9861.61 | 9420.85 | 7882.29 | 9166.35 | 5271.2 | 288 | final
2026-08-05 | 2973.33 | 2816.44 | 11277.64 | 10799.2 | 10675.1 | 11763.41 | 5353.01 | 288 | final
2026-08-06 | 3782.31 | 3741.39 | 18459.61 | 19140.12 | 16623.05 | 18334.86 | 8414.84 | 288 | final
2026-08-07 | 4346.28 | 4284.05 | 9740.26 | 8981.6 | 8291.66 | 9051.64 | 5750.38 | 288 | final
2026-08-08 | 4663.58 | 4616.14 | 11438.52 | 10564.01 | 10483 | 11642.64 | 6626.09 | 288 | final
2026-08-09 | 1547.8 | 1586.14 | 16176.46 | 16040.27 | 14741.54 | 15830.66 | 6281.53 | 288 | final
2026-08-10 | 4929.35 | 5029.18 | 12159.54 | 11456.31 | 11145.99 | 10801.9 | 6981.24 | 288 | final
2026-08-11 | 7358.18 | 7463.11 | 11054.31 | 10730.01 | 11435.63 | 11420.47 | 8561.95 | 288 | final
2026-08-12 | 11501.98 | 11600.2 | 15848.95 | 15752.29 | 14012.1 | 13621.08 | 12596.9 | 288 | final
2026-08-13 | 6684.9 | 6562.33 | 12404.99 | 11609.74 | 12051.29 | 11567.03 | 8147.31 | 288 | final
2026-08-14 | 5263.8 | 5163.03 | 11076.78 | 10542.4 | 10940.16 | 11339.52 | 6953.75 | 288 | final
2026-08-15 | 4857.89 | 4891.27 | 15791.65 | 15716.34 | 13485.61 | 13710.53 | 7985.04 | 288 | final
2026-08-16 | 3048.5 | 3013.33 | 12622.72 | 12488.6 | 12190.58 | 12554.02 | 5911.66 | 288 | final
2026-08-17 | 2960.13 | 2980.92 | 10931.23 | 10559.56 | 11313.86 | 11501.14 | 5471.29 | 288 | final
2026-08-18 | 4502.67 | 4567.86 | 14083.82 | 13964.53 | 11769.83 | 12336.72 | 7308.67 | 288 | final
2026-08-19 | 4582.48 | 4552.45 | 14413.45 | 14379.02 | 13771.67 | 14949.09 | 7808.81 | 288 | final
2026-08-20 | 5275.79 | 5288.95 | 9706.99 | 9382.87 | 9226.67 | 10124.96 | 6640.83 | 288 | final
2026-08-21 | 4556.96 | 4576.76 | 13802.96 | 14383.02 | 14055.76 | 14526.74 | 7477.01 | 288 | final
2026-08-22 | 3481.62 | 3399.42 | 15250.68 | 15861.71 | 13602.04 | 14541.28 | 6872.06 | 288 | final
2026-08-23 | 3216.95 | 3137.57 | 9933.52 | 9659.3 | 9254.39 | 10047.39 | 5096.92 | 288 | final
2026-08-24 | 6217.28 | 6165.84 | 14273.03 | 14431.04 | 13592.9 | 14368.59 | 8580.09 | 288 | final
2026-08-25 | 7128.3 | 6998.55 | 15772.83 | 15610.47 | 13399.38 | 13535.83 | 9261.51 | 288 | final
2026-08-26 | 6873.25 | 6702.28 | 9322.67 | 9317.45 | 10481.38 | 10056.54 | 7536.69 | 288 | final
2026-08-27 | 7656.06 | 7585.02 | 13905.53 | 14158.31 | 12623.77 | 12170.71 | 9223.89 | 288 | final
2026-08-28 | 5605.03 | 5538.04 | 15304.79 | 15813.16 | 15444.54 | 14838.73 | 8484.27 | 288 | final
2026-08-29 | 3736.58 | 3639.19 | 9341.29 | 9272.39 | 10651.32 | 10637.36 | 5585.61 | 288 | final
2026-08-30 | -176.35 | 24.3 | 13992.86 | 14139.71 | 12130.43 | 12472.2 | 4301.11 | 288 | final
2026-08-31 | 564.68 | 768.39 | 15438.84 | 15901.22 | 13786.92 | 14721.37 | 5234.9 | 288 | final
2026-09-01 | 4639.04 | 4595.4 | 9344.14 | 9171.13 | 11853.13 | 11397.13 | 6238.08 | 288 | final
2026-09-02 | 4679.14 | 4552.29 | 13814.28 | 13940.88 | 12020.06 | 11820.95 | 6988.15 | 288 | final
2026-09-03 | 3498.94 | 3335.85 | 15731.22 | 15517.87 | 13171.76 | 13328.78 | 6611.77 | 288 | final
2026-09-04 | 3426.25 | 3393.02 | 9342.45 | 9133.02 | 11971.85 | 11606.07 | 5479.14 | 288 | final
2026-09-05 | 2584.47 | 2476.94 | 13642.77 | 14073.11 | 11671.23 | 11489.16 | 5708.11 | 288 | final
2026-09-06 | -322.62 | -198.34 | 12809.84 | 13607.29 | 12473.17 | 12783.13 | 3995.15 | 288 | final
2026-09-07 | 3901.67 | 3941.86 | 12225.79 | 12215.4 | 13740.55 | 14582.73 | 6864.5 | 288 | final
2026-09-08 | 5622.6 | 5606.52 | 13678.62 | 13697.91 | 11265.71 | 11413.28 | 7828.62 | 288 | final
2026-09-09 | 5448.04 | 5365.81 | 12656.22 | 12514.98 | 11433.48 | 11127.42 | 7379.25 | 288 | final
2026-09-10 | 4831.19 | 4695.11 | 11987.1 | 11829.64 | 14860.35 | 15196.02 | 7306.96 | 288 | final
2026-09-11 | 4744.52 | 4626.75 | 13574.06 | 13749.56 | 11374.15 | 11217.81 | 7027.91 | 288 | final
2026-09-12 | 4775.23 | 4675.46 | 12606.14 | 12752.16 | 11588.55 | 11310.07 | 6872.72 | 288 | final
2026-09-13 | 1319.7 | 1329.67 | 10642.35 | 11190.81 | 13180.25 | 13598.49 | 4434.43 | 288 | final
2026-09-14 | 5067.07 | 5074.3 | 14970.03 | 15383.64 | 12706.07 | 13242.28 | 7702.75 | 288 | final
2026-09-15 | 5344.56 | 5162.44 | 11339.33 | 11296.95 | 10740.2 | 10901.16 | 6843.49 | 288 | final
2026-09-16 | 5066.79 | 4909.89 | 12038.65 | 12568.72 | 15128.05 | 15640.59 | 7438.83 | 288 | final
2026-09-17 | 4847.99 | 4731.89 | 11388.88 | 12160.33 | 10265.19 | 10600.02 | 6629.09 | 288 | final
2026-09-18 | 4860.73 | 4781.74 | 10453.8 | 11455.65 | 10483.34 | 11039.41 | 6660.83 | 288 | final
2026-09-19 | 5558.36 | 5579.48 | 13665.48 | 14772.65 | 13970.38 | 13888.06 | 8214.63 | 288 | final
2026-09-20 | 6141.66 | 6209.01 | 11252.32 | 12531.28 | 11483.58 | 11505.88 | 7923.99 | 288 | final
2026-09-21 | 12782.6 | 13324.4 | 12161.29 | 12988.7 | 13011.37 | 12442.22 | 13159.12 | 288 | final
2026-09-22 | 12749.34 | 12658 | 12549.41 | 12950.56 | 12562.2 | 12195.14 | 12654.12 | 288 | final
2026-09-23 | 9860.48 | 9602.19 | 12518.28 | 12977.45 | 12357.27 | 11199.41 | 10364.58 | 288 | final
2026-09-24 | 8153.6 | 8091.63 | 12174.27 | 12959.45 | 14182.21 | 13965.56 | 9595.43 | 288 | final
2026-09-25 | 6599.24 | 6527.56 | 11247.4 | 12212.49 | 11947.62 | 11987.94 | 8111.79 | 288 | final
2026-09-26 | 5849.25 | 5857.78 | 11834.96 | 13035.29 | 19719.53 | 20076.13 | 8667.84 | 288 | provisional | 5849.25 | 5857.78 | 19719.53 | 20076.13 | 11834.96 | 13035.29 | 8667.84
2026-09-27 | 3790.36 | 3888.29 | 6585.73 | 7588.19 | 9502.63 | 9520.54 | 5139.19 | 288 | provisional | 3790.36 | 3888.29 | 9502.63 | 9520.54 | 6585.73 | 7588.19 | 5139.19
2026-09-28 | 7540.45 | 7474.02 | 17110.17 | 18755.44 | 18575.15 | 19322.75 | 10733.01 | 288 | provisional | 7540.45 | 7474.02 | 18575.15 | 19322.75 | 17110.17 | 18755.44 | 10733.01
2026-09-29 | 8665.74 | 8627.69 | 15449.29 | 16620.05 | 16565.39 | 17052.1 | 10962.8 | 288 | provisional | 8665.74 | 8627.69 | 16565.39 | 17052.1 | 15449.29 | 16620.05 | 10962.8
2026-09-30 | 7424.52 | 7313.39 | 14371.01 | 15863.35 | 15153.6 | 15215.64 | 9680.06 | 288 | provisional | 7424.52 | 7313.39 | 15153.6 | 15215.64 | 14371.01 | 15863.35 | 9680.06
2026-10-01 | 8633.64 | 8562.48 | 15989.16 | 17263.16 | 16649.09 | 16998.94 | 11037.45 | 288 | provisional | 8633.64 | 8562.48 | 16649.09 | 16998.94 | 15989.16 | 17263.16 | 11037.45
2026-10-02 | 9278.48 | 9011.13 | 15518.65 | 16249.47 | 16025.06 | 16139.82 | 11096.66 | 288 | provisional | 9278.48 | 9011.13 | 16025.06 | 16139.82 | 15518.65 | 16249.47 | 11096.66
2026-10-03 | 6912.95 | 6741.95 | 12296.48 | 13441.88 | 12747.33 | 12696.09 | 8587.59 | 288 | provisional | 6912.95 | 6741.95 | 12747.33 | 12696.09 | 12296.48 | 13441.88 | 8587.59
2026-10-04 | 2957.24 | 3047.73 | 5021.77 | 5911.11 | 5316.22 | 5138.83 | 3763.91 | 288 | provisional | 2957.24 | 3047.73 | 5316.22 | 5138.83 | 5021.77 | 5911.11 | 3763.91
2026-10-05 | 7446.82 | 7651.63 | 19254.9 | 21816.02 | 19907.93 | 21037.68 | 11557.22 | 288 | provisional | 7446.82 | 7651.63 | 19907.93 | 21037.68 | 19254.9 | 21816.02 | 11557.22
2026-10-06 | 9807.29 | 9675.66 | 11960.1 | 12819.8 | 13165.53 | 13211.03 | 10623.39 | 288 | provisional | 9807.29 | 9675.66 | 13165.53 | 13211.03 | 11960.1 | 12819.8 | 10623.39
2026-10-07 | 10967.45 | 10898.51 | 7862.05 | 8360.68 | 9902.15 | 9809.82 | 10353.01 | 288 | provisional | 10967.45 | 10898.51 | 9902.15 | 9809.82 | 7862.05 | 8360.68 | 10353.01
2026-10-08 | 8099.24 | 7922.44 | 7659.76 | 8243.24 | 8991.22 | 8925.47 | 8104.64 | 288 | provisional | 8099.24 | 7922.44 | 8991.22 | 8925.47 | 7659.76 | 8243.24 | 8104.64
2026-10-09 | 10003.5 | 9998.5 | 7766.59 | 8269.88 | 9973.71 | 9857.89 | 9694.39 | 288 | provisional | 10003.5 | 9998.5 | 9973.71 | 9857.89 | 7766.59 | 8269.88 | 9694.39
2026-10-10 | 9208.32 | 9065.34 | 5159.64 | 5663.72 | 8084.36 | 7737.93 | 8337.77 | 288 | provisional | 9208.32 | 9065.34 | 8084.36 | 7737.93 | 5159.64 | 5663.72 | 8337.77
2026-10-11 | 4927.04 | 4882.91 | 2285.45 | 2962.68 | 2620.9 | 2641.86 | 4282.57 | 288 | provisional | 4927.04 | 4882.91 | 2620.9 | 2641.86 | 2285.45 | 2962.68 | 4282.57
2026-10-12 | 7561.89 | 7885.97 | 11217.91 | 12556.96 | 12584.9 | 12755.81 | 9283.66 | 288 | provisional | 7561.89 | 7885.97 | 12584.9 | 12755.81 | 11217.91 | 12556.96 | 9283.66
2026-10-13 | 13367.27 | 13351.76 | 14184.15 | 15356.34 | 16906.33 | 16897.08 | 14128.93 | 288 | provisional | 13367.27 | 13351.76 | 16906.33 | 16897.08 | 14184.15 | 15356.34 | 14128.93
2026-10-14 | 7987.37 | 7871.65 | 11995.94 | 12731.52 | 12890.6 | 12898.47 | 9297.62 | 288 | provisional | 7987.37 | 7871.65 | 12890.6 | 12898.47 | 11995.94 | 12731.52 | 9297.62
2026-10-15 | 8007.67 | 7991.32 | 15724.77 | 16708.57 | 16127.57 | 16499.65 | 10459.3 | 288 | provisional | 8007.67 | 7991.32 | 16127.57 | 16499.65 | 15724.77 | 16708.57 | 10459.3
2026-10-16 | 7170.93 | 7076.38 | 14569.85 | 15364.43 | 15340.37 | 15450.82 | 9456.07 | 288 | provisional | 7170.93 | 7076.38 | 15340.37 | 15450.82 | 14569.85 | 15364.43 | 9456.07
2026-10-17 | 8172.25 | 8127.75 | 10796.25 | 11814.32 | 13394.58 | 13450.89 | 9385.3 | 288 | provisional | 8172.25 | 8127.75 | 13394.58 | 13450.89 | 10796.25 | 11814.32 | 9385.3
2026-10-18 | 5189.35 | 5244.08 | 6413.68 | 7265.82 | 8085.41 | 7917.95 | 5907.8 | 288 | provisional | 5189.35 | 5244.08 | 8085.41 | 7917.95 | 6413.68 | 7265.82 | 5907.8
2026-10-19 | 7983.65 | 8066.71 | 14048.53 | 15639.88 | 16519.02 | 17038.01 | 10425.47 | 288 | provisional | 7983.65 | 8066.71 | 16519.02 | 17038.01 | 14048.53 | 15639.88 | 10425.47
2026-10-20 | 10035.59 | 9452.02 | 15228.37 | 16364.44 | 17874.69 | 17889.01 | 11626.26 | 288 | provisional | 10035.59 | 9452.02 | 17874.69 | 17889.01 | 15228.37 | 16364.44 | 11626.26
2026-10-21 | 9348.25 | 9226.89 | 15526.59 | 17504.08 | 17920.06 | 18002.1 | 11595.87 | 288 | provisional | 9348.25 | 9226.89 | 17920.06 | 18002.1 | 15526.59 | 17504.08 | 11595.87
2026-10-22 | 10039.08 | 10052.07 | 19850.7 | 21228.73 | 19233.1 | 19749.69 | 13022.69 | 288 | provisional | 10039.08 | 10052.07 | 19233.1 | 19749.69 | 19850.7 | 21228.73 | 13022.69
2026-10-23 | 7762.82 | 7654.5 | 18102.77 | 19333.04 | 18091.15 | 17838.41 | 10757.78 | 288 | provisional | 7762.82 | 7654.5 | 18091.15 | 17838.41 | 18102.77 | 19333.04 | 10757.78
2026-10-24 | 6319.89 | 6328.35 | 12094.8 | 13090.57 | 11922.13 | 11902.51 | 8063.53 | 288 | provisional | 6319.89 | 6328.35 | 11922.13 | 11902.51 | 12094.8 | 13090.57 | 8063.53
2026-10-25 | 2295.77 | 2365.61 | 6977.87 | 7897.79 | 7128.95 | 7177.41 | 3817.99 | 288 | provisional | 2295.77 | 2365.61 | 7128.95 | 7177.41 | 6977.87 | 7897.79 | 3817.99
2026-10-26 | 5921.4 | 6064.51 | 14483 | 16343.65 | 11942.41 | 12326.07 | 8446.9 | 288 | provisional | 5921.4 | 6064.51 | 11942.41 | 12326.07 | 14483 | 16343.65 | 8446.9
2026-10-27 | 6123.87 | 6209.5 | 21063.75 | 22590.5 | 19142.86 | 20286.26 | 10485.94 | 288 | provisional | 6123.87 | 6209.5 | 19142.86 | 20286.26 | 21063.75 | 22590.5 | 10485.94