## Units
Notes
Switzerland - monthly installed generation capacity by fuel, MW, rebuilt from the BFE / Pronovo plant register.
Source
BFE 'Elektrizitaetsproduktionsanlagen' (Pronovo register; data.geo.admin.ch, ch.bfe.elektrizitaetsproduktionsanlagen), CSV zip updated monthly: https://data.geo.admin.ch/ch.bfe.elektrizitaetsproduktionsanlagen/csv/2056/ch.bfe.elektrizitaetsproduktionsanlagen.zip
Row dated 1 Mar = capacity at the end of February: the sum of the plants in the CURRENT register whose BeginningOfOperation is before that date (same date convention as the ENTSO-E annual files).
Limits
Decommissioned plant is not in the register, so earlier months are understated by anything retired since. The register has one (current) power per plant: later expansions are back-dated to the first start (Solar_initial_basis_MW = power at first start, ~6.5% below the current total).
Plants register with a lag: the last three rows are PROVISIONAL (column provisional) and rise when re-read. PV not registered with Pronovo is missing. ENTSO-E A68 has no Swiss wind or solar.
Hydro_MW excludes pumped-storage plants (plant category 'Pumpspeicherkraftwerk', PumpedStorage_MW); Hydro_incl_pumped_MW is their sum. Other_MW = waste incineration (KVA) and geothermal. Total_MW excludes pumped storage.
Method
Each time the zip changes (Last-Modified / ETag, sheet Releases) it is downloaded and the whole series is rebuilt; 'Snapshots' keeps what each run's register said for its latest row (real-time view, since a rebuild revises history).

## Chart
Date | Nuclear | Gas | Hydro | Pumped storage | Wind | Solar | Bioenergy | Other
2021-01-01 | 3.0146 | 0.2938 | 6.2682 | 5.5567 | 0.0844 | 2.9306 | 0.1996 | 0.3538
2021-02-01 | 3.0146 | 0.2938 | 6.2686 | 5.5567 | 0.0844 | 2.952 | 0.1996 | 0.3538
2021-03-01 | 3.0146 | 0.2938 | 6.2846 | 5.5567 | 0.0844 | 2.9886 | 0.1996 | 0.3538
2021-04-01 | 3.0146 | 0.2938 | 6.2846 | 5.5567 | 0.0844 | 3.0438 | 0.2126 | 0.3538
2021-05-01 | 3.0146 | 0.2938 | 6.2851 | 5.5567 | 0.0844 | 3.0907 | 0.2126 | 0.3538
2021-06-01 | 3.0146 | 0.2938 | 6.2851 | 5.5567 | 0.0844 | 3.1379 | 0.2126 | 0.3538
2021-07-01 | 3.0146 | 0.2938 | 6.2852 | 5.5567 | 0.0844 | 3.1861 | 0.2126 | 0.3538
2021-08-01 | 3.0146 | 0.2938 | 6.2872 | 5.5567 | 0.0844 | 3.236 | 0.2136 | 0.3538
2021-09-01 | 3.0146 | 0.2938 | 6.2872 | 5.5567 | 0.0844 | 3.2784 | 0.2136 | 0.3538
2021-10-01 | 3.0146 | 0.2938 | 6.2873 | 5.5567 | 0.0844 | 3.3328 | 0.2136 | 0.3538
2021-11-01 | 3.0146 | 0.2939 | 6.2873 | 5.5567 | 0.0844 | 3.3846 | 0.2136 | 0.3538
2021-12-01 | 3.0146 | 0.2939 | 6.2873 | 5.5567 | 0.0844 | 3.4449 | 0.2136 | 0.3538
2022-01-01 | 3.0146 | 0.2939 | 6.2876 | 5.5567 | 0.0844 | 3.5007 | 0.2143 | 0.3538
2022-02-01 | 3.0146 | 0.2939 | 6.2882 | 5.5567 | 0.0844 | 3.5339 | 0.2145 | 0.3538
2022-03-01 | 3.0146 | 0.2939 | 6.2885 | 5.5567 | 0.0844 | 3.5808 | 0.2145 | 0.3538
2022-04-01 | 3.0146 | 0.2939 | 6.289 | 5.5567 | 0.0844 | 3.6662 | 0.2145 | 0.3538
2022-05-01 | 3.0146 | 0.2939 | 6.2894 | 5.5567 | 0.0844 | 3.7158 | 0.2145 | 0.3538
2022-06-01 | 3.0146 | 0.2939 | 6.2895 | 5.5567 | 0.0844 | 3.774 | 0.2148 | 0.3538
2022-07-01 | 3.0146 | 0.2939 | 6.2908 | 5.5567 | 0.0844 | 3.8411 | 0.216 | 0.3538
2022-08-01 | 3.0146 | 0.2939 | 6.2908 | 6.5017 | 0.0844 | 3.9025 | 0.216 | 0.3538
2022-09-01 | 3.0146 | 0.2939 | 6.2918 | 6.5017 | 0.0844 | 3.9612 | 0.2225 | 0.3538
2022-10-01 | 3.0146 | 0.2941 | 6.2918 | 6.5017 | 0.0844 | 4.0409 | 0.2226 | 0.3538
2022-11-01 | 3.0146 | 0.2981 | 6.2918 | 6.5017 | 0.0844 | 4.1107 | 0.223 | 0.3538
2022-12-01 | 3.0146 | 0.2981 | 6.2919 | 6.5017 | 0.0844 | 4.192 | 0.223 | 0.3538
2023-01-01 | 3.0146 | 0.2981 | 6.2995 | 6.5017 | 0.0844 | 4.2814 | 0.2299 | 0.3538
2023-02-01 | 3.0146 | 0.2981 | 6.3 | 6.5017 | 0.0844 | 4.333 | 0.23 | 0.3538
2023-03-01 | 3.0146 | 0.2981 | 6.3002 | 6.5017 | 0.0844 | 4.4213 | 0.2301 | 0.3538
2023-04-01 | 3.0146 | 0.2981 | 6.3002 | 6.5017 | 0.0844 | 4.5442 | 0.236 | 0.3538
2023-05-01 | 3.0146 | 0.2981 | 6.3002 | 6.5017 | 0.0844 | 4.6432 | 0.236 | 0.3538
2023-06-01 | 3.0146 | 0.2981 | 6.3002 | 6.5017 | 0.0844 | 4.7755 | 0.2361 | 0.3538
2023-07-01 | 3.0146 | 0.2981 | 6.3109 | 6.5017 | 0.0844 | 4.9304 | 0.2361 | 0.3538
2023-08-01 | 3.0146 | 0.2981 | 6.3125 | 6.5017 | 0.0844 | 5.0798 | 0.2361 | 0.3538
2023-09-01 | 3.0146 | 0.2981 | 6.3125 | 6.5017 | 0.0844 | 5.212 | 0.2363 | 0.3538
2023-10-01 | 3.0146 | 0.2981 | 6.3125 | 6.5017 | 0.0844 | 5.371 | 0.2363 | 0.3538
2023-11-01 | 3.0146 | 0.2982 | 6.3143 | 6.5017 | 0.0844 | 5.5212 | 0.2363 | 0.3538
2023-12-01 | 3.0146 | 0.2982 | 6.3143 | 6.5017 | 0.0844 | 5.6713 | 0.2363 | 0.3538
2024-01-01 | 3.0146 | 0.2982 | 6.3143 | 6.5017 | 0.0844 | 5.8262 | 0.2376 | 0.3538
2024-02-01 | 3.0146 | 0.2982 | 6.3526 | 6.5017 | 0.0985 | 5.9133 | 0.2376 | 0.3538
2024-03-01 | 3.0146 | 0.2982 | 6.3526 | 6.5017 | 0.0985 | 6.042 | 0.2377 | 0.3538
2024-04-01 | 3.0146 | 0.2982 | 6.3526 | 6.5017 | 0.0985 | 6.2072 | 0.238 | 0.3538
2024-05-01 | 3.0146 | 0.2987 | 6.3549 | 6.5017 | 0.0985 | 6.3504 | 0.238 | 0.3538
2024-06-01 | 3.0146 | 0.2987 | 6.3549 | 6.5017 | 0.0985 | 6.5022 | 0.238 | 0.3538
2024-07-01 | 3.0146 | 0.2987 | 6.3549 | 6.5017 | 0.0985 | 6.6579 | 0.238 | 0.3538
2024-08-01 | 3.0146 | 0.2987 | 6.3611 | 6.5017 | 0.0985 | 6.8123 | 0.2382 | 0.3538
2024-09-01 | 3.0146 | 0.2987 | 6.3611 | 6.5017 | 0.0985 | 6.9313 | 0.2382 | 0.3538
2024-10-01 | 3.0146 | 0.2987 | 6.3611 | 6.5017 | 0.0985 | 7.0623 | 0.2382 | 0.3538
2024-11-01 | 3.0146 | 0.2987 | 6.3611 | 6.5017 | 0.0985 | 7.2127 | 0.2384 | 0.3538
2024-12-01 | 3.0146 | 0.2987 | 6.3612 | 6.5017 | 0.0985 | 7.3603 | 0.2384 | 0.3538
2025-01-01 | 3.0146 | 0.2987 | 6.3612 | 6.5017 | 0.0985 | 7.4929 | 0.2387 | 0.3538
2025-02-01 | 3.0146 | 0.2987 | 6.3612 | 6.5017 | 0.0985 | 7.5634 | 0.2391 | 0.3538
2025-03-01 | 3.0146 | 0.2987 | 6.3612 | 6.5017 | 0.0985 | 7.6643 | 0.2391 | 0.3538
2025-04-01 | 3.0146 | 0.2987 | 6.3615 | 6.5017 | 0.0985 | 7.8096 | 0.2392 | 0.3538
2025-05-01 | 3.0146 | 0.2987 | 6.3615 | 6.5017 | 0.0985 | 7.8996 | 0.2394 | 0.3538
2025-06-01 | 3.0146 | 0.2987 | 6.3615 | 6.5017 | 0.0985 | 7.9901 | 0.2396 | 0.3538
2025-07-01 | 3.0146 | 0.2987 | 6.3615 | 6.5017 | 0.0985 | 8.0774 | 0.2412 | 0.3538
2025-08-01 | 3.0146 | 0.2987 | 6.3615 | 6.5017 | 0.0985 | 8.1795 | 0.2412 | 0.3538
2025-09-01 | 3.0146 | 0.2987 | 6.3615 | 6.5017 | 0.0985 | 8.2568 | 0.242 | 0.3538
2025-10-01 | 3.0146 | 0.2987 | 6.3729 | 6.5017 | 0.0985 | 8.3498 | 0.2423 | 0.3538
2025-11-01 | 3.0146 | 0.2987 | 6.3741 | 6.5017 | 0.1077 | 8.44 | 0.2424 | 0.3538
2025-12-01 | 3.0146 | 0.2987 | 6.3741 | 6.5017 | 0.1097 | 8.5287 | 0.2425 | 0.3538
2026-01-01 | 3.0146 | 0.2987 | 6.3741 | 6.5017 | 0.1097 | 8.606 | 0.2439 | 0.3538
2026-02-01 | 3.0146 | 0.2987 | 6.3741 | 6.5017 | 0.1097 | 8.6471 | 0.2439 | 0.3538
2026-03-01 | 3.0146 | 0.2987 | 6.3741 | 6.5017 | 0.1097 | 8.688 | 0.2439 | 0.3538
2026-04-01 | 3.0146 | 0.2987 | 6.3741 | 6.5017 | 0.1097 | 8.7501 | 0.2442 | 0.3538
2026-05-01 | 3.0146 | 0.2987 | 6.3741 | 6.5017 | 0.1097 | 8.7878 | 0.2446 | 0.3538
2026-06-01 | 3.0146 | 0.2987 | 6.3741 | 6.5017 | 0.1097 | 8.8085 | 0.2448 | 0.3538
2026-07-01 | 3.0146 | 0.2987 | 6.3741 | 6.5017 | 0.1097 | 8.8247 | 0.2449 | 0.3538
2026-08-01 | 3.0146 | 0.2987 | 6.3741 | 6.5017 | 0.1097 | 8.8292 | 0.2449 | 0.3538

## Chart - Net additions
Date | Solar | Wind
2021-02-01 | 21.4 | 0
2021-03-01 | 36.6 | 0
2021-04-01 | 55.2 | 0
2021-05-01 | 46.9 | 0
2021-06-01 | 47.2 | 0
2021-07-01 | 48.2 | 0
2021-08-01 | 49.9 | 0
2021-09-01 | 42.4 | 0
2021-10-01 | 54.4 | 0
2021-11-01 | 51.8 | 0
2021-12-01 | 60.3 | 0
2022-01-01 | 55.8 | 0
2022-02-01 | 33.2 | 0
2022-03-01 | 46.9 | 0
2022-04-01 | 85.4 | 0
2022-05-01 | 49.6 | 0
2022-06-01 | 58.2 | 0
2022-07-01 | 67.1 | 0
2022-08-01 | 61.4 | 0
2022-09-01 | 58.7 | 0
2022-10-01 | 79.7 | 0
2022-11-01 | 69.8 | 0
2022-12-01 | 81.3 | 0
2023-01-01 | 89.4 | 0
2023-02-01 | 51.6 | 0
2023-03-01 | 88.3 | 0
2023-04-01 | 122.9 | 0
2023-05-01 | 99 | 0
2023-06-01 | 132.3 | 0
2023-07-01 | 154.9 | 0
2023-08-01 | 149.4 | 0
2023-09-01 | 132.2 | 0
2023-10-01 | 159 | 0
2023-11-01 | 150.2 | 0
2023-12-01 | 150.1 | 0
2024-01-01 | 154.9 | 0
2024-02-01 | 87.1 | 14.1
2024-03-01 | 128.7 | 0
2024-04-01 | 165.2 | 0
2024-05-01 | 143.2 | 0
2024-06-01 | 151.8 | 0
2024-07-01 | 155.7 | 0
2024-08-01 | 154.4 | 0
2024-09-01 | 119 | 0
2024-10-01 | 131 | 0
2024-11-01 | 150.4 | 0
2024-12-01 | 147.6 | 0
2025-01-01 | 132.6 | 0
2025-02-01 | 70.5 | 0
2025-03-01 | 100.9 | 0
2025-04-01 | 145.3 | 0
2025-05-01 | 90 | 0
2025-06-01 | 90.5 | 0
2025-07-01 | 87.3 | 0
2025-08-01 | 102.1 | 0
2025-09-01 | 77.3 | 0
2025-10-01 | 93 | 0
2025-11-01 | 90.2 | 9.2
2025-12-01 | 88.7 | 2
2026-01-01 | 77.3 | 0
2026-02-01 | 41.1 | 0
2026-03-01 | 40.9 | 0
2026-04-01 | 62.1 | 0
2026-05-01 | 37.7 | 0
2026-06-01 | 20.7 | 0
2026-07-01 | 16.2 | 0
2026-08-01 | 4.5 | 0

## Monthly
date | Hydro_MW | Gas_MW | Wind_MW | Solar_MW | Coal_MW | Nuclear_MW | Oil_MW | Bioenergy_MW | Other_MW | Total_MW | PumpedStorage_MW | Storage_MW | Solar_initial_basis_MW | Hydro_incl_pumped_MW | provisional
2021-01-01 | 6268.2 | 293.8 | 84.4 | 2930.6 | 0 | 3014.6 | 0 | 199.6 | 353.8 | 13145.1 | 5556.7 |  | 2533.8064 | 11824.9015 | FALSE
2021-02-01 | 6268.6 | 293.8 | 84.4 | 2952 | 0 | 3014.6 | 0 | 199.6 | 353.8 | 13166.8 | 5556.7 |  | 2552.1422 | 11825.2855 | FALSE
2021-03-01 | 6284.6 | 293.8 | 84.4 | 2988.6 | 0 | 3014.6 | 0 | 199.6 | 353.8 | 13219.4 | 5556.7 |  | 2585.9423 | 11841.2355 | FALSE
2021-04-01 | 6284.6 | 293.8 | 84.4 | 3043.8 | 0 | 3014.6 | 0 | 212.6 | 353.8 | 13287.5 | 5556.7 |  | 2637.6446 | 11841.2355 | FALSE
2021-05-01 | 6285.1 | 293.8 | 84.4 | 3090.7 | 0 | 3014.6 | 0 | 212.6 | 353.8 | 13334.9 | 5556.7 |  | 2681.0449 | 11841.7355 | FALSE
2021-06-01 | 6285.1 | 293.8 | 84.4 | 3137.9 | 0 | 3014.6 | 0 | 212.6 | 353.8 | 13382.2 | 5556.7 |  | 2721.5531 | 11841.7355 | FALSE
2021-07-01 | 6285.2 | 293.8 | 84.4 | 3186.1 | 0 | 3014.6 | 0 | 212.6 | 353.8 | 13430.5 | 5556.7 |  | 2767.443 | 11841.856 | FALSE
2021-08-01 | 6287.2 | 293.8 | 84.4 | 3236 | 0 | 3014.6 | 0 | 213.6 | 353.8 | 13483.3 | 5556.7 |  | 2811.0792 | 11843.856 | FALSE
2021-09-01 | 6287.2 | 293.8 | 84.4 | 3278.4 | 0 | 3014.6 | 0 | 213.6 | 353.8 | 13525.7 | 5556.7 |  | 2850.8848 | 11843.8745 | FALSE
2021-10-01 | 6287.3 | 293.8 | 84.4 | 3332.8 | 0 | 3014.6 | 0 | 213.6 | 353.8 | 13580.2 | 5556.7 |  | 2901.373 | 11843.9645 | FALSE
2021-11-01 | 6287.3 | 293.9 | 84.4 | 3384.6 | 0 | 3014.6 | 0 | 213.6 | 353.8 | 13632.1 | 5556.7 |  | 2950.2056 | 11843.9645 | FALSE
2021-12-01 | 6287.3 | 293.9 | 84.4 | 3444.9 | 0 | 3014.6 | 0 | 213.6 | 353.8 | 13692.5 | 5556.7 |  | 3004.7178 | 11843.9645 | FALSE
2022-01-01 | 6287.6 | 293.9 | 84.4 | 3500.7 | 0 | 3014.6 | 0 | 214.3 | 353.8 | 13749.3 | 5556.7 |  | 3054.413 | 11844.3045 | FALSE
2022-02-01 | 6288.2 | 293.9 | 84.4 | 3533.9 | 0 | 3014.6 | 0 | 214.5 | 353.8 | 13783.2 | 5556.7 |  | 3084.8316 | 11844.8285 | FALSE
2022-03-01 | 6288.5 | 293.9 | 84.4 | 3580.8 | 0 | 3014.6 | 0 | 214.5 | 353.8 | 13830.5 | 5556.7 |  | 3128.674 | 11845.1285 | FALSE
2022-04-01 | 6289 | 293.9 | 84.4 | 3666.2 | 0 | 3014.6 | 0 | 214.5 | 353.8 | 13916.4 | 5556.7 |  | 3203.8652 | 11845.7235 | FALSE
2022-05-01 | 6289.4 | 293.9 | 84.4 | 3715.8 | 0 | 3014.6 | 0 | 214.5 | 353.8 | 13966.4 | 5556.7 |  | 3250.0266 | 11846.0455 | FALSE
2022-06-01 | 6289.5 | 293.9 | 84.4 | 3774 | 0 | 3014.6 | 0 | 214.8 | 353.8 | 14024.9 | 5556.7 |  | 3305.8426 | 11846.1575 | FALSE
2022-07-01 | 6290.8 | 293.9 | 84.4 | 3841.1 | 0 | 3014.6 | 0 | 216 | 353.8 | 14094.6 | 5556.7 |  | 3366.7886 | 11847.4625 | FALSE
2022-08-01 | 6290.8 | 293.9 | 84.4 | 3902.5 | 0 | 3014.6 | 0 | 216 | 353.8 | 14156 | 6501.7 |  | 3425.9388 | 12792.4625 | FALSE
2022-09-01 | 6291.8 | 293.9 | 84.4 | 3961.2 | 0 | 3014.6 | 0 | 222.5 | 353.8 | 14222.2 | 6501.7 |  | 3480.9528 | 12793.4525 | FALSE
2022-10-01 | 6291.8 | 294.1 | 84.4 | 4040.9 | 0 | 3014.6 | 0 | 222.6 | 353.8 | 14302.1 | 6501.7 |  | 3557.3303 | 12793.4525 | FALSE
2022-11-01 | 6291.8 | 298.1 | 84.4 | 4110.7 | 0 | 3014.6 | 0 | 223 | 353.8 | 14376.4 | 6501.7 |  | 3623.5985 | 12793.4525 | FALSE
2022-12-01 | 6291.9 | 298.1 | 84.4 | 4192 | 0 | 3014.6 | 0 | 223 | 353.8 | 14457.7 | 6501.7 |  | 3702.2743 | 12793.5435 | FALSE
2023-01-01 | 6299.5 | 298.1 | 84.4 | 4281.4 | 0 | 3014.6 | 0 | 229.9 | 353.8 | 14561.6 | 6501.7 |  | 3787.6054 | 12801.1415 | FALSE
2023-02-01 | 6300 | 298.1 | 84.4 | 4333 | 0 | 3014.6 | 0 | 230 | 353.8 | 14613.9 | 6501.7 |  | 3836.718 | 12801.6865 | FALSE
2023-03-01 | 6300.2 | 298.1 | 84.4 | 4421.3 | 0 | 3014.6 | 0 | 230.1 | 353.8 | 14702.5 | 6501.7 |  | 3922.0642 | 12801.8395 | FALSE
2023-04-01 | 6300.2 | 298.1 | 84.4 | 4544.2 | 0 | 3014.6 | 0 | 236 | 353.8 | 14831.3 | 6501.7 |  | 4039.8163 | 12801.8395 | FALSE
2023-05-01 | 6300.2 | 298.1 | 84.4 | 4643.2 | 0 | 3014.6 | 0 | 236 | 353.8 | 14930.3 | 6501.7 |  | 4136.2615 | 12801.8395 | FALSE
2023-06-01 | 6300.2 | 298.1 | 84.4 | 4775.5 | 0 | 3014.6 | 0 | 236.1 | 353.8 | 15062.6 | 6501.7 |  | 4264.4726 | 12801.8395 | FALSE
2023-07-01 | 6310.9 | 298.1 | 84.4 | 4930.4 | 0 | 3014.6 | 0 | 236.1 | 353.8 | 15228.2 | 6501.7 |  | 4414.7762 | 12812.591 | FALSE
2023-08-01 | 6312.5 | 298.1 | 84.4 | 5079.8 | 0 | 3014.6 | 0 | 236.1 | 353.8 | 15379.2 | 6501.7 |  | 4560.7776 | 12814.191 | FALSE
2023-09-01 | 6312.5 | 298.1 | 84.4 | 5212 | 0 | 3014.6 | 0 | 236.3 | 353.8 | 15511.7 | 6501.7 |  | 4688.7613 | 12814.191 | FALSE
2023-10-01 | 6312.5 | 298.1 | 84.4 | 5371 | 0 | 3014.6 | 0 | 236.3 | 353.8 | 15670.7 | 6501.7 |  | 4844.3204 | 12814.191 | FALSE
2023-11-01 | 6314.3 | 298.2 | 84.4 | 5521.2 | 0 | 3014.6 | 0 | 236.3 | 353.8 | 15822.8 | 6501.7 |  | 4991.8115 | 12816.01 | FALSE
2023-12-01 | 6314.3 | 298.2 | 84.4 | 5671.3 | 0 | 3014.6 | 0 | 236.3 | 353.8 | 15972.9 | 6501.7 |  | 5140.4931 | 12816.0235 | FALSE
2024-01-01 | 6314.3 | 298.2 | 84.4 | 5826.2 | 0 | 3014.6 | 0 | 237.6 | 353.8 | 16129.2 | 6501.7 |  | 5292.03 | 12816.0235 | FALSE
2024-02-01 | 6352.6 | 298.2 | 98.5 | 5913.3 | 0 | 3014.6 | 0 | 237.6 | 353.8 | 16268.7 | 6501.7 |  | 5376.7529 | 12854.2735 | FALSE
2024-03-01 | 6352.6 | 298.2 | 98.5 | 6042 | 0 | 3014.6 | 0 | 237.7 | 353.8 | 16397.4 | 6501.7 |  | 5501.297 | 12854.2885 | FALSE
2024-04-01 | 6352.6 | 298.2 | 98.5 | 6207.2 | 0 | 3014.6 | 0 | 238 | 353.8 | 16562.9 | 6501.7 |  | 5662.8155 | 12854.2885 | FALSE
2024-05-01 | 6354.9 | 298.7 | 98.5 | 6350.4 | 0 | 3014.6 | 0 | 238 | 353.8 | 16708.8 | 6501.7 |  | 5803.769 | 12856.5569 | FALSE
2024-06-01 | 6354.9 | 298.7 | 98.5 | 6502.2 | 0 | 3014.6 | 0 | 238 | 353.8 | 16860.7 | 6501.7 |  | 5954.0687 | 12856.5569 | FALSE
2024-07-01 | 6354.9 | 298.7 | 98.5 | 6657.9 | 0 | 3014.6 | 0 | 238 | 353.8 | 17016.5 | 6501.7 |  | 6103.6882 | 12856.5569 | FALSE
2024-08-01 | 6361.1 | 298.7 | 98.5 | 6812.3 | 0 | 3014.6 | 0 | 238.2 | 353.8 | 17177.2 | 6501.7 |  | 6256.3455 | 12862.7569 | FALSE
2024-09-01 | 6361.1 | 298.7 | 98.5 | 6931.3 | 0 | 3014.6 | 0 | 238.2 | 353.8 | 17296.2 | 6501.7 |  | 6373.5063 | 12862.7569 | FALSE
2024-10-01 | 6361.1 | 298.7 | 98.5 | 7062.3 | 0 | 3014.6 | 0 | 238.2 | 353.8 | 17427.2 | 6501.7 |  | 6501.6815 | 12862.7569 | FALSE
2024-11-01 | 6361.1 | 298.7 | 98.5 | 7212.7 | 0 | 3014.6 | 0 | 238.4 | 353.8 | 17577.9 | 6501.7 |  | 6651.1462 | 12862.7569 | FALSE
2024-12-01 | 6361.2 | 298.7 | 98.5 | 7360.3 | 0 | 3014.6 | 0 | 238.4 | 353.8 | 17725.5 | 6501.7 |  | 6797.0992 | 12862.8309 | FALSE
2025-01-01 | 6361.2 | 298.7 | 98.5 | 7492.9 | 0 | 3014.6 | 0 | 238.7 | 353.8 | 17858.4 | 6501.7 |  | 6928.3334 | 12862.8309 | FALSE
2025-02-01 | 6361.2 | 298.7 | 98.5 | 7563.4 | 0 | 3014.6 | 0 | 239.1 | 353.8 | 17929.4 | 6501.7 |  | 6998.5785 | 12862.8609 | FALSE
2025-03-01 | 6361.2 | 298.7 | 98.5 | 7664.3 | 0 | 3014.6 | 0 | 239.1 | 353.8 | 18030.3 | 6501.7 |  | 7098.4146 | 12862.8609 | FALSE
2025-04-01 | 6361.5 | 298.7 | 98.5 | 7809.6 | 0 | 3014.6 | 0 | 239.2 | 353.8 | 18176 | 6501.7 |  | 7242.9362 | 12863.2069 | FALSE
2025-05-01 | 6361.5 | 298.7 | 98.5 | 7899.6 | 0 | 3014.6 | 0 | 239.4 | 353.8 | 18266.2 | 6501.7 |  | 7331.721 | 12863.2069 | FALSE
2025-06-01 | 6361.5 | 298.7 | 98.5 | 7990.1 | 0 | 3014.6 | 0 | 239.6 | 353.8 | 18356.9 | 6501.7 |  | 7421.5656 | 12863.2069 | FALSE
2025-07-01 | 6361.5 | 298.7 | 98.5 | 8077.4 | 0 | 3014.6 | 0 | 241.2 | 353.8 | 18445.8 | 6501.7 |  | 7507.9912 | 12863.2069 | FALSE
2025-08-01 | 6361.5 | 298.7 | 98.5 | 8179.5 | 0 | 3014.6 | 0 | 241.2 | 353.8 | 18547.9 | 6501.7 |  | 7609.6003 | 12863.2069 | FALSE
2025-09-01 | 6361.5 | 298.7 | 98.5 | 8256.8 | 0 | 3014.6 | 0 | 242 | 353.8 | 18626 | 6501.7 |  | 7686.8393 | 12863.2069 | FALSE
2025-10-01 | 6372.9 | 298.7 | 98.5 | 8349.8 | 0 | 3014.6 | 0 | 242.3 | 353.8 | 18730.7 | 6501.7 |  | 7779.8606 | 12874.6069 | FALSE
2025-11-01 | 6374.1 | 298.7 | 107.7 | 8440 | 0 | 3014.6 | 0 | 242.4 | 353.8 | 18831.3 | 6501.7 |  | 7869.7869 | 12875.7959 | FALSE
2025-12-01 | 6374.1 | 298.7 | 109.7 | 8528.7 | 0 | 3014.6 | 0 | 242.5 | 353.8 | 18922.2 | 6501.7 |  | 7958.3104 | 12875.8059 | FALSE
2026-01-01 | 6374.1 | 298.7 | 109.7 | 8606 | 0 | 3014.6 | 0 | 243.9 | 353.8 | 19000.8 | 6501.7 |  | 8035.4183 | 12875.8059 | FALSE
2026-02-01 | 6374.1 | 298.7 | 109.7 | 8647.1 | 0 | 3014.6 | 0 | 243.9 | 353.8 | 19041.9 | 6501.7 |  | 8076.3857 | 12875.8059 | FALSE
2026-03-01 | 6374.1 | 298.7 | 109.7 | 8688 | 0 | 3014.6 | 0 | 243.9 | 353.8 | 19082.9 | 6501.7 |  | 8117.3423 | 12875.8059 | FALSE
2026-04-01 | 6374.1 | 298.7 | 109.7 | 8750.1 | 0 | 3014.6 | 0 | 244.2 | 353.8 | 19145.3 | 6501.7 |  | 8179.4258 | 12875.8059 | FALSE
2026-05-01 | 6374.1 | 298.7 | 109.7 | 8787.8 | 0 | 3014.6 | 0 | 244.6 | 353.8 | 19183.4 | 6501.7 |  | 8217.0652 | 12875.8059 | FALSE
2026-06-01 | 6374.1 | 298.7 | 109.7 | 8808.5 | 0 | 3014.6 | 0 | 244.8 | 353.8 | 19204.2 | 6501.7 |  | 8237.7741 | 12875.8059 | TRUE
2026-07-01 | 6374.1 | 298.7 | 109.7 | 8824.7 | 0 | 3014.6 | 0 | 244.9 | 353.8 | 19220.5 | 6501.7 |  | 8253.9603 | 12875.8059 | TRUE
2026-08-01 | 6374.1 | 298.7 | 109.7 | 8829.2 | 0 | 3014.6 | 0 | 244.9 | 353.8 | 19225 | 6501.7 |  | 8258.5016 | 12875.8059 | TRUE

## Check_ENTSOE
date | series | this_file_MW | ENTSOE_A68_MW | difference_MW | difference_pct
2021-01-01 | Hydro_MW | 6268.2 | 6192 | 76.2 | 1.2
2021-01-01 | PumpedStorage_MW | 5556.7 | 6681 | -1124.3 | -16.8
2021-01-01 | Nuclear_MW | 3014.6 | 2970 | 44.6 | 1.5
2022-01-01 | Hydro_MW | 6287.6 | 6192 | 95.6 | 1.5
2022-01-01 | PumpedStorage_MW | 5556.7 | 6681 | -1124.3 | -16.8
2022-01-01 | Nuclear_MW | 3014.6 | 2970 | 44.6 | 1.5
2023-01-01 | Hydro_MW | 6299.5 | 6192 | 107.5 | 1.7
2023-01-01 | PumpedStorage_MW | 6501.7 | 6697 | -195.3 | -2.9
2023-01-01 | Nuclear_MW | 3014.6 | 2970 | 44.6 | 1.5
2024-01-01 | Hydro_MW | 6314.3 | 6406 | -91.7 | -1.4
2024-01-01 | PumpedStorage_MW | 6501.7 | 6697 | -195.3 | -2.9
2024-01-01 | Nuclear_MW | 3014.6 | 2970 | 44.6 | 1.5
2025-01-01 | Hydro_MW | 6361.2 | 6412 | -50.8 | -0.8
2025-01-01 | PumpedStorage_MW | 6501.7 | 6697 | -195.3 | -2.9
2025-01-01 | Nuclear_MW | 3014.6 | 2983 | 31.6 | 1.1
2026-01-01 | Hydro_MW | 6374.1 | 6431 | -56.9 | -0.9
2026-01-01 | PumpedStorage_MW | 6501.7 | 6702 | -200.3 | -3
2026-01-01 | Nuclear_MW | 3014.6 | 2983 | 31.6 | 1.1

## Snapshots
asof_utc | register_last_modified | latest_start_date | plants | Hydro_MW | PumpedStorage_MW | Wind_MW | Solar_MW | Nuclear_MW | Gas_MW | Bioenergy_MW | Other_MW | row_date
2026-10-12 04:13 UTC | Mon, 14 Sep 2026 11:42:19 GMT | 2026-07-30 | 339499 | 6374.1 | 6501.7 | 109.7 | 8829.2 | 3014.6 | 298.7 | 244.9 | 353.8 | 2026-08-01

## Releases
source | checked_utc | detail | sha256
BFE plant register zip | 2026-10-12 04:13 UTC | Last-Modified Mon, 14 Sep 2026 11:42:19 GMT; ETag "70295f540bd344db40fc81755b780e02-3"; size 19195387 | 8f207b57a5df548a78c587ba1e6a732549b1b16525d9b07db2f2a1d63c1cb2c6