## Units
Notes
UNITS
'Daily': MWh generated that day by source, then the same as mean GW (MWh / 24 / 1000). 'Plants': MWh per large plant. 'Half-hourly': MW.
SOURCES
hydro, thermal (split into oil/diesel 'Termica' and natural gas), non-conventional renewables, imports, exports - as CENACE reports them. Data are CENACE's preliminary SCADA values.
SOURCE
CENACE Informacion Operativa (cenace.gob.ec/info-operativa/InformacionOperativa.htm), 'Informacion operativa diaria' tab - the last complete day only, so history starts at the first run and grows daily.

## Daily
date | total_mwh | hydro_mwh | thermal_mwh | thermal_oil_mwh | thermal_gas_mwh | renewable_mwh | imports_mwh | exports_mwh | total_gw | hydro_gw | thermal_gw | thermal_oil_gw | thermal_gas_gw | renewable_gw | imports_gw | exports_gw
2026-09-26 | 100359 | 74716 | 24463 | 22121 | 2342 | 1064 | 117 | 92 | 4.182 | 3.113 | 1.019 | 0.922 | 0.098 | 0.044 | 0.005 | 0.004

## Plants
date | Coca Codo | Otras Hidro | Paute | Sopladora | Delsitanisagua | San Francisco | Mazar | Agoyán | Minas San Francisco
2026-09-26 | 24721 | 16882 | 13964 | 8114 | 3724 | 2768 | 2301 | 2003 | 239

## Half-hourly
time | Hidráulica | Renovable | Importación | Térmica | Exportación | PRODUCCIÓN TOTAL | DEMANDA NACIONAL
2026-09-26 | 3207.81 | 27.65 | 0 | 1089.15 | 0 | 4324.61 | 4324.61
2026-09-26 00:30 | 3066.86 | 26.87 | 22.33 | 1084.72 | 0 | 4200.78 | 4200.78
2026-09-26 01:00 | 2977.44 | 24.16 | 9.37 | 1071.45 | 0 | 4082.42 | 4082.42
2026-09-26 01:30 | 2877.05 | 24.97 | 0 | 1080.93 | 14.64 | 3997.59 | 3982.95
2026-09-26 02:00 | 2824.44 | 25.61 | 0 | 1087.03 | 0 | 3937.08 | 3937.08
2026-09-26 02:30 | 2718.19 | 22.63 | 0 | 1098.39 | 7.84 | 3847.05 | 3839.21
2026-09-26 03:00 | 2645.42 | 14.65 | 0 | 1097 | 20.16 | 3777.23 | 3757.07
2026-09-26 03:30 | 2612.27 | 20.36 | 0 | 1092.72 | 0 | 3725.35 | 3725.35
2026-09-26 04:00 | 2598.89 | 22.41 | 9.12 | 1082.8 | 0 | 3713.22 | 3713.22
2026-09-26 04:30 | 2562.13 | 22.01 | 2.2 | 1077.03 | 0 | 3663.37 | 3663.37
2026-09-26 05:00 | 2530.02 | 23.34 | 22.01 | 1099.58 | 0 | 3674.95 | 3674.95
2026-09-26 05:30 | 2576.47 | 27.39 | 0 | 1083.07 | 0 | 3686.93 | 3686.93
2026-09-26 06:00 | 2463.54 | 29.28 | 8.76 | 1084.25 | 0 | 3585.83 | 3585.83
2026-09-26 06:30 | 2323.52 | 26.64 | 0 | 1031.59 | 0 | 3381.75 | 3381.75
2026-09-26 07:00 | 2345.89 | 22.25 | 0 | 1031.91 | 2.61 | 3402.66 | 3400.05
2026-09-26 07:30 | 2488.4 | 23.7 | 3.02 | 1015.75 | 0 | 3530.87 | 3530.87
2026-09-26 08:00 | 2638.46 | 25.42 | 0 | 1022.49 | 7.79 | 3694.16 | 3686.37
2026-09-26 08:30 | 2823.85 | 21.92 | 0 | 1011.22 | 0 | 3856.99 | 3856.99
2026-09-26 09:00 | 2988.11 | 35.32 | 4.14 | 988.31 | 0 | 4015.88 | 4015.88
2026-09-26 09:30 | 3105.29 | 39.18 | 9.69 | 998.45 | 0 | 4152.61 | 4152.61
2026-09-26 10:00 | 3204.43 | 46.73 | 17.48 | 997.95 | 0 | 4266.59 | 4266.59
2026-09-26 10:30 | 3293.59 | 57.25 | 14.47 | 1009.23 | 0 | 4374.54 | 4374.54
2026-09-26 11:00 | 3372.45 | 79.72 | 0 | 1014.05 | 5.43 | 4471.65 | 4466.22
2026-09-26 11:30 | 3390.19 | 83.54 | 0 | 1029.71 | 0 | 4503.44 | 4503.44
2026-09-26 12:00 | 3411.33 | 86.06 | 5.98 | 1030.88 | 0 | 4534.25 | 4534.25
2026-09-26 12:30 | 3407.91 | 87.38 | 31.69 | 1032.24 | 0 | 4559.22 | 4559.22
2026-09-26 13:00 | 3456.12 | 88.2 | 0 | 1023.18 | 17.86 | 4585.36 | 4567.5
2026-09-26 13:30 | 3476.77 | 85.29 | 0 | 1026.91 | 0 | 4588.97 | 4588.97
2026-09-26 14:00 | 3523.14 | 81.51 | 0 | 1016.25 | 10.96 | 4631.86 | 4620.9
2026-09-26 14:30 | 3521.41 | 86.31 | 0 | 1008.65 | 18.7 | 4635.07 | 4616.37
2026-09-26 15:00 | 3469.6 | 83.3 | 0 | 1032.89 | 2.06 | 4587.85 | 4585.79
2026-09-26 15:30 | 3489.16 | 75.19 | 0 | 1039.52 | 12.22 | 4616.09 | 4603.87
2026-09-26 16:00 | 3410.06 | 84.25 | 0 | 1065.55 | 11.97 | 4571.83 | 4559.86
2026-09-26 16:30 | 3326.5 | 85.02 | 0 | 1073.85 | 12.73 | 4498.1 | 4485.37
2026-09-26 17:00 | 3314.27 | 72.95 | 15.69 | 1062.45 | 0 | 4465.36 | 4465.36
2026-09-26 17:30 | 3287.7 | 56.65 | 0 | 1086.42 | 5.5 | 4436.27 | 4430.77
2026-09-26 18:00 | 3353.25 | 52.16 | 0 | 1091.97 | 11.86 | 4509.24 | 4497.38
2026-09-26 18:30 | 3738 | 42.59 | 23.4 | 1107.72 | 0 | 4911.71 | 4911.71
2026-09-26 19:00 | 3780.22 | 39.98 | 19.14 | 1107.53 | 0 | 4946.87 | 4946.87
2026-09-26 19:30 | 3799.06 | 40.03 | 0 | 1095.05 | 4.75 | 4938.89 | 4934.14
2026-09-26 20:00 | 3754.51 | 36.45 | 3.75 | 1104.86 | 0 | 4899.57 | 4899.57
2026-09-26 20:30 | 3721.25 | 34.69 | 0 | 1103.51 | 0 | 4859.45 | 4859.45
2026-09-26 21:00 | 3799.38 | 29.71 | 0 | 943.66 | 12.79 | 4785.54 | 4772.75
2026-09-26 21:30 | 3757.26 | 26.77 | 0 | 918.29 | 4.51 | 4706.83 | 4702.32
2026-09-26 22:00 | 3663.54 | 26.08 | 7.39 | 919.18 | 0 | 4616.19 | 4616.19
2026-09-26 22:30 | 3597.73 | 26.01 | 3.73 | 920.54 | 0 | 4548.01 | 4548.01
2026-09-26 23:00 | 3468.53 | 26.56 | 0 | 920.24 | 0 | 4415.33 | 4415.33
2026-09-26 23:30 | 3379.01 | 30.44 | 0 | 919.95 | 0 | 4329.4 | 4329.4